## Suite Line Capacity
Report generated for: | Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY
| Quantity | % of all area | Area
Total free sections: | 5/37 | 21 % | 1.394 m²
Total occupied sections: | 32/37 | 79 % | 5.394 m²
Total reserved sections: | 0/37 | 0 % | 0.000 m²
Total Lines Capability |  |  | 6.788 m²
Total Location Capability |  |  | 27.225 m²
Total Location Free Area |  |  | 21.831 m²
Total Location Occupied Area |  |  | 5.394 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | A | 4 | Free | 0 | 0 % | 0.000 m²
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | A | 4 | Occupied | 4 | 100 % | 0.600 m² | Rack A4, Floor Position = A4 | 53 | 53 | 53 | 53 | 53 | 53
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | A | 4 | Occupied | 4 | 100 % | 0.600 m² | Rack A2, Floor Position = A2 | 53 | 53 | 53 | 53 | 53 | 53
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | A | 4 | Occupied | 4 | 100 % | 0.600 m² | Rack A1, Floor Position = A1 | 53 | 53 | 53 | 53 | 53 | 53
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | A | 4 | Occupied | 4 | 100 % | 0.600 m² | Rack A3, Floor Position = A3 | 53 | 53 | 53 | 53 | 53 | 53
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | A | 4 | Reserved | 0 | 0 % | 0.000 m²
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | B | 6 | Free | 1 | 19 % | 0.180 m²
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | B | 6 | Occupied | 5 | 81 % | 0.765 m² | Rack B0, Floor Position = B0 | 5 | 47 | 5 | 5 | 47 | 5
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | B | 6 | Occupied | 5 | 81 % | 0.765 m² | Rack B1, Floor Position = B1 | 50 | 53 | 50 | 50 | 53 | 50
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | B | 6 | Occupied | 5 | 81 % | 0.765 m² | Rack B3, Floor Position = B3 | 14 | 53 | 14 | 14 | 53 | 14
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | B | 6 | Occupied | 5 | 81 % | 0.765 m² | Rack B4, Floor Position = B4 | 39 | 42 | 39 | 39 | 42 | 39
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | B | 6 | Occupied | 5 | 81 % | 0.765 m² | Rack B2, Floor Position = B2 | 26 | 53 | 26 | 26 | 53 | 26
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | B | 6 | Reserved | 0 | 0 % | 0.000 m²
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | C | 6 | Free | 0 | 0 % | 0.000 m²
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | C | 6 | Occupied | 6 | 100 % | 0.945 m² | Rack C0, Floor Position = C0 | 5 | 47 | 5 | 5 | 47 | 5
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | C | 6 | Occupied | 6 | 100 % | 0.945 m² | Rack C5, Floor Position = C5 | 53 | 53 | 53 | 53 | 53 | 53
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | C | 6 | Occupied | 6 | 100 % | 0.945 m² | Rack C1, Floor Position = C1 | 50 | 53 | 50 | 50 | 53 | 50
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | C | 6 | Occupied | 6 | 100 % | 0.945 m² | Rack C3, Floor Position = C3 | 50 | 53 | 50 | 50 | 53 | 50
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | C | 6 | Occupied | 6 | 100 % | 0.945 m² | Rack C4, Floor Position = C4 | 50 | 53 | 50 | 50 | 53 | 50
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | C | 6 | Occupied | 6 | 100 % | 0.945 m² | Rack C2, Floor Position = C2 | 50 | 53 | 50 | 50 | 53 | 50
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | C | 6 | Reserved | 0 | 0 % | 0.000 m²
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | D | 5 | Free | 1 | 22 % | 0.225 m²
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | D | 5 | Occupied | 4 | 78 % | 0.810 m² | Rack D0, Floor Position = D0 | 5 | 47 | 5 | 5 | 47 | 5
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | D | 5 | Occupied | 4 | 78 % | 0.810 m² | ODF CODF D04, Floor Position = D4 | 17 | 47 | 17 | 9 | 47 | 9
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | D | 5 | Occupied | 4 | 78 % | 0.810 m² | Rack D2, Floor Position = D2 | 49 | 53 | 49 | 49 | 53 | 49
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | D | 5 | Occupied | 4 | 78 % | 0.810 m² | ODF D01, Floor Position = D1 | 16 | 53 | 16 | 6 | 53 | 6
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | D | 5 | Reserved | 0 | 0 % | 0.000 m²
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | E | 5 | Free | 1 | 26 % | 0.270 m²
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | E | 5 | Occupied | 4 | 74 % | 0.765 m² | Rack E0, Floor Position = E0 | 5 | 47 | 5 | 5 | 47 | 5
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | E | 5 | Occupied | 4 | 74 % | 0.765 m² | Rack E4, Floor Position = E4 | 51 | 53 | 51 | 51 | 53 | 51
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | E | 5 | Occupied | 4 | 74 % | 0.765 m² | Rack E2, Floor Position = E2 | 53 | 53 | 53 | 53 | 53 | 53
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | E | 5 | Occupied | 4 | 74 % | 0.765 m² | ODF E01, Floor Position = E1 | 3 | 53 | 3 | 1 | 53 | 1
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | E | 5 | Reserved | 0 | 0 % | 0.000 m²
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | F | 5 | Free | 1 | 39 % | 0.360 m²
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | F | 5 | Occupied | 4 | 61 % | 0.555 m² | Rack F0, Floor Position = F0 | 5 | 47 | 5 | 5 | 47 | 5
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | F | 5 | Occupied | 4 | 61 % | 0.555 m² | Rack F1, Floor Position = F1 | 44 | 47 | 44 | 44 | 47 | 44
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | F | 5 | Occupied | 4 | 61 % | 0.555 m² | Rack F5, Floor Position = F5 | 42 | 42 | 42 | 42 | 42 | 42
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | F | 5 | Occupied | 4 | 61 % | 0.555 m² | Rack F2, Floor Position = F2 | 22 | 45 | 21 | 11 | 44 | 11
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | F | 5 | Reserved | 0 | 0 % | 0.000 m²
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | G | 5 | Free | 1 | 29 % | 0.349 m²
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | G | 5 | Occupied | 4 | 71 % | 0.870 m² | Rack F1, Floor Position = F1 | 44 | 47 | 44 | 44 | 47 | 44
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | G | 5 | Occupied | 4 | 71 % | 0.870 m² | Rack G4, Floor Position = G4 | 47 | 47 | 47 | 47 | 47 | 47
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | G | 5 | Occupied | 4 | 71 % | 0.870 m² | Rack G5, Floor Position = G5 | 42 | 42 | 42 | 42 | 42 | 42
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | G | 5 | Occupied | 4 | 71 % | 0.870 m² | Rack F2, Floor Position = F2 | 22 | 45 | 21 | 11 | 44 | 11
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | G | 5 | Reserved | 0 | 0 % | 0.000 m²
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | H | 1 | Free | 0 | 11 % | 0.010 m²
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | H | 1 | Occupied | 1 | 89 % | 0.084 m² | Rack H1, Floor Position = H1 | 5 | 47 | 5 | 5 | 47 | 5
Room TGYN02 (Room-2) on Floor Ground Floor in Site TINGLEY | 1230.00 W | 11100.00 W | 11 % | H | 1 | Reserved | 0 | 0 % | 0.000 m²