## Suite Line Capacity
Report generated for: | Room TNTTN1 on Floor Ground Floor in Site TAUNTON
| Quantity | % of all area | Area
Total free sections: | 83/157 | 62 % | 24.952 m²
Total occupied sections: | 74/157 | 38 % | 15.254 m²
Total reserved sections: | 0/157 | 0 % | 0.000 m²
Total Lines Capability |  |  | 40.206 m²
Total Location Capability |  |  | 161.556 m²
Total Location Free Area |  |  | 145.941 m²
Total Location Occupied Area |  |  | 15.614 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | A | 16 | Free | 5 | 25 % | 0.765 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | A | 16 | Occupied | 11 | 75 % | 2.250 m² | ODF A01, Floor Position = A1 | 6 | 54 | 6 | 4 | 54 | 4
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | A | 16 | Occupied | 11 | 75 % | 2.250 m² | Rack A4, Floor Position = A4 | 49 | 54 | 49 | 49 | 54 | 49
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | A | 16 | Occupied | 11 | 75 % | 2.250 m² | Rack A2, Floor Position = A2 | 51 | 54 | 51 | 51 | 54 | 51
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | A | 16 | Occupied | 11 | 75 % | 2.250 m² | Rack A3, Floor Position = A3 | 51 | 54 | 51 | 51 | 54 | 51
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | A | 16 | Occupied | 11 | 75 % | 2.250 m² | Rack A6, Floor Position = A6 | 44 | 46 | 44 | 44 | 46 | 44
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | A | 16 | Occupied | 11 | 75 % | 2.250 m² | Rack A10, Floor Position = A10 | 53 | 56 | 53 | 53 | 56 | 53
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | A | 16 | Occupied | 11 | 75 % | 2.250 m² | Rack A09, Floor Position = A9 | 33 | 56 | 33 | 21 | 56 | 21
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | A | 16 | Occupied | 11 | 75 % | 2.250 m² | Rack A7, Floor Position = A7 | 31 | 30 | 23 | 17 | 16 | 14
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | A | 16 | Occupied | 11 | 75 % | 2.250 m² | Rack A12, Floor Position = A12 | 43 | 45 | 43 | 43 | 45 | 43
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | A | 16 | Occupied | 11 | 75 % | 2.250 m² | Rack A13, Floor Position = A13 | 41 | 44 | 41 | 41 | 44 | 41
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | A | 16 | Occupied | 11 | 75 % | 2.250 m² | Rack A11, Floor Position = A11 | 39 | 48 | 39 | 39 | 48 | 39
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | A | 16 | Reserved | 0 | 0 % | 0.000 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | B | 16 | Free | 5 | 34 % | 1.035 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | B | 16 | Occupied | 11 | 66 % | 1.980 m² | Rack B1, Floor Position = B1 | 51 | 54 | 51 | 51 | 54 | 51
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | B | 16 | Occupied | 11 | 66 % | 1.980 m² | Rack B4, Floor Position = B4 | 36 | 48 | 36 | 36 | 48 | 36
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | B | 16 | Occupied | 11 | 66 % | 1.980 m² | Rack B2, Floor Position = B2 | 51 | 54 | 51 | 51 | 54 | 51
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | B | 16 | Occupied | 11 | 66 % | 1.980 m² | Rack B3, Floor Position = B3 | 45 | 48 | 45 | 45 | 48 | 45
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | B | 16 | Occupied | 11 | 66 % | 1.980 m² | Rack A6, Floor Position = A6 | 44 | 46 | 44 | 44 | 46 | 44
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | B | 16 | Occupied | 11 | 66 % | 1.980 m² | Rack B0, Floor Position = B0 | 4 | 47 | 4 | 2 | 47 | 2
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | B | 16 | Occupied | 11 | 66 % | 1.980 m² | Rack B10, Floor Position = B10 | 53 | 56 | 53 | 53 | 56 | 53
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | B | 16 | Occupied | 11 | 66 % | 1.980 m² | Rack A7, Floor Position = A7 | 31 | 30 | 23 | 17 | 16 | 14
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | B | 16 | Occupied | 11 | 66 % | 1.980 m² | Rack B9, Floor Position = B9 | 53 | 56 | 53 | 53 | 56 | 53
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | B | 16 | Occupied | 11 | 66 % | 1.980 m² | Rack B11, Floor Position = B11 | 21 | 56 | 21 | 9 | 56 | 9
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | B | 16 | Occupied | 11 | 66 % | 1.980 m² | Rack A12, Floor Position = A12 | 43 | 45 | 43 | 43 | 45 | 43
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | B | 16 | Reserved | 0 | 0 % | 0.000 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | C | 16 | Free | 13 | 82 % | 2.387 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | C | 16 | Occupied | 3 | 18 % | 0.540 m² | Rack C1, Floor Position = C1 | 51 | 54 | 51 | 51 | 54 | 51
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | C | 16 | Occupied | 3 | 18 % | 0.540 m² | Rack C0, Floor Position = C0 | 4 | 47 | 4 | 2 | 47 | 2
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | C | 16 | Occupied | 3 | 18 % | 0.540 m² | Rack C2, Floor Position = C2 | 51 | 54 | 51 | 51 | 54 | 51
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | C | 16 | Reserved | 0 | 0 % | 0.000 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | D | 16 | Free | 11 | 63 % | 1.845 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | D | 16 | Occupied | 5 | 37 % | 1.080 m² | Rack D1, Floor Position = D1 | 51 | 54 | 51 | 51 | 54 | 51
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | D | 16 | Occupied | 5 | 37 % | 1.080 m² | Rack D0, Floor Position = D0 | 4 | 47 | 4 | 2 | 47 | 2
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | D | 16 | Occupied | 5 | 37 % | 1.080 m² | ODF D06, Floor Position = D6 | 43 | 46 | 43 | 22 | 46 | 22
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | D | 16 | Occupied | 5 | 37 % | 1.080 m² | ODF D07, Floor Position = D7 | 44 | 46 | 44 | 23 | 46 | 23
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | D | 16 | Occupied | 5 | 37 % | 1.080 m² | Rack D2, Floor Position = D2 | 52 | 54 | 52 | 52 | 54 | 52
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | D | 16 | Reserved | 0 | 0 % | 0.000 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | E | 13 | Free | 8 | 77 % | 3.700 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | E | 13 | Occupied | 5 | 23 % | 1.100 m² | Rack E1, Floor Position = E1 | 54 | 54 | 54 | 54 | 54 | 54
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | E | 13 | Occupied | 5 | 23 % | 1.100 m² | Rack E2, Floor Position = E2 | 54 | 54 | 54 | 54 | 54 | 54
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | E | 13 | Occupied | 5 | 23 % | 1.100 m² | Rack EF11, Floor Position = E11 | 36 | 30 | 28 | 28 | 27 | 25
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | E | 13 | Occupied | 5 | 23 % | 1.100 m² | Rack E12, Floor Position = E12 | 42 | 42 | 42 | 42 | 42 | 42
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | E | 13 | Occupied | 5 | 23 % | 1.100 m² | Rack E13, Floor Position = E13 | 42 | 42 | 42 | 42 | 42 | 42
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | E | 13 | Reserved | 0 | 0 % | 0.000 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | F | 13 | Free | 11 | 84 % | 2.415 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | F | 13 | Occupied | 2 | 16 % | 0.465 m² | Rack F1, Floor Position = F1 | 54 | 54 | 54 | 54 | 54 | 54
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | F | 13 | Occupied | 2 | 16 % | 0.465 m² | Rack EF11, Floor Position = E11 | 36 | 30 | 28 | 28 | 27 | 25
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | F | 13 | Reserved | 0 | 0 % | 0.000 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | G | 13 | Free | 2 | 21 % | 0.540 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | G | 13 | Occupied | 11 | 79 % | 2.085 m² | Rack G12, Floor Position = G12 | 5 | 47 | 5 | 5 | 47 | 5
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | G | 13 | Occupied | 11 | 79 % | 2.085 m² | Rack G13, Floor Position = G13 | 19 | 39 | 15 | 11 | 39 | 8
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | G | 13 | Occupied | 11 | 79 % | 2.085 m² | Rack G11, Floor Position = G11 | 14 | 46 | 14 | 6 | 46 | 6
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | G | 13 | Occupied | 11 | 79 % | 2.085 m² | ODF CODF G09, Floor Position = G9 | 18 | 47 | 18 | 14 | 47 | 14
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | G | 13 | Occupied | 11 | 79 % | 2.085 m² | Rack G10, Floor Position = G10 | 28 | 46 | 28 | 28 | 46 | 28
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | G | 13 | Occupied | 11 | 79 % | 2.085 m² | Rack G8, Floor Position = G8 | 27 | 46 | 27 | 22 | 46 | 22
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | G | 13 | Occupied | 11 | 79 % | 2.085 m² | Rack G1, Floor Position = G1 | 46 | 54 | 46 | 37 | 54 | 37
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | G | 13 | Occupied | 11 | 79 % | 2.085 m² | Rack GH4, Floor Position = G4 | 39 | 18 | 13 | 23 | 6 | 5
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | G | 13 | Occupied | 11 | 79 % | 2.085 m² | Rack G2, Floor Position = G2 | 51 | 54 | 51 | 51 | 54 | 51
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | G | 13 | Occupied | 11 | 79 % | 2.085 m² | Rack G3, Floor Position = G3 | 28 | 24 | 14 | 14 | 16 | 13
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | G | 13 | Occupied | 11 | 79 % | 2.085 m² | Rack G0, Floor Position = G0 | 4 | 47 | 4 | 2 | 47 | 2
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | G | 13 | Reserved | 0 | 0 % | 0.000 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | H | 13 | Free | 1 | 46 % | 2.435 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | H | 13 | Occupied | 12 | 54 % | 2.815 m² | Rack G12, Floor Position = G12 | 5 | 47 | 5 | 5 | 47 | 5
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | H | 13 | Occupied | 12 | 54 % | 2.815 m² | Rack G13, Floor Position = G13 | 19 | 39 | 15 | 11 | 39 | 8
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | H | 13 | Occupied | 12 | 54 % | 2.815 m² | Rack H11, Floor Position = H11 | 8 | 44 | 8 | 5 | 44 | 5
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | H | 13 | Occupied | 12 | 54 % | 2.815 m² | Rack H10, Floor Position = H10 | 22 | 44 | 22 | 20 | 44 | 20
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | H | 13 | Occupied | 12 | 54 % | 2.815 m² | Rack H09, Floor Position = H9 | 6 | 44 | 6 | 3 | 44 | 3
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | H | 13 | Occupied | 12 | 54 % | 2.815 m² | Rack H08, Floor Position = H8 | 32 | 45 | 32 | 21 | 45 | 21
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | H | 13 | Occupied | 12 | 54 % | 2.815 m² | Rack H1, Floor Position = H1 | 51 | 54 | 51 | 51 | 54 | 51
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | H | 13 | Occupied | 12 | 54 % | 2.815 m² | Rack GH4, Floor Position = G4 | 39 | 18 | 13 | 23 | 6 | 5
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | H | 13 | Occupied | 12 | 54 % | 2.815 m² | Rack HG06, Floor Position = H6 | 16 | 47 | 16 | 16 | 47 | 16
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | H | 13 | Occupied | 12 | 54 % | 2.815 m² | Rack H2, Floor Position = H2 | 27 | 54 | 27 | 27 | 54 | 27
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | H | 13 | Occupied | 12 | 54 % | 2.815 m² | Rack G3, Floor Position = G3 | 28 | 24 | 14 | 14 | 16 | 13
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | H | 13 | Occupied | 12 | 54 % | 2.815 m² | Rack H0, Floor Position = H0 | 4 | 47 | 4 | 2 | 47 | 2
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | H | 13 | Reserved | 0 | 0 % | 0.000 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | J | 2 | Free | 0 | 0 % | 0.000 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | J | 2 | Occupied | 2 | 100 % | 0.720 m² | Rack J1, Floor Position = J1 | 0 | 47 | 0 | 0 | 47 | 0
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | J | 2 | Occupied | 2 | 100 % | 0.720 m² | Rack J2, Floor Position = J2 | 0 | 47 | 0 | 0 | 47 | 0
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | J | 2 | Reserved | 0 | 0 % | 0.000 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | L | 3 | Free | 1 | 46 % | 0.270 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | L | 3 | Occupied | 2 | 54 % | 0.315 m² | Rack L1, Floor Position = L1 | 51 | 54 | 51 | 51 | 54 | 51
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | L | 3 | Occupied | 2 | 54 % | 0.315 m² | Rack L0, Floor Position = L0 | 4 | 47 | 4 | 2 | 47 | 2
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | L | 3 | Reserved | 0 | 0 % | 0.000 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | M | 3 | Free | 0 | 0 % | 0.000 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | M | 3 | Occupied | 3 | 100 % | 0.585 m² | Rack M1, Floor Position = M1 | 52 | 54 | 52 | 52 | 54 | 52
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | M | 3 | Occupied | 3 | 100 % | 0.585 m² | Rack M2, Floor Position = M2 | 52 | 54 | 52 | 52 | 54 | 52
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | M | 3 | Occupied | 3 | 100 % | 0.585 m² | Rack M0, Floor Position = M0 | 4 | 47 | 4 | 2 | 47 | 2
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | M | 3 | Reserved | 0 | 0 % | 0.000 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | N | 5 | Free | 4 | 100 % | 2.969 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | N | 5 | Occupied | 1 | 0 % | 0.000 m² | Rack N8, Floor Position = N07 | 47 | 47 | 47 | 47 | 47 | 47
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | N | 5 | Reserved | 0 | 0 % | 0.000 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | P | 5 | Free | 4 | 88 % | 0.870 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | P | 5 | Occupied | 1 | 12 % | 0.120 m² | Rack TNTTN1-DCSYS01b, Floor Position = P08 | 18 | 46 | 18 | 17 | 25 | 17
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | P | 5 | Reserved | 0 | 0 % | 0.000 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | Q | 9 | Free | 9 | 100 % | 2.830 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | Q | 9 | Occupied | 0 | 0 % | 0.000 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | Q | 9 | Reserved | 0 | 0 % | 0.000 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | R | 9 | Free | 9 | 100 % | 2.830 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | R | 9 | Occupied | 0 | 0 % | 0.000 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | R | 9 | Reserved | 0 | 0 % | 0.000 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | S | 5 | Free | 0 | 5 % | 0.059 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | S | 5 | Occupied | 5 | 95 % | 1.200 m² | Rack S2, Floor Position = S02 | 5 | 47 | 5 | 5 | 47 | 5
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | S | 5 | Occupied | 5 | 95 % | 1.200 m² | Rack S3, Floor Position = S03 | 5 | 47 | 5 | 5 | 47 | 5
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | S | 5 | Occupied | 5 | 95 % | 1.200 m² | Rack S4, Floor Position = S04 | 5 | 47 | 5 | 5 | 47 | 5
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | S | 5 | Occupied | 5 | 95 % | 1.200 m² | Rack S1, Floor Position = S01 | 5 | 47 | 5 | 5 | 47 | 5
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | S | 5 | Occupied | 5 | 95 % | 1.200 m² | Rack S5, Floor Position = S05 | 5 | 47 | 5 | 5 | 47 | 5
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | S | 5 | Reserved | 0 | 0 % | 0.000 m²
Room TNTTN1 on Floor Ground Floor in Site TAUNTON | 55946.00 W | 33750.00 W | 166 % | [6 empty] | Rack TNTTN1-DCSYS01a, Floor Position = Temp Mig | 16 | 46 | 16 | 15 | 25 | 15