## Suite Line Capacity
Report generated for: | Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX
| Quantity | % of all area | Area
Total free sections: | 72/172 | 60 % | 44.466 m²
Total occupied sections: | 100/172 | 40 % | 29.080 m²
Total reserved sections: | 0/172 | 0 % | 0.000 m²
Total Lines Capability |  |  | 73.546 m²
Total Location Capability |  |  | 278.194 m²
Total Location Free Area |  |  | 249.114 m²
Total Location Occupied Area |  |  | 29.080 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 111 | 10 | Free | 0 | 6 % | 0.180 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 111 | 10 | Occupied | 10 | 94 % | 2.880 m² | Rack 111*09, Floor Position = 111*09 | 27 | 45 | 27 | 26 | 45 | 26
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 111 | 10 | Occupied | 10 | 94 % | 2.880 m² | Rack 111*08, Floor Position = 111*08 | 27 | 45 | 27 | 26 | 45 | 26
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 111 | 10 | Occupied | 10 | 94 % | 2.880 m² | Rack 111*10, Floor Position = 111*10 | 27 | 45 | 27 | 26 | 45 | 26
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 111 | 10 | Occupied | 10 | 94 % | 2.880 m² | Rack 111*05, Floor Position = 111*05 | 27 | 45 | 27 | 26 | 45 | 26
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 111 | 10 | Occupied | 10 | 94 % | 2.880 m² | Rack 111*06, Floor Position = 111*06 | 27 | 45 | 27 | 26 | 45 | 26
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 111 | 10 | Occupied | 10 | 94 % | 2.880 m² | Rack 111*07, Floor Position = 111*07 | 3 | 44 | 3 | 2 | 23 | 2
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 111 | 10 | Occupied | 10 | 94 % | 2.880 m² | Rack 111*03, Floor Position = 111*03 | 27 | 45 | 27 | 26 | 45 | 26
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 111 | 10 | Occupied | 10 | 94 % | 2.880 m² | Rack 111*02, Floor Position = 111*02 | 3 | 44 | 3 | 2 | 23 | 2
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 111 | 10 | Occupied | 10 | 94 % | 2.880 m² | Rack 111*04, Floor Position = 111*04 | 27 | 45 | 27 | 26 | 45 | 26
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 111 | 10 | Occupied | 10 | 94 % | 2.880 m² | Rack 111*01, Floor Position = 111*01 | 27 | 45 | 27 | 26 | 45 | 26
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 111 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 112 | 10 | Free | 0 | 7 % | 0.216 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 112 | 10 | Occupied | 10 | 93 % | 2.880 m² | Rack 112*09, Floor Position = 112*09 | 45 | 45 | 45 | 45 | 45 | 45
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 112 | 10 | Occupied | 10 | 93 % | 2.880 m² | Rack 112*08, Floor Position = 112*08 | 45 | 45 | 45 | 45 | 45 | 45
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 112 | 10 | Occupied | 10 | 93 % | 2.880 m² | Rack 112*10, Floor Position = 112*10 | 45 | 45 | 45 | 45 | 45 | 45
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 112 | 10 | Occupied | 10 | 93 % | 2.880 m² | Rack 112*05, Floor Position = 112*05 | 45 | 45 | 45 | 45 | 45 | 45
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 112 | 10 | Occupied | 10 | 93 % | 2.880 m² | Rack 112*06, Floor Position = 112*06 | 45 | 45 | 45 | 45 | 45 | 45
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 112 | 10 | Occupied | 10 | 93 % | 2.880 m² | Rack 112*07, Floor Position = 112*07 | 45 | 45 | 45 | 45 | 45 | 45
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 112 | 10 | Occupied | 10 | 93 % | 2.880 m² | Rack 112*03, Floor Position = 112*03 | 45 | 45 | 45 | 45 | 45 | 45
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 112 | 10 | Occupied | 10 | 93 % | 2.880 m² | Rack 112*02, Floor Position = 112*02 | 45 | 45 | 45 | 45 | 45 | 45
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 112 | 10 | Occupied | 10 | 93 % | 2.880 m² | Rack 112*04, Floor Position = 112*04 | 45 | 45 | 45 | 45 | 45 | 45
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 112 | 10 | Occupied | 10 | 93 % | 2.880 m² | Rack 112*01, Floor Position = 112*01 | 45 | 45 | 45 | 45 | 45 | 45
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 112 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 113 | 9 | Free | 1 | 16 % | 0.475 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 113 | 9 | Occupied | 8 | 84 % | 2.504 m² | Rack 113/114*07, Floor Position = 113/114*07 | 26 | 26 | 26 | 22 | 22 | 22
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 113 | 9 | Occupied | 8 | 84 % | 2.504 m² | Rack 113/114*09, Floor Position = 113/114*09 | 10 | 34 | 8 | 8 | 32 | 7
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 113 | 9 | Occupied | 8 | 84 % | 2.504 m² | ODF 113*10, Floor Position = 113*10 | 47 | 47 | 47 | 47 | 47 | 47
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 113 | 9 | Occupied | 8 | 84 % | 2.504 m² | Rack 113/114*02, Floor Position = 113/114*02 | 31 | 40 | 30 | 19 | 38 | 18
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 113 | 9 | Occupied | 8 | 84 % | 2.504 m² | Rack 113/114*03, Floor Position = 113/114*03 | 47 | 46 | 46 | 47 | 46 | 46
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 113 | 9 | Occupied | 8 | 84 % | 2.504 m² | Rack 113/114*05, Floor Position = 113/114*05 | 23 | 34 | 22 | 22 | 28 | 21
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 113 | 9 | Occupied | 8 | 84 % | 2.504 m² | Rack 113/114*06, Floor Position = 113/114*06 | 12 | 34 | 9 | 9 | 32 | 7
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 113 | 9 | Occupied | 8 | 84 % | 2.504 m² | Rack 113/114*01, Floor Position = 113/114*01 | 40 | 41 | 39 | 40 | 41 | 39
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 113 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 114 | 9 | Free | 1 | 18 % | 0.575 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 114 | 9 | Occupied | 8 | 82 % | 2.602 m² | Rack 113/114*07, Floor Position = 113/114*07 | 26 | 26 | 26 | 22 | 22 | 22
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 114 | 9 | Occupied | 8 | 82 % | 2.602 m² | Rack 113/114*09, Floor Position = 113/114*09 | 10 | 34 | 8 | 8 | 32 | 7
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 114 | 9 | Occupied | 8 | 82 % | 2.602 m² | ODF 114*10, Floor Position = 114*10 | 47 | 47 | 47 | 47 | 47 | 47
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 114 | 9 | Occupied | 8 | 82 % | 2.602 m² | Rack 113/114*03, Floor Position = 113/114*03 | 47 | 46 | 46 | 47 | 46 | 46
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 114 | 9 | Occupied | 8 | 82 % | 2.602 m² | Rack 113/114*02, Floor Position = 113/114*02 | 31 | 40 | 30 | 19 | 38 | 18
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 114 | 9 | Occupied | 8 | 82 % | 2.602 m² | Rack 113/114*06, Floor Position = 113/114*06 | 12 | 34 | 9 | 9 | 32 | 7
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 114 | 9 | Occupied | 8 | 82 % | 2.602 m² | Rack 113/114*05, Floor Position = 113/114*05 | 23 | 34 | 22 | 22 | 28 | 21
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 114 | 9 | Occupied | 8 | 82 % | 2.602 m² | Rack 113/114*01, Floor Position = 113/114*01 | 40 | 41 | 39 | 40 | 41 | 39
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 114 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 116 | 9 | Free | 8 | 89 % | 5.118 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 116 | 9 | Occupied | 1 | 11 % | 0.650 m² | Rack 116/117*01, Floor Position = 116/117*01 | 27 | 26 | 26 | 27 | 26 | 26
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 116 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 117 | 9 | Free | 5 | 74 % | 4.290 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 117 | 9 | Occupied | 4 | 26 % | 1.477 m² | Rack 116*04, Floor Position = 117*04 | 47 | 47 | 47 | 47 | 47 | 47
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 117 | 9 | Occupied | 4 | 26 % | 1.477 m² | Rack 116/117*05, Floor Position = 116/117*05 | 0 | 46 | 0 | 0 | 46 | 0
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 117 | 9 | Occupied | 4 | 26 % | 1.477 m² | Rack 116/117*09, Floor Position = 116/117*09 | 42 | 46 | 41 | 42 | 46 | 41
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 117 | 9 | Occupied | 4 | 26 % | 1.477 m² | Rack 116*10, Floor Position = 117*10 | 47 | 47 | 47 | 47 | 47 | 47
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 117 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 118 | 6 | Free | 4 | 78 % | 2.445 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 118 | 6 | Occupied | 2 | 22 % | 0.684 m² | Rack 118/119*01, Floor Position = 118/119*01 | 34 | 46 | 34 | 34 | 46 | 34
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 118 | 6 | Occupied | 2 | 22 % | 0.684 m² | Rack 118/119*02, Floor Position = 118/119*02 | 39 | 46 | 38 | 39 | 46 | 38
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 118 | 6 | Reserved | 0 | 0 % | 0.000 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 119 | 6 | Free | 4 | 78 % | 2.445 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 119 | 6 | Occupied | 2 | 22 % | 0.684 m² | Rack 118/119*02, Floor Position = 118/119*02 | 39 | 46 | 38 | 39 | 46 | 38
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 119 | 6 | Occupied | 2 | 22 % | 0.684 m² | Rack 118/119*01, Floor Position = 118/119*01 | 34 | 46 | 34 | 34 | 46 | 34
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 119 | 6 | Reserved | 0 | 0 % | 0.000 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 120 | 9 | Free | 6 | 72 % | 2.213 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 120 | 9 | Occupied | 3 | 28 % | 0.878 m² | Rack 120/121*01, Floor Position = 120/121*01 | 23 | 34 | 22 | 22 | 28 | 21
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 120 | 9 | Occupied | 3 | 28 % | 0.878 m² | ODF CODF 120*10 (E01), Floor Position = 120*10 | 34 | 47 | 34 | 17 | 47 | 17
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 120 | 9 | Occupied | 3 | 28 % | 0.878 m² | ODF 120*11, Floor Position = 120*11 | 47 | 47 | 47 | 47 | 47 | 47
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 120 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 121 | 9 | Free | 7 | 81 % | 2.551 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 121 | 9 | Occupied | 2 | 19 % | 0.616 m² | Rack 120/121*01, Floor Position = 120/121*01 | 23 | 34 | 22 | 22 | 28 | 21
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 121 | 9 | Occupied | 2 | 19 % | 0.616 m² | ODF 121*11, Floor Position = 121*11 | 47 | 47 | 47 | 47 | 47 | 47
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 121 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 122 | 9 | Free | 3 | 46 % | 1.672 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 122 | 9 | Occupied | 6 | 54 % | 1.973 m² | Rack 122/123*06, Floor Position = 122/123*06 | 31 | 46 | 30 | 30 | 46 | 30
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 122 | 9 | Occupied | 6 | 54 % | 1.973 m² | ODF CODF 122*14 (W01), Floor Position = 122*14 | 34 | 47 | 34 | 17 | 47 | 17
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 122 | 9 | Occupied | 6 | 54 % | 1.973 m² | Rack 122/123*03, Floor Position = 122/123*03 | 31 | 46 | 30 | 30 | 46 | 30
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 122 | 9 | Occupied | 6 | 54 % | 1.973 m² | Rack 122/123*01, Floor Position = 122/123*01 | 31 | 46 | 30 | 30 | 46 | 30
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 122 | 9 | Occupied | 6 | 54 % | 1.973 m² | Rack 122/123*04, Floor Position = 122/123*04 | 17 | 46 | 16 | 10 | 46 | 10
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 122 | 9 | Occupied | 6 | 54 % | 1.973 m² | Rack 122/123*05, Floor Position = 122/123*05 | 17 | 46 | 16 | 10 | 46 | 10
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 122 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 123 | 9 | Free | 4 | 53 % | 1.934 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 123 | 9 | Occupied | 5 | 47 % | 1.710 m² | Rack 122/123*06, Floor Position = 122/123*06 | 31 | 46 | 30 | 30 | 46 | 30
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 123 | 9 | Occupied | 5 | 47 % | 1.710 m² | Rack 122/123*03, Floor Position = 122/123*03 | 31 | 46 | 30 | 30 | 46 | 30
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 123 | 9 | Occupied | 5 | 47 % | 1.710 m² | Rack 122/123*01, Floor Position = 122/123*01 | 31 | 46 | 30 | 30 | 46 | 30
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 123 | 9 | Occupied | 5 | 47 % | 1.710 m² | Rack 122/123*04, Floor Position = 122/123*04 | 17 | 46 | 16 | 10 | 46 | 10
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 123 | 9 | Occupied | 5 | 47 % | 1.710 m² | Rack 122/123*05, Floor Position = 122/123*05 | 17 | 46 | 16 | 10 | 46 | 10
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 123 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 124 | 13 | Free | 8 | 70 % | 2.546 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 124 | 13 | Occupied | 5 | 30 % | 1.116 m² | Rack 124/125*03, Floor Position = 124/125*03 | 42 | 46 | 42 | 42 | 46 | 42
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 124 | 13 | Occupied | 5 | 30 % | 1.116 m² | Rack 124/125*04, Floor Position = 124/125*04 | 42 | 46 | 42 | 42 | 46 | 42
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 124 | 13 | Occupied | 5 | 30 % | 1.116 m² | Rack 124/125*01, Floor Position = 124/125*01 | 42 | 42 | 42 | 42 | 42 | 42
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 124 | 13 | Occupied | 5 | 30 % | 1.116 m² | Rack 124/125*08, Floor Position = 124/125*08 | 42 | 46 | 42 | 42 | 46 | 42
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 124 | 13 | Occupied | 5 | 30 % | 1.116 m² | Rack 124/125*07, Floor Position = 124/125*07 | 42 | 46 | 42 | 42 | 46 | 42
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 124 | 13 | Reserved | 0 | 0 % | 0.000 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 125 | 13 | Free | 8 | 65 % | 2.377 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 125 | 13 | Occupied | 5 | 35 % | 1.284 m² | Rack 124/125*03, Floor Position = 124/125*03 | 42 | 46 | 42 | 42 | 46 | 42
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 125 | 13 | Occupied | 5 | 35 % | 1.284 m² | Rack 124/125*04, Floor Position = 124/125*04 | 42 | 46 | 42 | 42 | 46 | 42
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 125 | 13 | Occupied | 5 | 35 % | 1.284 m² | Rack 124/125*01, Floor Position = 124/125*01 | 42 | 42 | 42 | 42 | 42 | 42
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 125 | 13 | Occupied | 5 | 35 % | 1.284 m² | Rack 124/125*07, Floor Position = 124/125*07 | 42 | 46 | 42 | 42 | 46 | 42
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 125 | 13 | Occupied | 5 | 35 % | 1.284 m² | Rack 124/125*08, Floor Position = 124/125*08 | 42 | 46 | 42 | 42 | 46 | 42
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 125 | 13 | Reserved | 0 | 0 % | 0.000 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 126 | 13 | Free | 5 | 48 % | 1.745 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 126 | 13 | Occupied | 8 | 52 % | 1.916 m² | Rack 126/127*14, Floor Position = 126/127*14 | 42 | 42 | 42 | 42 | 42 | 42
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 126 | 13 | Occupied | 8 | 52 % | 1.916 m² | Rack 126*03, Floor Position = 126*03 | 34 | 37 | 34 | 34 | 37 | 34
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 126 | 13 | Occupied | 8 | 52 % | 1.916 m² | Rack 126*01, Floor Position = 126*01 | 34 | 37 | 34 | 34 | 37 | 34
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 126 | 13 | Occupied | 8 | 52 % | 1.916 m² | Rack 126*05, Floor Position = 126*05 | 34 | 37 | 34 | 34 | 37 | 34
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 126 | 13 | Occupied | 8 | 52 % | 1.916 m² | Rack 126/127*07, Floor Position = 126/127*07 | 42 | 46 | 42 | 42 | 46 | 42
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 126 | 13 | Occupied | 8 | 52 % | 1.916 m² | Rack 126/127*08, Floor Position = 126/127*08 | 42 | 46 | 42 | 42 | 46 | 42
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 126 | 13 | Occupied | 8 | 52 % | 1.916 m² | Rack 126/127*11, Floor Position = 126/127*11 | 42 | 46 | 42 | 42 | 46 | 42
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 126 | 13 | Occupied | 8 | 52 % | 1.916 m² | Rack 126/127*12, Floor Position = 126/127*12 | 42 | 46 | 42 | 42 | 46 | 42
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 126 | 13 | Reserved | 0 | 0 % | 0.000 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 127 | 13 | Free | 8 | 67 % | 2.458 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 127 | 13 | Occupied | 5 | 33 % | 1.204 m² | Rack 126/127*14, Floor Position = 126/127*14 | 42 | 42 | 42 | 42 | 42 | 42
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 127 | 13 | Occupied | 5 | 33 % | 1.204 m² | Rack 126/127*07, Floor Position = 126/127*07 | 42 | 46 | 42 | 42 | 46 | 42
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 127 | 13 | Occupied | 5 | 33 % | 1.204 m² | Rack 126/127*08, Floor Position = 126/127*08 | 42 | 46 | 42 | 42 | 46 | 42
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 127 | 13 | Occupied | 5 | 33 % | 1.204 m² | Rack 126/127*12, Floor Position = 126/127*12 | 42 | 46 | 42 | 42 | 46 | 42
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 127 | 13 | Occupied | 5 | 33 % | 1.204 m² | Rack 126/127*11, Floor Position = 126/127*11 | 42 | 46 | 42 | 42 | 46 | 42
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 127 | 13 | Reserved | 0 | 0 % | 0.000 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 128 | 7 | Free | 0 | 41 % | 1.309 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 128 | 7 | Occupied | 7 | 59 % | 1.893 m² | Rack 128*07, Floor Position = 128*07 | 27 | 45 | 27 | 26 | 45 | 26
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 128 | 7 | Occupied | 7 | 59 % | 1.893 m² | Rack 128*06, Floor Position = 128*06 | 27 | 45 | 27 | 26 | 45 | 26
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 128 | 7 | Occupied | 7 | 59 % | 1.893 m² | Rack 128*03, Floor Position = 128*03 | 27 | 45 | 27 | 26 | 45 | 26
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 128 | 7 | Occupied | 7 | 59 % | 1.893 m² | Rack 128*04, Floor Position = 128*04 | 27 | 45 | 27 | 26 | 45 | 26
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 128 | 7 | Occupied | 7 | 59 % | 1.893 m² | Rack 128*05, Floor Position = 128*05 | 27 | 45 | 27 | 26 | 45 | 26
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 128 | 7 | Occupied | 7 | 59 % | 1.893 m² | Rack 128*01, Floor Position = 128*01 | 27 | 45 | 27 | 26 | 45 | 26
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 128 | 7 | Occupied | 7 | 59 % | 1.893 m² | Rack 128*02, Floor Position = 128*02 | 3 | 44 | 3 | 2 | 23 | 2
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 128 | 7 | Reserved | 0 | 0 % | 0.000 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 129 | 7 | Free | 0 | 51 % | 2.072 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 129 | 7 | Occupied | 7 | 49 % | 2.016 m² | Rack 129*06, Floor Position = 129*06 | 45 | 45 | 45 | 45 | 45 | 45
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 129 | 7 | Occupied | 7 | 49 % | 2.016 m² | Rack 129*07, Floor Position = 129*07 | 45 | 45 | 45 | 45 | 45 | 45
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 129 | 7 | Occupied | 7 | 49 % | 2.016 m² | Rack 129*01, Floor Position = 129*01 | 45 | 45 | 45 | 45 | 45 | 45
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 129 | 7 | Occupied | 7 | 49 % | 2.016 m² | Rack 129*02, Floor Position = 129*02 | 45 | 45 | 45 | 45 | 45 | 45
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 129 | 7 | Occupied | 7 | 49 % | 2.016 m² | Rack 129*03, Floor Position = 129*03 | 45 | 45 | 45 | 45 | 45 | 45
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 129 | 7 | Occupied | 7 | 49 % | 2.016 m² | Rack 129*04, Floor Position = 129*04 | 45 | 45 | 45 | 45 | 45 | 45
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 129 | 7 | Occupied | 7 | 49 % | 2.016 m² | Rack 129*05, Floor Position = 129*05 | 45 | 45 | 45 | 45 | 45 | 45
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | 129 | 7 | Reserved | 0 | 0 % | 0.000 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | WALL01 | 1 | Free | 0 | 98 % | 5.423 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | WALL01 | 1 | Occupied | 1 | 2 % | 0.085 m² | Rack WALL01*14, Floor Position = WALL01*14 | 0 | 30 | 0 | 0 | 30 | 0
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | WALL01 | 1 | Reserved | 0 | 0 % | 0.000 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | WALL02 | 1 | Free | 0 | 99 % | 2.420 m²
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | WALL02 | 1 | Occupied | 1 | 1 % | 0.029 m² | Rack IC3WN DB, Floor Position = WALL02*08 | 0 | 4 | 0 | 0 | 4 | 0
Room TWN001 on Floor Ground Floor in Site WARRINGTON MTX | 90048.50 W | 120000.00 W | 75 % | WALL02 | 1 | Reserved | 0 | 0 % | 0.000 m²