## Suite Line Capacity
Report generated for: | Room VHXINT on Floor Ground Floor in Site VAUXHALL
| Quantity | % of all area | Area
Total free sections: | 28/75 | 63 % | 16.014 m²
Total occupied sections: | 47/75 | 37 % | 9.463 m²
Total reserved sections: | 0/75 | 0 % | 0.000 m²
Total Lines Capability |  |  | 25.477 m²
Total Location Capability |  |  | 90.531 m²
Total Location Free Area |  |  | 81.068 m²
Total Location Occupied Area |  |  | 9.463 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | 0 | 1 | Free | 0 | 20 % | 0.038 m²
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | 0 | 1 | Occupied | 1 | 80 % | 0.150 m² | Rack 0G, Floor Position = 0G | 5 | 47 | 5 | 5 | 47 | 5
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | 0 | 1 | Reserved | 0 | 0 % | 0.000 m²
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | A | 9 | Free | 2 | 36 % | 0.655 m²
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | A | 9 | Occupied | 7 | 64 % | 1.145 m² | ODF A11, Floor Position = A11 | 1 | 44 | 1 | 1 | 44 | 1
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | A | 9 | Occupied | 7 | 64 % | 1.145 m² | Rack A6, Floor Position = A06 | 47 | 47 | 47 | 47 | 47 | 47
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | A | 9 | Occupied | 7 | 64 % | 1.145 m² | Rack A5, Floor Position = A05 | 47 | 47 | 47 | 47 | 47 | 47
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | A | 9 | Occupied | 7 | 64 % | 1.145 m² | Rack A7, Floor Position = A07 | 47 | 47 | 47 | 47 | 47 | 47
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | A | 9 | Occupied | 7 | 64 % | 1.145 m² | Rack A3, Floor Position = A03 | 47 | 47 | 47 | 47 | 47 | 47
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | A | 9 | Occupied | 7 | 64 % | 1.145 m² | Rack A4, Floor Position = A04 | 47 | 47 | 47 | 47 | 47 | 47
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | A | 9 | Reserved | 0 | 0 % | 0.000 m²
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | BA | 10 | Free | 1 | 29 % | 0.797 m²
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | BA | 10 | Occupied | 9 | 71 % | 1.945 m² | Rack BA10, Floor Position = BA10 | 24 | 46 | 24 | 19 | 46 | 19
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | BA | 10 | Occupied | 9 | 71 % | 1.945 m² | Rack BA09, Floor Position = BA9 | 3 | 48 | 3 | 3 | 48 | 3
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | BA | 10 | Occupied | 9 | 71 % | 1.945 m² | Rack BA7, Floor Position = BA7 | 12 | 47 | 12 | 6 | 47 | 6
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | BA | 10 | Occupied | 9 | 71 % | 1.945 m² | Rack BA04, Floor Position = BA4 | 38 | 43 | 38 | 32 | 36 | 32
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | BA | 10 | Occupied | 9 | 71 % | 1.945 m² | Rack BA3, Floor Position = BA3 | 44 | 47 | 44 | 44 | 47 | 44
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | BA | 10 | Occupied | 9 | 71 % | 1.945 m² | Rack BA11, Floor Position = BA11 | 5 | 47 | 5 | 5 | 47 | 5
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | BA | 10 | Occupied | 9 | 71 % | 1.945 m² | Rack BA1, Floor Position = BA1 | 42 | 45 | 42 | 42 | 45 | 42
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | BA | 10 | Occupied | 9 | 71 % | 1.945 m² | Rack BA2, Floor Position = BA2 | 42 | 45 | 42 | 42 | 45 | 42
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | BA | 10 | Occupied | 9 | 71 % | 1.945 m² | Rack BA0, Floor Position = BA0 | 5 | 47 | 5 | 5 | 47 | 5
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | BA | 10 | Reserved | 0 | 0 % | 0.000 m²
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | BB | 10 | Free | 0 | 24 % | 0.670 m²
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | BB | 10 | Occupied | 10 | 76 % | 2.144 m² | Rack BB10, Floor Position = BB10 | 22 | 47 | 22 | 14 | 47 | 14
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | BB | 10 | Occupied | 10 | 76 % | 2.144 m² | Rack BB08, Floor Position = BB8 | 28 | 47 | 28 | 25 | 47 | 25
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | BB | 10 | Occupied | 10 | 76 % | 2.144 m² | Rack BB07, Floor Position = BB7 | 12 | 47 | 12 | 8 | 47 | 8
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | BB | 10 | Occupied | 10 | 76 % | 2.144 m² | Rack BA04, Floor Position = BA4 | 38 | 43 | 38 | 32 | 36 | 32
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | BB | 10 | Occupied | 10 | 76 % | 2.144 m² | Rack BB5, Floor Position = BB5 | 43 | 46 | 43 | 43 | 46 | 43
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | BB | 10 | Occupied | 10 | 76 % | 2.144 m² | Rack BA3, Floor Position = BA3 | 44 | 47 | 44 | 44 | 47 | 44
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | BB | 10 | Occupied | 10 | 76 % | 2.144 m² | Rack BA11, Floor Position = BA11 | 5 | 47 | 5 | 5 | 47 | 5
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | BB | 10 | Occupied | 10 | 76 % | 2.144 m² | Rack BB1, Floor Position = BB1 | 42 | 45 | 42 | 42 | 45 | 42
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | BB | 10 | Occupied | 10 | 76 % | 2.144 m² | Rack BB2, Floor Position = BB2 | 42 | 45 | 42 | 42 | 45 | 42
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | BB | 10 | Occupied | 10 | 76 % | 2.144 m² | Rack BB0, Floor Position = BB0 | 5 | 47 | 5 | 5 | 47 | 5
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | BB | 10 | Reserved | 0 | 0 % | 0.000 m²
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | C | 9 | Free | 7 | 93 % | 4.997 m²
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | C | 9 | Occupied | 2 | 7 % | 0.404 m² | Rack C11, Floor Position = C11 | 31 | 38 | 29 | 20 | 22 | 16
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | C | 9 | Occupied | 2 | 7 % | 0.404 m² | Rack C0, Floor Position = C0 | 5 | 47 | 5 | 5 | 47 | 5
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | C | 9 | Reserved | 0 | 0 % | 0.000 m²
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | DA | 6 | Free | 0 | 54 % | 2.013 m²
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | DA | 6 | Occupied | 6 | 46 % | 1.695 m² | ODF DA10, Floor Position = DA10 | 3 | 45 | 3 | 1 | 45 | 1
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | DA | 6 | Occupied | 6 | 46 % | 1.695 m² | Rack DA/DB7, Floor Position = DA7 | 14 | 47 | 14 | 5 | 47 | 5
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | DA | 6 | Occupied | 6 | 46 % | 1.695 m² | Rack DA/DB05, Floor Position = DA5 | 6 | 36 | 4 | 4 | 32 | 2
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | DA | 6 | Occupied | 6 | 46 % | 1.695 m² | Rack DADB04, Floor Position = DA4 | 32 | 42 | 32 | 32 | 42 | 32
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | DA | 6 | Occupied | 6 | 46 % | 1.695 m² | Rack DA1, Floor Position = DA1 | 37 | 40 | 37 | 37 | 40 | 37
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | DA | 6 | Occupied | 6 | 46 % | 1.695 m² | Rack DA0, Floor Position = DA0 | 5 | 47 | 5 | 5 | 47 | 5
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | DA | 6 | Reserved | 0 | 0 % | 0.000 m²
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | DB | 6 | Free | 0 | 45 % | 1.010 m²
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | DB | 6 | Occupied | 6 | 55 % | 1.215 m² | ODF DB10, Floor Position = DB10 | 5 | 45 | 5 | 2 | 45 | 2
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | DB | 6 | Occupied | 6 | 55 % | 1.215 m² | Rack DA/DB7, Floor Position = DA7 | 14 | 47 | 14 | 5 | 47 | 5
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | DB | 6 | Occupied | 6 | 55 % | 1.215 m² | Rack DADB04, Floor Position = DA4 | 32 | 42 | 32 | 32 | 42 | 32
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | DB | 6 | Occupied | 6 | 55 % | 1.215 m² | Rack DA/DB05, Floor Position = DA5 | 6 | 36 | 4 | 4 | 32 | 2
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | DB | 6 | Occupied | 6 | 55 % | 1.215 m² | Rack DA1, Floor Position = DA1 | 37 | 40 | 37 | 37 | 40 | 37
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | DB | 6 | Occupied | 6 | 55 % | 1.215 m² | Rack DB0, Floor Position = DB0 | 5 | 47 | 5 | 5 | 47 | 5
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | DB | 6 | Reserved | 0 | 0 % | 0.000 m²
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | E | 10 | Free | 8 | 98 % | 2.895 m²
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | E | 10 | Occupied | 2 | 2 % | 0.045 m² | Rack E0, Floor Position = E0 | 5 | 47 | 5 | 5 | 47 | 5
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | E | 10 | Reserved | 0 | 0 % | 0.000 m²
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | F | 4 | Free | 0 | 0 % | 0.000 m²
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | F | 4 | Occupied | 4 | 100 % | 0.720 m² | Rack F3, Floor Position = F03 | 39 | 44 | 39 | 39 | 44 | 39
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | F | 4 | Occupied | 4 | 100 % | 0.720 m² | Rack F4, Floor Position = F04 | 39 | 44 | 39 | 39 | 44 | 39
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | F | 4 | Occupied | 4 | 100 % | 0.720 m² | Rack F2, Floor Position = F02 | 39 | 44 | 39 | 39 | 44 | 39
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | F | 4 | Occupied | 4 | 100 % | 0.720 m² | Rack F1, Floor Position = F01 | 39 | 44 | 39 | 39 | 44 | 39
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | F | 4 | Reserved | 0 | 0 % | 0.000 m²
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | G | 10 | Free | 10 | 100 % | 2.940 m²
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | G | 10 | Occupied | 0 | 0 % | 0.000 m²
Room VHXINT on Floor Ground Floor in Site VAUXHALL | 19475.00 W | 55500.00 W | 35 % | G | 10 | Reserved | 0 | 0 % | 0.000 m²