## Suite Line Capacity
Report generated for: | Room VHXN02 on Floor Ground Floor in Site VAUXHALL
| Quantity | % of all area | Area
Total free sections: | 2/67 | 27 % | 5.220 m²
Total occupied sections: | 64/67 | 71 % | 13.512 m²
Total reserved sections: | 1/67 | 1 % | 0.270 m²
Total Lines Capability |  |  | 19.002 m²
Total Location Capability |  |  | 86.681 m²
Total Location Free Area |  |  | 72.809 m²
Total Location Occupied Area |  |  | 13.872 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | A | 7 | Free | 0 | 15 % | 0.271 m²
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | A | 7 | Occupied | 7 | 85 % | 1.529 m² | ODF A10, Floor Position = A10 | 2 | 44 | 2 | 1 | 44 | 1
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | A | 7 | Occupied | 7 | 85 % | 1.529 m² | Rack A9, Floor Position = A9 | 41 | 44 | 41 | 41 | 44 | 41
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | A | 7 | Occupied | 7 | 85 % | 1.529 m² | ODF A02, Floor Position = A2 | 0 | 44 | 0 | 0 | 44 | 0
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | A | 7 | Occupied | 7 | 85 % | 1.529 m² | Rack A8, Floor Position = A08 | 43 | 46 | 43 | 43 | 46 | 43
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | A | 7 | Occupied | 7 | 85 % | 1.529 m² | Rack A6, Floor Position = A06 | 43 | 46 | 43 | 43 | 46 | 43
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | A | 7 | Occupied | 7 | 85 % | 1.529 m² | Rack A05, Floor Position = A05 | 3 | 41 | 3 | 2 | 21 | 2
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | A | 7 | Occupied | 7 | 85 % | 1.529 m² | Rack A04, Floor Position = A4 | 31 | 47 | 31 | 16 | 47 | 16
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | A | 7 | Reserved | 0 | 0 % | 0.000 m²
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | B | 8 | Free | 0 | 49 % | 1.470 m²
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | B | 8 | Occupied | 8 | 51 % | 1.530 m² | Rack B10, Floor Position = B10 | 43 | 46 | 43 | 43 | 46 | 43
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | B | 8 | Occupied | 8 | 51 % | 1.530 m² | Rack B11, Floor Position = unset | 43 | 46 | 43 | 43 | 46 | 43
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | B | 8 | Occupied | 8 | 51 % | 1.530 m² | Rack B9, Floor Position = B09 | 43 | 46 | 43 | 43 | 46 | 43
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | B | 8 | Occupied | 8 | 51 % | 1.530 m² | ODF B02, Floor Position = B2 | 2 | 47 | 2 | 2 | 47 | 2
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | B | 8 | Occupied | 8 | 51 % | 1.530 m² | Rack B8, Floor Position = B08 | 43 | 46 | 43 | 43 | 46 | 43
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | B | 8 | Occupied | 8 | 51 % | 1.530 m² | Rack B6, Floor Position = B06 | 43 | 46 | 43 | 43 | 46 | 43
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | B | 8 | Occupied | 8 | 51 % | 1.530 m² | Rack A05, Floor Position = A05 | 3 | 41 | 3 | 2 | 21 | 2
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | B | 8 | Occupied | 8 | 51 % | 1.530 m² | Rack B04, Floor Position = B4 | 14 | 44 | 14 | 4 | 44 | 4
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | B | 8 | Occupied | 8 | 51 % | 1.530 m² | Rack B3, Floor Position = B3 | 44 | 47 | 44 | 44 | 47 | 44
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | B | 8 | Reserved | 0 | 0 % | 0.000 m²
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | C | 10 | Free | 0 | 27 % | 0.723 m²
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | C | 10 | Occupied | 10 | 73 % | 1.920 m² | Rack C11, Floor Position = C11 | 39 | 45 | 39 | 39 | 45 | 39
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | C | 10 | Occupied | 10 | 73 % | 1.920 m² | Rack C10, Floor Position = C10 | 19 | 32 | 12 | 7 | 19 | 3
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | C | 10 | Occupied | 10 | 73 % | 1.920 m² | Rack CD02, Floor Position = C2 | 6 | 35 | 4 | 3 | 34 | 3
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | C | 10 | Occupied | 10 | 73 % | 1.920 m² | Rack C6, Floor Position = C6 | 43 | 46 | 43 | 43 | 46 | 43
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | C | 10 | Occupied | 10 | 73 % | 1.920 m² | Rack C8, Floor Position = C8 | 41 | 44 | 41 | 41 | 44 | 41
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | C | 10 | Occupied | 10 | 73 % | 1.920 m² | Rack C9, Floor Position = C9 | 19 | 35 | 19 | 14 | 35 | 14
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | C | 10 | Occupied | 10 | 73 % | 1.920 m² | Rack C7, Floor Position = C7 | 41 | 44 | 41 | 41 | 44 | 41
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | C | 10 | Occupied | 10 | 73 % | 1.920 m² | Rack CD04, Floor Position = C4 | 32 | 35 | 24 | 21 | 28 | 21
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | C | 10 | Occupied | 10 | 73 % | 1.920 m² | Rack C05, Floor Position = C5 | 12 | 46 | 12 | 3 | 46 | 3
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | C | 10 | Occupied | 10 | 73 % | 1.920 m² | Rack C1, Floor Position = C1 | 5 | 47 | 5 | 5 | 47 | 5
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | C | 10 | Reserved | 0 | 0 % | 0.000 m²
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | D | 10 | Free | 1 | 37 % | 1.223 m²
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | D | 10 | Occupied | 9 | 63 % | 2.080 m² | Rack C11, Floor Position = C11 | 39 | 45 | 39 | 39 | 45 | 39
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | D | 10 | Occupied | 9 | 63 % | 2.080 m² | Rack C10, Floor Position = C10 | 19 | 32 | 12 | 7 | 19 | 3
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | D | 10 | Occupied | 9 | 63 % | 2.080 m² | Rack CD02, Floor Position = C2 | 6 | 35 | 4 | 3 | 34 | 3
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | D | 10 | Occupied | 9 | 63 % | 2.080 m² | Rack D6, Floor Position = D6 | 43 | 46 | 43 | 43 | 46 | 43
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | D | 10 | Occupied | 9 | 63 % | 2.080 m² | Rack D08, Floor Position = D8 | 28 | 45 | 28 | 25 | 45 | 25
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | D | 10 | Occupied | 9 | 63 % | 2.080 m² | Rack C9, Floor Position = C9 | 19 | 35 | 19 | 14 | 35 | 14
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | D | 10 | Occupied | 9 | 63 % | 2.080 m² | Rack CD04, Floor Position = C4 | 32 | 35 | 24 | 21 | 28 | 21
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | D | 10 | Occupied | 9 | 63 % | 2.080 m² | Rack D05, Floor Position = D5 | 43 | 46 | 43 | 43 | 46 | 43
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | D | 10 | Occupied | 9 | 63 % | 2.080 m² | Rack C1, Floor Position = C1 | 5 | 47 | 5 | 5 | 47 | 5
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | D | 10 | Reserved | 0 | 0 % | 0.000 m²
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | E | 7 | Free | 0 | 25 % | 0.450 m²
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | E | 7 | Occupied | 6 | 60 % | 1.080 m² | Rack E9, Floor Position = E09 | 43 | 46 | 43 | 43 | 46 | 43
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | E | 7 | Occupied | 6 | 60 % | 1.080 m² | Rack E8, Floor Position = E08 | 43 | 46 | 43 | 43 | 46 | 43
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | E | 7 | Occupied | 6 | 60 % | 1.080 m² | Rack E3, Floor Position = E03 | 43 | 46 | 43 | 43 | 46 | 43
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | E | 7 | Occupied | 6 | 60 % | 1.080 m² | Rack E4, Floor Position = E04 | 43 | 46 | 43 | 43 | 46 | 43
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | E | 7 | Occupied | 6 | 60 % | 1.080 m² | Rack E2, Floor Position = E02 | 43 | 46 | 43 | 43 | 46 | 43
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | E | 7 | Occupied | 6 | 60 % | 1.080 m² | Rack E01, Floor Position = E01 | 41 | 46 | 41 | 37 | 46 | 37
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | E | 7 | Reserved | 1 | 15 % | 0.270 m²
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | F | 7 | Free | 0 | 5 % | 0.090 m²
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | F | 7 | Occupied | 7 | 95 % | 1.710 m² | Rack F7, Floor Position = F07 | 43 | 46 | 43 | 43 | 46 | 43
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | F | 7 | Occupied | 7 | 95 % | 1.710 m² | Rack F8, Floor Position = F08 | 43 | 46 | 43 | 43 | 46 | 43
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | F | 7 | Occupied | 7 | 95 % | 1.710 m² | Rack F2, Floor Position = F02 | 43 | 46 | 43 | 43 | 46 | 43
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | F | 7 | Occupied | 7 | 95 % | 1.710 m² | Rack F03, Floor Position = F03 | 41 | 46 | 41 | 37 | 46 | 37
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | F | 7 | Occupied | 7 | 95 % | 1.710 m² | ODF F4, Floor Position = F04 | 47 | 47 | 47 | 47 | 47 | 47
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | F | 7 | Occupied | 7 | 95 % | 1.710 m² | Rack F5, Floor Position = F05 | 44 | 47 | 44 | 44 | 47 | 44
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | F | 7 | Occupied | 7 | 95 % | 1.710 m² | ODF F6, Floor Position = F06 | 47 | 47 | 47 | 47 | 47 | 47
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | F | 7 | Reserved | 0 | 0 % | 0.000 m²
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | G | 6 | Free | 1 | 41 % | 0.723 m²
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | G | 6 | Occupied | 5 | 59 % | 1.053 m² | ODF G6, Floor Position = G6 | 47 | 47 | 47 | 47 | 47 | 47
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | G | 6 | Occupied | 5 | 59 % | 1.053 m² | Rack G8, Floor Position = G8 | 42 | 42 | 42 | 42 | 42 | 42
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | G | 6 | Occupied | 5 | 59 % | 1.053 m² | Rack G5, Floor Position = G5 | 45 | 45 | 45 | 45 | 45 | 45
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | G | 6 | Occupied | 5 | 59 % | 1.053 m² | Rack G1, Floor Position = G1 | 5 | 47 | 5 | 5 | 47 | 5
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | G | 6 | Occupied | 5 | 59 % | 1.053 m² | Rack G2, Floor Position = G2 | 43 | 46 | 43 | 43 | 46 | 43
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | G | 6 | Reserved | 0 | 0 % | 0.000 m²
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | H | 7 | Free | 0 | 6 % | 0.090 m²
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | H | 7 | Occupied | 7 | 94 % | 1.350 m² | Rack G8, Floor Position = G8 | 42 | 42 | 42 | 42 | 42 | 42
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | H | 7 | Occupied | 7 | 94 % | 1.350 m² | ODF CODF H07, Floor Position = H7 | 18 | 47 | 18 | 10 | 47 | 10
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | H | 7 | Occupied | 7 | 94 % | 1.350 m² | Rack H3, Floor Position = H3 | 42 | 44 | 42 | 42 | 44 | 42
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | H | 7 | Occupied | 7 | 94 % | 1.350 m² | Rack H5, Floor Position = H5 | 43 | 46 | 43 | 43 | 46 | 43
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | H | 7 | Occupied | 7 | 94 % | 1.350 m² | Rack H4, Floor Position = H4 | 43 | 46 | 43 | 43 | 46 | 43
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | H | 7 | Occupied | 7 | 94 % | 1.350 m² | Rack G1, Floor Position = G1 | 5 | 47 | 5 | 5 | 47 | 5
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | H | 7 | Occupied | 7 | 94 % | 1.350 m² | Rack H2, Floor Position = H2 | 41 | 44 | 41 | 41 | 44 | 41
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | H | 7 | Reserved | 0 | 0 % | 0.000 m²
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | J | 5 | Free | 0 | 12 % | 0.180 m²
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | J | 5 | Occupied | 5 | 88 % | 1.260 m² | ODF J08, Floor Position = J8 | 40 | 46 | 40 | 32 | 46 | 32
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | J | 5 | Occupied | 5 | 88 % | 1.260 m² | ODF J05, Floor Position = J5 | 20 | 46 | 20 | 19 | 46 | 19
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | J | 5 | Occupied | 5 | 88 % | 1.260 m² | ODF J04, Floor Position = J4 | 32 | 46 | 32 | 26 | 46 | 26
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | J | 5 | Occupied | 5 | 88 % | 1.260 m² | Rack J2, Floor Position = J2 | 47 | 47 | 47 | 47 | 47 | 47
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | J | 5 | Occupied | 5 | 88 % | 1.260 m² | Rack J1, Floor Position = J1 | 47 | 47 | 47 | 47 | 47 | 47
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | J | 5 | Reserved | 0 | 0 % | 0.000 m²
Room VHXN02 on Floor Ground Floor in Site VAUXHALL | 54616.00 W | 67500.00 W | 81 % | [6 empty] | Rack VHXN02;DC SYS01, Floor Position = Temp Mig | 13 | 46 | 13 | 12 | 25 | 12