## Suite Line Capacity
Report generated for: | Room WADN01 on Floor Ground Floor in Site WADDON SWITCH
| Quantity | % of all area | Area
Total free sections: | 33/240 | 25 % | 12.748 m²
Total occupied sections: | 207/240 | 75 % | 39.039 m²
Total reserved sections: | 0/240 | 0 % | 0.000 m²
Total Lines Capability |  |  | 51.787 m²
Total Location Capability |  |  | 175.369 m²
Total Location Free Area |  |  | 135.970 m²
Total Location Occupied Area |  |  | 39.399 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 1 | 11 | Free | 0 | 0 % | 0.001 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 1 | 11 | Occupied | 11 | 100 % | 2.970 m² | Rack 1L, Floor Position = 1L | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 1 | 11 | Occupied | 11 | 100 % | 2.970 m² | Rack 1G, Floor Position = 1G | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 1 | 11 | Occupied | 11 | 100 % | 2.970 m² | Rack 1H, Floor Position = 1H | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 1 | 11 | Occupied | 11 | 100 % | 2.970 m² | Rack 1J, Floor Position = 1J | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 1 | 11 | Occupied | 11 | 100 % | 2.970 m² | Rack 1K, Floor Position = 1K | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 1 | 11 | Occupied | 11 | 100 % | 2.970 m² | Rack 1E, Floor Position = 1E | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 1 | 11 | Occupied | 11 | 100 % | 2.970 m² | Rack 1D, Floor Position = 1D | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 1 | 11 | Occupied | 11 | 100 % | 2.970 m² | Rack 1C, Floor Position = 1C | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 1 | 11 | Occupied | 11 | 100 % | 2.970 m² | Rack 1F, Floor Position = 1F | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 1 | 11 | Occupied | 11 | 100 % | 2.970 m² | Rack 1A, Floor Position = 1A | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 1 | 11 | Occupied | 11 | 100 % | 2.970 m² | Rack 1B, Floor Position = 1B | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 1 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 10 | 12 | Free | 0 | 3 % | 0.105 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 10 | 12 | Occupied | 12 | 97 % | 2.925 m² | Rack 10G, Floor Position = 10G | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 10 | 12 | Occupied | 12 | 97 % | 2.925 m² | Rack 10H, Floor Position = 10H | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 10 | 12 | Occupied | 12 | 97 % | 2.925 m² | Rack 10J, Floor Position = 10J | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 10 | 12 | Occupied | 12 | 97 % | 2.925 m² | Rack 10K, Floor Position = 10K | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 10 | 12 | Occupied | 12 | 97 % | 2.925 m² | Rack 10L, Floor Position = 10L | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 10 | 12 | Occupied | 12 | 97 % | 2.925 m² | Rack 10E, Floor Position = 10E | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 10 | 12 | Occupied | 12 | 97 % | 2.925 m² | Rack 10D, Floor Position = 10D | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 10 | 12 | Occupied | 12 | 97 % | 2.925 m² | Rack 10C, Floor Position = 10C | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 10 | 12 | Occupied | 12 | 97 % | 2.925 m² | Rack 10F, Floor Position = 10F | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 10 | 12 | Occupied | 12 | 97 % | 2.925 m² | Rack 10A0, Floor Position = 10A0 | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 10 | 12 | Occupied | 12 | 97 % | 2.925 m² | Rack 10A, Floor Position = 10A | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 10 | 12 | Occupied | 12 | 97 % | 2.925 m² | Rack 10B, Floor Position = 10B | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 10 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 11 | 2 | Free | 0 | 3 % | 0.023 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 11 | 2 | Occupied | 2 | 97 % | 0.629 m² | Rack 11B, Floor Position = 11B | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 11 | 2 | Occupied | 2 | 97 % | 0.629 m² | Rack 11A, Floor Position = 11A | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 11 | 2 | Reserved | 0 | 0 % | 0.000 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 12 | 12 | Free | 5 | 42 % | 0.904 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 12 | 12 | Occupied | 7 | 58 % | 1.260 m² | Rack 12K, Floor Position = 12K | 44 | 47 | 44 | 44 | 47 | 44
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 12 | 12 | Occupied | 7 | 58 % | 1.260 m² | Rack 12F, Floor Position = 12F | 43 | 46 | 43 | 43 | 46 | 43
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 12 | 12 | Occupied | 7 | 58 % | 1.260 m² | Rack 12E, Floor Position = 12E | 43 | 46 | 43 | 43 | 46 | 43
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 12 | 12 | Occupied | 7 | 58 % | 1.260 m² | Rack 12D, Floor Position = 12D | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 12 | 12 | Occupied | 7 | 58 % | 1.260 m² | Rack 12C, Floor Position = 12C | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 12 | 12 | Occupied | 7 | 58 % | 1.260 m² | Rack 12H, Floor Position = 12H | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 12 | 12 | Occupied | 7 | 58 % | 1.260 m² | Rack 12J, Floor Position = 12J | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 12 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 13 | 12 | Free | 4 | 45 % | 1.670 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 13 | 12 | Occupied | 8 | 55 % | 2.050 m² | Rack 12K, Floor Position = 12K | 44 | 47 | 44 | 44 | 47 | 44
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 13 | 12 | Occupied | 8 | 55 % | 2.050 m² | Rack 13E, Floor Position = 13E | 41 | 47 | 41 | 25 | 47 | 25
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 13 | 12 | Occupied | 8 | 55 % | 2.050 m² | Rack 13F, Floor Position = 13F | 44 | 47 | 44 | 44 | 47 | 44
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 13 | 12 | Occupied | 8 | 55 % | 2.050 m² | Rack 12D, Floor Position = 12D | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 13 | 12 | Occupied | 8 | 55 % | 2.050 m² | Rack 13C, Floor Position = 13C | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 13 | 12 | Occupied | 8 | 55 % | 2.050 m² | Rack 12H, Floor Position = 12H | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 13 | 12 | Occupied | 8 | 55 % | 2.050 m² | Rack 12J, Floor Position = 12J | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 13 | 12 | Occupied | 8 | 55 % | 2.050 m² | Rack 12L, Floor Position = 12L | 44 | 47 | 44 | 44 | 47 | 44
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 13 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 14 | 12 | Free | 3 | 41 % | 1.171 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 14 | 12 | Occupied | 9 | 59 % | 1.715 m² | Rack 14K, Floor Position = 14K | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 14 | 12 | Occupied | 9 | 59 % | 1.715 m² | Rack 14D, Floor Position = 14D | 55 | 56 | 55 | 55 | 56 | 55
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 14 | 12 | Occupied | 9 | 59 % | 1.715 m² | Rack 14C, Floor Position = 14C | 55 | 56 | 55 | 55 | 56 | 55
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 14 | 12 | Occupied | 9 | 59 % | 1.715 m² | Rack 14E, Floor Position = 14E | 55 | 56 | 55 | 55 | 56 | 55
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 14 | 12 | Occupied | 9 | 59 % | 1.715 m² | Rack 14F, Floor Position = 14F | 55 | 56 | 55 | 55 | 56 | 55
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 14 | 12 | Occupied | 9 | 59 % | 1.715 m² | Rack 14H, Floor Position = 14H | 56 | 56 | 56 | 56 | 56 | 56
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 14 | 12 | Occupied | 9 | 59 % | 1.715 m² | Rack 14G, Floor Position = 14G | 56 | 56 | 56 | 56 | 56 | 56
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 14 | 12 | Occupied | 9 | 59 % | 1.715 m² | Rack 14J, Floor Position = 14J | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 14 | 12 | Occupied | 9 | 59 % | 1.715 m² | Rack 14M, Floor Position = 14M | 44 | 47 | 44 | 44 | 47 | 44
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 14 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 15 | 12 | Free | 1 | 49 % | 1.783 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 15 | 12 | Occupied | 11 | 51 % | 1.890 m² | Rack 14C, Floor Position = 14C | 55 | 56 | 55 | 55 | 56 | 55
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 15 | 12 | Occupied | 11 | 51 % | 1.890 m² | Rack 15A0, Floor Position = 15A0 | 5 | 47 | 5 | 5 | 47 | 5
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 15 | 12 | Occupied | 11 | 51 % | 1.890 m² | Rack 15K, Floor Position = 15K | 43 | 46 | 43 | 43 | 46 | 43
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 15 | 12 | Occupied | 11 | 51 % | 1.890 m² | Rack 14M, Floor Position = 14M | 44 | 47 | 44 | 44 | 47 | 44
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 15 | 12 | Occupied | 11 | 51 % | 1.890 m² | Rack 14H, Floor Position = 14H | 56 | 56 | 56 | 56 | 56 | 56
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 15 | 12 | Occupied | 11 | 51 % | 1.890 m² | Rack 14J, Floor Position = 14J | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 15 | 12 | Occupied | 11 | 51 % | 1.890 m² | Rack 14G, Floor Position = 14G | 56 | 56 | 56 | 56 | 56 | 56
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 15 | 12 | Occupied | 11 | 51 % | 1.890 m² | Rack 14E, Floor Position = 14E | 55 | 56 | 55 | 55 | 56 | 55
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 15 | 12 | Occupied | 11 | 51 % | 1.890 m² | Rack 14F, Floor Position = 14F | 55 | 56 | 55 | 55 | 56 | 55
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 15 | 12 | Occupied | 11 | 51 % | 1.890 m² | Rack 14D, Floor Position = 14D | 55 | 56 | 55 | 55 | 56 | 55
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 15 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 16 | 11 | Free | 2 | 37 % | 0.811 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 16 | 11 | Occupied | 9 | 63 % | 1.394 m² | Rack 16C, Floor Position = 16C | 45 | 47 | 45 | 45 | 47 | 45
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 16 | 11 | Occupied | 9 | 63 % | 1.394 m² | Rack 16A0, Floor Position = 16A0 | 5 | 47 | 5 | 5 | 47 | 5
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 16 | 11 | Occupied | 9 | 63 % | 1.394 m² | Rack 16D, Floor Position = 16D | 48 | 48 | 48 | 48 | 48 | 48
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 16 | 11 | Occupied | 9 | 63 % | 1.394 m² | Rack 16K, Floor Position = 16K | 43 | 46 | 43 | 43 | 46 | 43
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 16 | 11 | Occupied | 9 | 63 % | 1.394 m² | Rack 16H, Floor Position = 16H | 44 | 46 | 44 | 44 | 46 | 44
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 16 | 11 | Occupied | 9 | 63 % | 1.394 m² | Rack 16J, Floor Position = 16J | 43 | 46 | 43 | 43 | 46 | 43
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 16 | 11 | Occupied | 9 | 63 % | 1.394 m² | Rack 16G, Floor Position = 16G | 43 | 46 | 43 | 43 | 46 | 43
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 16 | 11 | Occupied | 9 | 63 % | 1.394 m² | Rack 16E, Floor Position = 16E | 41 | 47 | 41 | 41 | 47 | 41
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 16 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 17 | 10 | Free | 2 | 31 % | 0.676 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 17 | 10 | Occupied | 8 | 69 % | 1.529 m² | Rack 17C, Floor Position = 17C | 44 | 47 | 44 | 44 | 47 | 44
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 17 | 10 | Occupied | 8 | 69 % | 1.529 m² | Rack 16D, Floor Position = 16D | 48 | 48 | 48 | 48 | 48 | 48
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 17 | 10 | Occupied | 8 | 69 % | 1.529 m² | Rack 17K, Floor Position = 17K | 43 | 46 | 43 | 43 | 46 | 43
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 17 | 10 | Occupied | 8 | 69 % | 1.529 m² | Rack 17M, Floor Position = 17M | 43 | 46 | 43 | 43 | 46 | 43
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 17 | 10 | Occupied | 8 | 69 % | 1.529 m² | Rack 17J, Floor Position = 17J | 43 | 46 | 43 | 43 | 46 | 43
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 17 | 10 | Occupied | 8 | 69 % | 1.529 m² | Rack 17G, Floor Position = 17G | 45 | 47 | 45 | 45 | 47 | 45
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 17 | 10 | Occupied | 8 | 69 % | 1.529 m² | Rack 17E, Floor Position = 17E | 40 | 47 | 40 | 40 | 47 | 40
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 17 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 18 | 12 | Free | 0 | 35 % | 1.268 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 18 | 12 | Occupied | 12 | 65 % | 2.340 m² | Rack 18B, Floor Position = 18B | 20 | 44 | 20 | 18 | 44 | 18
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 18 | 12 | Occupied | 12 | 65 % | 2.340 m² | Rack 18A, Floor Position = 18A | 8 | 44 | 8 | 4 | 44 | 4
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 18 | 12 | Occupied | 12 | 65 % | 2.340 m² | Rack 18C, Floor Position = 18C | 22 | 44 | 22 | 20 | 44 | 20
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 18 | 12 | Occupied | 12 | 65 % | 2.340 m² | Rack 18/19J, Floor Position = 18J | 29 | 47 | 29 | 11 | 47 | 11
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 18 | 12 | Occupied | 12 | 65 % | 2.340 m² | Rack 18K, Floor Position = 18K | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 18 | 12 | Occupied | 12 | 65 % | 2.340 m² | Rack 19L, Floor Position = 19L | 4 | 39 | 4 | 2 | 20 | 2
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 18 | 12 | Occupied | 12 | 65 % | 2.340 m² | Rack 18M, Floor Position = 18M | 41 | 46 | 41 | 41 | 46 | 41
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 18 | 12 | Occupied | 12 | 65 % | 2.340 m² | Rack 18D, Floor Position = 18D | 44 | 47 | 44 | 44 | 47 | 44
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 18 | 12 | Occupied | 12 | 65 % | 2.340 m² | Rack 18E, Floor Position = 19E | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 18 | 12 | Occupied | 12 | 65 % | 2.340 m² | Rack 18G, Floor Position = 18G | 24 | 44 | 24 | 23 | 44 | 23
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 18 | 12 | Occupied | 12 | 65 % | 2.340 m² | Rack 18H, Floor Position = 18H | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 18 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 19 | 11 | Free | 1 | 17 % | 0.360 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 19 | 11 | Occupied | 10 | 83 % | 1.800 m² | ODF 19A, Floor Position = 19A | 43 | 46 | 43 | 22 | 46 | 22
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 19 | 11 | Occupied | 10 | 83 % | 1.800 m² | ODF CODF 19C, Floor Position = 19C | 38 | 46 | 38 | 22 | 46 | 22
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 19 | 11 | Occupied | 10 | 83 % | 1.800 m² | Rack 18K, Floor Position = 18K | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 19 | 11 | Occupied | 10 | 83 % | 1.800 m² | Rack 18/19J, Floor Position = 18J | 29 | 47 | 29 | 11 | 47 | 11
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 19 | 11 | Occupied | 10 | 83 % | 1.800 m² | Rack 19L, Floor Position = 19L | 4 | 39 | 4 | 2 | 20 | 2
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 19 | 11 | Occupied | 10 | 83 % | 1.800 m² | Rack 19M, Floor Position = 19M | 43 | 46 | 43 | 43 | 46 | 43
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 19 | 11 | Occupied | 10 | 83 % | 1.800 m² | Rack 19D, Floor Position = 19D | 37 | 46 | 37 | 21 | 46 | 21
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 19 | 11 | Occupied | 10 | 83 % | 1.800 m² | Rack 18E, Floor Position = 19E | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 19 | 11 | Occupied | 10 | 83 % | 1.800 m² | Rack 18H, Floor Position = 18H | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 19 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 2 | 15 | Free | 2 | 14 % | 0.360 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 2 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 2L, Floor Position = 2L | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 2 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 2K, Floor Position = 2K | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 2 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 2M, Floor Position = 2M | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 2 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 2H, Floor Position = 2H | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 2 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 2G, Floor Position = 2G | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 2 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 2J, Floor Position = 2J | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 2 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 2F, Floor Position = 2F | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 2 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 2E, Floor Position = 2E | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 2 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 2A, Floor Position = 2A | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 2 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 2B, Floor Position = 2B | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 2 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 2C, Floor Position = 2C | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 2 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 2D, Floor Position = 2D | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 2 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 2A0, Floor Position = 2A0 | 5 | 47 | 5 | 5 | 47 | 5
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 2 | 15 | Reserved | 0 | 0 % | 0.000 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 20 | 2 | Free | 0 | 2 % | 0.008 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 20 | 2 | Occupied | 2 | 98 % | 0.360 m² | Rack 20B, Floor Position = 20B | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 20 | 2 | Occupied | 2 | 98 % | 0.360 m² | Rack 20A, Floor Position = 20A | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 20 | 2 | Reserved | 0 | 0 % | 0.000 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 21 | 1 | Free | 0 | 25 % | 0.120 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 21 | 1 | Occupied | 1 | 75 % | 0.360 m² | Rack 21A, Floor Position = 21A | 5 | 47 | 5 | 5 | 47 | 5
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 21 | 1 | Reserved | 0 | 0 % | 0.000 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 3 | 15 | Free | 2 | 14 % | 0.360 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 3 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 3L, Floor Position = 3L | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 3 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 3K, Floor Position = 3K | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 3 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 3M, Floor Position = 3M | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 3 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 3H, Floor Position = 3H | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 3 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 3G, Floor Position = 3G | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 3 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 3J, Floor Position = 3J | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 3 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 3F, Floor Position = 3F | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 3 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 3E, Floor Position = 3E | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 3 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 3A, Floor Position = 3A | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 3 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 3B, Floor Position = 3B | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 3 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 3C, Floor Position = 3C | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 3 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 3D, Floor Position = 3D | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 3 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 3A0, Floor Position = 3A0 | 5 | 47 | 5 | 5 | 47 | 5
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 3 | 15 | Reserved | 0 | 0 % | 0.000 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 4 | 15 | Free | 2 | 14 % | 0.360 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 4 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 4M, Floor Position = 4M | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 4 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 4K, Floor Position = 4K | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 4 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 4L, Floor Position = 4L | 29 | 44 | 29 | 18 | 26 | 18
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 4 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 4H, Floor Position = 4H | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 4 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 4J, Floor Position = 4J | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 4 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 4G, Floor Position = 4G | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 4 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 4F, Floor Position = 4F | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 4 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 4E, Floor Position = 4E | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 4 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 4C, Floor Position = 4C | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 4 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 4D, Floor Position = 4D | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 4 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 4A, Floor Position = 4A | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 4 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 4B, Floor Position = 4B | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 4 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 4A0, Floor Position = 4A0 | 5 | 47 | 5 | 5 | 47 | 5
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 4 | 15 | Reserved | 0 | 0 % | 0.000 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 5 | 15 | Free | 2 | 14 % | 0.360 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 5 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 5M, Floor Position = 5M | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 5 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 4L, Floor Position = 4L | 29 | 44 | 29 | 18 | 26 | 18
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 5 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 4K, Floor Position = 4K | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 5 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 5H, Floor Position = 5H | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 5 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 5J, Floor Position = 5J | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 5 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 5G, Floor Position = 5G | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 5 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 5F, Floor Position = 5F | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 5 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 5E, Floor Position = 5E | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 5 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 5D, Floor Position = 5D | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 5 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 5C, Floor Position = 5C | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 5 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 5B, Floor Position = 5B | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 5 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 5A, Floor Position = 5A | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 5 | 15 | Occupied | 13 | 86 % | 2.205 m² | Rack 5A0, Floor Position = 5A0 | 5 | 47 | 5 | 5 | 47 | 5
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 5 | 15 | Reserved | 0 | 0 % | 0.000 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 6 | 15 | Free | 1 | 14 % | 0.360 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 6 | 15 | Occupied | 14 | 86 % | 2.205 m² | Rack 6H, Floor Position = 7H | 44 | 47 | 44 | 44 | 47 | 44
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 6 | 15 | Occupied | 14 | 86 % | 2.205 m² | Rack 6G, Floor Position = 7G | 44 | 47 | 44 | 44 | 47 | 44
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 6 | 15 | Occupied | 14 | 86 % | 2.205 m² | Rack 6J, Floor Position = 7J | 44 | 47 | 44 | 44 | 47 | 44
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 6 | 15 | Occupied | 14 | 86 % | 2.205 m² | Rack 6F, Floor Position = 7F | 44 | 47 | 44 | 44 | 47 | 44
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 6 | 15 | Occupied | 14 | 86 % | 2.205 m² | Rack 6L, Floor Position = 6L | 44 | 47 | 44 | 44 | 47 | 44
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 6 | 15 | Occupied | 14 | 86 % | 2.205 m² | Rack 6M, Floor Position = 6M | 45 | 47 | 45 | 45 | 47 | 45
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 6 | 15 | Occupied | 14 | 86 % | 2.205 m² | Rack 6K, Floor Position = 7K | 44 | 47 | 44 | 44 | 47 | 44
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 6 | 15 | Occupied | 14 | 86 % | 2.205 m² | Rack 6A0, Floor Position = 6A0 | 5 | 47 | 5 | 5 | 47 | 5
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 6 | 15 | Occupied | 14 | 86 % | 2.205 m² | Rack 6C, Floor Position = 6C | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 6 | 15 | Occupied | 14 | 86 % | 2.205 m² | Rack 6B, Floor Position = 6B | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 6 | 15 | Occupied | 14 | 86 % | 2.205 m² | Rack 6D, Floor Position = 6D | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 6 | 15 | Occupied | 14 | 86 % | 2.205 m² | Rack 6A, Floor Position = 6A | 35 | 43 | 35 | 22 | 22 | 22
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 6 | 15 | Occupied | 14 | 86 % | 2.205 m² | Rack 6E, Floor Position = 6E | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 6 | 15 | Reserved | 0 | 0 % | 0.000 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 7 | 15 | Free | 1 | 30 % | 1.103 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 7 | 15 | Occupied | 14 | 70 % | 2.607 m² | Rack 6H, Floor Position = 7H | 44 | 47 | 44 | 44 | 47 | 44
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 7 | 15 | Occupied | 14 | 70 % | 2.607 m² | Rack 6G, Floor Position = 7G | 44 | 47 | 44 | 44 | 47 | 44
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 7 | 15 | Occupied | 14 | 70 % | 2.607 m² | Rack 6J, Floor Position = 7J | 44 | 47 | 44 | 44 | 47 | 44
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 7 | 15 | Occupied | 14 | 70 % | 2.607 m² | Rack 6F, Floor Position = 7F | 44 | 47 | 44 | 44 | 47 | 44
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 7 | 15 | Occupied | 14 | 70 % | 2.607 m² | Rack 6L, Floor Position = 6L | 44 | 47 | 44 | 44 | 47 | 44
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 7 | 15 | Occupied | 14 | 70 % | 2.607 m² | Rack 7M, Floor Position = 7M | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 7 | 15 | Occupied | 14 | 70 % | 2.607 m² | Rack 6K, Floor Position = 7K | 44 | 47 | 44 | 44 | 47 | 44
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 7 | 15 | Occupied | 14 | 70 % | 2.607 m² | Rack 7A0, Floor Position = 7A0 | 5 | 47 | 5 | 5 | 47 | 5
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 7 | 15 | Occupied | 14 | 70 % | 2.607 m² | Rack 7D, Floor Position = 7D | 43 | 46 | 43 | 43 | 46 | 43
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 7 | 15 | Occupied | 14 | 70 % | 2.607 m² | Rack 7C, Floor Position = 7C | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 7 | 15 | Occupied | 14 | 70 % | 2.607 m² | Rack 7B, Floor Position = 7B | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 7 | 15 | Occupied | 14 | 70 % | 2.607 m² | Rack 6A, Floor Position = 6A | 35 | 43 | 35 | 22 | 22 | 22
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 7 | 15 | Occupied | 14 | 70 % | 2.607 m² | Rack 7E, Floor Position = 7E | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 7 | 15 | Reserved | 0 | 0 % | 0.000 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 8 | 15 | Free | 1 | 14 % | 0.360 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 8 | 15 | Occupied | 14 | 86 % | 2.205 m² | Rack 8L, Floor Position = 8L | 13 | 22 | 13 | 11 | 13 | 11
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 8 | 15 | Occupied | 14 | 86 % | 2.205 m² | Rack 8M, Floor Position = 8M | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 8 | 15 | Occupied | 14 | 86 % | 2.205 m² | Rack 8K, Floor Position = 8K | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 8 | 15 | Occupied | 14 | 86 % | 2.205 m² | Rack 8J, Floor Position = 8J | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 8 | 15 | Occupied | 14 | 86 % | 2.205 m² | Rack 8G, Floor Position = 8G | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 8 | 15 | Occupied | 14 | 86 % | 2.205 m² | Rack 8H, Floor Position = 8H | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 8 | 15 | Occupied | 14 | 86 % | 2.205 m² | Rack 8F, Floor Position = 8F | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 8 | 15 | Occupied | 14 | 86 % | 2.205 m² | Rack 8A0, Floor Position = 8A0 | 5 | 47 | 5 | 5 | 47 | 5
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 8 | 15 | Occupied | 14 | 86 % | 2.205 m² | Rack 8E, Floor Position = 8E | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 8 | 15 | Occupied | 14 | 86 % | 2.205 m² | Rack 8D, Floor Position = 8D | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 8 | 15 | Occupied | 14 | 86 % | 2.205 m² | Rack 8C, Floor Position = 8C | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 8 | 15 | Occupied | 14 | 86 % | 2.205 m² | Rack 8B, Floor Position = 8B | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 8 | 15 | Occupied | 14 | 86 % | 2.205 m² | Rack 8A, Floor Position = 8A | 44 | 47 | 44 | 44 | 47 | 44
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 8 | 15 | Reserved | 0 | 0 % | 0.000 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 9 | 15 | Free | 4 | 23 % | 0.585 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 9 | 15 | Occupied | 11 | 77 % | 1.980 m² | Rack 9M, Floor Position = 9M | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 9 | 15 | Occupied | 11 | 77 % | 1.980 m² | Rack 8L, Floor Position = 8L | 13 | 22 | 13 | 11 | 13 | 11
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 9 | 15 | Occupied | 11 | 77 % | 1.980 m² | Rack 9J, Floor Position = 9J | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 9 | 15 | Occupied | 11 | 77 % | 1.980 m² | Rack 9K, Floor Position = 9K | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 9 | 15 | Occupied | 11 | 77 % | 1.980 m² | Rack 9H, Floor Position = 9H | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 9 | 15 | Occupied | 11 | 77 % | 1.980 m² | Rack 9G, Floor Position = 9G | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 9 | 15 | Occupied | 11 | 77 % | 1.980 m² | Rack 9F, Floor Position = 9F | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 9 | 15 | Occupied | 11 | 77 % | 1.980 m² | Rack 9E, Floor Position = 9E | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 9 | 15 | Occupied | 11 | 77 % | 1.980 m² | Rack 9D, Floor Position = 9D | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 9 | 15 | Occupied | 11 | 77 % | 1.980 m² | Rack 9C, Floor Position = 9C | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 9 | 15 | Occupied | 11 | 77 % | 1.980 m² | Rack 9B, Floor Position = 9B | 47 | 47 | 47 | 47 | 47 | 47
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | 9 | 15 | Reserved | 0 | 0 % | 0.000 m²
Room WADN01 on Floor Ground Floor in Site WADDON SWITCH | 27210.00 W | 90000.00 W | 30 % | [6 empty] | Rack WADN01;DC SYS01, Floor Position = Temp Mig | 13 | 46 | 13 | 12 | 25 | 12