## Suite Line Capacity
Report generated for: | Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE
| Quantity | % of all area | Area
Total free sections: | 10/68 | 16 % | 6.270 m²
Total occupied sections: | 58/68 | 84 % | 32.130 m²
Total reserved sections: | 0/68 | 0 % | 0.000 m²
Total Lines Capability |  |  | 38.400 m²
Total Location Capability |  |  | 162.778 m²
Total Location Free Area |  |  | 130.288 m²
Total Location Occupied Area |  |  | 32.490 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 1 | 6 | Free | 0 | 7 % | 0.240 m²
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 1 | 6 | Occupied | 6 | 93 % | 3.360 m² | Rack 1E, Floor Position = 1E | 39 | 42 | 39 | 39 | 42 | 39
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 1 | 6 | Occupied | 6 | 93 % | 3.360 m² | Rack 1D, Floor Position = 1D | 39 | 42 | 39 | 39 | 42 | 39
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 1 | 6 | Occupied | 6 | 93 % | 3.360 m² | Rack NR005A CAX03-CAX05, Floor Position = 1F | 23 | 42 | 23 | 15 | 42 | 15
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 1 | 6 | Occupied | 6 | 93 % | 3.360 m² | Rack 1A, Floor Position = 1A | 40 | 43 | 40 | 40 | 43 | 40
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 1 | 6 | Occupied | 6 | 93 % | 3.360 m² | Rack 1B, Floor Position = 1B | 39 | 42 | 39 | 39 | 42 | 39
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 1 | 6 | Occupied | 6 | 93 % | 3.360 m² | Rack 1C, Floor Position = 1C | 39 | 42 | 39 | 39 | 42 | 39
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 1 | 6 | Reserved | 0 | 0 % | 0.000 m²
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 10 | 5 | Free | 1 | 39 % | 0.990 m²
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 10 | 5 | Occupied | 4 | 61 % | 1.530 m² | Rack 10E, Floor Position = 10E | 43 | 46 | 43 | 43 | 46 | 43
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 10 | 5 | Occupied | 4 | 61 % | 1.530 m² | ODF NR49, Floor Position = 10D | 42 | 44 | 42 | 25 | 44 | 25
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 10 | 5 | Occupied | 4 | 61 % | 1.530 m² | Rack 10F, Floor Position = 10F | 43 | 46 | 43 | 43 | 46 | 43
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 10 | 5 | Occupied | 4 | 61 % | 1.530 m² | Rack 10A, Floor Position = 10A | 33 | 36 | 33 | 33 | 36 | 33
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 10 | 5 | Reserved | 0 | 0 % | 0.000 m²
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 10a | 6 | Free | 4 | 67 % | 0.720 m²
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 10a | 6 | Occupied | 2 | 33 % | 0.360 m² | Rack 10aD, Floor Position = 10aD | 9 | 44 | 9 | 6 | 44 | 6
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 10a | 6 | Occupied | 2 | 33 % | 0.360 m² | Rack 10aC, Floor Position = 10aC | 11 | 44 | 11 | 5 | 44 | 5
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 10a | 6 | Reserved | 0 | 0 % | 0.000 m²
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 11 | 4 | Free | 0 | 28 % | 0.840 m²
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 11 | 4 | Occupied | 4 | 72 % | 2.160 m² | Rack 11B, Floor Position = 11B | 28 | 46 | 28 | 24 | 45 | 24
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 11 | 4 | Occupied | 4 | 72 % | 2.160 m² | Rack 11C, Floor Position = 11C | 43 | 46 | 43 | 43 | 46 | 43
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 11 | 4 | Occupied | 4 | 72 % | 2.160 m² | Rack NR055 CAX055, Floor Position = 11D | 25 | 46 | 25 | 11 | 46 | 11
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 11 | 4 | Occupied | 4 | 72 % | 2.160 m² | Rack NR051, Floor Position = 11A | 36 | 47 | 36 | 19 | 47 | 19
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 11 | 4 | Reserved | 0 | 0 % | 0.000 m²
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 2 | 6 | Free | 2 | 40 % | 1.440 m²
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 2 | 6 | Occupied | 4 | 60 % | 2.160 m² | Rack 2D, Floor Position = 2D | 37 | 42 | 37 | 37 | 42 | 37
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 2 | 6 | Occupied | 4 | 60 % | 2.160 m² | Rack 2E, Floor Position = 2E | 39 | 42 | 39 | 39 | 42 | 39
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 2 | 6 | Occupied | 4 | 60 % | 2.160 m² | Rack NR007 CAX04, Floor Position = 2B | 37 | 44 | 37 | 37 | 44 | 37
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 2 | 6 | Occupied | 4 | 60 % | 2.160 m² | Rack NR008, Floor Position = 2C | 41 | 47 | 41 | 31 | 47 | 31
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 2 | 6 | Reserved | 0 | 0 % | 0.000 m²
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 3 | 6 | Free | 0 | 0 % | 0.000 m²
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 3 | 6 | Occupied | 6 | 100 % | 3.600 m² | Rack NR012 CAX01, Floor Position = 3B | 25 | 42 | 25 | 20 | 42 | 20
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 3 | 6 | Occupied | 6 | 100 % | 3.600 m² | Rack 3C, Floor Position = 3C | 39 | 42 | 39 | 39 | 42 | 39
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 3 | 6 | Occupied | 6 | 100 % | 3.600 m² | Rack 3A, Floor Position = 3A | 39 | 42 | 39 | 39 | 42 | 39
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 3 | 6 | Occupied | 6 | 100 % | 3.600 m² | Rack 3D, Floor Position = 3D | 39 | 42 | 39 | 39 | 42 | 39
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 3 | 6 | Occupied | 6 | 100 % | 3.600 m² | Rack 3E, Floor Position = 3E | 39 | 42 | 39 | 39 | 42 | 39
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 3 | 6 | Occupied | 6 | 100 % | 3.600 m² | Rack 3F, Floor Position = 3F | 39 | 42 | 39 | 39 | 42 | 39
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 3 | 6 | Reserved | 0 | 0 % | 0.000 m²
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 4 | 6 | Free | 2 | 33 % | 1.200 m²
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 4 | 6 | Occupied | 4 | 67 % | 2.400 m² | Rack 4B, Floor Position = 4B | 39 | 42 | 39 | 39 | 42 | 39
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 4 | 6 | Occupied | 4 | 67 % | 2.400 m² | Rack 4C, Floor Position = 4C | 39 | 42 | 39 | 39 | 42 | 39
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 4 | 6 | Occupied | 4 | 67 % | 2.400 m² | Rack 4E, Floor Position = 4E | 39 | 42 | 39 | 39 | 42 | 39
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 4 | 6 | Occupied | 4 | 67 % | 2.400 m² | Rack 4D, Floor Position = 4D | 39 | 42 | 39 | 39 | 42 | 39
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 4 | 6 | Reserved | 0 | 0 % | 0.000 m²
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 5 | 6 | Free | 0 | 7 % | 0.240 m²
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 5 | 6 | Occupied | 6 | 93 % | 3.360 m² | Rack 5D, Floor Position = 5D | 44 | 47 | 44 | 44 | 47 | 44
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 5 | 6 | Occupied | 6 | 93 % | 3.360 m² | Rack NR25, Floor Position = 5E | 42 | 47 | 42 | 39 | 47 | 39
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 5 | 6 | Occupied | 6 | 93 % | 3.360 m² | Rack 5F, Floor Position = 5F | 5 | 47 | 5 | 5 | 47 | 5
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 5 | 6 | Occupied | 6 | 93 % | 3.360 m² | Rack 5B, Floor Position = 5B | 39 | 42 | 39 | 39 | 42 | 39
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 5 | 6 | Occupied | 6 | 93 % | 3.360 m² | Rack 5C, Floor Position = 5C | 39 | 42 | 39 | 39 | 42 | 39
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 5 | 6 | Occupied | 6 | 93 % | 3.360 m² | Rack 5A, Floor Position = 5A | 39 | 42 | 39 | 39 | 42 | 39
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 5 | 6 | Reserved | 0 | 0 % | 0.000 m²
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 6 | 6 | Free | 0 | 0 % | 0.000 m²
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 6 | 6 | Occupied | 6 | 100 % | 3.600 m² | Rack 6D, Floor Position = 6D | 33 | 36 | 33 | 33 | 36 | 33
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 6 | 6 | Occupied | 6 | 100 % | 3.600 m² | Rack 6E, Floor Position = 6E | 39 | 42 | 39 | 39 | 42 | 39
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 6 | 6 | Occupied | 6 | 100 % | 3.600 m² | Rack 6F, Floor Position = 6F | 39 | 42 | 39 | 39 | 42 | 39
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 6 | 6 | Occupied | 6 | 100 % | 3.600 m² | Rack 6B, Floor Position = 6B | 39 | 42 | 39 | 39 | 42 | 39
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 6 | 6 | Occupied | 6 | 100 % | 3.600 m² | Rack 6C, Floor Position = 6C | 33 | 36 | 33 | 33 | 36 | 33
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 6 | 6 | Occupied | 6 | 100 % | 3.600 m² | Rack 6A, Floor Position = 6A | 39 | 42 | 39 | 39 | 42 | 39
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 6 | 6 | Reserved | 0 | 0 % | 0.000 m²
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 7 | 6 | Free | 0 | 0 % | 0.000 m²
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 7 | 6 | Occupied | 6 | 100 % | 3.600 m² | Rack NR032 CAX02, Floor Position = 7B | 27 | 42 | 27 | 22 | 42 | 22
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 7 | 6 | Occupied | 6 | 100 % | 3.600 m² | Rack 7C, Floor Position = 7C | 39 | 42 | 39 | 39 | 42 | 39
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 7 | 6 | Occupied | 6 | 100 % | 3.600 m² | Rack NR031 CAX08, Floor Position = 7A | 32 | 42 | 32 | 32 | 42 | 32
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 7 | 6 | Occupied | 6 | 100 % | 3.600 m² | Rack 7E, Floor Position = 7E | 39 | 42 | 39 | 39 | 42 | 39
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 7 | 6 | Occupied | 6 | 100 % | 3.600 m² | Rack 7F, Floor Position = 7F | 47 | 47 | 47 | 47 | 47 | 47
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 7 | 6 | Occupied | 6 | 100 % | 3.600 m² | Rack 7D, Floor Position = 7D | 39 | 42 | 39 | 39 | 42 | 39
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 7 | 6 | Reserved | 0 | 0 % | 0.000 m²
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 8 | 5 | Free | 0 | 0 % | 0.000 m²
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 8 | 5 | Occupied | 5 | 100 % | 3.000 m² | Rack NR037 CAX009, Floor Position = 8B | 38 | 46 | 38 | 28 | 46 | 28
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 8 | 5 | Occupied | 5 | 100 % | 3.000 m² | Rack NR038 CAX012, Floor Position = 8C | 42 | 46 | 42 | 40 | 46 | 40
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 8 | 5 | Occupied | 5 | 100 % | 3.000 m² | Rack NR036 CAX010, Floor Position = 8A | 33 | 46 | 33 | 18 | 46 | 18
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 8 | 5 | Occupied | 5 | 100 % | 3.000 m² | Rack NR039 CAX011, Floor Position = 8D | 42 | 46 | 42 | 40 | 46 | 40
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 8 | 5 | Occupied | 5 | 100 % | 3.000 m² | Rack 8E, Floor Position = 8E | 43 | 46 | 43 | 43 | 46 | 43
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 8 | 5 | Reserved | 0 | 0 % | 0.000 m²
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 9 | 6 | Free | 1 | 17 % | 0.600 m²
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 9 | 6 | Occupied | 5 | 83 % | 3.000 m² | Rack 9B, Floor Position = 9B | 35 | 38 | 35 | 35 | 38 | 35
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 9 | 6 | Occupied | 5 | 83 % | 3.000 m² | Rack 9C, Floor Position = 9C | 35 | 38 | 35 | 35 | 38 | 35
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 9 | 6 | Occupied | 5 | 83 % | 3.000 m² | Rack 9D, Floor Position = 9D | 43 | 46 | 43 | 43 | 46 | 43
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 9 | 6 | Occupied | 5 | 83 % | 3.000 m² | Rack 9E, Floor Position = 9E | 43 | 46 | 43 | 43 | 46 | 43
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 9 | 6 | Occupied | 5 | 83 % | 3.000 m² | Rack 9A, Floor Position = 9A | 35 | 38 | 35 | 35 | 38 | 35
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | 9 | 6 | Reserved | 0 | 0 % | 0.000 m²
Room WAIP06 on Floor Ground Floor in Site IMPERIAL PARK DATA CENTRE | 11967.50 W | 112500.00 W | 11 % | [6 empty] | Rack WAIP;DC SYS01;GND, Floor Position = Temp Mig | 17 | 46 | 17 | 16 | 25 | 16