## Suite Line Capacity
Report generated for: | Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE
| Quantity | % of all area | Area
Total free sections: | 93/179 | 57 % | 25.213 m²
Total occupied sections: | 86/179 | 43 % | 18.639 m²
Total reserved sections: | 0/179 | 0 % | 0.000 m²
Total Lines Capability |  |  | 43.852 m²
Total Location Capability |  |  | 279.881 m²
Total Location Free Area |  |  | 260.882 m²
Total Location Occupied Area |  |  | 18.999 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | A | 10 | Free | 6 | 61 % | 1.269 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | A | 10 | Occupied | 4 | 39 % | 0.810 m² | ODF A01, Floor Position = A1 | 7 | 54 | 7 | 3 | 54 | 3
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | A | 10 | Occupied | 4 | 39 % | 0.810 m² | Rack A9, Floor Position = A9 | 44 | 47 | 44 | 44 | 47 | 44
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | A | 10 | Occupied | 4 | 39 % | 0.810 m² | Rack A8, Floor Position = A8 | 44 | 47 | 44 | 44 | 47 | 44
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | A | 10 | Occupied | 4 | 39 % | 0.810 m² | Rack A10, Floor Position = A10 | 44 | 47 | 44 | 44 | 47 | 44
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | A | 10 | Reserved | 0 | 0 % | 0.000 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | B | 10 | Free | 6 | 61 % | 1.269 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | B | 10 | Occupied | 4 | 39 % | 0.810 m² | ODF B1, Floor Position = B1 | 54 | 54 | 54 | 54 | 54 | 54
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | B | 10 | Occupied | 4 | 39 % | 0.810 m² | Rack A9, Floor Position = A9 | 44 | 47 | 44 | 44 | 47 | 44
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | B | 10 | Occupied | 4 | 39 % | 0.810 m² | Rack A8, Floor Position = A8 | 44 | 47 | 44 | 44 | 47 | 44
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | B | 10 | Occupied | 4 | 39 % | 0.810 m² | Rack A10, Floor Position = A10 | 44 | 47 | 44 | 44 | 47 | 44
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | B | 10 | Reserved | 0 | 0 % | 0.000 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | C | 11 | Free | 7 | 70 % | 2.124 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | C | 11 | Occupied | 4 | 30 % | 0.900 m² | ODF C02, Floor Position = C2 | 38 | 54 | 38 | 17 | 54 | 17
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | C | 11 | Occupied | 4 | 30 % | 0.900 m² | Rack C1, Floor Position = C1 | 5 | 47 | 5 | 5 | 47 | 5
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | C | 11 | Occupied | 4 | 30 % | 0.900 m² | Rack C10, Floor Position = C10 | 44 | 47 | 44 | 44 | 47 | 44
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | C | 11 | Occupied | 4 | 30 % | 0.900 m² | ODF C12, Floor Position = C12 | 31 | 54 | 31 | 28 | 54 | 28
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | C | 11 | Reserved | 0 | 0 % | 0.000 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | D | 11 | Free | 7 | 66 % | 1.547 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | D | 11 | Occupied | 4 | 34 % | 0.810 m² | Rack C1, Floor Position = C1 | 5 | 47 | 5 | 5 | 47 | 5
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | D | 11 | Occupied | 4 | 34 % | 0.810 m² | Rack D2, Floor Position = D2 | 54 | 54 | 54 | 54 | 54 | 54
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | D | 11 | Occupied | 4 | 34 % | 0.810 m² | Rack C10, Floor Position = C10 | 44 | 47 | 44 | 44 | 47 | 44
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | D | 11 | Occupied | 4 | 34 % | 0.810 m² | Rack D12, Floor Position = D12 | 54 | 54 | 54 | 54 | 54 | 54
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | D | 11 | Reserved | 0 | 0 % | 0.000 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | E | 13 | Free | 1 | 28 % | 0.857 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | E | 13 | Occupied | 12 | 72 % | 2.205 m² | Rack E6, Floor Position = E6 | 51 | 54 | 51 | 51 | 54 | 51
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | E | 13 | Occupied | 12 | 72 % | 2.205 m² | Rack E1, Floor Position = E1 | 5 | 47 | 5 | 5 | 47 | 5
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | E | 13 | Occupied | 12 | 72 % | 2.205 m² | Rack E2, Floor Position = E2 | 51 | 54 | 51 | 51 | 54 | 51
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | E | 13 | Occupied | 12 | 72 % | 2.205 m² | Rack E3, Floor Position = E3 | 18 | 35 | 14 | 7 | 13 | 7
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | E | 13 | Occupied | 12 | 72 % | 2.205 m² | Rack E4, Floor Position = E4 | 51 | 54 | 51 | 51 | 54 | 51
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | E | 13 | Occupied | 12 | 72 % | 2.205 m² | Rack E5, Floor Position = E5 | 51 | 54 | 51 | 51 | 54 | 51
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | E | 13 | Occupied | 12 | 72 % | 2.205 m² | Rack E7, Floor Position = E7 | 41 | 44 | 41 | 41 | 44 | 41
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | E | 13 | Occupied | 12 | 72 % | 2.205 m² | Rack E8, Floor Position = E8 | 51 | 54 | 51 | 51 | 54 | 51
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | E | 13 | Occupied | 12 | 72 % | 2.205 m² | Rack E9, Floor Position = E9 | 41 | 44 | 41 | 41 | 44 | 41
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | E | 13 | Occupied | 12 | 72 % | 2.205 m² | Rack E10, Floor Position = E10 | 42 | 44 | 42 | 42 | 44 | 42
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | E | 13 | Occupied | 12 | 72 % | 2.205 m² | Rack E13, Floor Position = E13 | 9 | 45 | 9 | 6 | 45 | 6
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | E | 13 | Occupied | 12 | 72 % | 2.205 m² | Rack E11, Floor Position = E11 | 41 | 44 | 41 | 41 | 44 | 41
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | E | 13 | Reserved | 0 | 0 % | 0.000 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | F | 13 | Free | 1 | 9 % | 0.226 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | F | 13 | Occupied | 12 | 91 % | 2.160 m² | Rack E1, Floor Position = E1 | 5 | 47 | 5 | 5 | 47 | 5
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | F | 13 | Occupied | 12 | 91 % | 2.160 m² | Rack F2, Floor Position = F2 | 51 | 54 | 51 | 51 | 54 | 51
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | F | 13 | Occupied | 12 | 91 % | 2.160 m² | Rack E3, Floor Position = E3 | 18 | 35 | 14 | 7 | 13 | 7
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | F | 13 | Occupied | 12 | 91 % | 2.160 m² | Rack F4, Floor Position = F4 | 51 | 54 | 51 | 51 | 54 | 51
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | F | 13 | Occupied | 12 | 91 % | 2.160 m² | Rack F5, Floor Position = F5 | 51 | 54 | 51 | 51 | 54 | 51
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | F | 13 | Occupied | 12 | 91 % | 2.160 m² | Rack F6, Floor Position = F6 | 44 | 47 | 44 | 44 | 47 | 44
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | F | 13 | Occupied | 12 | 91 % | 2.160 m² | Rack F8, Floor Position = F8 | 51 | 54 | 51 | 51 | 54 | 51
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | F | 13 | Occupied | 12 | 91 % | 2.160 m² | Rack F7, Floor Position = F7 | 51 | 54 | 51 | 51 | 54 | 51
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | F | 13 | Occupied | 12 | 91 % | 2.160 m² | Rack F10, Floor Position = F10 | 41 | 44 | 41 | 41 | 44 | 41
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | F | 13 | Occupied | 12 | 91 % | 2.160 m² | Rack F11, Floor Position = F11 | 41 | 44 | 41 | 41 | 44 | 41
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | F | 13 | Occupied | 12 | 91 % | 2.160 m² | Rack F12, Floor Position = F12 | 43 | 46 | 43 | 43 | 46 | 43
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | F | 13 | Occupied | 12 | 91 % | 2.160 m² | Rack E13, Floor Position = E13 | 9 | 45 | 9 | 6 | 45 | 6
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | F | 13 | Reserved | 0 | 0 % | 0.000 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | G | 11 | Free | 9 | 83 % | 1.951 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | G | 11 | Occupied | 2 | 17 % | 0.390 m² | Rack G2, Floor Position = G2 | 54 | 54 | 54 | 54 | 54 | 54
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | G | 11 | Occupied | 2 | 17 % | 0.390 m² | Rack G1, Floor Position = G1 | 54 | 54 | 54 | 54 | 54 | 54
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | G | 11 | Reserved | 0 | 0 % | 0.000 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | H | 11 | Free | 9 | 83 % | 1.951 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | H | 11 | Occupied | 2 | 17 % | 0.390 m² | Rack H2, Floor Position = H2 | 54 | 54 | 54 | 54 | 54 | 54
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | H | 11 | Occupied | 2 | 17 % | 0.390 m² | Rack H1, Floor Position = H1 | 54 | 54 | 54 | 54 | 54 | 54
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | H | 11 | Reserved | 0 | 0 % | 0.000 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | J | 10 | Free | 1 | 23 % | 0.541 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | J | 10 | Occupied | 9 | 77 % | 1.800 m² | ODF J03, Floor Position = J3 | 45 | 47 | 45 | 30 | 47 | 30
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | J | 10 | Occupied | 9 | 77 % | 1.800 m² | ODF J1, Floor Position = J1 | 54 | 54 | 54 | 54 | 54 | 54
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | J | 10 | Occupied | 9 | 77 % | 1.800 m² | Rack J5, Floor Position = J5 | 30 | 41 | 26 | 12 | 40 | 8
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | J | 10 | Occupied | 9 | 77 % | 1.800 m² | Rack J9, Floor Position = J9 | 44 | 47 | 44 | 44 | 47 | 44
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | J | 10 | Occupied | 9 | 77 % | 1.800 m² | Rack J7, Floor Position = J7 | 44 | 47 | 44 | 44 | 47 | 44
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | J | 10 | Occupied | 9 | 77 % | 1.800 m² | Rack J6, Floor Position = J6 | 44 | 47 | 44 | 44 | 47 | 44
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | J | 10 | Occupied | 9 | 77 % | 1.800 m² | Rack J08, Floor Position = J8 | 35 | 47 | 35 | 27 | 47 | 27
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | J | 10 | Occupied | 9 | 77 % | 1.800 m² | Rack J11, Floor Position = J11 | 44 | 47 | 44 | 44 | 47 | 44
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | J | 10 | Occupied | 9 | 77 % | 1.800 m² | Rack J10, Floor Position = J10 | 44 | 47 | 44 | 44 | 47 | 44
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | J | 10 | Reserved | 0 | 0 % | 0.000 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | K | 8 | Free | 0 | 12 % | 0.271 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | K | 8 | Occupied | 8 | 88 % | 2.070 m² | ODF K03, Floor Position = K3 | 45 | 47 | 45 | 30 | 47 | 30
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | K | 8 | Occupied | 8 | 88 % | 2.070 m² | ODF K01, Floor Position = K1 | 39 | 54 | 39 | 15 | 54 | 15
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | K | 8 | Occupied | 8 | 88 % | 2.070 m² | Rack J5, Floor Position = J5 | 30 | 41 | 26 | 12 | 40 | 8
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | K | 8 | Occupied | 8 | 88 % | 2.070 m² | Rack K8, Floor Position = K8 | 44 | 47 | 44 | 44 | 47 | 44
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | K | 8 | Occupied | 8 | 88 % | 2.070 m² | Rack K7, Floor Position = K7 | 44 | 47 | 44 | 44 | 47 | 44
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | K | 8 | Occupied | 8 | 88 % | 2.070 m² | Rack K6, Floor Position = K6 | 44 | 47 | 44 | 44 | 47 | 44
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | K | 8 | Occupied | 8 | 88 % | 2.070 m² | Rack K10, Floor Position = K10 | 44 | 47 | 44 | 44 | 47 | 44
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | K | 8 | Occupied | 8 | 88 % | 2.070 m² | Rack K11, Floor Position = K11 | 14 | 47 | 14 | 3 | 47 | 3
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | K | 8 | Reserved | 0 | 0 % | 0.000 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | L | 11 | Free | 7 | 65 % | 1.530 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | L | 11 | Occupied | 4 | 35 % | 0.810 m² | Rack L1, Floor Position = L1 | 0 | 42 | 0 | 0 | 42 | 0
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | L | 11 | Occupied | 4 | 35 % | 0.810 m² | Rack LM2, Floor Position = L2 | 18 | 42 | 17 | 11 | 38 | 10
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | L | 11 | Occupied | 4 | 35 % | 0.810 m² | Rack L9, Floor Position = L9 | 44 | 47 | 44 | 44 | 47 | 44
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | L | 11 | Occupied | 4 | 35 % | 0.810 m² | Rack L10, Floor Position = L10 | 44 | 47 | 44 | 44 | 47 | 44
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | L | 11 | Reserved | 0 | 0 % | 0.000 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | M | 11 | Free | 7 | 77 % | 3.600 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | M | 11 | Occupied | 4 | 23 % | 1.080 m² | Rack L1, Floor Position = L1 | 0 | 42 | 0 | 0 | 42 | 0
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | M | 11 | Occupied | 4 | 23 % | 1.080 m² | Rack LM2, Floor Position = L2 | 18 | 42 | 17 | 11 | 38 | 10
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | M | 11 | Occupied | 4 | 23 % | 1.080 m² | Rack M9, Floor Position = M9 | 41 | 44 | 41 | 41 | 44 | 41
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | M | 11 | Occupied | 4 | 23 % | 1.080 m² | Rack M10, Floor Position = M10 | 32 | 48 | 32 | 27 | 48 | 27
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | M | 11 | Reserved | 0 | 0 % | 0.000 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | N | 10 | Free | 4 | 46 % | 1.081 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | N | 10 | Occupied | 6 | 54 % | 1.260 m² | Rack N03, Floor Position = N3 | 22 | 44 | 22 | 18 | 44 | 18
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | N | 10 | Occupied | 6 | 54 % | 1.260 m² | Rack N04, Floor Position = N4 | 22 | 44 | 22 | 17 | 44 | 17
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | N | 10 | Occupied | 6 | 54 % | 1.260 m² | Rack N05, Floor Position = N5 | 22 | 47 | 22 | 18 | 47 | 18
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | N | 10 | Occupied | 6 | 54 % | 1.260 m² | Rack N08, Floor Position = N8 | 19 | 47 | 19 | 16 | 47 | 16
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | N | 10 | Occupied | 6 | 54 % | 1.260 m² | Rack N/P12, Floor Position = N12 | 32 | 45 | 32 | 16 | 37 | 16
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | N | 10 | Occupied | 6 | 54 % | 1.260 m² | Rack NP13, Floor Position = N13 | 9 | 47 | 9 | 2 | 47 | 2
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | N | 10 | Reserved | 0 | 0 % | 0.000 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | P | 10 | Free | 2 | 47 % | 2.169 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | P | 10 | Occupied | 8 | 53 % | 2.398 m² | Rack N1, Floor Position = N1 | 41 | 44 | 41 | 41 | 44 | 41
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | P | 10 | Occupied | 8 | 53 % | 2.398 m² | Rack P3, Floor Position = P3 | 9 | 44 | 9 | 2 | 44 | 2
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | P | 10 | Occupied | 8 | 53 % | 2.398 m² | Rack P04, Floor Position = P4 | 20 | 44 | 20 | 18 | 44 | 18
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | P | 10 | Occupied | 8 | 53 % | 2.398 m² | ODF CODF P05, Floor Position = P5 | 13 | 47 | 13 | 6 | 47 | 6
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | P | 10 | Occupied | 8 | 53 % | 2.398 m² | Rack N/P06, Floor Position = N6 | 37 | 43 | 36 | 33 | 42 | 33
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | P | 10 | Occupied | 8 | 53 % | 2.398 m² | Rack N11, Floor Position = N11 | 16 | 37 | 14 | 4 | 37 | 4
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | P | 10 | Occupied | 8 | 53 % | 2.398 m² | Rack N/P12, Floor Position = N12 | 32 | 45 | 32 | 16 | 37 | 16
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | P | 10 | Occupied | 8 | 53 % | 2.398 m² | Rack NP13, Floor Position = N13 | 9 | 47 | 9 | 2 | 47 | 2
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | P | 10 | Reserved | 0 | 0 % | 0.000 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | Q | 13 | Free | 13 | 100 % | 2.341 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | Q | 13 | Occupied | 0 | 0 % | 0.000 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | Q | 13 | Reserved | 0 | 0 % | 0.000 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | R | 13 | Free | 13 | 100 % | 2.341 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | R | 13 | Occupied | 0 | 0 % | 0.000 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | R | 13 | Reserved | 0 | 0 % | 0.000 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | W | 1 | Free | 0 | 9 % | 0.027 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | W | 1 | Occupied | 1 | 91 % | 0.270 m² | ODF W01, Floor Position = W1 | 22 | 54 | 22 | 20 | 54 | 20
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | W | 1 | Reserved | 0 | 0 % | 0.000 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | X | 1 | Free | 0 | 0 % | 0.000 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | X | 1 | Occupied | 1 | 100 % | 0.297 m² | Rack X1, Floor Position = X1 | 47 | 47 | 47 | 47 | 47 | 47
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | X | 1 | Reserved | 0 | 0 % | 0.000 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | Y | 1 | Free | 0 | 40 % | 0.120 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | Y | 1 | Occupied | 1 | 60 % | 0.180 m² | Rack Y1, Floor Position = Y1 | 47 | 47 | 47 | 47 | 47 | 47
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | Y | 1 | Reserved | 0 | 0 % | 0.000 m²
Room WHHN03 on Floor Ground Floor in Site WHITEHILL OPERATIONS CENTRE | 41774.00 W | 180000.00 W | 23 % | [6 empty] | Rack WHHN03;DC SYS01, Floor Position = Temp Mig | 16 | 46 | 16 | 15 | 25 | 15