## Suite Line Capacity
Report generated for: | Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER
| Quantity | % of all area | Area
Total free sections: | 44/79 | 56 % | 9.330 m²
Total occupied sections: | 35/79 | 44 % | 7.320 m²
Total reserved sections: | 0/79 | 0 % | 0.000 m²
Total Lines Capability |  |  | 16.649 m²
Total Location Capability |  |  | 309.044 m²
Total Location Free Area |  |  | 301.365 m²
Total Location Occupied Area |  |  | 7.680 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | A | 7 | Free | 0 | 6 % | 0.090 m²
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | A | 7 | Occupied | 7 | 94 % | 1.395 m² | Rack A3, Floor Position = A3 | 42 | 42 | 42 | 42 | 42 | 42
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | A | 7 | Occupied | 7 | 94 % | 1.395 m² | Rack A6, Floor Position = A6 | 44 | 47 | 44 | 44 | 47 | 44
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | A | 7 | Occupied | 7 | 94 % | 1.395 m² | Rack A5, Floor Position = A5 | 41 | 44 | 41 | 41 | 44 | 41
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | A | 7 | Occupied | 7 | 94 % | 1.395 m² | Rack B4, Floor Position = B4 | 23 | 42 | 22 | 12 | 42 | 12
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | A | 7 | Occupied | 7 | 94 % | 1.395 m² | Rack A2, Floor Position = A2 | 41 | 44 | 41 | 41 | 44 | 41
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | A | 7 | Occupied | 7 | 94 % | 1.395 m² | Rack A0, Floor Position = A0 | 5 | 47 | 5 | 5 | 47 | 5
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | A | 7 | Occupied | 7 | 94 % | 1.395 m² | ODF A1, Floor Position = A1 | 30 | 44 | 30 | 29 | 44 | 29
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | A | 7 | Reserved | 0 | 0 % | 0.000 m²
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | B | 7 | Free | 1 | 3 % | 0.045 m²
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | B | 7 | Occupied | 6 | 97 % | 1.440 m² | Rack B3, Floor Position = B3 | 42 | 42 | 42 | 42 | 42 | 42
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | B | 7 | Occupied | 6 | 97 % | 1.440 m² | Rack B6, Floor Position = B6 | 44 | 44 | 44 | 44 | 44 | 44
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | B | 7 | Occupied | 6 | 97 % | 1.440 m² | Rack B5, Floor Position = B5 | 41 | 44 | 41 | 41 | 44 | 41
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | B | 7 | Occupied | 6 | 97 % | 1.440 m² | Rack B4, Floor Position = B4 | 23 | 42 | 22 | 12 | 42 | 12
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | B | 7 | Occupied | 6 | 97 % | 1.440 m² | Rack B2, Floor Position = B2 | 47 | 47 | 47 | 47 | 47 | 47
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | B | 7 | Occupied | 6 | 97 % | 1.440 m² | ODF B1, Floor Position = B1 | 23 | 44 | 23 | 19 | 44 | 19
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | B | 7 | Reserved | 0 | 0 % | 0.000 m²
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | C | 18 | Free | 10 | 55 % | 1.890 m²
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | C | 18 | Occupied | 8 | 45 % | 1.530 m² | Rack C6, Floor Position = C6 | 43 | 46 | 43 | 43 | 46 | 43
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | C | 18 | Occupied | 8 | 45 % | 1.530 m² | Rack C10, Floor Position = C10 | 26 | 47 | 26 | 20 | 47 | 20
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | C | 18 | Occupied | 8 | 45 % | 1.530 m² | Rack CD9, Floor Position = C9 | 7 | 45 | 7 | 4 | 45 | 4
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | C | 18 | Occupied | 8 | 45 % | 1.530 m² | Rack C7, Floor Position = C7 | 43 | 46 | 43 | 43 | 46 | 43
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | C | 18 | Occupied | 8 | 45 % | 1.530 m² | ODF C2, Floor Position = C2 | 39 | 44 | 39 | 21 | 44 | 21
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | C | 18 | Occupied | 8 | 45 % | 1.530 m² | Rack C4, Floor Position = C4 | 43 | 46 | 43 | 43 | 46 | 43
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | C | 18 | Occupied | 8 | 45 % | 1.530 m² | Rack C5, Floor Position = C5 | 43 | 46 | 43 | 43 | 46 | 43
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | C | 18 | Occupied | 8 | 45 % | 1.530 m² | Rack C1, Floor Position = C1 | 5 | 47 | 5 | 5 | 47 | 5
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | C | 18 | Reserved | 0 | 0 % | 0.000 m²
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | D | 16 | Free | 10 | 66 % | 2.250 m²
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | D | 16 | Occupied | 6 | 34 % | 1.170 m² | Rack C1, Floor Position = C1 | 5 | 47 | 5 | 5 | 47 | 5
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | D | 16 | Occupied | 6 | 34 % | 1.170 m² | Rack D5, Floor Position = D5 | 45 | 47 | 45 | 45 | 47 | 45
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | D | 16 | Occupied | 6 | 34 % | 1.170 m² | Rack D4, Floor Position = D4 | 43 | 46 | 43 | 43 | 46 | 43
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | D | 16 | Occupied | 6 | 34 % | 1.170 m² | Rack CD9, Floor Position = C9 | 7 | 45 | 7 | 4 | 45 | 4
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | D | 16 | Occupied | 6 | 34 % | 1.170 m² | Rack C10, Floor Position = C10 | 26 | 47 | 26 | 20 | 47 | 20
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | D | 16 | Occupied | 6 | 34 % | 1.170 m² | Rack D11, Floor Position = D11 | 32 | 45 | 32 | 31 | 45 | 31
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | D | 16 | Reserved | 0 | 0 % | 0.000 m²
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | E | 15 | Free | 11 | 74 % | 2.535 m²
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | E | 15 | Occupied | 4 | 26 % | 0.885 m² | Rack EF07, Floor Position = E7 | 5 | 47 | 5 | 5 | 47 | 5
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | E | 15 | Occupied | 4 | 26 % | 0.885 m² | Rack EF08, Floor Position = E8 | 32 | 34 | 28 | 17 | 34 | 17
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | E | 15 | Occupied | 4 | 26 % | 0.885 m² | Rack E1, Floor Position = E1 | 5 | 47 | 5 | 5 | 47 | 5
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | E | 15 | Occupied | 4 | 26 % | 0.885 m² | ODF E02, Floor Position = E2 | 44 | 46 | 44 | 27 | 46 | 27
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | E | 15 | Reserved | 0 | 0 % | 0.000 m²
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | F | 16 | Free | 12 | 74 % | 2.520 m²
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | F | 16 | Occupied | 4 | 26 % | 0.900 m² | Rack EF19, Floor Position = E19 | 6 | 32 | 4 | 4 | 32 | 2
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | F | 16 | Occupied | 4 | 26 % | 0.900 m² | Rack EF07, Floor Position = E7 | 5 | 47 | 5 | 5 | 47 | 5
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | F | 16 | Occupied | 4 | 26 % | 0.900 m² | Rack EF08, Floor Position = E8 | 32 | 34 | 28 | 17 | 34 | 17
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | F | 16 | Occupied | 4 | 26 % | 0.900 m² | Rack E1, Floor Position = E1 | 5 | 47 | 5 | 5 | 47 | 5
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | F | 16 | Reserved | 0 | 0 % | 0.000 m²
Room WKGN01 on Floor Ground Floor in Site WOKING REPEATER | 36875.00 W | 66000.00 W | 56 % | [6 empty] | Rack WKGN01;DC SYS01, Floor Position = Temp Mig | 16 | 46 | 16 | 15 | 25 | 15