## Suite Line Capacity
Report generated for: | Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP
| Quantity | % of all area | Area
Total free sections: | 52/145 | 46 % | 19.838 m²
Total occupied sections: | 93/145 | 54 % | 23.541 m²
Total reserved sections: | 0/145 | 0 % | 0.000 m²
Total Lines Capability |  |  | 43.379 m²
Total Location Capability |  |  | 510.258 m²
Total Location Free Area |  |  | 483.297 m²
Total Location Occupied Area |  |  | 26.961 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | C | 14 | Free | 5 | 38 % | 1.200 m²
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | C | 14 | Occupied | 9 | 62 % | 1.965 m² | Rack D16, Floor Position = D16 | 40 | 45 | 40 | 40 | 45 | 40
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | C | 14 | Occupied | 9 | 62 % | 1.965 m² | Rack D17, Floor Position = D17 | 40 | 45 | 40 | 40 | 45 | 40
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | C | 14 | Occupied | 9 | 62 % | 1.965 m² | Rack D18, Floor Position = D18 | 38 | 45 | 38 | 38 | 45 | 38
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | C | 14 | Occupied | 9 | 62 % | 1.965 m² | Rack C15a, Floor Position = C15a | 5 | 47 | 5 | 5 | 47 | 5
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | C | 14 | Occupied | 9 | 62 % | 1.965 m² | Rack C15, Floor Position = C15 | 42 | 45 | 42 | 42 | 45 | 42
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | C | 14 | Occupied | 9 | 62 % | 1.965 m² | Rack C21, Floor Position = C21 | 40 | 45 | 40 | 40 | 45 | 40
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | C | 14 | Occupied | 9 | 62 % | 1.965 m² | Rack C22, Floor Position = C22 | 40 | 45 | 40 | 40 | 45 | 40
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | C | 14 | Occupied | 9 | 62 % | 1.965 m² | Rack C20, Floor Position = C20 | 38 | 45 | 38 | 32 | 45 | 32
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | C | 14 | Occupied | 9 | 62 % | 1.965 m² | Rack C19, Floor Position = C19 | 40 | 45 | 40 | 40 | 45 | 40
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | C | 14 | Reserved | 0 | 0 % | 0.000 m²
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | D | 14 | Free | 5 | 38 % | 1.200 m²
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | D | 14 | Occupied | 9 | 62 % | 1.965 m² | Rack D16, Floor Position = D16 | 40 | 45 | 40 | 40 | 45 | 40
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | D | 14 | Occupied | 9 | 62 % | 1.965 m² | Rack D17, Floor Position = D17 | 40 | 45 | 40 | 40 | 45 | 40
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | D | 14 | Occupied | 9 | 62 % | 1.965 m² | Rack D18, Floor Position = D18 | 38 | 45 | 38 | 38 | 45 | 38
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | D | 14 | Occupied | 9 | 62 % | 1.965 m² | Rack D15a, Floor Position = D15a | 5 | 47 | 5 | 5 | 47 | 5
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | D | 14 | Occupied | 9 | 62 % | 1.965 m² | Rack D15, Floor Position = D15 | 42 | 45 | 42 | 42 | 45 | 42
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | D | 14 | Occupied | 9 | 62 % | 1.965 m² | Rack C21, Floor Position = C21 | 40 | 45 | 40 | 40 | 45 | 40
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | D | 14 | Occupied | 9 | 62 % | 1.965 m² | Rack C22, Floor Position = C22 | 40 | 45 | 40 | 40 | 45 | 40
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | D | 14 | Occupied | 9 | 62 % | 1.965 m² | Rack C20, Floor Position = C20 | 38 | 45 | 38 | 32 | 45 | 32
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | D | 14 | Occupied | 9 | 62 % | 1.965 m² | Rack C19, Floor Position = C19 | 40 | 45 | 40 | 40 | 45 | 40
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | D | 14 | Reserved | 0 | 0 % | 0.000 m²
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | E | 13 | Free | 7 | 60 % | 2.497 m²
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | E | 13 | Occupied | 6 | 40 % | 1.688 m² | Rack F31, Floor Position = F31 | 44 | 47 | 44 | 44 | 47 | 44
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | E | 13 | Occupied | 6 | 40 % | 1.688 m² | Rack F32, Floor Position = F32 | 36 | 42 | 36 | 36 | 42 | 36
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | E | 13 | Occupied | 6 | 40 % | 1.688 m² | Rack F29, Floor Position = F29 | 47 | 47 | 47 | 47 | 47 | 47
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | E | 13 | Occupied | 6 | 40 % | 1.688 m² | Rack F30, Floor Position = F30 | 44 | 47 | 44 | 44 | 47 | 44
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | E | 13 | Occupied | 6 | 40 % | 1.688 m² | Rack F19, Floor Position = F19 | 42 | 45 | 42 | 42 | 45 | 42
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | E | 13 | Occupied | 6 | 40 % | 1.688 m² | Rack F18, Floor Position = F18 | 42 | 45 | 42 | 42 | 45 | 42
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | E | 13 | Reserved | 0 | 0 % | 0.000 m²
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | F | 13 | Free | 7 | 60 % | 2.497 m²
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | F | 13 | Occupied | 6 | 40 % | 1.688 m² | Rack F31, Floor Position = F31 | 44 | 47 | 44 | 44 | 47 | 44
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | F | 13 | Occupied | 6 | 40 % | 1.688 m² | Rack F29, Floor Position = F29 | 47 | 47 | 47 | 47 | 47 | 47
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | F | 13 | Occupied | 6 | 40 % | 1.688 m² | Rack F30, Floor Position = F30 | 44 | 47 | 44 | 44 | 47 | 44
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | F | 13 | Occupied | 6 | 40 % | 1.688 m² | Rack F32, Floor Position = F32 | 36 | 42 | 36 | 36 | 42 | 36
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | F | 13 | Occupied | 6 | 40 % | 1.688 m² | Rack F19, Floor Position = F19 | 42 | 45 | 42 | 42 | 45 | 42
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | F | 13 | Occupied | 6 | 40 % | 1.688 m² | Rack F18, Floor Position = F18 | 42 | 45 | 42 | 42 | 45 | 42
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | F | 13 | Reserved | 0 | 0 % | 0.000 m²
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | G | 19 | Free | 8 | 46 % | 1.440 m²
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | G | 19 | Occupied | 11 | 54 % | 1.710 m² | Rack G34, Floor Position = G34 | 40 | 45 | 40 | 40 | 45 | 40
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | G | 19 | Occupied | 11 | 54 % | 1.710 m² | Rack G33, Floor Position = G33 | 40 | 45 | 40 | 40 | 45 | 40
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | G | 19 | Occupied | 11 | 54 % | 1.710 m² | Rack G/H31, Floor Position = G31 | 25 | 45 | 25 | 20 | 45 | 20
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | G | 19 | Occupied | 11 | 54 % | 1.710 m² | Rack G35a, Floor Position = G35a | 5 | 47 | 5 | 5 | 47 | 5
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | G | 19 | Occupied | 11 | 54 % | 1.710 m² | Rack G35, Floor Position = G35 | 40 | 45 | 40 | 40 | 45 | 40
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | G | 19 | Occupied | 11 | 54 % | 1.710 m² | Rack G/H30, Floor Position = H30 | 23 | 47 | 23 | 20 | 47 | 20
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | G | 19 | Occupied | 11 | 54 % | 1.710 m² | Rack H19, Floor Position = H19 | 42 | 45 | 42 | 42 | 45 | 42
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | G | 19 | Occupied | 11 | 54 % | 1.710 m² | Rack G20, Floor Position = G20 | 39 | 42 | 39 | 39 | 42 | 39
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | G | 19 | Occupied | 11 | 54 % | 1.710 m² | Rack G19a, Floor Position = G19a | 3 | 47 | 3 | 3 | 47 | 3
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | G | 19 | Occupied | 11 | 54 % | 1.710 m² | Rack G22, Floor Position = G22 | 39 | 42 | 39 | 39 | 42 | 39
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | G | 19 | Occupied | 11 | 54 % | 1.710 m² | Rack G21, Floor Position = G21 | 39 | 42 | 39 | 39 | 42 | 39
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | G | 19 | Reserved | 0 | 0 % | 0.000 m²
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | H | 19 | Free | 7 | 40 % | 1.260 m²
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | H | 19 | Occupied | 12 | 60 % | 1.890 m² | Rack G34, Floor Position = G34 | 40 | 45 | 40 | 40 | 45 | 40
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | H | 19 | Occupied | 12 | 60 % | 1.890 m² | Rack H32, Floor Position = H32 | 45 | 47 | 45 | 45 | 47 | 45
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | H | 19 | Occupied | 12 | 60 % | 1.890 m² | Rack G33, Floor Position = G33 | 40 | 45 | 40 | 40 | 45 | 40
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | H | 19 | Occupied | 12 | 60 % | 1.890 m² | Rack G/H31, Floor Position = G31 | 25 | 45 | 25 | 20 | 45 | 20
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | H | 19 | Occupied | 12 | 60 % | 1.890 m² | Rack G35, Floor Position = G35 | 40 | 45 | 40 | 40 | 45 | 40
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | H | 19 | Occupied | 12 | 60 % | 1.890 m² | Rack H35a, Floor Position = H35a | 5 | 47 | 5 | 5 | 47 | 5
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | H | 19 | Occupied | 12 | 60 % | 1.890 m² | Rack G/H30, Floor Position = H30 | 23 | 47 | 23 | 20 | 47 | 20
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | H | 19 | Occupied | 12 | 60 % | 1.890 m² | Rack H20, Floor Position = H20 | 39 | 42 | 39 | 39 | 42 | 39
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | H | 19 | Occupied | 12 | 60 % | 1.890 m² | Rack H19, Floor Position = H19 | 42 | 45 | 42 | 42 | 45 | 42
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | H | 19 | Occupied | 12 | 60 % | 1.890 m² | Rack H19a, Floor Position = H19a | 3 | 47 | 3 | 3 | 47 | 3
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | H | 19 | Occupied | 12 | 60 % | 1.890 m² | Rack H22, Floor Position = H22 | 45 | 45 | 45 | 45 | 45 | 45
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | H | 19 | Occupied | 12 | 60 % | 1.890 m² | Rack H21, Floor Position = H21 | 39 | 42 | 39 | 39 | 42 | 39
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | H | 19 | Reserved | 0 | 0 % | 0.000 m²
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | J | 14 | Free | 1 | 13 % | 0.450 m²
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | J | 14 | Occupied | 13 | 87 % | 2.895 m² | Rack J33, Floor Position = J33 | 5 | 47 | 5 | 5 | 47 | 5
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | J | 14 | Occupied | 13 | 87 % | 2.895 m² | Rack J32, Floor Position = J32 | 41 | 47 | 41 | 41 | 47 | 41
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | J | 14 | Occupied | 13 | 87 % | 2.895 m² | ODF J30, Floor Position = J30 | 39 | 47 | 39 | 29 | 47 | 29
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | J | 14 | Occupied | 13 | 87 % | 2.895 m² | Rack J26, Floor Position = J26 | 40 | 45 | 40 | 40 | 45 | 40
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | J | 14 | Occupied | 13 | 87 % | 2.895 m² | Rack J28, Floor Position = J28 | 27 | 43 | 25 | 20 | 42 | 20
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | J | 14 | Occupied | 13 | 87 % | 2.895 m² | Rack J27, Floor Position = J27 | 44 | 47 | 44 | 44 | 47 | 44
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | J | 14 | Occupied | 13 | 87 % | 2.895 m² | Rack J25, Floor Position = J25 | 38 | 45 | 38 | 38 | 45 | 38
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | J | 14 | Occupied | 13 | 87 % | 2.895 m² | Rack J24, Floor Position = J24 | 36 | 45 | 36 | 36 | 45 | 36
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | J | 14 | Occupied | 13 | 87 % | 2.895 m² | Rack J21, Floor Position = J21 | 38 | 45 | 38 | 38 | 45 | 38
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | J | 14 | Occupied | 13 | 87 % | 2.895 m² | Rack J22, Floor Position = J22 | 42 | 45 | 42 | 42 | 45 | 42
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | J | 14 | Occupied | 13 | 87 % | 2.895 m² | Rack J23, Floor Position = J23 | 38 | 45 | 38 | 38 | 45 | 38
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | J | 14 | Occupied | 13 | 87 % | 2.895 m² | Rack J20, Floor Position = J20 | 36 | 45 | 36 | 36 | 45 | 36
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | J | 14 | Occupied | 13 | 87 % | 2.895 m² | Rack J20a, Floor Position = J20a | 5 | 47 | 5 | 5 | 47 | 5
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | J | 14 | Reserved | 0 | 0 % | 0.000 m²
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | JJ | 14 | Free | 0 | 16 % | 1.101 m²
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | JJ | 14 | Occupied | 14 | 84 % | 5.590 m² | Rack J31, Floor Position = J31 | 5 | 40 | 5 | 4 | 17 | 4
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | JJ | 14 | Occupied | 14 | 84 % | 5.590 m² | Rack J32, Floor Position = J32 | 41 | 47 | 41 | 41 | 47 | 41
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | JJ | 14 | Occupied | 14 | 84 % | 5.590 m² | Rack J33, Floor Position = J33 | 5 | 47 | 5 | 5 | 47 | 5
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | JJ | 14 | Occupied | 14 | 84 % | 5.590 m² | Rack JJ30, Floor Position = JJ30 | 22 | 47 | 22 | 16 | 47 | 16
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | JJ | 14 | Occupied | 14 | 84 % | 5.590 m² | Rack J26, Floor Position = J26 | 40 | 45 | 40 | 40 | 45 | 40
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | JJ | 14 | Occupied | 14 | 84 % | 5.590 m² | Rack J27, Floor Position = J27 | 44 | 47 | 44 | 44 | 47 | 44
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | JJ | 14 | Occupied | 14 | 84 % | 5.590 m² | Rack J28, Floor Position = J28 | 27 | 43 | 25 | 20 | 42 | 20
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | JJ | 14 | Occupied | 14 | 84 % | 5.590 m² | Rack J24, Floor Position = J24 | 36 | 45 | 36 | 36 | 45 | 36
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | JJ | 14 | Occupied | 14 | 84 % | 5.590 m² | Rack J25, Floor Position = J25 | 38 | 45 | 38 | 38 | 45 | 38
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | JJ | 14 | Occupied | 14 | 84 % | 5.590 m² | Rack J21, Floor Position = J21 | 38 | 45 | 38 | 38 | 45 | 38
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | JJ | 14 | Occupied | 14 | 84 % | 5.590 m² | Rack J23, Floor Position = J23 | 38 | 45 | 38 | 38 | 45 | 38
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | JJ | 14 | Occupied | 14 | 84 % | 5.590 m² | Rack J22, Floor Position = J22 | 42 | 45 | 42 | 42 | 45 | 42
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | JJ | 14 | Occupied | 14 | 84 % | 5.590 m² | Rack JJ20a, Floor Position = JJ20a | 5 | 47 | 5 | 5 | 47 | 5
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | JJ | 14 | Occupied | 14 | 84 % | 5.590 m² | Rack JJ20b, Floor Position = JJ20b | 47 | 47 | 47 | 47 | 47 | 47
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | JJ | 14 | Occupied | 14 | 84 % | 5.590 m² | Rack J20, Floor Position = J20 | 36 | 45 | 36 | 36 | 45 | 36
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | JJ | 14 | Reserved | 0 | 0 % | 0.000 m²
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | K | 13 | Free | 4 | 43 % | 1.530 m²
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | K | 13 | Occupied | 9 | 57 % | 2.010 m² | Rack K18, Floor Position = K18 | 24 | 44 | 24 | 20 | 44 | 20
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | K | 13 | Occupied | 9 | 57 % | 2.010 m² | Rack K19, Floor Position = K19 | 24 | 44 | 24 | 20 | 44 | 20
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | K | 13 | Occupied | 9 | 57 % | 2.010 m² | ODF K20, Floor Position = K20 | 45 | 47 | 45 | 24 | 47 | 24
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | K | 13 | Occupied | 9 | 57 % | 2.010 m² | Rack K16, Floor Position = K16 | 24 | 44 | 24 | 20 | 44 | 20
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | K | 13 | Occupied | 9 | 57 % | 2.010 m² | Rack K15, Floor Position = K15 | 8 | 44 | 8 | 4 | 44 | 4
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | K | 13 | Occupied | 9 | 57 % | 2.010 m² | Rack K17, Floor Position = K17 | 22 | 44 | 22 | 20 | 44 | 20
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | K | 13 | Occupied | 9 | 57 % | 2.010 m² | Rack K23, Floor Position = K23 | 32 | 47 | 32 | 24 | 47 | 24
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | K | 13 | Occupied | 9 | 57 % | 2.010 m² | ODF K21, Floor Position = K21 | 45 | 47 | 45 | 24 | 47 | 24
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | K | 13 | Occupied | 9 | 57 % | 2.010 m² | ODF K22, Floor Position = K22 | 42 | 47 | 42 | 20 | 47 | 20
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | K | 13 | Reserved | 0 | 0 % | 0.000 m²
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | L | 10 | Free | 8 | 80 % | 6.393 m²
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | L | 10 | Occupied | 2 | 20 % | 1.600 m² | Rack L01, Floor Position = L1 | 6 | 33 | 5 | 4 | 32 | 2
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | L | 10 | Occupied | 2 | 20 % | 1.600 m² | Rack L02, Floor Position = L2 | 16 | 37 | 16 | 11 | 37 | 11
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | L | 10 | Reserved | 0 | 0 % | 0.000 m²
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | M | 1 | Free | 0 | 31 % | 0.120 m²
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | M | 1 | Occupied | 1 | 69 % | 0.270 m² | ODF CODF M1, Floor Position = M01 | 27 | 47 | 27 | 20 | 47 | 20
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | M | 1 | Reserved | 0 | 0 % | 0.000 m²
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | N | 1 | Free | 0 | 36 % | 0.150 m²
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | N | 1 | Occupied | 1 | 64 % | 0.270 m² | ODF CODF N1, Floor Position = N01 | 25 | 47 | 25 | 20 | 47 | 20
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | N | 1 | Reserved | 0 | 0 % | 0.000 m²
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | [6 empty] | ODF C2, Floor Position = C2 | 9 | 47 | 9 | 7 | 47 | 7
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | [6 empty] | Rack C23, Floor Position = unset | 40 | 47 | 40 | 39 | 47 | 39
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | [6 empty] | ODF CODF G01, Floor Position = G1 | 15 | 47 | 15 | 9 | 47 | 9
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | [6 empty] | ODF D2, Floor Position = D2 | 12 | 47 | 12 | 12 | 47 | 12
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | [6 empty] | Rack E/F14, Floor Position = F14 | 46 | 47 | 46 | 36 | 47 | 36
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | [6 empty] | ODF E02, Floor Position = E2 | 33 | 45 | 33 | 33 | 45 | 33
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | [6 empty] | Rack EF13, Floor Position = F13 | 43 | 45 | 43 | 38 | 45 | 38
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | [6 empty] | ODF G2, Floor Position = G2 | 11 | 47 | 11 | 9 | 47 | 9
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | [6 empty] | ODF H2, Floor Position = H2 | 35 | 47 | 35 | 28 | 47 | 28
Room WTNTK1 on Floor Ground Floor in Site KINGSLAND GRANGE TAP | 58425.00 W | 70500.00 W | 83 % | [6 empty] | Rack WTNTK1;DC SYS01, Floor Position = Temp Mig | 17 | 46 | 17 | 16 | 25 | 16