## Suite Line Capacity
Report generated for: | Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP
| Quantity | % of all area | Area
Total free sections: | 12/55 | 41 % | 6.170 m²
Total occupied sections: | 43/55 | 59 % | 8.789 m²
Total reserved sections: | 0/55 | 0 % | 0.000 m²
Total Lines Capability |  |  | 14.959 m²
Total Location Capability |  |  | 87.238 m²
Total Location Free Area |  |  | 78.089 m²
Total Location Occupied Area |  |  | 9.149 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | A | 4 | Free | 3 | 78 % | 1.057 m²
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | A | 4 | Occupied | 1 | 22 % | 0.302 m² | Rack AB06, Floor Position = A6 | 6 | 33 | 5 | 4 | 32 | 2
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | A | 4 | Reserved | 0 | 0 % | 0.000 m²
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | B | 4 | Free | 3 | 78 % | 1.057 m²
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | B | 4 | Occupied | 1 | 22 % | 0.302 m² | Rack AB06, Floor Position = A6 | 6 | 33 | 5 | 4 | 32 | 2
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | B | 4 | Reserved | 0 | 0 % | 0.000 m²
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | C | 5 | Free | 0 | 10 % | 0.100 m²
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | C | 5 | Occupied | 5 | 90 % | 0.875 m² | Rack C5, Floor Position = C5 | 47 | 47 | 47 | 47 | 47 | 47
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | C | 5 | Occupied | 5 | 90 % | 0.875 m² | Rack C4, Floor Position = C4 | 47 | 47 | 47 | 47 | 47 | 47
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | C | 5 | Occupied | 5 | 90 % | 0.875 m² | Rack C1, Floor Position = C1 | 47 | 47 | 47 | 47 | 47 | 47
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | C | 5 | Occupied | 5 | 90 % | 0.875 m² | Rack C3, Floor Position = C3 | 47 | 47 | 47 | 47 | 47 | 47
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | C | 5 | Occupied | 5 | 90 % | 0.875 m² | Rack C2, Floor Position = C2 | 47 | 47 | 47 | 47 | 47 | 47
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | C | 5 | Reserved | 0 | 0 % | 0.000 m²
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | D | 5 | Free | 0 | 10 % | 0.100 m²
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | D | 5 | Occupied | 5 | 90 % | 0.875 m² | Rack D5, Floor Position = D5 | 47 | 47 | 47 | 47 | 47 | 47
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | D | 5 | Occupied | 5 | 90 % | 0.875 m² | Rack D4, Floor Position = D4 | 47 | 47 | 47 | 47 | 47 | 47
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | D | 5 | Occupied | 5 | 90 % | 0.875 m² | Rack D1, Floor Position = D1 | 47 | 47 | 47 | 47 | 47 | 47
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | D | 5 | Occupied | 5 | 90 % | 0.875 m² | Rack D3, Floor Position = D3 | 47 | 47 | 47 | 47 | 47 | 47
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | D | 5 | Occupied | 5 | 90 % | 0.875 m² | Rack D2, Floor Position = D2 | 47 | 47 | 47 | 47 | 47 | 47
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | D | 5 | Reserved | 0 | 0 % | 0.000 m²
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | E | 6 | Free | 2 | 32 % | 0.360 m²
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | E | 6 | Occupied | 4 | 68 % | 0.765 m² | ODF E06, Floor Position = E6 | 5 | 47 | 5 | 5 | 47 | 5
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | E | 6 | Occupied | 4 | 68 % | 0.765 m² | Rack E5, Floor Position = E5 | 45 | 45 | 45 | 45 | 45 | 45
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | E | 6 | Occupied | 4 | 68 % | 0.765 m² | Rack E1, Floor Position = E1 | 14 | 36 | 9 | 3 | 28 | 2
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | E | 6 | Occupied | 4 | 68 % | 0.765 m² | Rack E02, Floor Position = E2 | 20 | 45 | 20 | 15 | 45 | 15
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | E | 6 | Reserved | 0 | 0 % | 0.000 m²
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | F | 6 | Free | 2 | 36 % | 0.405 m²
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | F | 6 | Occupied | 4 | 64 % | 0.720 m² | Rack F5, Floor Position = F5 | 45 | 45 | 45 | 45 | 45 | 45
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | F | 6 | Occupied | 4 | 64 % | 0.720 m² | Rack E1, Floor Position = E1 | 14 | 36 | 9 | 3 | 28 | 2
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | F | 6 | Occupied | 4 | 64 % | 0.720 m² | Rack F3, Floor Position = F3 | 42 | 45 | 42 | 42 | 45 | 42
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | F | 6 | Occupied | 4 | 64 % | 0.720 m² | Rack F2, Floor Position = F2 | 42 | 45 | 42 | 42 | 45 | 42
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | F | 6 | Reserved | 0 | 0 % | 0.000 m²
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | G | 6 | Free | 0 | 34 % | 0.510 m²
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | G | 6 | Occupied | 6 | 66 % | 0.990 m² | Rack G6, Floor Position = G6 | 7 | 44 | 7 | 5 | 44 | 5
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | G | 6 | Occupied | 6 | 66 % | 0.990 m² | Rack G5, Floor Position = G5 | 23 | 44 | 23 | 18 | 44 | 18
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | G | 6 | Occupied | 6 | 66 % | 0.990 m² | Rack GH01, Floor Position = G1 | 27 | 43 | 25 | 15 | 43 | 13
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | G | 6 | Occupied | 6 | 66 % | 0.990 m² | Rack G04, Floor Position = G4 | 22 | 44 | 22 | 18 | 44 | 18
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | G | 6 | Occupied | 6 | 66 % | 0.990 m² | Rack G2, Floor Position = G2 | 41 | 43 | 37 | 33 | 40 | 28
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | G | 6 | Occupied | 6 | 66 % | 0.990 m² | Rack G3, Floor Position = G3 | 43 | 46 | 43 | 43 | 46 | 43
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | G | 6 | Reserved | 0 | 0 % | 0.000 m²
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | H | 6 | Free | 0 | 30 % | 0.450 m²
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | H | 6 | Occupied | 6 | 70 % | 1.050 m² | Rack H06, Floor Position = H6 | 29 | 45 | 29 | 26 | 45 | 26
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | H | 6 | Occupied | 6 | 70 % | 1.050 m² | Rack H05, Floor Position = H5 | 22 | 44 | 22 | 18 | 44 | 18
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | H | 6 | Occupied | 6 | 70 % | 1.050 m² | Rack GH01, Floor Position = G1 | 27 | 43 | 25 | 15 | 43 | 13
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | H | 6 | Occupied | 6 | 70 % | 1.050 m² | Rack H04, Floor Position = H4 | 9 | 44 | 9 | 5 | 44 | 5
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | H | 6 | Occupied | 6 | 70 % | 1.050 m² | Rack G2, Floor Position = G2 | 41 | 43 | 37 | 33 | 40 | 28
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | H | 6 | Occupied | 6 | 70 % | 1.050 m² | Rack G3, Floor Position = G3 | 43 | 46 | 43 | 43 | 46 | 43
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | H | 6 | Reserved | 0 | 0 % | 0.000 m²
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | J | 4 | Free | 0 | 17 % | 0.180 m²
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | J | 4 | Occupied | 4 | 83 % | 0.900 m² | Rack J6, Floor Position = J6 | 22 | 44 | 22 | 21 | 44 | 21
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | J | 4 | Occupied | 4 | 83 % | 0.900 m² | Rack JK05, Floor Position = J5 | 26 | 45 | 26 | 16 | 44 | 16
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | J | 4 | Occupied | 4 | 83 % | 0.900 m² | ODF J04, Floor Position = J4 | 22 | 45 | 22 | 13 | 45 | 13
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | J | 4 | Occupied | 4 | 83 % | 0.900 m² | ODF J02, Floor Position = J2 | 43 | 45 | 43 | 22 | 45 | 22
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | J | 4 | Reserved | 0 | 0 % | 0.000 m²
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | K | 4 | Free | 0 | 43 % | 0.780 m²
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | K | 4 | Occupied | 4 | 57 % | 1.020 m² | Rack K6, Floor Position = K6 | 42 | 45 | 42 | 42 | 45 | 42
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | K | 4 | Occupied | 4 | 57 % | 1.020 m² | Rack JK05, Floor Position = J5 | 26 | 45 | 26 | 16 | 44 | 16
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | K | 4 | Occupied | 4 | 57 % | 1.020 m² | ODF CODF K04, Floor Position = K4 | 32 | 47 | 32 | 12 | 47 | 12
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | K | 4 | Occupied | 4 | 57 % | 1.020 m² | ODF K02, Floor Position = K2 | 32 | 45 | 32 | 13 | 45 | 13
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | K | 4 | Reserved | 0 | 0 % | 0.000 m²
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | L | 2 | Free | 0 | 25 % | 0.210 m²
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | L | 2 | Occupied | 2 | 75 % | 0.630 m² | Rack L03, Floor Position = L3 | 25 | 47 | 25 | 15 | 47 | 15
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | L | 2 | Occupied | 2 | 75 % | 0.630 m² | Rack L2, Floor Position = L2 | 42 | 47 | 42 | 42 | 47 | 42
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | L | 2 | Reserved | 0 | 0 % | 0.000 m²
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | M | 2 | Free | 2 | 100 % | 0.840 m²
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | M | 2 | Occupied | 0 | 0 % | 0.000 m²
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | M | 2 | Reserved | 0 | 0 % | 0.000 m²
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | P | 1 | Free | 0 | 25 % | 0.120 m²
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | P | 1 | Occupied | 1 | 75 % | 0.360 m² | Rack P0, Floor Position = P00 | 5 | 47 | 5 | 5 | 47 | 5
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | P | 1 | Reserved | 0 | 0 % | 0.000 m²
Room WVHTF1 on Floor Ground Floor in Site WOLVERHAMPTON POP | 42352.00 W | 11100.00 W | 382 % | [6 empty] | Rack WVHTF1;DCSys01, Floor Position = Temp Mig | 19 | 46 | 19 | 18 | 25 | 18