## Suite Line Capacity
Report generated for: | Room XBL001 on Floor Ground Floor in Site BRISTOL MTX
| Quantity | % of all area | Area
Total free sections: | 181/391 | 62 % | 81.505 m²
Total occupied sections: | 210/391 | 38 % | 50.054 m²
Total reserved sections: | 0/391 | 0 % | 0.000 m²
Total Lines Capability |  |  | 131.559 m²
Total Location Capability |  |  | 374.947 m²
Total Location Free Area |  |  | 324.413 m²
Total Location Occupied Area |  |  | 50.534 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 111 | 3 | Free | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 111 | 3 | Occupied | 3 | 100 % | 0.810 m² | ODF 111*11, Floor Position = 111*11 | 45 | 47 | 45 | 28 | 47 | 28
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 111 | 3 | Occupied | 3 | 100 % | 0.810 m² | ODF 111*10, Floor Position = 111*10 | 47 | 47 | 47 | 47 | 47 | 47
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 111 | 3 | Occupied | 3 | 100 % | 0.810 m² | ODF CODF 111*09 (E01), Floor Position = 111*09 | 26 | 47 | 26 | 16 | 47 | 16
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 111 | 3 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 113 | 10 | Free | 4 | 62 % | 3.303 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 113 | 10 | Occupied | 6 | 38 % | 2.065 m² | Rack 113/114*06, Floor Position = 113/114*06 | 17 | 46 | 16 | 10 | 46 | 10
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 113 | 10 | Occupied | 6 | 38 % | 2.065 m² | Rack 113/114*04, Floor Position = 113/114*04 | 30 | 46 | 30 | 30 | 46 | 30
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 113 | 10 | Occupied | 6 | 38 % | 2.065 m² | Rack 113/114*05, Floor Position = 113/114*05 | 30 | 46 | 30 | 30 | 46 | 30
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 113 | 10 | Occupied | 6 | 38 % | 2.065 m² | Rack 113/114*02, Floor Position = 113/114*02 | 35 | 46 | 35 | 34 | 46 | 34
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 113 | 10 | Occupied | 6 | 38 % | 2.065 m² | Rack 113/114*03, Floor Position = 113/114*03 | 31 | 46 | 31 | 25 | 46 | 25
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 113 | 10 | Occupied | 6 | 38 % | 2.065 m² | Rack 113/114*01, Floor Position = 113/114*01 | 26 | 41 | 25 | 25 | 41 | 25
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 113 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 114 | 10 | Free | 4 | 59 % | 3.185 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 114 | 10 | Occupied | 6 | 41 % | 2.183 m² | Rack 113/114*06, Floor Position = 113/114*06 | 17 | 46 | 16 | 10 | 46 | 10
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 114 | 10 | Occupied | 6 | 41 % | 2.183 m² | Rack 113/114*04, Floor Position = 113/114*04 | 30 | 46 | 30 | 30 | 46 | 30
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 114 | 10 | Occupied | 6 | 41 % | 2.183 m² | Rack 113/114*05, Floor Position = 113/114*05 | 30 | 46 | 30 | 30 | 46 | 30
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 114 | 10 | Occupied | 6 | 41 % | 2.183 m² | Rack 113/114*02, Floor Position = 113/114*02 | 35 | 46 | 35 | 34 | 46 | 34
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 114 | 10 | Occupied | 6 | 41 % | 2.183 m² | Rack 113/114*03, Floor Position = 113/114*03 | 31 | 46 | 31 | 25 | 46 | 25
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 114 | 10 | Occupied | 6 | 41 % | 2.183 m² | Rack 113/114*01, Floor Position = 113/114*01 | 26 | 41 | 25 | 25 | 41 | 25
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 114 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 115 | 11 | Free | 0 | 16 % | 0.582 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 115 | 11 | Occupied | 11 | 84 % | 3.017 m² | Rack 115*10, Floor Position = 115*10 | 27 | 45 | 27 | 26 | 45 | 26
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 115 | 11 | Occupied | 11 | 84 % | 3.017 m² | Rack 115*11, Floor Position = 115*11 | 3 | 43 | 3 | 2 | 22 | 2
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 115 | 11 | Occupied | 11 | 84 % | 3.017 m² | Rack 115*12, Floor Position = 115*12 | 27 | 45 | 27 | 26 | 45 | 26
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 115 | 11 | Occupied | 11 | 84 % | 3.017 m² | Rack 115*05, Floor Position = 115*05 | 27 | 45 | 27 | 26 | 45 | 26
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 115 | 11 | Occupied | 11 | 84 % | 3.017 m² | Rack 115*06, Floor Position = 115*06 | 27 | 45 | 27 | 26 | 45 | 26
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 115 | 11 | Occupied | 11 | 84 % | 3.017 m² | Rack 115*07, Floor Position = 115*07 | 27 | 45 | 27 | 26 | 45 | 26
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 115 | 11 | Occupied | 11 | 84 % | 3.017 m² | Rack 115*08, Floor Position = 115*08 | 27 | 45 | 27 | 26 | 45 | 26
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 115 | 11 | Occupied | 11 | 84 % | 3.017 m² | Rack 115*09, Floor Position = 115*09 | 27 | 45 | 27 | 26 | 45 | 26
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 115 | 11 | Occupied | 11 | 84 % | 3.017 m² | Rack 115/116*01, Floor Position = 115/116*01 | 38 | 42 | 38 | 38 | 42 | 38
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 115 | 11 | Occupied | 11 | 84 % | 3.017 m² | Rack 115/116*02, Floor Position = 115/116*02 | 41 | 42 | 41 | 41 | 42 | 41
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 115 | 11 | Occupied | 11 | 84 % | 3.017 m² | Rack 115*04, Floor Position = 115*04 | 27 | 45 | 27 | 26 | 45 | 26
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 115 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 116 | 11 | Free | 0 | 17 % | 0.649 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 116 | 11 | Occupied | 11 | 83 % | 3.081 m² | Rack 116*10, Floor Position = 116*10 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 116 | 11 | Occupied | 11 | 83 % | 3.081 m² | Rack 116*11, Floor Position = 116*11 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 116 | 11 | Occupied | 11 | 83 % | 3.081 m² | Rack 116*12, Floor Position = 116*12 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 116 | 11 | Occupied | 11 | 83 % | 3.081 m² | Rack 116*07, Floor Position = 116*07 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 116 | 11 | Occupied | 11 | 83 % | 3.081 m² | Rack 116*09, Floor Position = 116*09 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 116 | 11 | Occupied | 11 | 83 % | 3.081 m² | Rack 116*08, Floor Position = 116*08 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 116 | 11 | Occupied | 11 | 83 % | 3.081 m² | Rack 116*05, Floor Position = 116*05 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 116 | 11 | Occupied | 11 | 83 % | 3.081 m² | Rack 116*06, Floor Position = 116*06 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 116 | 11 | Occupied | 11 | 83 % | 3.081 m² | Rack 116*04, Floor Position = 116*04 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 116 | 11 | Occupied | 11 | 83 % | 3.081 m² | Rack 115/116*02, Floor Position = 115/116*02 | 41 | 42 | 41 | 41 | 42 | 41
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 116 | 11 | Occupied | 11 | 83 % | 3.081 m² | Rack 115/116*01, Floor Position = 115/116*01 | 38 | 42 | 38 | 38 | 42 | 38
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 116 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 117 | 8 | Free | 3 | 77 % | 2.676 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 117 | 8 | Occupied | 5 | 23 % | 0.807 m² | ODF CODF 117*12 (W01), Floor Position = 117*12 | 27 | 47 | 27 | 18 | 47 | 18
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 117 | 8 | Occupied | 5 | 23 % | 0.807 m² | Rack 117/118*06, Floor Position = 117/118*06 | 10 | 35 | 9 | 4 | 28 | 4
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 117 | 8 | Occupied | 5 | 23 % | 0.807 m² | Rack 117/118*03, Floor Position = 117/118*03 | 20 | 46 | 20 | 13 | 46 | 13
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 117 | 8 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 118 | 8 | Free | 3 | 62 % | 2.171 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 118 | 8 | Occupied | 5 | 38 % | 1.313 m² | Rack 118*13, Floor Position = 118*13 | 47 | 47 | 47 | 47 | 47 | 47
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 118 | 8 | Occupied | 5 | 38 % | 1.313 m² | ODF ODF 118*12 (W01), Floor Position = 118*12 | 44 | 47 | 44 | 27 | 47 | 27
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 118 | 8 | Occupied | 5 | 38 % | 1.313 m² | ODF 118*10, Floor Position = 118*10 | 47 | 47 | 47 | 47 | 47 | 47
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 118 | 8 | Occupied | 5 | 38 % | 1.313 m² | Rack 117/118*03, Floor Position = 117/118*03 | 20 | 46 | 20 | 13 | 46 | 13
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 118 | 8 | Occupied | 5 | 38 % | 1.313 m² | Rack 118*01, Floor Position = 118*01 | 47 | 47 | 47 | 47 | 47 | 47
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 118 | 8 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 119 | 10 | Free | 2 | 32 % | 1.148 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 119 | 10 | Occupied | 8 | 68 % | 2.400 m² | Rack 119/120*14, Floor Position = 119/120*14 | 39 | 60 | 39 | 39 | 60 | 39
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 119 | 10 | Occupied | 8 | 68 % | 2.400 m² | Rack 119/120*06, Floor Position = 119/120*06 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 119 | 10 | Occupied | 8 | 68 % | 2.400 m² | Rack 119/120*07, Floor Position = 119/120*07 | 25 | 27 | 25 | 25 | 27 | 25
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 119 | 10 | Occupied | 8 | 68 % | 2.400 m² | Rack 119/120*05, Floor Position = 119/120*05 | 30 | 37 | 28 | 27 | 30 | 27
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 119 | 10 | Occupied | 8 | 68 % | 2.400 m² | Rack 119/120*04, Floor Position = 119/120*04 | 13 | 38 | 6 | 8 | 31 | 4
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 119 | 10 | Occupied | 8 | 68 % | 2.400 m² | Rack 119/120*03, Floor Position = 119/120*03 | 11 | 38 | 6 | 6 | 31 | 3
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 119 | 10 | Occupied | 8 | 68 % | 2.400 m² | Rack 119/120*01, Floor Position = 119/120*01 | 33 | 41 | 31 | 16 | 29 | 16
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 119 | 10 | Occupied | 8 | 68 % | 2.400 m² | Rack 119/120*02, Floor Position = 119/120*02 | 33 | 41 | 31 | 16 | 29 | 16
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 119 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 120 | 10 | Free | 2 | 33 % | 1.170 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 120 | 10 | Occupied | 8 | 67 % | 2.377 m² | Rack 119/120*14, Floor Position = 119/120*14 | 39 | 60 | 39 | 39 | 60 | 39
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 120 | 10 | Occupied | 8 | 67 % | 2.377 m² | Rack 119/120*06, Floor Position = 119/120*06 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 120 | 10 | Occupied | 8 | 67 % | 2.377 m² | Rack 119/120*07, Floor Position = 119/120*07 | 25 | 27 | 25 | 25 | 27 | 25
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 120 | 10 | Occupied | 8 | 67 % | 2.377 m² | Rack 119/120*05, Floor Position = 119/120*05 | 30 | 37 | 28 | 27 | 30 | 27
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 120 | 10 | Occupied | 8 | 67 % | 2.377 m² | Rack 119/120*04, Floor Position = 119/120*04 | 13 | 38 | 6 | 8 | 31 | 4
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 120 | 10 | Occupied | 8 | 67 % | 2.377 m² | Rack 119/120*03, Floor Position = 119/120*03 | 11 | 38 | 6 | 6 | 31 | 3
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 120 | 10 | Occupied | 8 | 67 % | 2.377 m² | Rack 119/120*01, Floor Position = 119/120*01 | 33 | 41 | 31 | 16 | 29 | 16
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 120 | 10 | Occupied | 8 | 67 % | 2.377 m² | Rack 119/120*02, Floor Position = 119/120*02 | 33 | 41 | 31 | 16 | 29 | 16
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 120 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 121 | 10 | Free | 5 | 68 % | 2.399 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 121 | 10 | Occupied | 5 | 32 % | 1.148 m² | Rack 121/122*11, Floor Position = 121/122*11 | 43 | 60 | 43 | 43 | 60 | 43
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 121 | 10 | Occupied | 5 | 32 % | 1.148 m² | Rack 121/122*10, Floor Position = 121/122*10 | 39 | 60 | 39 | 39 | 60 | 39
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 121 | 10 | Occupied | 5 | 32 % | 1.148 m² | Rack 121/122*09, Floor Position = 121/122*09 | 51 | 60 | 51 | 51 | 60 | 51
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 121 | 10 | Occupied | 5 | 32 % | 1.148 m² | Rack 121/122*05, Floor Position = 121/122*05 | 57 | 60 | 57 | 57 | 60 | 57
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 121 | 10 | Occupied | 5 | 32 % | 1.148 m² | Rack 121/122*03, Floor Position = 121/122*03 | 40 | 60 | 40 | 38 | 60 | 38
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 121 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 122 | 10 | Free | 4 | 60 % | 2.118 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 122 | 10 | Occupied | 6 | 40 % | 1.430 m² | Rack 122*14, Floor Position = 122*14 | 44 | 47 | 44 | 44 | 47 | 44
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 122 | 10 | Occupied | 6 | 40 % | 1.430 m² | Rack 121/122*11, Floor Position = 121/122*11 | 43 | 60 | 43 | 43 | 60 | 43
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 122 | 10 | Occupied | 6 | 40 % | 1.430 m² | Rack 121/122*10, Floor Position = 121/122*10 | 39 | 60 | 39 | 39 | 60 | 39
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 122 | 10 | Occupied | 6 | 40 % | 1.430 m² | Rack 121/122*09, Floor Position = 121/122*09 | 51 | 60 | 51 | 51 | 60 | 51
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 122 | 10 | Occupied | 6 | 40 % | 1.430 m² | Rack 121/122*05, Floor Position = 121/122*05 | 57 | 60 | 57 | 57 | 60 | 57
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 122 | 10 | Occupied | 6 | 40 % | 1.430 m² | Rack 121/122*03, Floor Position = 121/122*03 | 40 | 60 | 40 | 38 | 60 | 38
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 122 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 123 | 10 | Free | 7 | 84 % | 2.987 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 123 | 10 | Occupied | 3 | 16 % | 0.560 m² | Rack 123*04, Floor Position = 123*04 | 45 | 47 | 45 | 45 | 47 | 45
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 123 | 10 | Occupied | 3 | 16 % | 0.560 m² | Rack 123*01, Floor Position = 123*01 | 44 | 47 | 44 | 44 | 47 | 44
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 123 | 10 | Occupied | 3 | 16 % | 0.560 m² | Rack 123*02, Floor Position = 123*02 | 44 | 47 | 44 | 44 | 47 | 44
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 123 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 124 | 10 | Free | 9 | 95 % | 3.368 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 124 | 10 | Occupied | 1 | 5 % | 0.180 m² | Rack 124*05, Floor Position = 124*05 | 43 | 47 | 43 | 43 | 47 | 43
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 124 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 125 | 12 | Free | 7 | 67 % | 2.400 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 125 | 12 | Occupied | 5 | 33 % | 1.200 m² | Rack 125/126*12, Floor Position = 125/126*12 | 60 | 60 | 60 | 60 | 60 | 60
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 125 | 12 | Occupied | 5 | 33 % | 1.200 m² | Rack 125/126*13, Floor Position = 125/126*13 | 55 | 60 | 55 | 55 | 60 | 55
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 125 | 12 | Occupied | 5 | 33 % | 1.200 m² | Rack 125/126*07, Floor Position = 125/126*07 | 43 | 60 | 43 | 43 | 60 | 43
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 125 | 12 | Occupied | 5 | 33 % | 1.200 m² | Rack 125*09, Floor Position = 125*09 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 125 | 12 | Occupied | 5 | 33 % | 1.200 m² | Rack 125/126*08, Floor Position = 125/126*08 | 39 | 60 | 39 | 39 | 60 | 39
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 125 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 126 | 12 | Free | 7 | 66 % | 2.317 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 126 | 12 | Occupied | 5 | 34 % | 1.178 m² | Rack 125/126*12, Floor Position = 125/126*12 | 60 | 60 | 60 | 60 | 60 | 60
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 126 | 12 | Occupied | 5 | 34 % | 1.178 m² | Rack 125/126*13, Floor Position = 125/126*13 | 55 | 60 | 55 | 55 | 60 | 55
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 126 | 12 | Occupied | 5 | 34 % | 1.178 m² | Rack 125/126*07, Floor Position = 125/126*07 | 43 | 60 | 43 | 43 | 60 | 43
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 126 | 12 | Occupied | 5 | 34 % | 1.178 m² | Rack 126*09, Floor Position = 126*09 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 126 | 12 | Occupied | 5 | 34 % | 1.178 m² | Rack 125/126*08, Floor Position = 125/126*08 | 39 | 60 | 39 | 39 | 60 | 39
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 126 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 127 | 15 | Free | 0 | 39 % | 1.515 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 127 | 15 | Occupied | 15 | 61 % | 2.338 m² | Rack 127*15, Floor Position = 127*15 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 127 | 15 | Occupied | 15 | 61 % | 2.338 m² | Rack 127*14, Floor Position = 127*14 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 127 | 15 | Occupied | 15 | 61 % | 2.338 m² | Rack 127*13, Floor Position = 127*13 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 127 | 15 | Occupied | 15 | 61 % | 2.338 m² | Rack 127*12, Floor Position = 127*12 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 127 | 15 | Occupied | 15 | 61 % | 2.338 m² | Rack 127*08, Floor Position = 127*08 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 127 | 15 | Occupied | 15 | 61 % | 2.338 m² | Rack 127*10, Floor Position = 127*10 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 127 | 15 | Occupied | 15 | 61 % | 2.338 m² | Rack 127*11, Floor Position = 127*11 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 127 | 15 | Occupied | 15 | 61 % | 2.338 m² | Rack 127*09, Floor Position = 127*09 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 127 | 15 | Occupied | 15 | 61 % | 2.338 m² | Rack 127*06, Floor Position = 127*06 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 127 | 15 | Occupied | 15 | 61 % | 2.338 m² | Rack 127*07, Floor Position = 127*07 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 127 | 15 | Occupied | 15 | 61 % | 2.338 m² | Rack 127*05, Floor Position = 127*05 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 127 | 15 | Occupied | 15 | 61 % | 2.338 m² | Rack 127*04, Floor Position = 127*04 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 127 | 15 | Occupied | 15 | 61 % | 2.338 m² | Rack 127*02, Floor Position = 127*02 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 127 | 15 | Occupied | 15 | 61 % | 2.338 m² | Rack 127*03, Floor Position = 127*03 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 127 | 15 | Occupied | 15 | 61 % | 2.338 m² | Rack 127*01, Floor Position = 127*01 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 127 | 15 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 128 | 15 | Free | 0 | 30 % | 1.015 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 128 | 15 | Occupied | 15 | 70 % | 2.338 m² | Rack 128*15, Floor Position = 128*15 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 128 | 15 | Occupied | 15 | 70 % | 2.338 m² | Rack 128*14, Floor Position = 128*14 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 128 | 15 | Occupied | 15 | 70 % | 2.338 m² | Rack 128*13, Floor Position = 128*13 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 128 | 15 | Occupied | 15 | 70 % | 2.338 m² | Rack 128*12, Floor Position = 128*12 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 128 | 15 | Occupied | 15 | 70 % | 2.338 m² | Rack 128*08, Floor Position = 128*08 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 128 | 15 | Occupied | 15 | 70 % | 2.338 m² | Rack 128*10, Floor Position = 128*10 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 128 | 15 | Occupied | 15 | 70 % | 2.338 m² | Rack 128*11, Floor Position = 128*11 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 128 | 15 | Occupied | 15 | 70 % | 2.338 m² | Rack 128*09, Floor Position = 128*09 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 128 | 15 | Occupied | 15 | 70 % | 2.338 m² | Rack 128*06, Floor Position = 128*06 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 128 | 15 | Occupied | 15 | 70 % | 2.338 m² | Rack 128*07, Floor Position = 128*07 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 128 | 15 | Occupied | 15 | 70 % | 2.338 m² | Rack 128*05, Floor Position = 128*05 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 128 | 15 | Occupied | 15 | 70 % | 2.338 m² | Rack 128*04, Floor Position = 128*04 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 128 | 15 | Occupied | 15 | 70 % | 2.338 m² | Rack 128*01, Floor Position = 128*01 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 128 | 15 | Occupied | 15 | 70 % | 2.338 m² | Rack 128*02, Floor Position = 128*02 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 128 | 15 | Occupied | 15 | 70 % | 2.338 m² | Rack 128*03, Floor Position = 128*03 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 128 | 15 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 129 | 13 | Free | 1 | 23 % | 0.933 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 129 | 13 | Occupied | 12 | 77 % | 3.210 m² | Rack 129/130*00, Floor Position = 129/130*00 | 47 | 47 | 47 | 47 | 47 | 47
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 129 | 13 | Occupied | 12 | 77 % | 3.210 m² | Rack 129*01, Floor Position = 129*01 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 129 | 13 | Occupied | 12 | 77 % | 3.210 m² | Rack 129*02, Floor Position = 129*02 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 129 | 13 | Occupied | 12 | 77 % | 3.210 m² | Rack 129*03, Floor Position = 129*03 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 129 | 13 | Occupied | 12 | 77 % | 3.210 m² | ODF 129*04, Floor Position = 129*04 | 47 | 47 | 47 | 47 | 47 | 47
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 129 | 13 | Occupied | 12 | 77 % | 3.210 m² | Rack 129/130*05, Floor Position = 129/130*05 | 47 | 47 | 47 | 47 | 47 | 47
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 129 | 13 | Occupied | 12 | 77 % | 3.210 m² | Rack 129/130*06, Floor Position = 129/130*06 | 47 | 47 | 47 | 47 | 47 | 47
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 129 | 13 | Occupied | 12 | 77 % | 3.210 m² | Rack 129/130*07, Floor Position = 129/130*07 | 47 | 47 | 47 | 47 | 47 | 47
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 129 | 13 | Occupied | 12 | 77 % | 3.210 m² | Rack 129/130*08, Floor Position = 129/130*08 | 47 | 47 | 47 | 47 | 47 | 47
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 129 | 13 | Occupied | 12 | 77 % | 3.210 m² | ODF 129*10, Floor Position = 129*10 | 47 | 47 | 47 | 47 | 47 | 47
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 129 | 13 | Occupied | 12 | 77 % | 3.210 m² | Rack 129/130*11, Floor Position = 129/130*11 | 47 | 47 | 47 | 47 | 47 | 47
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 129 | 13 | Occupied | 12 | 77 % | 3.210 m² | Rack 129/130*09, Floor Position = 129/130*09 | 47 | 47 | 47 | 47 | 47 | 47
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 129 | 13 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 130 | 13 | Free | 1 | 12 % | 0.367 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 130 | 13 | Occupied | 12 | 88 % | 2.586 m² | Rack 129/130*00, Floor Position = 129/130*00 | 47 | 47 | 47 | 47 | 47 | 47
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 130 | 13 | Occupied | 12 | 88 % | 2.586 m² | Rack 130*01, Floor Position = 130*01 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 130 | 13 | Occupied | 12 | 88 % | 2.586 m² | Rack 130*02, Floor Position = 130*02 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 130 | 13 | Occupied | 12 | 88 % | 2.586 m² | Rack 130*03, Floor Position = 130*03 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 130 | 13 | Occupied | 12 | 88 % | 2.586 m² | Rack 129/130*06, Floor Position = 129/130*06 | 47 | 47 | 47 | 47 | 47 | 47
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 130 | 13 | Occupied | 12 | 88 % | 2.586 m² | Rack 129/130*05, Floor Position = 129/130*05 | 47 | 47 | 47 | 47 | 47 | 47
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 130 | 13 | Occupied | 12 | 88 % | 2.586 m² | ODF 130*04, Floor Position = 130*04 | 47 | 47 | 47 | 47 | 47 | 47
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 130 | 13 | Occupied | 12 | 88 % | 2.586 m² | Rack 129/130*08, Floor Position = 129/130*08 | 47 | 47 | 47 | 47 | 47 | 47
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 130 | 13 | Occupied | 12 | 88 % | 2.586 m² | Rack 129/130*07, Floor Position = 129/130*07 | 47 | 47 | 47 | 47 | 47 | 47
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 130 | 13 | Occupied | 12 | 88 % | 2.586 m² | ODF 130*10, Floor Position = 130*10 | 47 | 47 | 47 | 47 | 47 | 47
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 130 | 13 | Occupied | 12 | 88 % | 2.586 m² | Rack 129/130*09, Floor Position = 129/130*09 | 47 | 47 | 47 | 47 | 47 | 47
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 130 | 13 | Occupied | 12 | 88 % | 2.586 m² | Rack 129/130*11, Floor Position = 129/130*11 | 47 | 47 | 47 | 47 | 47 | 47
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 130 | 13 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 131 | 10 | Free | 5 | 64 % | 1.641 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 131 | 10 | Occupied | 5 | 36 % | 0.935 m² | Rack 131*14, Floor Position = 131*14 | 54 | 54 | 54 | 54 | 54 | 54
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 131 | 10 | Occupied | 5 | 36 % | 0.935 m² | Rack 131*13, Floor Position = 131*13 | 52 | 54 | 52 | 52 | 54 | 52
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 131 | 10 | Occupied | 5 | 36 % | 0.935 m² | Rack 131/132*10, Floor Position = 131/132*10 | 41 | 45 | 41 | 41 | 45 | 41
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 131 | 10 | Occupied | 5 | 36 % | 0.935 m² | Rack 131/132*12, Floor Position = 131/132*12 | 42 | 47 | 42 | 42 | 47 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 131 | 10 | Occupied | 5 | 36 % | 0.935 m² | Rack 131/132*11, Floor Position = 131/132*11 | 41 | 45 | 41 | 41 | 45 | 41
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 131 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 132 | 10 | Free | 5 | 64 % | 1.639 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 132 | 10 | Occupied | 5 | 36 % | 0.923 m² | Rack 132*14, Floor Position = 132*14 | 52 | 54 | 52 | 52 | 54 | 52
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 132 | 10 | Occupied | 5 | 36 % | 0.923 m² | Rack 132*13, Floor Position = 132*13 | 54 | 54 | 54 | 54 | 54 | 54
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 132 | 10 | Occupied | 5 | 36 % | 0.923 m² | Rack 131/132*10, Floor Position = 131/132*10 | 41 | 45 | 41 | 41 | 45 | 41
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 132 | 10 | Occupied | 5 | 36 % | 0.923 m² | Rack 131/132*12, Floor Position = 131/132*12 | 42 | 47 | 42 | 42 | 47 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 132 | 10 | Occupied | 5 | 36 % | 0.923 m² | Rack 131/132*11, Floor Position = 131/132*11 | 41 | 45 | 41 | 41 | 45 | 41
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 132 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 133 | 6 | Free | 0 | 0 % | 0.003 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 133 | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack 133*06, Floor Position = 133*06 | 47 | 47 | 47 | 47 | 47 | 47
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 133 | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack 133*05, Floor Position = 133*05 | 43 | 47 | 43 | 43 | 47 | 43
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 133 | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack 133*04, Floor Position = 133*04 | 47 | 47 | 47 | 47 | 47 | 47
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 133 | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack 133*03, Floor Position = 133*03 | 43 | 47 | 43 | 43 | 47 | 43
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 133 | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack 133*01, Floor Position = 133*01 | 43 | 47 | 43 | 43 | 47 | 43
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 133 | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack 133*02, Floor Position = 133*02 | 47 | 47 | 47 | 47 | 47 | 47
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 133 | 6 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 143 | 8 | Free | 7 | 91 % | 3.622 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 143 | 8 | Occupied | 1 | 9 % | 0.338 m² | Rack 143/144*07, Floor Position = 143/144*07 | 8 | 35 | 8 | 4 | 28 | 4
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 143 | 8 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 144 | 8 | Free | 7 | 91 % | 3.590 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 144 | 8 | Occupied | 1 | 9 % | 0.370 m² | Rack 143/144*07, Floor Position = 143/144*07 | 8 | 35 | 8 | 4 | 28 | 4
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 144 | 8 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 145 | 11 | Free | 2 | 22 % | 0.715 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 145 | 11 | Occupied | 9 | 78 % | 2.592 m² | Rack 145*01, Floor Position = 145*01 | 27 | 45 | 27 | 26 | 45 | 26
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 145 | 11 | Occupied | 9 | 78 % | 2.592 m² | Rack 145*02, Floor Position = 145*02 | 3 | 43 | 3 | 2 | 22 | 2
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 145 | 11 | Occupied | 9 | 78 % | 2.592 m² | Rack 145*03, Floor Position = 145*03 | 27 | 45 | 27 | 26 | 45 | 26
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 145 | 11 | Occupied | 9 | 78 % | 2.592 m² | Rack 145*04, Floor Position = 145*04 | 27 | 45 | 27 | 26 | 45 | 26
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 145 | 11 | Occupied | 9 | 78 % | 2.592 m² | Rack 145*05, Floor Position = 145*05 | 27 | 45 | 27 | 26 | 45 | 26
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 145 | 11 | Occupied | 9 | 78 % | 2.592 m² | Rack 145*06, Floor Position = 145*06 | 27 | 45 | 27 | 26 | 45 | 26
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 145 | 11 | Occupied | 9 | 78 % | 2.592 m² | Rack 145*07, Floor Position = 145*07 | 27 | 45 | 27 | 26 | 45 | 26
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 145 | 11 | Occupied | 9 | 78 % | 2.592 m² | Rack 145*08, Floor Position = 145*08 | 27 | 45 | 27 | 26 | 45 | 26
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 145 | 11 | Occupied | 9 | 78 % | 2.592 m² | Rack 145*09, Floor Position = 145*09 | 27 | 45 | 27 | 26 | 45 | 26
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 145 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 146 | 11 | Free | 2 | 17 % | 0.496 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 146 | 11 | Occupied | 9 | 83 % | 2.437 m² | Rack 146*01, Floor Position = 146*01 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 146 | 11 | Occupied | 9 | 83 % | 2.437 m² | Rack 146*02, Floor Position = 146*02 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 146 | 11 | Occupied | 9 | 83 % | 2.437 m² | Rack 146*04, Floor Position = 146*04 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 146 | 11 | Occupied | 9 | 83 % | 2.437 m² | Rack 146*03, Floor Position = 146*03 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 146 | 11 | Occupied | 9 | 83 % | 2.437 m² | Rack 146*05, Floor Position = 146*05 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 146 | 11 | Occupied | 9 | 83 % | 2.437 m² | Rack 146*08, Floor Position = 146*08 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 146 | 11 | Occupied | 9 | 83 % | 2.437 m² | Rack 146*06, Floor Position = 146*06 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 146 | 11 | Occupied | 9 | 83 % | 2.437 m² | Rack 146*07, Floor Position = 146*07 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 146 | 11 | Occupied | 9 | 83 % | 2.437 m² | Rack 146*09, Floor Position = 146*09 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 146 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 147 | 9 | Free | 1 | 46 % | 1.438 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 147 | 9 | Occupied | 8 | 54 % | 1.682 m² | Rack 147/148*01, Floor Position = 147/148*01 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 147 | 9 | Occupied | 8 | 54 % | 1.682 m² | Rack 147/148*02, Floor Position = 147/148*02 | 42 | 46 | 42 | 42 | 46 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 147 | 9 | Occupied | 8 | 54 % | 1.682 m² | Rack 147/148*03, Floor Position = 147/148*03 | 42 | 46 | 42 | 42 | 46 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 147 | 9 | Occupied | 8 | 54 % | 1.682 m² | Rack 147*04, Floor Position = 147*04 | 22 | 37 | 22 | 22 | 37 | 22
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 147 | 9 | Occupied | 8 | 54 % | 1.682 m² | Rack 147*06, Floor Position = 147*06 | 30 | 37 | 30 | 30 | 37 | 30
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 147 | 9 | Occupied | 8 | 54 % | 1.682 m² | Rack 147*08, Floor Position = 147*08 | 34 | 37 | 34 | 34 | 37 | 34
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 147 | 9 | Occupied | 8 | 54 % | 1.682 m² | Rack 147/148*12, Floor Position = 147/148*12 | 37 | 46 | 37 | 37 | 46 | 37
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 147 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 148 | 9 | Free | 5 | 69 % | 2.163 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 148 | 9 | Occupied | 4 | 31 % | 0.957 m² | Rack 147/148*01, Floor Position = 147/148*01 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 148 | 9 | Occupied | 4 | 31 % | 0.957 m² | Rack 147/148*02, Floor Position = 147/148*02 | 42 | 46 | 42 | 42 | 46 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 148 | 9 | Occupied | 4 | 31 % | 0.957 m² | Rack 147/148*03, Floor Position = 147/148*03 | 42 | 46 | 42 | 42 | 46 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 148 | 9 | Occupied | 4 | 31 % | 0.957 m² | Rack 147/148*12, Floor Position = 147/148*12 | 37 | 46 | 37 | 37 | 46 | 37
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 148 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 149 | 10 | Free | 4 | 64 % | 2.001 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 149 | 10 | Occupied | 6 | 36 % | 1.119 m² | Rack 149/150*01, Floor Position = 149/150*01 | 39 | 41 | 39 | 39 | 41 | 39
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 149 | 10 | Occupied | 6 | 36 % | 1.119 m² | Rack 149/150*02, Floor Position = 149/150*02 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 149 | 10 | Occupied | 6 | 36 % | 1.119 m² | Rack 149/150*04, Floor Position = 149/150*04 | 42 | 46 | 42 | 42 | 46 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 149 | 10 | Occupied | 6 | 36 % | 1.119 m² | Rack 149/150*05, Floor Position = 149/150*05 | 42 | 46 | 42 | 42 | 46 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 149 | 10 | Occupied | 6 | 36 % | 1.119 m² | Rack 149/150*07, Floor Position = 149/150*07 | 37 | 46 | 37 | 37 | 46 | 37
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 149 | 10 | Occupied | 6 | 36 % | 1.119 m² | Rack 149/150*12, Floor Position = 149/150*12 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 149 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 150 | 10 | Free | 4 | 51 % | 1.601 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 150 | 10 | Occupied | 6 | 49 % | 1.519 m² | Rack 149/150*01, Floor Position = 149/150*01 | 39 | 41 | 39 | 39 | 41 | 39
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 150 | 10 | Occupied | 6 | 49 % | 1.519 m² | Rack 149/150*02, Floor Position = 149/150*02 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 150 | 10 | Occupied | 6 | 49 % | 1.519 m² | Rack 149/150*04, Floor Position = 149/150*04 | 42 | 46 | 42 | 42 | 46 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 150 | 10 | Occupied | 6 | 49 % | 1.519 m² | Rack 149/150*05, Floor Position = 149/150*05 | 42 | 46 | 42 | 42 | 46 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 150 | 10 | Occupied | 6 | 49 % | 1.519 m² | Rack 149/150*07, Floor Position = 149/150*07 | 37 | 46 | 37 | 37 | 46 | 37
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 150 | 10 | Occupied | 6 | 49 % | 1.519 m² | Rack 149/150*12, Floor Position = 149/150*12 | 42 | 42 | 42 | 42 | 42 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 150 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 153 | 10 | Free | 10 | 100 % | 3.120 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 153 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 153 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 154 | 10 | Free | 10 | 100 % | 3.120 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 154 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 154 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 155 | 10 | Free | 10 | 100 % | 3.120 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 155 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 155 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 156 | 10 | Free | 10 | 100 % | 3.120 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 156 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 156 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 157 | 10 | Free | 10 | 100 % | 3.120 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 157 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 157 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 158 | 10 | Free | 10 | 100 % | 3.120 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 158 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 158 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 159 | 10 | Free | 10 | 100 % | 3.120 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 159 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 159 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 160 | 10 | Free | 10 | 100 % | 3.120 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 160 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 160 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 161 | 3 | Free | 0 | 22 % | 0.198 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 161 | 3 | Occupied | 3 | 78 % | 0.719 m² | Rack 161*03, Floor Position = 161*03 | 47 | 47 | 47 | 47 | 47 | 47
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 161 | 3 | Occupied | 3 | 78 % | 0.719 m² | Rack 161*01, Floor Position = 161*01 | 47 | 47 | 47 | 47 | 47 | 47
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 161 | 3 | Occupied | 3 | 78 % | 0.719 m² | Rack 161*02, Floor Position = 161*02 | 47 | 47 | 47 | 47 | 47 | 47
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 161 | 3 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 163 | 4 | Free | 0 | 38 % | 0.649 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 163 | 4 | Occupied | 4 | 62 % | 1.077 m² | Rack 163*02, Floor Position = 163*02 | 47 | 47 | 47 | 47 | 47 | 47
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 163 | 4 | Occupied | 4 | 62 % | 1.077 m² | Rack 163*01, Floor Position = 163*01 | 42 | 45 | 42 | 42 | 45 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 163 | 4 | Occupied | 4 | 62 % | 1.077 m² | Rack 163*03, Floor Position = 163*03 | 43 | 47 | 43 | 43 | 47 | 43
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 163 | 4 | Occupied | 4 | 62 % | 1.077 m² | Rack 163*04, Floor Position = 163*04 | 42 | 45 | 42 | 42 | 45 | 42
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | 163 | 4 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | WALL02 | 1 | Free | 0 | 97 % | 2.486 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | WALL02 | 1 | Occupied | 1 | 3 % | 0.088 m² | Rack WALL02*23, Floor Position = WALL02*23 | 0 | 29 | 0 | 0 | 29 | 0
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | WALL02 | 1 | Reserved | 0 | 0 % | 0.000 m²
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | [6 empty] | Rack Clean Earth Bar, Floor Position = WALL03*29 | 5 | 8 | 5 | 5 | 8 | 5
Room XBL001 on Floor Ground Floor in Site BRISTOL MTX | 103610.00 W | 100000.00 W | 104 % | [6 empty] | Rack XBL TechDB 1-3, Floor Position = WALL03*33 | 43 | 47 | 43 | 43 | 47 | 43