## Suite Line Capacity
Report generated for: | Room XBL004 on Floor Ground Floor in Site BRISTOL MTX
| Quantity | % of all area | Area
Total free sections: | 3/36 | 8 % | 0.864 m²
Total occupied sections: | 33/36 | 92 % | 9.504 m²
Total reserved sections: | 0/36 | 0 % | 0.000 m²
Total Lines Capability |  |  | 10.368 m²
Total Location Capability |  |  | 55.016 m²
Total Location Free Area |  |  | 45.392 m²
Total Location Occupied Area |  |  | 9.624 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 104 | 6 | Free | 2 | 33 % | 0.576 m²
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 104 | 6 | Occupied | 4 | 67 % | 1.152 m² | Rack 104*04, Floor Position = 104*04 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 104 | 6 | Occupied | 4 | 67 % | 1.152 m² | Rack 104*02, Floor Position = 104*02 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 104 | 6 | Occupied | 4 | 67 % | 1.152 m² | Rack 104*03, Floor Position = 104*03 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 104 | 6 | Occupied | 4 | 67 % | 1.152 m² | Rack 104*01, Floor Position = 104*01 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 104 | 6 | Reserved | 0 | 0 % | 0.000 m²
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 105 | 6 | Free | 0 | 0 % | 0.000 m²
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 105 | 6 | Occupied | 6 | 100 % | 1.728 m² | Rack 105*06, Floor Position = 105*06 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 105 | 6 | Occupied | 6 | 100 % | 1.728 m² | Rack 105*05, Floor Position = 105*05 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 105 | 6 | Occupied | 6 | 100 % | 1.728 m² | Rack 105*04, Floor Position = 105*04 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 105 | 6 | Occupied | 6 | 100 % | 1.728 m² | Rack 105*02, Floor Position = 105*02 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 105 | 6 | Occupied | 6 | 100 % | 1.728 m² | Rack 105*03, Floor Position = 105*03 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 105 | 6 | Occupied | 6 | 100 % | 1.728 m² | Rack 105*01, Floor Position = 105*01 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 105 | 6 | Reserved | 0 | 0 % | 0.000 m²
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 106 | 6 | Free | 0 | 0 % | 0.000 m²
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 106 | 6 | Occupied | 6 | 100 % | 1.728 m² | Rack 106*06, Floor Position = 106*06 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 106 | 6 | Occupied | 6 | 100 % | 1.728 m² | Rack 106*05, Floor Position = 106*05 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 106 | 6 | Occupied | 6 | 100 % | 1.728 m² | Rack 106*04, Floor Position = 106*04 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 106 | 6 | Occupied | 6 | 100 % | 1.728 m² | Rack 106*02, Floor Position = 106*02 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 106 | 6 | Occupied | 6 | 100 % | 1.728 m² | Rack 106*03, Floor Position = 106*03 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 106 | 6 | Occupied | 6 | 100 % | 1.728 m² | Rack 106*01, Floor Position = 106*01 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 106 | 6 | Reserved | 0 | 0 % | 0.000 m²
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 107 | 6 | Free | 0 | 0 % | 0.000 m²
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 107 | 6 | Occupied | 6 | 100 % | 1.728 m² | Rack 107*06, Floor Position = 107*06 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 107 | 6 | Occupied | 6 | 100 % | 1.728 m² | Rack 107*05, Floor Position = 107*05 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 107 | 6 | Occupied | 6 | 100 % | 1.728 m² | Rack 107*04, Floor Position = 107*04 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 107 | 6 | Occupied | 6 | 100 % | 1.728 m² | Rack 107*02, Floor Position = 107*02 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 107 | 6 | Occupied | 6 | 100 % | 1.728 m² | Rack 107*03, Floor Position = 107*03 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 107 | 6 | Occupied | 6 | 100 % | 1.728 m² | Rack 107*01, Floor Position = 107*01 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 107 | 6 | Reserved | 0 | 0 % | 0.000 m²
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 108 | 6 | Free | 1 | 17 % | 0.288 m²
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 108 | 6 | Occupied | 5 | 83 % | 1.440 m² | Rack 108*05, Floor Position = 108*05 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 108 | 6 | Occupied | 5 | 83 % | 1.440 m² | Rack 108*04, Floor Position = 108*04 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 108 | 6 | Occupied | 5 | 83 % | 1.440 m² | Rack 108*02, Floor Position = 108*02 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 108 | 6 | Occupied | 5 | 83 % | 1.440 m² | Rack 108*03, Floor Position = 108*03 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 108 | 6 | Occupied | 5 | 83 % | 1.440 m² | Rack 108*01, Floor Position = 108*01 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 108 | 6 | Reserved | 0 | 0 % | 0.000 m²
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 109 | 6 | Free | 0 | 0 % | 0.000 m²
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 109 | 6 | Occupied | 6 | 100 % | 1.728 m² | Rack 109*06, Floor Position = 109*06 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 109 | 6 | Occupied | 6 | 100 % | 1.728 m² | Rack 109*05, Floor Position = 109*05 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 109 | 6 | Occupied | 6 | 100 % | 1.728 m² | Rack 109*04, Floor Position = 109*04 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 109 | 6 | Occupied | 6 | 100 % | 1.728 m² | Rack 109*02, Floor Position = 109*02 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 109 | 6 | Occupied | 6 | 100 % | 1.728 m² | Rack 109*03, Floor Position = 109*03 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 109 | 6 | Occupied | 6 | 100 % | 1.728 m² | Rack 109*01, Floor Position = 109*01 | 45 | 45 | 45 | 45 | 45 | 45
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | 109 | 6 | Reserved | 0 | 0 % | 0.000 m²
Room XBL004 on Floor Ground Floor in Site BRISTOL MTX | 0.00 W | 0.00 W | 0 % | [6 empty] | Rack XBL TechDB 1, Floor Position = unset | 4 | 8 | 4 | 4 | 8 | 4