## Suite Line Capacity
Report generated for: | Room XBL002 on Floor Ground Floor in Site BRISTOL MTX
| Quantity | % of all area | Area
Total free sections: | 0/34 | 77 % | 30.624 m²
Total occupied sections: | 34/34 | 23 % | 8.976 m²
Total reserved sections: | 0/34 | 0 % | 0.000 m²
Total Lines Capability |  |  | 39.600 m²
Total Location Capability |  |  | 152.035 m²
Total Location Free Area |  |  | 142.939 m²
Total Location Occupied Area |  |  | 9.096 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 200 | 10 | Free | 0 | 0 % | 0.000 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 200 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 200*01, Floor Position = 200*01 | 37 | 37 | 37 | 37 | 37 | 37
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 200 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 200*03, Floor Position = 200*03 | 37 | 37 | 37 | 37 | 37 | 37
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 200 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 200*04, Floor Position = 200*04 | 37 | 37 | 37 | 37 | 37 | 37
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 200 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 200*02, Floor Position = 200*02 | 37 | 37 | 37 | 37 | 37 | 37
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 200 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 200*10, Floor Position = 200*10 | 37 | 37 | 37 | 37 | 37 | 37
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 200 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 200*07, Floor Position = 200*07 | 37 | 37 | 37 | 37 | 37 | 37
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 200 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 200*05, Floor Position = 200*05 | 37 | 37 | 37 | 37 | 37 | 37
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 200 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 200*06, Floor Position = 200*06 | 37 | 37 | 37 | 37 | 37 | 37
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 200 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 200*09, Floor Position = 200*09 | 37 | 37 | 37 | 37 | 37 | 37
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 200 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 200*08, Floor Position = 200*08 | 37 | 37 | 37 | 37 | 37 | 37
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 200 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 201 | 10 | Free | 0 | 0 % | 0.000 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 201 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 201*01, Floor Position = 201*01 | 37 | 37 | 37 | 37 | 37 | 37
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 201 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 201*03, Floor Position = 201*03 | 37 | 37 | 37 | 37 | 37 | 37
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 201 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 201*04, Floor Position = 201*04 | 37 | 37 | 37 | 37 | 37 | 37
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 201 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 201*02, Floor Position = 201*02 | 37 | 37 | 37 | 37 | 37 | 37
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 201 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 201*10, Floor Position = 201*10 | 37 | 37 | 37 | 37 | 37 | 37
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 201 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 201*07, Floor Position = 201*07 | 37 | 37 | 37 | 37 | 37 | 37
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 201 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 201*05, Floor Position = 201*05 | 37 | 37 | 37 | 37 | 37 | 37
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 201 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 201*06, Floor Position = 201*06 | 37 | 37 | 37 | 37 | 37 | 37
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 201 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 201*09, Floor Position = 201*09 | 37 | 37 | 37 | 37 | 37 | 37
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 201 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 201*08, Floor Position = 201*08 | 37 | 37 | 37 | 37 | 37 | 37
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 201 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 202 | 0 | Free | 0 | 100 % | 2.880 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 202 | 0 | Occupied | 0 | 0 % | 0.000 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 202 | 0 | Reserved | 0 | 0 % | 0.000 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 203 | 0 | Free | 0 | 100 % | 2.880 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 203 | 0 | Occupied | 0 | 0 % | 0.000 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 203 | 0 | Reserved | 0 | 0 % | 0.000 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 204 | 0 | Free | 0 | 100 % | 3.120 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 204 | 0 | Occupied | 0 | 0 % | 0.000 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 204 | 0 | Reserved | 0 | 0 % | 0.000 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 205 | 0 | Free | 0 | 100 % | 3.120 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 205 | 0 | Occupied | 0 | 0 % | 0.000 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 205 | 0 | Reserved | 0 | 0 % | 0.000 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 206 | 0 | Free | 0 | 100 % | 3.120 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 206 | 0 | Occupied | 0 | 0 % | 0.000 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 206 | 0 | Reserved | 0 | 0 % | 0.000 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 207 | 0 | Free | 0 | 100 % | 3.120 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 207 | 0 | Occupied | 0 | 0 % | 0.000 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 207 | 0 | Reserved | 0 | 0 % | 0.000 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 208 | 6 | Free | 0 | 66 % | 3.067 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 208 | 6 | Occupied | 6 | 34 % | 1.613 m² | Rack 208/209*02, Floor Position = 208/209*02 | 58 | 60 | 58 | 58 | 60 | 58
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 208 | 6 | Occupied | 6 | 34 % | 1.613 m² | Rack 208/209*03, Floor Position = 208/209*03 | 47 | 64 | 47 | 47 | 64 | 47
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 208 | 6 | Occupied | 6 | 34 % | 1.613 m² | Rack 208/209*01, Floor Position = 208/209*01 | 59 | 60 | 59 | 59 | 60 | 59
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 208 | 6 | Occupied | 6 | 34 % | 1.613 m² | Rack 208/209*08, Floor Position = 208/209*08 | 55 | 60 | 55 | 55 | 60 | 55
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 208 | 6 | Occupied | 6 | 34 % | 1.613 m² | Rack 208/209*09, Floor Position = 208/209*09 | 49 | 60 | 49 | 49 | 60 | 49
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 208 | 6 | Occupied | 6 | 34 % | 1.613 m² | Rack 208/209*07, Floor Position = 208/209*07 | 58 | 64 | 58 | 58 | 64 | 58
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 208 | 6 | Reserved | 0 | 0 % | 0.000 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 209 | 6 | Free | 0 | 73 % | 3.413 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 209 | 6 | Occupied | 6 | 27 % | 1.267 m² | Rack 208/209*02, Floor Position = 208/209*02 | 58 | 60 | 58 | 58 | 60 | 58
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 209 | 6 | Occupied | 6 | 27 % | 1.267 m² | Rack 208/209*03, Floor Position = 208/209*03 | 47 | 64 | 47 | 47 | 64 | 47
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 209 | 6 | Occupied | 6 | 27 % | 1.267 m² | Rack 208/209*01, Floor Position = 208/209*01 | 59 | 60 | 59 | 59 | 60 | 59
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 209 | 6 | Occupied | 6 | 27 % | 1.267 m² | Rack 208/209*08, Floor Position = 208/209*08 | 55 | 60 | 55 | 55 | 60 | 55
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 209 | 6 | Occupied | 6 | 27 % | 1.267 m² | Rack 208/209*09, Floor Position = 208/209*09 | 49 | 60 | 49 | 49 | 60 | 49
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 209 | 6 | Occupied | 6 | 27 % | 1.267 m² | Rack 208/209*07, Floor Position = 208/209*07 | 58 | 64 | 58 | 58 | 64 | 58
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 209 | 6 | Reserved | 0 | 0 % | 0.000 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 210 | 1 | Free | 0 | 95 % | 2.964 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 210 | 1 | Occupied | 1 | 5 % | 0.156 m² | Rack 210*08, Floor Position = 210*08 | 38 | 38 | 38 | 38 | 38 | 38
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 210 | 1 | Reserved | 0 | 0 % | 0.000 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 211 | 1 | Free | 0 | 94 % | 2.940 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 211 | 1 | Occupied | 1 | 6 % | 0.180 m² | Rack 211*08, Floor Position = 211*08 | 43 | 45 | 43 | 43 | 45 | 43
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | 211 | 1 | Reserved | 0 | 0 % | 0.000 m²
Room XBL002 on Floor Ground Floor in Site BRISTOL MTX | 330.00 W | 20000.00 W | 2 % | [6 empty] | Rack XBL TechDB 1-1, Floor Position = WALL07*17 | 4 | 8 | 4 | 4 | 8 | 4