## Suite Line Capacity
Report generated for: | Room XCE001 on Floor Ground Floor in Site CARLISLE MTX
| Quantity | % of all area | Area
Total free sections: | 865/1055 | 86 % | 332.297 m²
Total occupied sections: | 190/1055 | 14 % | 53.321 m²
Total reserved sections: | 0/1055 | 0 % | 0.000 m²
Total Lines Capability |  |  | 385.618 m²
Total Location Capability |  |  | 1050.855 m²
Total Location Free Area |  |  | 997.534 m²
Total Location Occupied Area |  |  | 53.321 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 100 | 10 | Free | 10 | 100 % | 5.040 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 100 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 100 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 101 | 10 | Free | 8 | 81 % | 4.080 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 101 | 10 | Occupied | 2 | 19 % | 0.960 m² | Rack 100/101*02, Floor Position = 100/101*02 | 38 | 45 | 37 | 38 | 45 | 37
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 101 | 10 | Occupied | 2 | 19 % | 0.960 m² | Rack 100/101*01, Floor Position = 100/101*01 | 31 | 45 | 31 | 31 | 45 | 31
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 101 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 102 | 11 | Free | 6 | 64 % | 2.160 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 102 | 11 | Occupied | 5 | 36 % | 1.200 m² | Rack 102/103*14, Floor Position = 102/103*14 | 41 | 55 | 41 | 41 | 55 | 41
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 102 | 11 | Occupied | 5 | 36 % | 1.200 m² | Rack 102/103*13, Floor Position = 102/103*13 | 54 | 55 | 54 | 54 | 55 | 54
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 102 | 11 | Occupied | 5 | 36 % | 1.200 m² | Rack 102/103*11, Floor Position = 102/103*11 | 46 | 55 | 46 | 46 | 55 | 46
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 102 | 11 | Occupied | 5 | 36 % | 1.200 m² | Rack 102/103*10, Floor Position = 102/103*10 | 52 | 55 | 51 | 23 | 55 | 23
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 102 | 11 | Occupied | 5 | 36 % | 1.200 m² | Rack 102/103*12, Floor Position = 102/103*12 | 48 | 55 | 48 | 48 | 55 | 48
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 102 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 103 | 11 | Free | 6 | 64 % | 2.160 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 103 | 11 | Occupied | 5 | 36 % | 1.200 m² | Rack 102/103*14, Floor Position = 102/103*14 | 41 | 55 | 41 | 41 | 55 | 41
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 103 | 11 | Occupied | 5 | 36 % | 1.200 m² | Rack 102/103*13, Floor Position = 102/103*13 | 54 | 55 | 54 | 54 | 55 | 54
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 103 | 11 | Occupied | 5 | 36 % | 1.200 m² | Rack 102/103*11, Floor Position = 102/103*11 | 46 | 55 | 46 | 46 | 55 | 46
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 103 | 11 | Occupied | 5 | 36 % | 1.200 m² | Rack 102/103*10, Floor Position = 102/103*10 | 52 | 55 | 51 | 23 | 55 | 23
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 103 | 11 | Occupied | 5 | 36 % | 1.200 m² | Rack 102/103*12, Floor Position = 102/103*12 | 48 | 55 | 48 | 48 | 55 | 48
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 103 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 104 | 12 | Free | 6 | 57 % | 1.920 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 104 | 12 | Occupied | 6 | 43 % | 1.440 m² | Rack 104/105*14, Floor Position = 104/105*14 | 41 | 42 | 41 | 41 | 42 | 41
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 104 | 12 | Occupied | 6 | 43 % | 1.440 m² | Rack 104/105*04, Floor Position = 104/105*04 | 44 | 46 | 44 | 44 | 46 | 44
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 104 | 12 | Occupied | 6 | 43 % | 1.440 m² | Rack 104/105*05, Floor Position = 104/105*05 | 41 | 46 | 41 | 41 | 46 | 41
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 104 | 12 | Occupied | 6 | 43 % | 1.440 m² | Rack 104*02, Floor Position = 104*02 | 44 | 45 | 43 | 44 | 45 | 43
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 104 | 12 | Occupied | 6 | 43 % | 1.440 m² | Rack 104/105*13, Floor Position = 104/105*13 | 38 | 41 | 38 | 38 | 41 | 38
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 104 | 12 | Occupied | 6 | 43 % | 1.440 m² | Rack 104/105*01, Floor Position = 104/105*01 | 42 | 41 | 41 | 42 | 41 | 41
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 104 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 105 | 12 | Free | 6 | 57 % | 1.920 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 105 | 12 | Occupied | 6 | 43 % | 1.440 m² | Rack 104/105*14, Floor Position = 104/105*14 | 41 | 42 | 41 | 41 | 42 | 41
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 105 | 12 | Occupied | 6 | 43 % | 1.440 m² | Rack 105*02, Floor Position = 105*02 | 44 | 45 | 43 | 44 | 45 | 43
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 105 | 12 | Occupied | 6 | 43 % | 1.440 m² | Rack 104/105*04, Floor Position = 104/105*04 | 44 | 46 | 44 | 44 | 46 | 44
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 105 | 12 | Occupied | 6 | 43 % | 1.440 m² | Rack 104/105*05, Floor Position = 104/105*05 | 41 | 46 | 41 | 41 | 46 | 41
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 105 | 12 | Occupied | 6 | 43 % | 1.440 m² | Rack 104/105*13, Floor Position = 104/105*13 | 38 | 41 | 38 | 38 | 41 | 38
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 105 | 12 | Occupied | 6 | 43 % | 1.440 m² | Rack 104/105*01, Floor Position = 104/105*01 | 42 | 41 | 41 | 42 | 41 | 41
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 105 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 106 | 10 | Free | 4 | 43 % | 1.435 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 106 | 10 | Occupied | 6 | 57 % | 1.925 m² | Rack 106/107*09, Floor Position = 106/107*09 | 34 | 44 | 33 | 28 | 43 | 28
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 106 | 10 | Occupied | 6 | 57 % | 1.925 m² | Rack 106/107*07, Floor Position = 106/107*07 | 17 | 46 | 16 | 10 | 46 | 10
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 106 | 10 | Occupied | 6 | 57 % | 1.925 m² | Rack 106/107*06, Floor Position = 106/107*06 | 24 | 34 | 23 | 22 | 28 | 21
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 106 | 10 | Occupied | 6 | 57 % | 1.925 m² | Rack 106/107*03, Floor Position = 106/107*03 | 31 | 46 | 30 | 30 | 46 | 30
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 106 | 10 | Occupied | 6 | 57 % | 1.925 m² | Rack 106/107*05, Floor Position = 106/107*05 | 17 | 46 | 16 | 10 | 46 | 10
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 106 | 10 | Occupied | 6 | 57 % | 1.925 m² | Rack 106/107*02, Floor Position = 106/107*02 | 26 | 46 | 25 | 15 | 46 | 15
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 106 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 107 | 10 | Free | 3 | 36 % | 1.195 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 107 | 10 | Occupied | 7 | 64 % | 2.165 m² | Rack 107*01, Floor Position = 107*01 | 44 | 45 | 43 | 44 | 45 | 43
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 107 | 10 | Occupied | 7 | 64 % | 2.165 m² | Rack 106/107*09, Floor Position = 106/107*09 | 34 | 44 | 33 | 28 | 43 | 28
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 107 | 10 | Occupied | 7 | 64 % | 2.165 m² | Rack 106/107*06, Floor Position = 106/107*06 | 24 | 34 | 23 | 22 | 28 | 21
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 107 | 10 | Occupied | 7 | 64 % | 2.165 m² | Rack 106/107*07, Floor Position = 106/107*07 | 17 | 46 | 16 | 10 | 46 | 10
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 107 | 10 | Occupied | 7 | 64 % | 2.165 m² | Rack 106/107*02, Floor Position = 106/107*02 | 26 | 46 | 25 | 15 | 46 | 15
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 107 | 10 | Occupied | 7 | 64 % | 2.165 m² | Rack 106/107*03, Floor Position = 106/107*03 | 31 | 46 | 30 | 30 | 46 | 30
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 107 | 10 | Occupied | 7 | 64 % | 2.165 m² | Rack 106/107*05, Floor Position = 106/107*05 | 17 | 46 | 16 | 10 | 46 | 10
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 107 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 108 | 11 | Free | 2 | 23 % | 0.768 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 108 | 11 | Occupied | 9 | 77 % | 2.592 m² | Rack 108*01, Floor Position = 108*01 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 108 | 11 | Occupied | 9 | 77 % | 2.592 m² | Rack 108*07, Floor Position = 108*07 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 108 | 11 | Occupied | 9 | 77 % | 2.592 m² | Rack 108*08, Floor Position = 108*08 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 108 | 11 | Occupied | 9 | 77 % | 2.592 m² | Rack 108*09, Floor Position = 108*09 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 108 | 11 | Occupied | 9 | 77 % | 2.592 m² | Rack 108*02, Floor Position = 108*02 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 108 | 11 | Occupied | 9 | 77 % | 2.592 m² | Rack 108*03, Floor Position = 108*03 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 108 | 11 | Occupied | 9 | 77 % | 2.592 m² | Rack 108*04, Floor Position = 108*04 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 108 | 11 | Occupied | 9 | 77 % | 2.592 m² | Rack 108*05, Floor Position = 108*05 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 108 | 11 | Occupied | 9 | 77 % | 2.592 m² | Rack 108*06, Floor Position = 108*06 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 108 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 109 | 11 | Free | 2 | 23 % | 0.768 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 109 | 11 | Occupied | 9 | 77 % | 2.592 m² | Rack 109*01, Floor Position = 109*01 | 27 | 44 | 26 | 26 | 44 | 25
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 109 | 11 | Occupied | 9 | 77 % | 2.592 m² | Rack 109*08, Floor Position = 109*08 | 27 | 45 | 27 | 26 | 45 | 26
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 109 | 11 | Occupied | 9 | 77 % | 2.592 m² | Rack 109*09, Floor Position = 109*09 | 27 | 45 | 27 | 26 | 45 | 26
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 109 | 11 | Occupied | 9 | 77 % | 2.592 m² | Rack 109*07, Floor Position = 109*07 | 27 | 45 | 27 | 26 | 45 | 26
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 109 | 11 | Occupied | 9 | 77 % | 2.592 m² | Rack 109*04, Floor Position = 109*04 | 27 | 45 | 27 | 26 | 45 | 26
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 109 | 11 | Occupied | 9 | 77 % | 2.592 m² | Rack 109*02, Floor Position = 109*02 | 3 | 43 | 3 | 2 | 22 | 2
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 109 | 11 | Occupied | 9 | 77 % | 2.592 m² | Rack 109*03, Floor Position = 109*03 | 27 | 45 | 27 | 26 | 45 | 26
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 109 | 11 | Occupied | 9 | 77 % | 2.592 m² | Rack 109*05, Floor Position = 109*05 | 27 | 45 | 27 | 26 | 45 | 26
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 109 | 11 | Occupied | 9 | 77 % | 2.592 m² | Rack 109*06, Floor Position = 109*06 | 27 | 45 | 27 | 26 | 45 | 26
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 109 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 110 | 10 | Free | 8 | 81 % | 4.080 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 110 | 10 | Occupied | 2 | 19 % | 0.960 m² | Rack 110/111*01, Floor Position = 110/111*01 | 21 | 34 | 20 | 19 | 28 | 18
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 110 | 10 | Occupied | 2 | 19 % | 0.960 m² | Rack 110/111*14, Floor Position = 110/111*14 | 42 | 41 | 41 | 42 | 41 | 41
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 110 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 111 | 10 | Free | 9 | 92 % | 4.640 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 111 | 10 | Occupied | 1 | 8 % | 0.400 m² | Rack 110/111*14, Floor Position = 110/111*14 | 42 | 41 | 41 | 42 | 41 | 41
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 111 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 114 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 114 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 114 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 115 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 115 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 115 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 116 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 116 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 116 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 117 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 117 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 117 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 118 | 12 | Free | 3 | 23 % | 0.768 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 118 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 118*09, Floor Position = 118*09 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 118 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 118*08, Floor Position = 118*08 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 118 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 118*03, Floor Position = 118*03 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 118 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 118*04, Floor Position = 118*04 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 118 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 118*02, Floor Position = 118*02 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 118 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 118*06, Floor Position = 118*06 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 118 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 118*07, Floor Position = 118*07 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 118 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 118*05, Floor Position = 118*05 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 118 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 118*01, Floor Position = 118*01 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 118 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 119 | 12 | Free | 3 | 23 % | 0.768 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 119 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 119*09, Floor Position = 119*09 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 119 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 119*08, Floor Position = 119*08 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 119 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 119*03, Floor Position = 119*03 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 119 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 119*04, Floor Position = 119*04 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 119 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 119*02, Floor Position = 119*02 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 119 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 119*06, Floor Position = 119*06 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 119 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 119*07, Floor Position = 119*07 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 119 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 119*05, Floor Position = 119*05 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 119 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 119*01, Floor Position = 119*01 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 119 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 120 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 120 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 120 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 121 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 121 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 121 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 122 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 122 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 122 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 123 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 123 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 123 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 124 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 124 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 124 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 125 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 125 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 125 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 126 | 10 | Free | 4 | 45 % | 2.280 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 126 | 10 | Occupied | 6 | 55 % | 2.760 m² | Rack 126/127*12, Floor Position = 126/127*12 | 24 | 29 | 17 | 6 | 15 | 6
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 126 | 10 | Occupied | 6 | 55 % | 2.760 m² | Rack 126/127*14, Floor Position = 126/127*14 | 26 | 35 | 22 | 6 | 28 | 6
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 126 | 10 | Occupied | 6 | 55 % | 2.760 m² | Rack 126/127*06, Floor Position = 126/127*06 | 37 | 39 | 37 | 37 | 39 | 37
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 126 | 10 | Occupied | 6 | 55 % | 2.760 m² | Rack 126/127*10, Floor Position = 126/127*10 | 39 | 43 | 38 | 28 | 43 | 27
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 126 | 10 | Occupied | 6 | 55 % | 2.760 m² | Rack 126/127*11, Floor Position = 126/127*11 | 22 | 29 | 17 | 7 | 15 | 6
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 126 | 10 | Occupied | 6 | 55 % | 2.760 m² | Rack 126/127*01, Floor Position = 126/127*01 | 9 | 29 | 3 | 4 | 25 | 2
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 126 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 127 | 10 | Free | 5 | 68 % | 3.440 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 127 | 10 | Occupied | 5 | 32 % | 1.600 m² | Rack 126/127*14, Floor Position = 126/127*14 | 26 | 35 | 22 | 6 | 28 | 6
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 127 | 10 | Occupied | 5 | 32 % | 1.600 m² | Rack 126/127*12, Floor Position = 126/127*12 | 24 | 29 | 17 | 6 | 15 | 6
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 127 | 10 | Occupied | 5 | 32 % | 1.600 m² | Rack 126/127*11, Floor Position = 126/127*11 | 22 | 29 | 17 | 7 | 15 | 6
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 127 | 10 | Occupied | 5 | 32 % | 1.600 m² | Rack 126/127*01, Floor Position = 126/127*01 | 9 | 29 | 3 | 4 | 25 | 2
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 127 | 10 | Occupied | 5 | 32 % | 1.600 m² | Rack 126/127*10, Floor Position = 126/127*10 | 39 | 43 | 38 | 28 | 43 | 27
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 127 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 128 | 10 | Free | 8 | 84 % | 2.820 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 128 | 10 | Occupied | 2 | 16 % | 0.540 m² | ODF 128*01, Floor Position = 128*01 | 47 | 47 | 47 | 47 | 47 | 47
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 128 | 10 | Occupied | 2 | 16 % | 0.540 m² | ODF 128*03, Floor Position = 128*03 | 47 | 47 | 47 | 47 | 47 | 47
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 128 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 129 | 9 | Free | 8 | 92 % | 3.090 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 129 | 9 | Occupied | 1 | 8 % | 0.270 m² | ODF CODF 129*01 (E01), Floor Position = 129*01 | 21 | 47 | 21 | 11 | 47 | 11
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 129 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 130 | 10 | Free | 4 | 43 % | 1.440 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 130 | 10 | Occupied | 6 | 57 % | 1.920 m² | Rack 130/131*01, Floor Position = 130/131*01 | 47 | 46 | 46 | 47 | 46 | 46
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 130 | 10 | Occupied | 6 | 57 % | 1.920 m² | Rack 130/131*03, Floor Position = 130/131*03 | 11 | 39 | 9 | 7 | 34 | 7
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 130 | 10 | Occupied | 6 | 57 % | 1.920 m² | Rack 130/131*02, Floor Position = 130/131*02 | 47 | 46 | 46 | 47 | 46 | 46
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 130 | 10 | Occupied | 6 | 57 % | 1.920 m² | Rack 130/131*05, Floor Position = 130/131*05 | 34 | 44 | 33 | 33 | 44 | 32
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 130 | 10 | Occupied | 6 | 57 % | 1.920 m² | Rack 130/131*06, Floor Position = 130/131*06 | 47 | 46 | 46 | 47 | 46 | 46
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 130 | 10 | Occupied | 6 | 57 % | 1.920 m² | Rack 130/131*04, Floor Position = 130/131*04 | 11 | 39 | 9 | 7 | 34 | 7
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 130 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 131 | 10 | Free | 4 | 43 % | 1.440 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 131 | 10 | Occupied | 6 | 57 % | 1.920 m² | Rack 130/131*01, Floor Position = 130/131*01 | 47 | 46 | 46 | 47 | 46 | 46
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 131 | 10 | Occupied | 6 | 57 % | 1.920 m² | Rack 130/131*02, Floor Position = 130/131*02 | 47 | 46 | 46 | 47 | 46 | 46
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 131 | 10 | Occupied | 6 | 57 % | 1.920 m² | Rack 130/131*03, Floor Position = 130/131*03 | 11 | 39 | 9 | 7 | 34 | 7
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 131 | 10 | Occupied | 6 | 57 % | 1.920 m² | Rack 130/131*04, Floor Position = 130/131*04 | 11 | 39 | 9 | 7 | 34 | 7
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 131 | 10 | Occupied | 6 | 57 % | 1.920 m² | Rack 130/131*05, Floor Position = 130/131*05 | 34 | 44 | 33 | 33 | 44 | 32
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 131 | 10 | Occupied | 6 | 57 % | 1.920 m² | Rack 130/131*06, Floor Position = 130/131*06 | 47 | 46 | 46 | 47 | 46 | 46
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 131 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 132 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 132 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 132 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 133 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 133 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 133 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 134 | 12 | Free | 3 | 23 % | 0.768 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 134 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 134*04, Floor Position = 134*04 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 134 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 134*05, Floor Position = 134*05 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 134 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 134*06, Floor Position = 134*06 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 134 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 134*07, Floor Position = 134*07 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 134 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 134*08, Floor Position = 134*08 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 134 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 134*09, Floor Position = 134*09 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 134 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 134*01, Floor Position = 134*01 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 134 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 134*02, Floor Position = 134*02 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 134 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 134*03, Floor Position = 134*03 | 45 | 45 | 45 | 45 | 45 | 45
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 134 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 135 | 12 | Free | 3 | 23 % | 0.768 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 135 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 135*04, Floor Position = 135*04 | 27 | 45 | 27 | 26 | 45 | 26
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 135 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 135*07, Floor Position = 135*07 | 27 | 45 | 27 | 26 | 45 | 26
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 135 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 135*06, Floor Position = 135*06 | 27 | 45 | 27 | 26 | 45 | 26
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 135 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 135*05, Floor Position = 135*05 | 27 | 45 | 27 | 26 | 45 | 26
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 135 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 135*09, Floor Position = 135*09 | 27 | 45 | 27 | 26 | 45 | 26
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 135 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 135*08, Floor Position = 135*08 | 27 | 45 | 27 | 26 | 45 | 26
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 135 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 135*01, Floor Position = 135*01 | 27 | 45 | 27 | 26 | 45 | 26
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 135 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 135*03, Floor Position = 135*03 | 27 | 45 | 27 | 26 | 45 | 26
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 135 | 12 | Occupied | 9 | 77 % | 2.592 m² | Rack 135*02, Floor Position = 135*02 | 3 | 43 | 3 | 2 | 22 | 2
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 135 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 136 | 12 | Free | 7 | 64 % | 2.160 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 136 | 12 | Occupied | 5 | 36 % | 1.200 m² | Rack 136/137*08, Floor Position = 136/137*08 | 42 | 46 | 42 | 42 | 46 | 42
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 136 | 12 | Occupied | 5 | 36 % | 1.200 m² | Rack 136/137*09, Floor Position = 136/137*09 | 42 | 46 | 42 | 42 | 46 | 42
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 136 | 12 | Occupied | 5 | 36 % | 1.200 m² | Rack 136/137*01, Floor Position = 136/137*01 | 42 | 42 | 42 | 42 | 42 | 42
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 136 | 12 | Occupied | 5 | 36 % | 1.200 m² | Rack 136/137*03, Floor Position = 136/137*03 | 42 | 46 | 42 | 42 | 46 | 42
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 136 | 12 | Occupied | 5 | 36 % | 1.200 m² | Rack 136/137*02, Floor Position = 136/137*02 | 42 | 46 | 42 | 42 | 46 | 42
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 136 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 137 | 12 | Free | 7 | 64 % | 2.160 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 137 | 12 | Occupied | 5 | 36 % | 1.200 m² | Rack 136/137*08, Floor Position = 136/137*08 | 42 | 46 | 42 | 42 | 46 | 42
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 137 | 12 | Occupied | 5 | 36 % | 1.200 m² | Rack 136/137*09, Floor Position = 136/137*09 | 42 | 46 | 42 | 42 | 46 | 42
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 137 | 12 | Occupied | 5 | 36 % | 1.200 m² | Rack 136/137*01, Floor Position = 136/137*01 | 42 | 42 | 42 | 42 | 42 | 42
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 137 | 12 | Occupied | 5 | 36 % | 1.200 m² | Rack 136/137*03, Floor Position = 136/137*03 | 42 | 46 | 42 | 42 | 46 | 42
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 137 | 12 | Occupied | 5 | 36 % | 1.200 m² | Rack 136/137*02, Floor Position = 136/137*02 | 42 | 46 | 42 | 42 | 46 | 42
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 137 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 138 | 12 | Free | 9 | 79 % | 2.640 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 138 | 12 | Occupied | 3 | 21 % | 0.720 m² | Rack 138/139*12, Floor Position = 138/139*12 | 42 | 46 | 42 | 42 | 46 | 42
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 138 | 12 | Occupied | 3 | 21 % | 0.720 m² | Rack 138/139*14, Floor Position = 138/139*14 | 42 | 42 | 42 | 42 | 42 | 42
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 138 | 12 | Occupied | 3 | 21 % | 0.720 m² | Rack 138/139*13, Floor Position = 138/139*13 | 42 | 46 | 42 | 42 | 46 | 42
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 138 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 139 | 12 | Free | 6 | 57 % | 1.920 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 139 | 12 | Occupied | 6 | 43 % | 1.440 m² | Rack 139*02, Floor Position = 139*02 | 34 | 37 | 34 | 34 | 37 | 34
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 139 | 12 | Occupied | 6 | 43 % | 1.440 m² | Rack 139*04, Floor Position = 139*04 | 34 | 37 | 34 | 34 | 37 | 34
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 139 | 12 | Occupied | 6 | 43 % | 1.440 m² | Rack 138/139*12, Floor Position = 138/139*12 | 42 | 46 | 42 | 42 | 46 | 42
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 139 | 12 | Occupied | 6 | 43 % | 1.440 m² | Rack 139*06, Floor Position = 139*06 | 34 | 37 | 34 | 34 | 37 | 34
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 139 | 12 | Occupied | 6 | 43 % | 1.440 m² | Rack 138/139*13, Floor Position = 138/139*13 | 42 | 46 | 42 | 42 | 46 | 42
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 139 | 12 | Occupied | 6 | 43 % | 1.440 m² | Rack 138/139*14, Floor Position = 138/139*14 | 42 | 42 | 42 | 42 | 42 | 42
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 139 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 140 | 10 | Free | 8 | 81 % | 2.720 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 140 | 10 | Occupied | 2 | 19 % | 0.640 m² | Rack 140/141*01, Floor Position = 140/141*01 | 7 | 34 | 6 | 3 | 28 | 2
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 140 | 10 | Occupied | 2 | 19 % | 0.640 m² | Rack 140/141*02, Floor Position = 140/141*02 | 16 | 46 | 15 | 14 | 46 | 14
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 140 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 141 | 10 | Free | 8 | 81 % | 2.720 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 141 | 10 | Occupied | 2 | 19 % | 0.640 m² | Rack 140/141*01, Floor Position = 140/141*01 | 7 | 34 | 6 | 3 | 28 | 2
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 141 | 10 | Occupied | 2 | 19 % | 0.640 m² | Rack 140/141*02, Floor Position = 140/141*02 | 16 | 46 | 15 | 14 | 46 | 14
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 141 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 142 | 11 | Free | 9 | 86 % | 2.880 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 142 | 11 | Occupied | 2 | 14 % | 0.480 m² | Rack 142/143*12, Floor Position = 142/143*12 | 38 | 46 | 38 | 38 | 46 | 38
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 142 | 11 | Occupied | 2 | 14 % | 0.480 m² | Rack 142/143*14, Floor Position = 142/143*14 | 38 | 46 | 38 | 38 | 46 | 38
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 142 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 143 | 11 | Free | 9 | 86 % | 2.880 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 143 | 11 | Occupied | 2 | 14 % | 0.480 m² | Rack 142/143*12, Floor Position = 142/143*12 | 38 | 46 | 38 | 38 | 46 | 38
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 143 | 11 | Occupied | 2 | 14 % | 0.480 m² | Rack 142/143*14, Floor Position = 142/143*14 | 38 | 46 | 38 | 38 | 46 | 38
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 143 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 144 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 144 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 144 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 145 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 145 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 145 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 146 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 146 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 146 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 147 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 147 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 147 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 148 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 148 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 148 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 149 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 149 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 149 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 150 | 12 | Free | 5 | 50 % | 1.680 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 150 | 12 | Occupied | 7 | 50 % | 1.680 m² | Rack 150/151*03, Floor Position = 150/151*03 | 23 | 47 | 23 | 23 | 47 | 23
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 150 | 12 | Occupied | 7 | 50 % | 1.680 m² | Rack 150/151*04, Floor Position = 150/151*04 | 23 | 47 | 23 | 23 | 47 | 23
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 150 | 12 | Occupied | 7 | 50 % | 1.680 m² | Rack 150*02, Floor Position = 150*02 | 44 | 47 | 44 | 44 | 47 | 44
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 150 | 12 | Occupied | 7 | 50 % | 1.680 m² | Rack 150/151*08, Floor Position = 150/151*08 | 41 | 46 | 41 | 41 | 46 | 41
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 150 | 12 | Occupied | 7 | 50 % | 1.680 m² | Rack 150/151*07, Floor Position = 150/151*07 | 23 | 47 | 23 | 23 | 47 | 23
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 150 | 12 | Occupied | 7 | 50 % | 1.680 m² | Rack 150/151*06, Floor Position = 150/151*06 | 23 | 47 | 23 | 23 | 47 | 23
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 150 | 12 | Occupied | 7 | 50 % | 1.680 m² | Rack 150/151*05, Floor Position = 150/151*05 | 41 | 47 | 41 | 41 | 47 | 41
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 150 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 151 | 12 | Free | 5 | 50 % | 1.680 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 151 | 12 | Occupied | 7 | 50 % | 1.680 m² | Rack 150/151*03, Floor Position = 150/151*03 | 23 | 47 | 23 | 23 | 47 | 23
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 151 | 12 | Occupied | 7 | 50 % | 1.680 m² | Rack 151*02, Floor Position = 151*02 | 44 | 47 | 44 | 44 | 47 | 44
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 151 | 12 | Occupied | 7 | 50 % | 1.680 m² | Rack 150/151*04, Floor Position = 150/151*04 | 23 | 47 | 23 | 23 | 47 | 23
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 151 | 12 | Occupied | 7 | 50 % | 1.680 m² | Rack 150/151*06, Floor Position = 150/151*06 | 23 | 47 | 23 | 23 | 47 | 23
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 151 | 12 | Occupied | 7 | 50 % | 1.680 m² | Rack 150/151*05, Floor Position = 150/151*05 | 41 | 47 | 41 | 41 | 47 | 41
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 151 | 12 | Occupied | 7 | 50 % | 1.680 m² | Rack 150/151*08, Floor Position = 150/151*08 | 41 | 46 | 41 | 41 | 46 | 41
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 151 | 12 | Occupied | 7 | 50 % | 1.680 m² | Rack 150/151*07, Floor Position = 150/151*07 | 23 | 47 | 23 | 23 | 47 | 23
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 151 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 152 | 10 | Free | 10 | 100 % | 5.040 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 152 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 152 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 153 | 10 | Free | 10 | 100 % | 5.040 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 153 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 153 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 154 | 10 | Free | 7 | 77 % | 2.596 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 154 | 10 | Occupied | 3 | 23 % | 0.764 m² | ODF 154*13, Floor Position = 154*13 | 47 | 47 | 47 | 47 | 47 | 47
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 154 | 10 | Occupied | 3 | 23 % | 0.764 m² | ODF 154*01, Floor Position = 154*01 | 47 | 47 | 47 | 47 | 47 | 47
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 154 | 10 | Occupied | 3 | 23 % | 0.764 m² | Rack 154/155*03, Floor Position = 154/155*03 | 21 | 46 | 20 | 17 | 46 | 16
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 154 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 155 | 10 | Free | 9 | 93 % | 3.134 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 155 | 10 | Occupied | 1 | 7 % | 0.226 m² | Rack 154/155*03, Floor Position = 154/155*03 | 21 | 46 | 20 | 17 | 46 | 16
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 155 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 156 | 10 | Free | 9 | 92 % | 3.090 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 156 | 10 | Occupied | 1 | 8 % | 0.270 m² | ODF CODF 156*14 (W01), Floor Position = 156*14 | 25 | 47 | 25 | 15 | 47 | 15
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 156 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 157 | 10 | Free | 8 | 84 % | 2.820 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 157 | 10 | Occupied | 2 | 16 % | 0.540 m² | ODF 157*14, Floor Position = 157*14 | 47 | 47 | 47 | 47 | 47 | 47
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 157 | 10 | Occupied | 2 | 16 % | 0.540 m² | ODF 157*12, Floor Position = 157*12 | 47 | 47 | 47 | 47 | 47 | 47
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 157 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 158 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 158 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 158 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 159 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 159 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 159 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 160 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 160 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 160 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 161 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 161 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 161 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 162 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 162 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 162 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 163 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 163 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 163 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 164 | 10 | Free | 10 | 100 % | 3.120 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 164 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 164 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 165 | 10 | Free | 10 | 100 % | 3.120 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 165 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 165 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 166 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 166 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 166 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 167 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 167 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 167 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 168 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 168 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 168 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 169 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 169 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 169 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 170 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 170 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 170 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 171 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 171 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 171 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 172 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 172 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 172 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 173 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 173 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 173 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 174 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 174 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 174 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 175 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 175 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 175 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 176 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 176 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 176 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 177 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 177 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 177 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 178 | 10 | Free | 10 | 100 % | 5.040 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 178 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 178 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 179 | 10 | Free | 10 | 100 % | 5.040 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 179 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 179 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 180 | 11 | Free | 9 | 89 % | 3.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 180 | 11 | Occupied | 2 | 11 % | 0.360 m² | Rack 180*14, Floor Position = 180*14 | 47 | 46 | 46 | 47 | 46 | 46
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 180 | 11 | Occupied | 2 | 11 % | 0.360 m² | Rack 180*02, Floor Position = 180*02 | 44 | 46 | 44 | 44 | 46 | 44
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 180 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 181 | 11 | Free | 9 | 89 % | 3.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 181 | 11 | Occupied | 2 | 11 % | 0.360 m² | Rack 181*14, Floor Position = 181*14 | 47 | 46 | 46 | 47 | 46 | 46
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 181 | 11 | Occupied | 2 | 11 % | 0.360 m² | Rack 181*02, Floor Position = 181*02 | 44 | 46 | 44 | 44 | 46 | 44
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 181 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 182 | 10 | Free | 3 | 38 % | 1.280 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 182 | 10 | Occupied | 7 | 62 % | 2.080 m² | ODF 182*08, Floor Position = 182*08 | 47 | 47 | 47 | 47 | 47 | 47
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 182 | 10 | Occupied | 7 | 62 % | 2.080 m² | Rack 182/183*07, Floor Position = 182/183*07 | 47 | 47 | 47 | 47 | 47 | 47
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 182 | 10 | Occupied | 7 | 62 % | 2.080 m² | Rack 182/183*06, Floor Position = 182/183*06 | 47 | 47 | 47 | 47 | 47 | 47
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 182 | 10 | Occupied | 7 | 62 % | 2.080 m² | Rack 182/183*10, Floor Position = 182/183*10 | 39 | 46 | 39 | 39 | 46 | 39
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 182 | 10 | Occupied | 7 | 62 % | 2.080 m² | ODF 182*03, Floor Position = 182*03 | 47 | 47 | 47 | 47 | 47 | 47
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 182 | 10 | Occupied | 7 | 62 % | 2.080 m² | Rack 182/183*04, Floor Position = 182/183*04 | 43 | 47 | 43 | 43 | 47 | 43
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 182 | 10 | Occupied | 7 | 62 % | 2.080 m² | Rack 182/183*05, Floor Position = 182/183*05 | 42 | 47 | 42 | 42 | 47 | 42
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 182 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 183 | 10 | Free | 3 | 38 % | 1.280 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 183 | 10 | Occupied | 7 | 62 % | 2.080 m² | ODF 183*08, Floor Position = 183*08 | 47 | 47 | 47 | 47 | 47 | 47
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 183 | 10 | Occupied | 7 | 62 % | 2.080 m² | Rack 182/183*06, Floor Position = 182/183*06 | 47 | 47 | 47 | 47 | 47 | 47
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 183 | 10 | Occupied | 7 | 62 % | 2.080 m² | Rack 182/183*07, Floor Position = 182/183*07 | 47 | 47 | 47 | 47 | 47 | 47
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 183 | 10 | Occupied | 7 | 62 % | 2.080 m² | Rack 182/183*10, Floor Position = 182/183*10 | 39 | 46 | 39 | 39 | 46 | 39
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 183 | 10 | Occupied | 7 | 62 % | 2.080 m² | ODF 183*03, Floor Position = 183*03 | 47 | 47 | 47 | 47 | 47 | 47
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 183 | 10 | Occupied | 7 | 62 % | 2.080 m² | Rack 182/183*04, Floor Position = 182/183*04 | 43 | 47 | 43 | 43 | 47 | 43
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 183 | 10 | Occupied | 7 | 62 % | 2.080 m² | Rack 182/183*05, Floor Position = 182/183*05 | 42 | 47 | 42 | 42 | 47 | 42
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 183 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 184 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 184 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 184 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 185 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 185 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 185 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 186 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 186 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 186 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 187 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 187 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 187 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 188 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 188 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 188 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 189 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 189 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 189 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 190 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 190 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 190 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 191 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 191 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 191 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 192 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 192 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 192 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 193 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 193 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 193 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 194 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 194 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 194 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 195 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 195 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 195 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 196 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 196 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 196 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 197 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 197 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 197 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 198 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 198 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 198 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 199 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 199 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 199 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 200 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 200 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 200 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 201 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 201 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 201 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 202 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 202 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 202 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 203 | 10 | Free | 10 | 100 % | 3.360 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 203 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | 203 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | WALL01 | 3 | Free | 0 | 98 % | 10.393 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | WALL01 | 3 | Occupied | 3 | 2 % | 0.205 m² | Rack WALL01*64, Floor Position = WALL01*64 | 0 | 29 | 0 | 0 | 29 | 0
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | WALL01 | 3 | Occupied | 3 | 2 % | 0.205 m² | Rack WALL01*60, Floor Position = WALL0160 | 0 | 4 | 0 | 0 | 4 | 0
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | WALL01 | 3 | Occupied | 3 | 2 % | 0.205 m² | Rack WALL01*52, Floor Position = WALL01*52 | 0 | 29 | 0 | 0 | 29 | 0
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | WALL01 | 3 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | WALL02 | 1 | Free | 0 | 100 % | 5.113 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | WALL02 | 1 | Occupied | 1 | 0 % | 0.024 m² | Rack WALL02*41, Floor Position = WALL0241 | 0 | 4 | 0 | 0 | 4 | 0
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | WALL02 | 1 | Reserved | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | WALL03 | 0 | Free | 0 | 100 % | 10.843 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | WALL03 | 0 | Occupied | 0 | 0 % | 0.000 m²
Room XCE001 on Floor Ground Floor in Site CARLISLE MTX | 111787.00 W | 240000.00 W | 47 % | WALL03 | 0 | Reserved | 0 | 0 % | 0.000 m²