## Suite Line Capacity
Report generated for: | Room XCF001 on Floor Ground Floor in Site CARDIFF MTX
| Quantity | % of all area | Area
Total free sections: | 400/608 | 74 % | 153.087 m²
Total occupied sections: | 208/608 | 26 % | 52.734 m²
Total reserved sections: | 0/608 | 0 % | 0.000 m²
Total Lines Capability |  |  | 205.821 m²
Total Location Capability |  |  | 666.443 m²
Total Location Free Area |  |  | 613.708 m²
Total Location Occupied Area |  |  | 52.734 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 102 | 12 | Free | 0 | 23 % | 0.660 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 102 | 12 | Occupied | 12 | 77 % | 2.220 m² | Rack 102/103*01, Floor Position = 102/103*01 | 37 | 44 | 37 | 37 | 44 | 37
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 102 | 12 | Occupied | 12 | 77 % | 2.220 m² | Rack 102/103*02, Floor Position = 102/103*02 | 40 | 44 | 40 | 40 | 44 | 40
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 102 | 12 | Occupied | 12 | 77 % | 2.220 m² | Rack 102/103*03, Floor Position = 102/103*03 | 40 | 44 | 40 | 40 | 44 | 40
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 102 | 12 | Occupied | 12 | 77 % | 2.220 m² | Rack 102/103*04, Floor Position = 102/103*04 | 40 | 44 | 40 | 40 | 44 | 40
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 102 | 12 | Occupied | 12 | 77 % | 2.220 m² | Rack 102/103*05, Floor Position = 102/103*05 | 40 | 44 | 40 | 40 | 44 | 40
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 102 | 12 | Occupied | 12 | 77 % | 2.220 m² | Rack 102/103*09, Floor Position = 102/103*09 | 42 | 44 | 42 | 42 | 44 | 42
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 102 | 12 | Occupied | 12 | 77 % | 2.220 m² | Rack 102/103*06, Floor Position = 102/103*06 | 40 | 44 | 40 | 40 | 44 | 40
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 102 | 12 | Occupied | 12 | 77 % | 2.220 m² | Rack 102/103*07, Floor Position = 102/103*07 | 40 | 44 | 40 | 40 | 44 | 40
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 102 | 12 | Occupied | 12 | 77 % | 2.220 m² | Rack 102/103*08, Floor Position = 102/103*08 | 40 | 44 | 40 | 40 | 44 | 40
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 102 | 12 | Occupied | 12 | 77 % | 2.220 m² | Rack 102/103*11, Floor Position = 102/103*11 | 41 | 44 | 41 | 41 | 44 | 41
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 102 | 12 | Occupied | 12 | 77 % | 2.220 m² | Rack 102*12, Floor Position = 102*12 | 44 | 47 | 44 | 44 | 47 | 44
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 102 | 12 | Occupied | 12 | 77 % | 2.220 m² | Rack 102/103*10, Floor Position = 102/103*10 | 41 | 44 | 41 | 41 | 44 | 41
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 102 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 103 | 12 | Free | 0 | 17 % | 0.440 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 103 | 12 | Occupied | 12 | 83 % | 2.200 m² | Rack 102/103*01, Floor Position = 102/103*01 | 37 | 44 | 37 | 37 | 44 | 37
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 103 | 12 | Occupied | 12 | 83 % | 2.200 m² | Rack 102/103*02, Floor Position = 102/103*02 | 40 | 44 | 40 | 40 | 44 | 40
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 103 | 12 | Occupied | 12 | 83 % | 2.200 m² | Rack 102/103*03, Floor Position = 102/103*03 | 40 | 44 | 40 | 40 | 44 | 40
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 103 | 12 | Occupied | 12 | 83 % | 2.200 m² | Rack 102/103*04, Floor Position = 102/103*04 | 40 | 44 | 40 | 40 | 44 | 40
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 103 | 12 | Occupied | 12 | 83 % | 2.200 m² | Rack 102/103*05, Floor Position = 102/103*05 | 40 | 44 | 40 | 40 | 44 | 40
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 103 | 12 | Occupied | 12 | 83 % | 2.200 m² | Rack 102/103*09, Floor Position = 102/103*09 | 42 | 44 | 42 | 42 | 44 | 42
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 103 | 12 | Occupied | 12 | 83 % | 2.200 m² | Rack 102/103*07, Floor Position = 102/103*07 | 40 | 44 | 40 | 40 | 44 | 40
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 103 | 12 | Occupied | 12 | 83 % | 2.200 m² | Rack 102/103*06, Floor Position = 102/103*06 | 40 | 44 | 40 | 40 | 44 | 40
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 103 | 12 | Occupied | 12 | 83 % | 2.200 m² | Rack 102/103*08, Floor Position = 102/103*08 | 40 | 44 | 40 | 40 | 44 | 40
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 103 | 12 | Occupied | 12 | 83 % | 2.200 m² | Rack 102/103*11, Floor Position = 102/103*11 | 41 | 44 | 41 | 41 | 44 | 41
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 103 | 12 | Occupied | 12 | 83 % | 2.200 m² | Rack 102/103*10, Floor Position = 102/103*10 | 41 | 44 | 41 | 41 | 44 | 41
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 103 | 12 | Occupied | 12 | 83 % | 2.200 m² | Rack 103*12, Floor Position = 103*12 | 44 | 47 | 44 | 44 | 47 | 44
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 103 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 104 | 9 | Free | 9 | 100 % | 2.880 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 104 | 9 | Occupied | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 104 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 105 | 9 | Free | 9 | 100 % | 2.880 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 105 | 9 | Occupied | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 105 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 108 | 9 | Free | 8 | 93 % | 4.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 108 | 9 | Occupied | 1 | 7 % | 0.320 m² | Rack 108/109*12, Floor Position = 108/109*12 | 42 | 42 | 41 | 42 | 42 | 41
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 108 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 109 | 9 | Free | 8 | 89 % | 3.840 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 109 | 9 | Occupied | 1 | 11 % | 0.480 m² | Rack 108/109*12, Floor Position = 108/109*12 | 42 | 42 | 41 | 42 | 42 | 41
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 109 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 110 | 8 | Free | 2 | 37 % | 1.060 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 110 | 8 | Occupied | 6 | 63 % | 1.820 m² | ODF 110*01, Floor Position = 110*01 | 47 | 47 | 47 | 47 | 47 | 47
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 110 | 8 | Occupied | 6 | 63 % | 1.820 m² | ODF 110*03, Floor Position = 110*03 | 47 | 47 | 47 | 47 | 47 | 47
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 110 | 8 | Occupied | 6 | 63 % | 1.820 m² | Rack 110/111*09, Floor Position = 110/111*09 | 41 | 42 | 38 | 27 | 41 | 24
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 110 | 8 | Occupied | 6 | 63 % | 1.820 m² | Rack 110/111*08, Floor Position = 110/111*08 | 30 | 43 | 27 | 25 | 43 | 24
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 110 | 8 | Occupied | 6 | 63 % | 1.820 m² | Rack 110/111*11, Floor Position = 110/111*11 | 7 | 47 | 7 | 2 | 47 | 2
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 110 | 8 | Occupied | 6 | 63 % | 1.820 m² | Rack 110/111*12, Floor Position = 110/111*12 | 6 | 35 | 6 | 3 | 29 | 3
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 110 | 8 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 111 | 8 | Free | 3 | 46 % | 1.330 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 111 | 8 | Occupied | 5 | 54 % | 1.550 m² | ODF CODF 111*01 (W01), Floor Position = 111*01 | 32 | 47 | 32 | 16 | 47 | 16
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 111 | 8 | Occupied | 5 | 54 % | 1.550 m² | Rack 110/111*09, Floor Position = 110/111*09 | 41 | 42 | 38 | 27 | 41 | 24
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 111 | 8 | Occupied | 5 | 54 % | 1.550 m² | Rack 110/111*08, Floor Position = 110/111*08 | 30 | 43 | 27 | 25 | 43 | 24
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 111 | 8 | Occupied | 5 | 54 % | 1.550 m² | Rack 110/111*11, Floor Position = 110/111*11 | 7 | 47 | 7 | 2 | 47 | 2
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 111 | 8 | Occupied | 5 | 54 % | 1.550 m² | Rack 110/111*12, Floor Position = 110/111*12 | 6 | 35 | 6 | 3 | 29 | 3
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 111 | 8 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 112 | 9 | Free | 9 | 100 % | 2.880 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 112 | 9 | Occupied | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 112 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 113 | 9 | Free | 9 | 100 % | 2.880 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 113 | 9 | Occupied | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 113 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 114 | 9 | Free | 7 | 83 % | 2.400 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 114 | 9 | Occupied | 2 | 17 % | 0.480 m² | Rack 114/115*11, Floor Position = 114/115*11 | 38 | 41 | 38 | 38 | 41 | 38
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 114 | 9 | Occupied | 2 | 17 % | 0.480 m² | Rack 114/115*12, Floor Position = 114/115*12 | 40 | 42 | 40 | 37 | 42 | 37
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 114 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 115 | 9 | Free | 7 | 83 % | 2.400 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 115 | 9 | Occupied | 2 | 17 % | 0.480 m² | Rack 114/115*11, Floor Position = 114/115*11 | 38 | 41 | 38 | 38 | 41 | 38
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 115 | 9 | Occupied | 2 | 17 % | 0.480 m² | Rack 114/115*12, Floor Position = 114/115*12 | 40 | 42 | 40 | 37 | 42 | 37
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 115 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 116 | 10 | Free | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 116 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 116*01, Floor Position = 116*01 | 27 | 45 | 27 | 26 | 45 | 26
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 116 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 116*02, Floor Position = 116*02 | 3 | 44 | 3 | 2 | 23 | 2
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 116 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 116*03, Floor Position = 116*03 | 27 | 45 | 27 | 26 | 45 | 26
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 116 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 116*04, Floor Position = 116*04 | 27 | 45 | 27 | 26 | 45 | 26
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 116 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 116*05, Floor Position = 116*05 | 45 | 45 | 45 | 45 | 45 | 45
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 116 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 116*06, Floor Position = 116*06 | 45 | 45 | 45 | 45 | 45 | 45
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 116 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 116*07, Floor Position = 116*07 | 45 | 45 | 45 | 45 | 45 | 45
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 116 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 116*08, Floor Position = 116*08 | 45 | 45 | 45 | 45 | 45 | 45
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 116 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 116*09, Floor Position = 116*09 | 45 | 45 | 45 | 45 | 45 | 45
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 116 | 10 | Occupied | 10 | 100 % | 2.880 m² | Rack 116*10, Floor Position = 116*10 | 45 | 45 | 45 | 45 | 45 | 45
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 116 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 117 | 11 | Free | 5 | 54 % | 1.560 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 117 | 11 | Occupied | 6 | 46 % | 1.320 m² | Rack 117/118*02, Floor Position = 117/118*02 | 42 | 42 | 42 | 42 | 42 | 42
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 117 | 11 | Occupied | 6 | 46 % | 1.320 m² | Rack 117/118*03, Floor Position = 117/118*03 | 41 | 43 | 41 | 41 | 43 | 41
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 117 | 11 | Occupied | 6 | 46 % | 1.320 m² | Rack 117/118*04, Floor Position = 117/118*04 | 41 | 43 | 41 | 41 | 43 | 41
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 117 | 11 | Occupied | 6 | 46 % | 1.320 m² | Rack 117/118*05, Floor Position = 117/118*05 | 44 | 44 | 44 | 44 | 44 | 44
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 117 | 11 | Occupied | 6 | 46 % | 1.320 m² | Rack 117/118*07, Floor Position = 117/118*07 | 41 | 45 | 41 | 41 | 45 | 41
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 117 | 11 | Occupied | 6 | 46 % | 1.320 m² | Rack 117/118*08, Floor Position = 117/118*08 | 41 | 45 | 41 | 41 | 45 | 41
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 117 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 118 | 11 | Free | 5 | 65 % | 1.862 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 118 | 11 | Occupied | 6 | 35 % | 1.018 m² | Rack 117/118*03, Floor Position = 117/118*03 | 41 | 43 | 41 | 41 | 43 | 41
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 118 | 11 | Occupied | 6 | 35 % | 1.018 m² | Rack 117/118*02, Floor Position = 117/118*02 | 42 | 42 | 42 | 42 | 42 | 42
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 118 | 11 | Occupied | 6 | 35 % | 1.018 m² | Rack 117/118*05, Floor Position = 117/118*05 | 44 | 44 | 44 | 44 | 44 | 44
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 118 | 11 | Occupied | 6 | 35 % | 1.018 m² | Rack 117/118*04, Floor Position = 117/118*04 | 41 | 43 | 41 | 41 | 43 | 41
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 118 | 11 | Occupied | 6 | 35 % | 1.018 m² | Rack 117/118*07, Floor Position = 117/118*07 | 41 | 45 | 41 | 41 | 45 | 41
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 118 | 11 | Occupied | 6 | 35 % | 1.018 m² | Rack 117/118*08, Floor Position = 117/118*08 | 41 | 45 | 41 | 41 | 45 | 41
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 118 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 119 | 10 | Free | 5 | 67 % | 1.924 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 119 | 10 | Occupied | 5 | 33 % | 0.956 m² | Rack 119/120*01, Floor Position = 119/120*01 | 41 | 45 | 41 | 41 | 45 | 41
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 119 | 10 | Occupied | 5 | 33 % | 0.956 m² | Rack 119/120*02, Floor Position = 119/120*02 | 41 | 45 | 41 | 41 | 45 | 41
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 119 | 10 | Occupied | 5 | 33 % | 0.956 m² | Rack 119/120*11, Floor Position = 119/120*11 | 39 | 41 | 39 | 39 | 41 | 39
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 119 | 10 | Occupied | 5 | 33 % | 0.956 m² | Rack 119/120*10, Floor Position = 119/120*10 | 42 | 42 | 42 | 42 | 42 | 42
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 119 | 10 | Occupied | 5 | 33 % | 0.956 m² | Rack 119/120*12, Floor Position = 119/120*12 | 42 | 42 | 42 | 42 | 42 | 42
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 119 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 120 | 10 | Free | 5 | 58 % | 1.680 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 120 | 10 | Occupied | 5 | 42 % | 1.200 m² | Rack 119/120*01, Floor Position = 119/120*01 | 41 | 45 | 41 | 41 | 45 | 41
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 120 | 10 | Occupied | 5 | 42 % | 1.200 m² | Rack 119/120*02, Floor Position = 119/120*02 | 41 | 45 | 41 | 41 | 45 | 41
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 120 | 10 | Occupied | 5 | 42 % | 1.200 m² | Rack 119/120*11, Floor Position = 119/120*11 | 39 | 41 | 39 | 39 | 41 | 39
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 120 | 10 | Occupied | 5 | 42 % | 1.200 m² | Rack 119/120*10, Floor Position = 119/120*10 | 42 | 42 | 42 | 42 | 42 | 42
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 120 | 10 | Occupied | 5 | 42 % | 1.200 m² | Rack 119/120*12, Floor Position = 119/120*12 | 42 | 42 | 42 | 42 | 42 | 42
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 120 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 121 | 9 | Free | 9 | 100 % | 2.880 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 121 | 9 | Occupied | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 121 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 122 | 9 | Free | 9 | 100 % | 2.880 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 122 | 9 | Occupied | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 122 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 123 | 10 | Free | 1 | 8 % | 0.240 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 123 | 10 | Occupied | 9 | 92 % | 2.640 m² | Rack 123/124*03, Floor Position = 123/124*03 | 43 | 46 | 43 | 43 | 46 | 43
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 123 | 10 | Occupied | 9 | 92 % | 2.640 m² | ODF 123*02, Floor Position = 123*02 | 47 | 47 | 47 | 47 | 47 | 47
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 123 | 10 | Occupied | 9 | 92 % | 2.640 m² | Rack 123/124*04, Floor Position = 123/124*04 | 38 | 46 | 38 | 38 | 46 | 38
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 123 | 10 | Occupied | 9 | 92 % | 2.640 m² | ODF 123*06, Floor Position = 123*06 | 46 | 46 | 46 | 46 | 46 | 46
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 123 | 10 | Occupied | 9 | 92 % | 2.640 m² | Rack 123/124*05, Floor Position = 123/124*05 | 41 | 45 | 41 | 41 | 45 | 41
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 123 | 10 | Occupied | 9 | 92 % | 2.640 m² | Rack 123/124*07, Floor Position = 123/124*07 | 18 | 8 | 6 | 16 | 6 | 6
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 123 | 10 | Occupied | 9 | 92 % | 2.640 m² | Rack 123/124*09, Floor Position = 123/124*09 | 40 | 40 | 38 | 22 | 38 | 19
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 123 | 10 | Occupied | 9 | 92 % | 2.640 m² | Rack 123/124*08, Floor Position = 123/124*08 | 38 | 34 | 31 | 31 | 32 | 30
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 123 | 10 | Occupied | 9 | 92 % | 2.640 m² | Rack 123/124*10, Floor Position = 123/124*10 | 40 | 40 | 38 | 22 | 38 | 19
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 123 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 124 | 10 | Free | 1 | 8 % | 0.240 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 124 | 10 | Occupied | 9 | 92 % | 2.640 m² | Rack 123/124*03, Floor Position = 123/124*03 | 43 | 46 | 43 | 43 | 46 | 43
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 124 | 10 | Occupied | 9 | 92 % | 2.640 m² | ODF 124*02, Floor Position = 124*02 | 47 | 47 | 47 | 47 | 47 | 47
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 124 | 10 | Occupied | 9 | 92 % | 2.640 m² | Rack 123/124*04, Floor Position = 123/124*04 | 38 | 46 | 38 | 38 | 46 | 38
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 124 | 10 | Occupied | 9 | 92 % | 2.640 m² | ODF 124*06, Floor Position = 124*06 | 47 | 47 | 47 | 47 | 47 | 47
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 124 | 10 | Occupied | 9 | 92 % | 2.640 m² | Rack 123/124*05, Floor Position = 123/124*05 | 41 | 45 | 41 | 41 | 45 | 41
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 124 | 10 | Occupied | 9 | 92 % | 2.640 m² | Rack 123/124*07, Floor Position = 123/124*07 | 18 | 8 | 6 | 16 | 6 | 6
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 124 | 10 | Occupied | 9 | 92 % | 2.640 m² | Rack 123/124*09, Floor Position = 123/124*09 | 40 | 40 | 38 | 22 | 38 | 19
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 124 | 10 | Occupied | 9 | 92 % | 2.640 m² | Rack 123/124*08, Floor Position = 123/124*08 | 38 | 34 | 31 | 31 | 32 | 30
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 124 | 10 | Occupied | 9 | 92 % | 2.640 m² | Rack 123/124*10, Floor Position = 123/124*10 | 40 | 40 | 38 | 22 | 38 | 19
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 124 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 125 | 9 | Free | 9 | 100 % | 2.880 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 125 | 9 | Occupied | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 125 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 126 | 9 | Free | 9 | 100 % | 2.880 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 126 | 9 | Occupied | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 126 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 127 | 9 | Free | 9 | 100 % | 2.880 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 127 | 9 | Occupied | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 127 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 128 | 9 | Free | 9 | 100 % | 2.880 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 128 | 9 | Occupied | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 128 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 129 | 8 | Free | 6 | 78 % | 2.240 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 129 | 8 | Occupied | 2 | 22 % | 0.640 m² | Rack 129/130*05, Floor Position = 129/130*05 | 41 | 46 | 41 | 41 | 46 | 41
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 129 | 8 | Occupied | 2 | 22 % | 0.640 m² | Rack 129/130*06, Floor Position = 129/130*06 | 33 | 46 | 33 | 33 | 46 | 33
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 129 | 8 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 130 | 8 | Free | 6 | 78 % | 2.240 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 130 | 8 | Occupied | 2 | 22 % | 0.640 m² | Rack 129/130*05, Floor Position = 129/130*05 | 41 | 46 | 41 | 41 | 46 | 41
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 130 | 8 | Occupied | 2 | 22 % | 0.640 m² | Rack 129/130*06, Floor Position = 129/130*06 | 33 | 46 | 33 | 33 | 46 | 33
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 130 | 8 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 200 | 5 | Free | 4 | 85 % | 1.019 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 200 | 5 | Occupied | 1 | 15 % | 0.180 m² | Rack 200*01, Floor Position = 200*01 | 42 | 47 | 42 | 40 | 47 | 40
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 200 | 5 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 201 | 5 | Free | 1 | 25 % | 0.301 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 201 | 5 | Occupied | 4 | 75 % | 0.900 m² | Rack 201*05, Floor Position = 201*05 | 44 | 47 | 44 | 44 | 47 | 44
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 201 | 5 | Occupied | 4 | 75 % | 0.900 m² | Rack 201*04, Floor Position = 201*04 | 47 | 47 | 47 | 47 | 47 | 47
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 201 | 5 | Occupied | 4 | 75 % | 0.900 m² | Rack 201*02, Floor Position = 201*02 | 44 | 47 | 44 | 44 | 47 | 44
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 201 | 5 | Occupied | 4 | 75 % | 0.900 m² | Rack 201*01, Floor Position = 201*01 | 45 | 47 | 45 | 42 | 47 | 42
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 201 | 5 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 202 | 16 | Free | 8 | 50 % | 1.915 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 202 | 16 | Occupied | 8 | 50 % | 1.920 m² | Rack 202/203*14, Floor Position = 202/203*14 | 49 | 60 | 49 | 49 | 60 | 49
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 202 | 16 | Occupied | 8 | 50 % | 1.920 m² | Rack 202/203*15, Floor Position = 202/203*15 | 60 | 60 | 60 | 60 | 60 | 60
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 202 | 16 | Occupied | 8 | 50 % | 1.920 m² | Rack 202*16, Floor Position = 202*16 | 44 | 47 | 44 | 44 | 47 | 44
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 202 | 16 | Occupied | 8 | 50 % | 1.920 m² | Rack 202/203*10, Floor Position = 202/203*10 | 30 | 60 | 30 | 30 | 60 | 30
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 202 | 16 | Occupied | 8 | 50 % | 1.920 m² | Rack 202/203*11, Floor Position = 202/203*11 | 55 | 60 | 55 | 55 | 60 | 55
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 202 | 16 | Occupied | 8 | 50 % | 1.920 m² | Rack 202/203*12, Floor Position = 202/203*12 | 36 | 60 | 36 | 36 | 60 | 36
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 202 | 16 | Occupied | 8 | 50 % | 1.920 m² | Rack 202/203*13, Floor Position = 202/203*13 | 30 | 60 | 30 | 30 | 60 | 30
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 202 | 16 | Occupied | 8 | 50 % | 1.920 m² | Rack 202/203*09, Floor Position = 202/203*09 | 36 | 60 | 36 | 36 | 60 | 36
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 202 | 16 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 203 | 16 | Free | 7 | 44 % | 1.675 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 203 | 16 | Occupied | 9 | 56 % | 2.160 m² | Rack 202/203*15, Floor Position = 202/203*15 | 60 | 60 | 60 | 60 | 60 | 60
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 203 | 16 | Occupied | 9 | 56 % | 2.160 m² | Rack 203*16, Floor Position = 203*16 | 44 | 47 | 44 | 44 | 47 | 44
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 203 | 16 | Occupied | 9 | 56 % | 2.160 m² | Rack 202/203*14, Floor Position = 202/203*14 | 49 | 60 | 49 | 49 | 60 | 49
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 203 | 16 | Occupied | 9 | 56 % | 2.160 m² | Rack 202/203*12, Floor Position = 202/203*12 | 36 | 60 | 36 | 36 | 60 | 36
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 203 | 16 | Occupied | 9 | 56 % | 2.160 m² | Rack 202/203*13, Floor Position = 202/203*13 | 30 | 60 | 30 | 30 | 60 | 30
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 203 | 16 | Occupied | 9 | 56 % | 2.160 m² | Rack 202/203*10, Floor Position = 202/203*10 | 30 | 60 | 30 | 30 | 60 | 30
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 203 | 16 | Occupied | 9 | 56 % | 2.160 m² | Rack 202/203*11, Floor Position = 202/203*11 | 55 | 60 | 55 | 55 | 60 | 55
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 203 | 16 | Occupied | 9 | 56 % | 2.160 m² | Rack 202/203*09, Floor Position = 202/203*09 | 36 | 60 | 36 | 36 | 60 | 36
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 203 | 16 | Occupied | 9 | 56 % | 2.160 m² | Rack 203*05, Floor Position = 203*05 | 47 | 47 | 47 | 47 | 47 | 47
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 203 | 16 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 204 | 17 | Free | 4 | 33 % | 1.343 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 204 | 17 | Occupied | 13 | 67 % | 2.741 m² | Rack 204/205*17, Floor Position = 204/205*17 | 30 | 60 | 30 | 30 | 60 | 30
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 204 | 17 | Occupied | 13 | 67 % | 2.741 m² | Rack 204/205*16, Floor Position = 204/205*16 | 36 | 60 | 36 | 36 | 60 | 36
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 204 | 17 | Occupied | 13 | 67 % | 2.741 m² | Rack 204/205*15, Floor Position = 204/205*15 | 42 | 42 | 42 | 42 | 42 | 42
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 204 | 17 | Occupied | 13 | 67 % | 2.741 m² | Rack 204/205*12, Floor Position = 204/205*12 | 42 | 42 | 42 | 42 | 42 | 42
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 204 | 17 | Occupied | 13 | 67 % | 2.741 m² | Rack 204/205*10, Floor Position = 204/205*10 | 35 | 47 | 35 | 35 | 47 | 35
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 204 | 17 | Occupied | 13 | 67 % | 2.741 m² | Rack 204/205*11, Floor Position = 204/205*11 | 42 | 44 | 42 | 42 | 44 | 42
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 204 | 17 | Occupied | 13 | 67 % | 2.741 m² | Rack 204/205*09, Floor Position = 204/205*09 | 39 | 47 | 39 | 39 | 47 | 39
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 204 | 17 | Occupied | 13 | 67 % | 2.741 m² | Rack 204*05, Floor Position = 204*05 | 44 | 47 | 44 | 44 | 47 | 44
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 204 | 17 | Occupied | 13 | 67 % | 2.741 m² | Rack 204/205*07, Floor Position = 204*07 | 44 | 47 | 44 | 44 | 47 | 44
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 204 | 17 | Occupied | 13 | 67 % | 2.741 m² | Rack 204/205*08, Floor Position = 204/205*08 | 25 | 47 | 25 | 25 | 47 | 25
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 204 | 17 | Occupied | 13 | 67 % | 2.741 m² | Rack 204*06, Floor Position = 204*06 | 44 | 44 | 44 | 44 | 44 | 44
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 204 | 17 | Occupied | 13 | 67 % | 2.741 m² | Rack 204*02, Floor Position = 204*02 | 41 | 44 | 41 | 41 | 44 | 41
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 204 | 17 | Occupied | 13 | 67 % | 2.741 m² | Rack 204*01, Floor Position = 204*01 | 55 | 55 | 55 | 55 | 55 | 55
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 204 | 17 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 205 | 16 | Free | 6 | 48 % | 1.955 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 205 | 16 | Occupied | 10 | 52 % | 2.129 m² | Rack 204/205*17, Floor Position = 204/205*17 | 30 | 60 | 30 | 30 | 60 | 30
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 205 | 16 | Occupied | 10 | 52 % | 2.129 m² | Rack 204/205*16, Floor Position = 204/205*16 | 36 | 60 | 36 | 36 | 60 | 36
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 205 | 16 | Occupied | 10 | 52 % | 2.129 m² | Rack 204/205*15, Floor Position = 204/205*15 | 42 | 42 | 42 | 42 | 42 | 42
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 205 | 16 | Occupied | 10 | 52 % | 2.129 m² | Rack 204/205*12, Floor Position = 204/205*12 | 42 | 42 | 42 | 42 | 42 | 42
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 205 | 16 | Occupied | 10 | 52 % | 2.129 m² | Rack 204/205*10, Floor Position = 204/205*10 | 35 | 47 | 35 | 35 | 47 | 35
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 205 | 16 | Occupied | 10 | 52 % | 2.129 m² | Rack 204/205*11, Floor Position = 204/205*11 | 42 | 44 | 42 | 42 | 44 | 42
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 205 | 16 | Occupied | 10 | 52 % | 2.129 m² | Rack 204/205*09, Floor Position = 204/205*09 | 39 | 47 | 39 | 39 | 47 | 39
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 205 | 16 | Occupied | 10 | 52 % | 2.129 m² | Rack 204/205*08, Floor Position = 204/205*08 | 25 | 47 | 25 | 25 | 47 | 25
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 205 | 16 | Occupied | 10 | 52 % | 2.129 m² | Rack 204/205*07, Floor Position = 204*07 | 44 | 47 | 44 | 44 | 47 | 44
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 205 | 16 | Occupied | 10 | 52 % | 2.129 m² | Rack 205*06, Floor Position = 205*06 | 44 | 44 | 44 | 44 | 44 | 44
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 205 | 16 | Occupied | 10 | 52 % | 2.129 m² | Rack 205*01, Floor Position = 205*01 | 55 | 55 | 55 | 55 | 55 | 55
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 205 | 16 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 207 | 12 | Free | 0 | 7 % | 0.243 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 207 | 12 | Occupied | 12 | 93 % | 3.456 m² | Rack 207*11, Floor Position = 207*11 | 45 | 45 | 45 | 45 | 45 | 45
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 207 | 12 | Occupied | 12 | 93 % | 3.456 m² | Rack 207*12, Floor Position = 207*12 | 45 | 45 | 45 | 45 | 45 | 45
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 207 | 12 | Occupied | 12 | 93 % | 3.456 m² | Rack 207*08, Floor Position = 207*08 | 45 | 45 | 45 | 45 | 45 | 45
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 207 | 12 | Occupied | 12 | 93 % | 3.456 m² | Rack 207*10, Floor Position = 207*10 | 45 | 45 | 45 | 45 | 45 | 45
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 207 | 12 | Occupied | 12 | 93 % | 3.456 m² | Rack 207*09, Floor Position = 207*09 | 45 | 45 | 45 | 45 | 45 | 45
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 207 | 12 | Occupied | 12 | 93 % | 3.456 m² | Rack 207*07, Floor Position = 207*07 | 45 | 45 | 45 | 45 | 45 | 45
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 207 | 12 | Occupied | 12 | 93 % | 3.456 m² | Rack 207*06, Floor Position = 207*06 | 27 | 45 | 27 | 26 | 45 | 26
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 207 | 12 | Occupied | 12 | 93 % | 3.456 m² | Rack 207*04, Floor Position = 207*04 | 27 | 45 | 27 | 26 | 45 | 26
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 207 | 12 | Occupied | 12 | 93 % | 3.456 m² | Rack 207*05, Floor Position = 207*05 | 27 | 45 | 27 | 26 | 45 | 26
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 207 | 12 | Occupied | 12 | 93 % | 3.456 m² | Rack 207*03, Floor Position = 207*03 | 27 | 45 | 27 | 26 | 45 | 26
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 207 | 12 | Occupied | 12 | 93 % | 3.456 m² | Rack 207*01, Floor Position = 207*01 | 27 | 45 | 27 | 26 | 45 | 26
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 207 | 12 | Occupied | 12 | 93 % | 3.456 m² | Rack 207*02, Floor Position = 207*02 | 3 | 44 | 3 | 2 | 23 | 2
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 207 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 208 | 12 | Free | 12 | 100 % | 3.839 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 208 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 208 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 209 | 12 | Free | 12 | 100 % | 3.839 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 209 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 209 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 210 | 12 | Free | 11 | 93 % | 3.569 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 210 | 12 | Occupied | 1 | 7 % | 0.270 m² | ODF CODF 210*01 (E01), Floor Position = 210*01 | 23 | 47 | 23 | 13 | 47 | 13
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 210 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 211 | 12 | Free | 10 | 86 % | 3.299 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 211 | 12 | Occupied | 2 | 14 % | 0.540 m² | ODF 211*03, Floor Position = 211*03 | 47 | 47 | 47 | 47 | 47 | 47
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 211 | 12 | Occupied | 2 | 14 % | 0.540 m² | ODF 211*01, Floor Position = 211*01 | 47 | 47 | 47 | 47 | 47 | 47
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 211 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 212 | 11 | Free | 8 | 81 % | 3.104 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 212 | 11 | Occupied | 3 | 19 % | 0.735 m² | Rack 212/213*10, Floor Position = 212/213*10 | 0 | 46 | 0 | 0 | 46 | 0
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 212 | 11 | Occupied | 3 | 19 % | 0.735 m² | ODF 212*12, Floor Position = 212*12 | 47 | 47 | 47 | 47 | 47 | 47
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 212 | 11 | Occupied | 3 | 19 % | 0.735 m² | Rack 212/213*06, Floor Position = 212/213*06 | 38 | 41 | 38 | 38 | 41 | 38
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 212 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 213 | 11 | Free | 8 | 81 % | 3.104 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 213 | 11 | Occupied | 3 | 19 % | 0.735 m² | Rack 212/213*10, Floor Position = 212/213*10 | 0 | 46 | 0 | 0 | 46 | 0
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 213 | 11 | Occupied | 3 | 19 % | 0.735 m² | ODF 213*12, Floor Position = 213*12 | 47 | 46 | 46 | 47 | 46 | 46
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 213 | 11 | Occupied | 3 | 19 % | 0.735 m² | Rack 212/213*06, Floor Position = 212/213*06 | 38 | 41 | 38 | 38 | 41 | 38
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 213 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 214 | 12 | Free | 11 | 94 % | 3.599 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 214 | 12 | Occupied | 1 | 6 % | 0.240 m² | Rack 214/215*08, Floor Position = 214/215*08 | 45 | 47 | 45 | 45 | 47 | 45
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 214 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 215 | 12 | Free | 11 | 94 % | 3.599 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 215 | 12 | Occupied | 1 | 6 % | 0.240 m² | Rack 214/215*08, Floor Position = 214/215*08 | 45 | 47 | 45 | 45 | 47 | 45
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 215 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 216 | 13 | Free | 11 | 87 % | 3.359 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 216 | 13 | Occupied | 2 | 13 % | 0.480 m² | Rack 216/217*03, Floor Position = 216/217*03 | 37 | 45 | 37 | 37 | 45 | 37
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 216 | 13 | Occupied | 2 | 13 % | 0.480 m² | Rack 216/217*01, Floor Position = 216/217*01 | 37 | 45 | 37 | 37 | 45 | 37
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 216 | 13 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 217 | 13 | Free | 11 | 87 % | 3.359 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 217 | 13 | Occupied | 2 | 13 % | 0.480 m² | Rack 216/217*01, Floor Position = 216/217*01 | 37 | 45 | 37 | 37 | 45 | 37
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 217 | 13 | Occupied | 2 | 13 % | 0.480 m² | Rack 216/217*03, Floor Position = 216/217*03 | 37 | 45 | 37 | 37 | 45 | 37
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 217 | 13 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 218 | 12 | Free | 12 | 100 % | 3.839 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 218 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 218 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 219 | 12 | Free | 12 | 100 % | 3.839 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 219 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 219 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 220 | 12 | Free | 7 | 58 % | 2.240 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 220 | 12 | Occupied | 5 | 42 % | 1.599 m² | Rack 220/221*13, Floor Position = 220/221*13 | 44 | 46 | 44 | 44 | 46 | 44
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 220 | 12 | Occupied | 5 | 42 % | 1.599 m² | Rack 220/221*11, Floor Position = 220/221*11 | 44 | 46 | 44 | 44 | 46 | 44
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 220 | 12 | Occupied | 5 | 42 % | 1.599 m² | Rack 220/221*10, Floor Position = 220/221*10 | 17 | 46 | 16 | 10 | 46 | 10
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 220 | 12 | Occupied | 5 | 42 % | 1.599 m² | Rack 220/221*09, Floor Position = 220/221*09 | 31 | 46 | 30 | 30 | 46 | 30
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 220 | 12 | Occupied | 5 | 42 % | 1.599 m² | Rack 220/221*01, Floor Position = 220/221*01 | 4 | 34 | 4 | 2 | 28 | 2
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 220 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 221 | 12 | Free | 7 | 58 % | 2.240 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 221 | 12 | Occupied | 5 | 42 % | 1.599 m² | Rack 220/221*13, Floor Position = 220/221*13 | 44 | 46 | 44 | 44 | 46 | 44
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 221 | 12 | Occupied | 5 | 42 % | 1.599 m² | Rack 220/221*11, Floor Position = 220/221*11 | 44 | 46 | 44 | 44 | 46 | 44
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 221 | 12 | Occupied | 5 | 42 % | 1.599 m² | Rack 220/221*10, Floor Position = 220/221*10 | 17 | 46 | 16 | 10 | 46 | 10
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 221 | 12 | Occupied | 5 | 42 % | 1.599 m² | Rack 220/221*09, Floor Position = 220/221*09 | 31 | 46 | 30 | 30 | 46 | 30
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 221 | 12 | Occupied | 5 | 42 % | 1.599 m² | Rack 220/221*01, Floor Position = 220/221*01 | 4 | 34 | 4 | 2 | 28 | 2
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 221 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 222 | 13 | Free | 4 | 32 % | 1.247 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 222 | 13 | Occupied | 9 | 68 % | 2.592 m² | Rack 222*08, Floor Position = 222*08 | 45 | 45 | 45 | 45 | 45 | 45
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 222 | 13 | Occupied | 9 | 68 % | 2.592 m² | Rack 222*09, Floor Position = 222*09 | 45 | 45 | 45 | 45 | 45 | 45
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 222 | 13 | Occupied | 9 | 68 % | 2.592 m² | Rack 222*06, Floor Position = 222*06 | 45 | 45 | 45 | 45 | 45 | 45
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 222 | 13 | Occupied | 9 | 68 % | 2.592 m² | Rack 222*07, Floor Position = 222*07 | 45 | 45 | 45 | 45 | 45 | 45
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 222 | 13 | Occupied | 9 | 68 % | 2.592 m² | Rack 222*03, Floor Position = 222*03 | 45 | 45 | 45 | 45 | 45 | 45
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 222 | 13 | Occupied | 9 | 68 % | 2.592 m² | Rack 222*04, Floor Position = 222*04 | 45 | 45 | 45 | 45 | 45 | 45
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 222 | 13 | Occupied | 9 | 68 % | 2.592 m² | Rack 222*05, Floor Position = 222*05 | 45 | 45 | 45 | 45 | 45 | 45
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 222 | 13 | Occupied | 9 | 68 % | 2.592 m² | Rack 222*01, Floor Position = 222*01 | 45 | 45 | 45 | 45 | 45 | 45
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 222 | 13 | Occupied | 9 | 68 % | 2.592 m² | Rack 222*02, Floor Position = 222*02 | 45 | 45 | 45 | 45 | 45 | 45
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 222 | 13 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 223 | 13 | Free | 2 | 17 % | 0.671 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 223 | 13 | Occupied | 11 | 83 % | 3.168 m² | Rack 223*11, Floor Position = 223*11 | 27 | 45 | 27 | 26 | 45 | 26
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 223 | 13 | Occupied | 11 | 83 % | 3.168 m² | Rack 223*08, Floor Position = 223*08 | 27 | 45 | 27 | 26 | 45 | 26
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 223 | 13 | Occupied | 11 | 83 % | 3.168 m² | Rack 223*10, Floor Position = 223*10 | 27 | 45 | 27 | 26 | 45 | 26
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 223 | 13 | Occupied | 11 | 83 % | 3.168 m² | Rack 223*09, Floor Position = 223*09 | 27 | 45 | 27 | 26 | 45 | 26
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 223 | 13 | Occupied | 11 | 83 % | 3.168 m² | Rack 223*07, Floor Position = 223*07 | 27 | 45 | 27 | 26 | 45 | 26
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 223 | 13 | Occupied | 11 | 83 % | 3.168 m² | Rack 223*06, Floor Position = 223*06 | 27 | 45 | 27 | 26 | 45 | 26
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 223 | 13 | Occupied | 11 | 83 % | 3.168 m² | Rack 223*04, Floor Position = 223*04 | 27 | 45 | 27 | 26 | 45 | 26
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 223 | 13 | Occupied | 11 | 83 % | 3.168 m² | Rack 223*05, Floor Position = 223*05 | 27 | 45 | 27 | 26 | 45 | 26
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 223 | 13 | Occupied | 11 | 83 % | 3.168 m² | Rack 223*03, Floor Position = 223*03 | 27 | 45 | 27 | 26 | 45 | 26
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 223 | 13 | Occupied | 11 | 83 % | 3.168 m² | Rack 223*01, Floor Position = 223*01 | 24 | 45 | 24 | 23 | 45 | 23
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 223 | 13 | Occupied | 11 | 83 % | 3.168 m² | Rack 223*02, Floor Position = 223*02 | 3 | 44 | 3 | 2 | 23 | 2
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 223 | 13 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 224 | 11 | Free | 8 | 75 % | 2.879 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 224 | 11 | Occupied | 3 | 25 % | 0.960 m² | Rack 224/225*11, Floor Position = 224/225*11 | 11 | 37 | 10 | 6 | 36 | 6
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 224 | 11 | Occupied | 3 | 25 % | 0.960 m² | Rack 224/225*10, Floor Position = 224/225*10 | 12 | 36 | 11 | 8 | 36 | 8
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 224 | 11 | Occupied | 3 | 25 % | 0.960 m² | Rack 224/225*09, Floor Position = 224/225*09 | 33 | 33 | 33 | 29 | 29 | 29
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 224 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 225 | 11 | Free | 8 | 75 % | 2.879 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 225 | 11 | Occupied | 3 | 25 % | 0.960 m² | Rack 224/225*11, Floor Position = 224/225*11 | 11 | 37 | 10 | 6 | 36 | 6
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 225 | 11 | Occupied | 3 | 25 % | 0.960 m² | Rack 224/225*10, Floor Position = 224/225*10 | 12 | 36 | 11 | 8 | 36 | 8
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 225 | 11 | Occupied | 3 | 25 % | 0.960 m² | Rack 224/225*09, Floor Position = 224/225*09 | 33 | 33 | 33 | 29 | 29 | 29
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 225 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 226 | 12 | Free | 12 | 100 % | 3.839 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 226 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 226 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 227 | 12 | Free | 12 | 100 % | 3.839 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 227 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 227 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 228 | 12 | Free | 11 | 92 % | 5.271 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 228 | 12 | Occupied | 1 | 8 % | 0.479 m² | Rack 228/229*01, Floor Position = 228/229*01 | 6 | 32 | 4 | 4 | 32 | 2
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 228 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 229 | 12 | Free | 11 | 94 % | 5.431 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 229 | 12 | Occupied | 1 | 6 % | 0.319 m² | Rack 228/229*01, Floor Position = 228/229*01 | 6 | 32 | 4 | 4 | 32 | 2
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | 229 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | WALL02 | 3 | Free | 0 | 96 % | 8.003 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | WALL02 | 3 | Occupied | 3 | 4 % | 0.367 m² | Rack WALL02*17, Floor Position = WALL02*17 | 0 | 29 | 0 | 0 | 29 | 0
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | WALL02 | 3 | Occupied | 3 | 4 % | 0.367 m² | Rack WALL02*20, Floor Position = WALL02*20 | 0 | 29 | 0 | 0 | 29 | 0
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | WALL02 | 3 | Occupied | 3 | 4 % | 0.367 m² | Rack WALL02*42, Floor Position = WALL02*42 | 45 | 47 | 45 | 45 | 47 | 45
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | WALL02 | 3 | Reserved | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | WALL03 | 0 | Free | 0 | 100 % | 6.835 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | WALL03 | 0 | Occupied | 0 | 0 % | 0.000 m²
Room XCF001 on Floor Ground Floor in Site CARDIFF MTX | 90903.50 W | 120000.00 W | 76 % | WALL03 | 0 | Reserved | 0 | 0 % | 0.000 m²