## Suite Line Capacity
Report generated for: | Room XER001 on Floor Ground Floor in Site ESHER MTX
| Quantity | % of all area | Area
Total free sections: | 308/624 | 64 % | 153.508 m²
Total occupied sections: | 316/624 | 36 % | 85.982 m²
Total reserved sections: | 0/624 | 0 % | 0.000 m²
Total Lines Capability |  |  | 239.490 m²
Total Location Capability |  |  | 701.350 m²
Total Location Free Area |  |  | 615.368 m²
Total Location Occupied Area |  |  | 85.982 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 109 | 0 | Free | 0 | 100 % | 2.520 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 109 | 0 | Occupied | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 109 | 0 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 110 | 0 | Free | 0 | 100 % | 2.520 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 110 | 0 | Occupied | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 110 | 0 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 111 | 11 | Free | 7 | 67 % | 2.268 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 111 | 11 | Occupied | 4 | 33 % | 1.127 m² | Rack 111/112*02, Floor Position = 111/112*02 | 37 | 46 | 37 | 36 | 46 | 36
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 111 | 11 | Occupied | 4 | 33 % | 1.127 m² | Rack 111/112*03, Floor Position = 111/112*03 | 38 | 46 | 38 | 38 | 46 | 38
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 111 | 11 | Occupied | 4 | 33 % | 1.127 m² | Rack 111*12, Floor Position = 111*12 | 10 | 37 | 10 | 10 | 37 | 10
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 111 | 11 | Occupied | 4 | 33 % | 1.127 m² | Rack 111*14, Floor Position = 111*14 | 37 | 37 | 37 | 37 | 37 | 37
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 111 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 112 | 11 | Free | 7 | 67 % | 2.217 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 112 | 11 | Occupied | 4 | 33 % | 1.109 m² | Rack 111/112*02, Floor Position = 111/112*02 | 37 | 46 | 37 | 36 | 46 | 36
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 112 | 11 | Occupied | 4 | 33 % | 1.109 m² | Rack 111/112*03, Floor Position = 111/112*03 | 38 | 46 | 38 | 38 | 46 | 38
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 112 | 11 | Occupied | 4 | 33 % | 1.109 m² | Rack 112*12, Floor Position = 112*12 | 10 | 37 | 10 | 10 | 37 | 10
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 112 | 11 | Occupied | 4 | 33 % | 1.109 m² | Rack 112*14, Floor Position = 112*14 | 37 | 37 | 37 | 37 | 37 | 37
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 112 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 113 | 10 | Free | 10 | 100 % | 3.360 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 113 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 113 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 114 | 10 | Free | 10 | 100 % | 3.360 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 114 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 114 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 115 | 10 | Free | 8 | 81 % | 3.008 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 115 | 10 | Occupied | 2 | 19 % | 0.707 m² | Rack 115/116*12, Floor Position = 115/116*12 | 14 | 34 | 8 | 7 | 34 | 7
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 115 | 10 | Occupied | 2 | 19 % | 0.707 m² | Rack 115/116*14, Floor Position = 115/116*14 | 21 | 41 | 20 | 15 | 41 | 15
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 115 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 116 | 10 | Free | 8 | 81 % | 3.008 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 116 | 10 | Occupied | 2 | 19 % | 0.707 m² | Rack 115/116*12, Floor Position = 115/116*12 | 14 | 34 | 8 | 7 | 34 | 7
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 116 | 10 | Occupied | 2 | 19 % | 0.707 m² | Rack 115/116*14, Floor Position = 115/116*14 | 21 | 41 | 20 | 15 | 41 | 15
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 116 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 117 | 11 | Free | 2 | 25 % | 0.871 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 117 | 11 | Occupied | 9 | 75 % | 2.650 m² | Rack 117/118*02, Floor Position = 117/118*02 | 26 | 36 | 21 | 23 | 35 | 18
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 117 | 11 | Occupied | 9 | 75 % | 2.650 m² | Rack 117/118*01, Floor Position = 117/118*01 | 26 | 36 | 21 | 23 | 35 | 18
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 117 | 11 | Occupied | 9 | 75 % | 2.650 m² | Rack 117/118*04, Floor Position = 117/118*04 | 38 | 27 | 24 | 21 | 24 | 14
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 117 | 11 | Occupied | 9 | 75 % | 2.650 m² | Rack 117/118*03, Floor Position = 117/118*03 | 41 | 42 | 39 | 23 | 42 | 23
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 117 | 11 | Occupied | 9 | 75 % | 2.650 m² | Rack 117/118*06, Floor Position = 117/118*06 | 45 | 44 | 44 | 45 | 44 | 44
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 117 | 11 | Occupied | 9 | 75 % | 2.650 m² | Rack 117/118*05, Floor Position = 117/118*05 | 41 | 27 | 27 | 41 | 24 | 24
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 117 | 11 | Occupied | 9 | 75 % | 2.650 m² | Rack 117/118*12, Floor Position = 117/118*12 | 40 | 41 | 40 | 40 | 41 | 40
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 117 | 11 | Occupied | 9 | 75 % | 2.650 m² | Rack 117/118*11, Floor Position = 117/118*11 | 39 | 41 | 39 | 39 | 41 | 39
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 117 | 11 | Occupied | 9 | 75 % | 2.650 m² | Rack 117/118*13, Floor Position = 117/118*13 | 32 | 41 | 32 | 32 | 41 | 32
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 117 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 118 | 11 | Free | 2 | 18 % | 0.633 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 118 | 11 | Occupied | 9 | 82 % | 2.889 m² | Rack 117/118*01, Floor Position = 117/118*01 | 26 | 36 | 21 | 23 | 35 | 18
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 118 | 11 | Occupied | 9 | 82 % | 2.889 m² | Rack 117/118*02, Floor Position = 117/118*02 | 26 | 36 | 21 | 23 | 35 | 18
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 118 | 11 | Occupied | 9 | 82 % | 2.889 m² | Rack 117/118*03, Floor Position = 117/118*03 | 41 | 42 | 39 | 23 | 42 | 23
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 118 | 11 | Occupied | 9 | 82 % | 2.889 m² | Rack 117/118*04, Floor Position = 117/118*04 | 38 | 27 | 24 | 21 | 24 | 14
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 118 | 11 | Occupied | 9 | 82 % | 2.889 m² | Rack 117/118*05, Floor Position = 117/118*05 | 41 | 27 | 27 | 41 | 24 | 24
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 118 | 11 | Occupied | 9 | 82 % | 2.889 m² | Rack 117/118*06, Floor Position = 117/118*06 | 45 | 44 | 44 | 45 | 44 | 44
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 118 | 11 | Occupied | 9 | 82 % | 2.889 m² | Rack 117/118*11, Floor Position = 117/118*11 | 39 | 41 | 39 | 39 | 41 | 39
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 118 | 11 | Occupied | 9 | 82 % | 2.889 m² | Rack 117/118*12, Floor Position = 117/118*12 | 40 | 41 | 40 | 40 | 41 | 40
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 118 | 11 | Occupied | 9 | 82 % | 2.889 m² | Rack 117/118*13, Floor Position = 117/118*13 | 32 | 41 | 32 | 32 | 41 | 32
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 118 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 119 | 10 | Free | 1 | 13 % | 0.404 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 119 | 10 | Occupied | 9 | 87 % | 2.592 m² | Rack 119*02, Floor Position = 119*02 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 119 | 10 | Occupied | 9 | 87 % | 2.592 m² | Rack 119*04, Floor Position = 119*04 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 119 | 10 | Occupied | 9 | 87 % | 2.592 m² | Rack 119*03, Floor Position = 119*03 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 119 | 10 | Occupied | 9 | 87 % | 2.592 m² | Rack 119*06, Floor Position = 119*06 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 119 | 10 | Occupied | 9 | 87 % | 2.592 m² | Rack 119*05, Floor Position = 119*05 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 119 | 10 | Occupied | 9 | 87 % | 2.592 m² | Rack 119*07, Floor Position = 119*07 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 119 | 10 | Occupied | 9 | 87 % | 2.592 m² | Rack 119*10, Floor Position = 119*10 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 119 | 10 | Occupied | 9 | 87 % | 2.592 m² | Rack 119*09, Floor Position = 119*09 | 3 | 43 | 3 | 2 | 22 | 2
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 119 | 10 | Occupied | 9 | 87 % | 2.592 m² | Rack 119*08, Floor Position = 119*08 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 119 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 120 | 10 | Free | 1 | 13 % | 0.403 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 120 | 10 | Occupied | 9 | 87 % | 2.592 m² | Rack 120*02, Floor Position = 120*02 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 120 | 10 | Occupied | 9 | 87 % | 2.592 m² | Rack 120*04, Floor Position = 120*04 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 120 | 10 | Occupied | 9 | 87 % | 2.592 m² | Rack 120*03, Floor Position = 120*03 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 120 | 10 | Occupied | 9 | 87 % | 2.592 m² | Rack 120*06, Floor Position = 120*06 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 120 | 10 | Occupied | 9 | 87 % | 2.592 m² | Rack 120*05, Floor Position = 120*05 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 120 | 10 | Occupied | 9 | 87 % | 2.592 m² | Rack 120*07, Floor Position = 120*07 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 120 | 10 | Occupied | 9 | 87 % | 2.592 m² | Rack 120*10, Floor Position = 120*10 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 120 | 10 | Occupied | 9 | 87 % | 2.592 m² | Rack 120*09, Floor Position = 120*09 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 120 | 10 | Occupied | 9 | 87 % | 2.592 m² | Rack 120*08, Floor Position = 120*08 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 120 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 121 | 10 | Free | 8 | 79 % | 2.640 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 121 | 10 | Occupied | 2 | 21 % | 0.720 m² | Rack 121/122*03, Floor Position = 121/122*03 | 37 | 41 | 37 | 37 | 41 | 37
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 121 | 10 | Occupied | 2 | 21 % | 0.720 m² | Rack 121/122*04, Floor Position = 121/122*04 | 23 | 42 | 23 | 23 | 42 | 23
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 121 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 122 | 10 | Free | 8 | 79 % | 2.640 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 122 | 10 | Occupied | 2 | 21 % | 0.720 m² | Rack 121/122*03, Floor Position = 121/122*03 | 37 | 41 | 37 | 37 | 41 | 37
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 122 | 10 | Occupied | 2 | 21 % | 0.720 m² | Rack 121/122*04, Floor Position = 121/122*04 | 23 | 42 | 23 | 23 | 42 | 23
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 122 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 123 | 11 | Free | 1 | 16 % | 0.529 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 123 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 123/124*01, Floor Position = 123/124*01 | 28 | 27 | 27 | 28 | 27 | 27
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 123 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 123*04, Floor Position = 123*04 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 123 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 123*09, Floor Position = 123*09 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 123 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 123*06, Floor Position = 123*06 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 123 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 123*05, Floor Position = 123*05 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 123 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 123*07, Floor Position = 123*07 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 123 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 123*08, Floor Position = 123*08 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 123 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 123*12, Floor Position = 123*12 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 123 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 123*10, Floor Position = 123*10 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 123 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 123*11, Floor Position = 123*11 | 3 | 43 | 3 | 2 | 22 | 2
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 123 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 124 | 11 | Free | 1 | 16 % | 0.543 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 124 | 11 | Occupied | 10 | 84 % | 2.833 m² | Rack 123/124*01, Floor Position = 123/124*01 | 28 | 27 | 27 | 28 | 27 | 27
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 124 | 11 | Occupied | 10 | 84 % | 2.833 m² | Rack 124*04, Floor Position = 124*04 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 124 | 11 | Occupied | 10 | 84 % | 2.833 m² | Rack 124*09, Floor Position = 124*09 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 124 | 11 | Occupied | 10 | 84 % | 2.833 m² | Rack 124*06, Floor Position = 124*06 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 124 | 11 | Occupied | 10 | 84 % | 2.833 m² | Rack 124*05, Floor Position = 124*05 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 124 | 11 | Occupied | 10 | 84 % | 2.833 m² | Rack 124*07, Floor Position = 124*07 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 124 | 11 | Occupied | 10 | 84 % | 2.833 m² | Rack 124*08, Floor Position = 124*08 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 124 | 11 | Occupied | 10 | 84 % | 2.833 m² | Rack 124*12, Floor Position = 124*12 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 124 | 11 | Occupied | 10 | 84 % | 2.833 m² | Rack 124*11, Floor Position = 124*11 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 124 | 11 | Occupied | 10 | 84 % | 2.833 m² | Rack 124*10, Floor Position = 124*10 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 124 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 125 | 10 | Free | 4 | 49 % | 1.823 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 125 | 10 | Occupied | 6 | 51 % | 1.930 m² | Rack 125/126*03, Floor Position = 125/126*03 | 40 | 41 | 39 | 37 | 41 | 37
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 125 | 10 | Occupied | 6 | 51 % | 1.930 m² | Rack 125/126*04, Floor Position = 125/126*04 | 38 | 42 | 38 | 38 | 42 | 38
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 125 | 10 | Occupied | 6 | 51 % | 1.930 m² | Rack 125/126*08, Floor Position = 125/126*08 | 34 | 27 | 25 | 34 | 25 | 25
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 125 | 10 | Occupied | 6 | 51 % | 1.930 m² | Rack 125/126*09, Floor Position = 125/126*09 | 10 | 34 | 6 | 5 | 33 | 2
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 125 | 10 | Occupied | 6 | 51 % | 1.930 m² | Rack 125/126*11, Floor Position = 125/126*11 | 5 | 35 | 2 | 5 | 34 | 1
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 125 | 10 | Occupied | 6 | 51 % | 1.930 m² | Rack 125/126*10, Floor Position = 125/126*10 | 34 | 26 | 25 | 34 | 25 | 25
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 125 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 126 | 10 | Free | 4 | 51 % | 1.902 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 126 | 10 | Occupied | 6 | 49 % | 1.851 m² | Rack 125/126*03, Floor Position = 125/126*03 | 40 | 41 | 39 | 37 | 41 | 37
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 126 | 10 | Occupied | 6 | 49 % | 1.851 m² | Rack 125/126*04, Floor Position = 125/126*04 | 38 | 42 | 38 | 38 | 42 | 38
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 126 | 10 | Occupied | 6 | 49 % | 1.851 m² | Rack 125/126*08, Floor Position = 125/126*08 | 34 | 27 | 25 | 34 | 25 | 25
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 126 | 10 | Occupied | 6 | 49 % | 1.851 m² | Rack 125/126*09, Floor Position = 125/126*09 | 10 | 34 | 6 | 5 | 33 | 2
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 126 | 10 | Occupied | 6 | 49 % | 1.851 m² | Rack 125/126*11, Floor Position = 125/126*11 | 5 | 35 | 2 | 5 | 34 | 1
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 126 | 10 | Occupied | 6 | 49 % | 1.851 m² | Rack 125/126*10, Floor Position = 125/126*10 | 34 | 26 | 25 | 34 | 25 | 25
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 126 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 127 | 11 | Free | 7 | 73 % | 2.744 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 127 | 11 | Occupied | 4 | 27 % | 0.990 m² | ODF 127/128*01, Floor Position = 127/128*01 | 47 | 47 | 47 | 47 | 47 | 47
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 127 | 11 | Occupied | 4 | 27 % | 0.990 m² | Rack 127/128*02, Floor Position = 127/128*02 | 42 | 41 | 41 | 42 | 41 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 127 | 11 | Occupied | 4 | 27 % | 0.990 m² | Rack 127/128*13, Floor Position = 127/128*13 | 42 | 41 | 41 | 42 | 41 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 127 | 11 | Occupied | 4 | 27 % | 0.990 m² | ODF 127/128*14, Floor Position = 127/128*14 | 47 | 47 | 47 | 47 | 47 | 47
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 127 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 128 | 11 | Free | 7 | 73 % | 2.744 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 128 | 11 | Occupied | 4 | 27 % | 0.990 m² | Rack 127/128*02, Floor Position = 127/128*02 | 42 | 41 | 41 | 42 | 41 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 128 | 11 | Occupied | 4 | 27 % | 0.990 m² | ODF 127/128*01, Floor Position = 127/128*01 | 47 | 47 | 47 | 47 | 47 | 47
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 128 | 11 | Occupied | 4 | 27 % | 0.990 m² | Rack 127/128*13, Floor Position = 127/128*13 | 42 | 41 | 41 | 42 | 41 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 128 | 11 | Occupied | 4 | 27 % | 0.990 m² | ODF 127/128*14, Floor Position = 127/128*14 | 47 | 47 | 47 | 47 | 47 | 47
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 128 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 129 | 10 | Free | 10 | 100 % | 3.004 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 129 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 129 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 130 | 10 | Free | 10 | 100 % | 3.004 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 130 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 130 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 131 | 11 | Free | 6 | 65 % | 1.646 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 131 | 11 | Occupied | 5 | 35 % | 0.885 m² | Rack 131/132*04, Floor Position = 131/132*04 | 54 | 56 | 54 | 54 | 56 | 54
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 131 | 11 | Occupied | 5 | 35 % | 0.885 m² | Rack 131/132*05, Floor Position = 131/132*05 | 40 | 41 | 40 | 40 | 41 | 40
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 131 | 11 | Occupied | 5 | 35 % | 0.885 m² | Rack 131/132*11, Floor Position = 131/132*11 | 50 | 56 | 50 | 50 | 56 | 50
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 131 | 11 | Occupied | 5 | 35 % | 0.885 m² | Rack 131/132*10, Floor Position = 131/132*10 | 45 | 56 | 45 | 45 | 56 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 131 | 11 | Occupied | 5 | 35 % | 0.885 m² | Rack 131/132*12, Floor Position = 131/132*12 | 50 | 56 | 50 | 50 | 56 | 50
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 131 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 132 | 11 | Free | 6 | 64 % | 1.627 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 132 | 11 | Occupied | 5 | 36 % | 0.904 m² | Rack 131/132*04, Floor Position = 131/132*04 | 54 | 56 | 54 | 54 | 56 | 54
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 132 | 11 | Occupied | 5 | 36 % | 0.904 m² | Rack 131/132*05, Floor Position = 131/132*05 | 40 | 41 | 40 | 40 | 41 | 40
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 132 | 11 | Occupied | 5 | 36 % | 0.904 m² | Rack 131/132*11, Floor Position = 131/132*11 | 50 | 56 | 50 | 50 | 56 | 50
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 132 | 11 | Occupied | 5 | 36 % | 0.904 m² | Rack 131/132*10, Floor Position = 131/132*10 | 45 | 56 | 45 | 45 | 56 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 132 | 11 | Occupied | 5 | 36 % | 0.904 m² | Rack 131/132*12, Floor Position = 131/132*12 | 50 | 56 | 50 | 50 | 56 | 50
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 132 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 133 | 12 | Free | 5 | 50 % | 1.259 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 133 | 12 | Occupied | 7 | 50 % | 1.259 m² | Rack 133/134*06, Floor Position = 133/134*06 | 33 | 57 | 33 | 33 | 57 | 33
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 133 | 12 | Occupied | 7 | 50 % | 1.259 m² | Rack 133/134*07, Floor Position = 133/134*07 | 27 | 57 | 27 | 27 | 57 | 27
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 133 | 12 | Occupied | 7 | 50 % | 1.259 m² | Rack 133/134*13, Floor Position = 133/134*13 | 49 | 57 | 49 | 49 | 57 | 49
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 133 | 12 | Occupied | 7 | 50 % | 1.259 m² | Rack 133/134*11, Floor Position = 133/134*11 | 39 | 57 | 39 | 39 | 57 | 39
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 133 | 12 | Occupied | 7 | 50 % | 1.259 m² | Rack 133/134*10, Floor Position = 133/134*10 | 57 | 57 | 57 | 57 | 57 | 57
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 133 | 12 | Occupied | 7 | 50 % | 1.259 m² | Rack 133/134*12, Floor Position = 133/134*12 | 57 | 57 | 57 | 57 | 57 | 57
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 133 | 12 | Occupied | 7 | 50 % | 1.259 m² | Rack 133/134*14, Floor Position = 133/134*14 | 11 | 57 | 11 | 11 | 57 | 11
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 133 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 134 | 12 | Free | 5 | 50 % | 1.259 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 134 | 12 | Occupied | 7 | 50 % | 1.259 m² | Rack 133/134*06, Floor Position = 133/134*06 | 33 | 57 | 33 | 33 | 57 | 33
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 134 | 12 | Occupied | 7 | 50 % | 1.259 m² | Rack 133/134*07, Floor Position = 133/134*07 | 27 | 57 | 27 | 27 | 57 | 27
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 134 | 12 | Occupied | 7 | 50 % | 1.259 m² | Rack 133/134*13, Floor Position = 133/134*13 | 49 | 57 | 49 | 49 | 57 | 49
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 134 | 12 | Occupied | 7 | 50 % | 1.259 m² | Rack 133/134*11, Floor Position = 133/134*11 | 39 | 57 | 39 | 39 | 57 | 39
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 134 | 12 | Occupied | 7 | 50 % | 1.259 m² | Rack 133/134*10, Floor Position = 133/134*10 | 57 | 57 | 57 | 57 | 57 | 57
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 134 | 12 | Occupied | 7 | 50 % | 1.259 m² | Rack 133/134*12, Floor Position = 133/134*12 | 57 | 57 | 57 | 57 | 57 | 57
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 134 | 12 | Occupied | 7 | 50 % | 1.259 m² | Rack 133/134*14, Floor Position = 133/134*14 | 11 | 57 | 11 | 11 | 57 | 11
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 134 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 135 | 11 | Free | 7 | 68 % | 3.223 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 135 | 11 | Occupied | 4 | 32 % | 1.508 m² | Rack 135/136*01, Floor Position = 135/136*01 | 38 | 42 | 38 | 38 | 42 | 38
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 135 | 11 | Occupied | 4 | 32 % | 1.508 m² | Rack 135/136*03, Floor Position = 135/136*03 | 36 | 41 | 36 | 33 | 41 | 33
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 135 | 11 | Occupied | 4 | 32 % | 1.508 m² | Rack 135/136*04, Floor Position = 135/136*04 | 33 | 34 | 28 | 17 | 13 | 11
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 135 | 11 | Occupied | 4 | 32 % | 1.508 m² | Rack 135/136*06, Floor Position = 135/136*06 | 28 | 27 | 22 | 13 | 13 | 13
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 135 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 136 | 11 | Free | 7 | 66 % | 3.117 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 136 | 11 | Occupied | 4 | 34 % | 1.612 m² | Rack 135/136*01, Floor Position = 135/136*01 | 38 | 42 | 38 | 38 | 42 | 38
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 136 | 11 | Occupied | 4 | 34 % | 1.612 m² | Rack 135/136*03, Floor Position = 135/136*03 | 36 | 41 | 36 | 33 | 41 | 33
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 136 | 11 | Occupied | 4 | 34 % | 1.612 m² | Rack 135/136*04, Floor Position = 135/136*04 | 33 | 34 | 28 | 17 | 13 | 11
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 136 | 11 | Occupied | 4 | 34 % | 1.612 m² | Rack 135/136*06, Floor Position = 135/136*06 | 28 | 27 | 22 | 13 | 13 | 13
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 136 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 137 | 0 | Free | 0 | 100 % | 2.520 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 137 | 0 | Occupied | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 137 | 0 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 138 | 0 | Free | 0 | 100 % | 2.520 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 138 | 0 | Occupied | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 138 | 0 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 139 | 10 | Free | 3 | 37 % | 0.879 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 139 | 10 | Occupied | 7 | 63 % | 1.502 m² | Rack 139*02, Floor Position = 139*02 | 43 | 45 | 43 | 43 | 45 | 43
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 139 | 10 | Occupied | 7 | 63 % | 1.502 m² | Rack 139/140*03, Floor Position = 139/140*03 | 41 | 45 | 41 | 41 | 45 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 139 | 10 | Occupied | 7 | 63 % | 1.502 m² | Rack 139/140*04, Floor Position = 139/140*04 | 41 | 45 | 41 | 41 | 45 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 139 | 10 | Occupied | 7 | 63 % | 1.502 m² | Rack 139/140*07, Floor Position = 139/140*07 | 9 | 35 | 8 | 6 | 28 | 5
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 139 | 10 | Occupied | 7 | 63 % | 1.502 m² | ODF ODF 139*12 (E02), Floor Position = 139*12 | 46 | 47 | 46 | 39 | 47 | 39
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 139 | 10 | Occupied | 7 | 63 % | 1.502 m² | ODF 139*11, Floor Position = 139*11 | 47 | 47 | 47 | 47 | 47 | 47
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 139 | 10 | Occupied | 7 | 63 % | 1.502 m² | ODF 139*14, Floor Position = 139*14 | 47 | 47 | 47 | 47 | 47 | 47
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 139 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 140 | 10 | Free | 6 | 65 % | 1.650 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 140 | 10 | Occupied | 4 | 35 % | 0.870 m² | Rack 139/140*03, Floor Position = 139/140*03 | 41 | 45 | 41 | 41 | 45 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 140 | 10 | Occupied | 4 | 35 % | 0.870 m² | Rack 139/140*04, Floor Position = 139/140*04 | 41 | 45 | 41 | 41 | 45 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 140 | 10 | Occupied | 4 | 35 % | 0.870 m² | Rack 139/140*07, Floor Position = 139/140*07 | 9 | 35 | 8 | 6 | 28 | 5
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 140 | 10 | Occupied | 4 | 35 % | 0.870 m² | ODF CODF 140*14 (E01), Floor Position = 140*14 | 28 | 47 | 28 | 18 | 47 | 18
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 140 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 141 | 11 | Free | 3 | 46 % | 2.476 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 141 | 11 | Occupied | 8 | 54 % | 2.924 m² | Rack 141/142*04, Floor Position = 141/142*04 | 42 | 46 | 41 | 38 | 46 | 38
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 141 | 11 | Occupied | 8 | 54 % | 2.924 m² | Rack 141/142*05, Floor Position = 141/142*05 | 42 | 41 | 41 | 42 | 41 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 141 | 11 | Occupied | 8 | 54 % | 2.924 m² | Rack 141/142*06, Floor Position = 141/142*06 | 12 | 41 | 11 | 10 | 41 | 10
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 141 | 11 | Occupied | 8 | 54 % | 2.924 m² | Rack 141/142*14, Floor Position = 141/142*14 | 25 | 46 | 24 | 20 | 46 | 19
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 141 | 11 | Occupied | 8 | 54 % | 2.924 m² | Rack 141/142*10, Floor Position = 141/142*10 | 39 | 41 | 39 | 39 | 41 | 39
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 141 | 11 | Occupied | 8 | 54 % | 2.924 m² | Rack 141/142*07, Floor Position = 141/142*07 | 12 | 41 | 11 | 10 | 41 | 10
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 141 | 11 | Occupied | 8 | 54 % | 2.924 m² | Rack 141/142*08, Floor Position = 141/142*08 | 17 | 46 | 16 | 5 | 46 | 5
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 141 | 11 | Occupied | 8 | 54 % | 2.924 m² | Rack 141/142*13, Floor Position = 141/142*13 | 35 | 41 | 35 | 35 | 41 | 35
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 141 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 142 | 11 | Free | 3 | 29 % | 1.560 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 142 | 11 | Occupied | 8 | 71 % | 3.840 m² | Rack 141/142*04, Floor Position = 141/142*04 | 42 | 46 | 41 | 38 | 46 | 38
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 142 | 11 | Occupied | 8 | 71 % | 3.840 m² | Rack 141/142*06, Floor Position = 141/142*06 | 12 | 41 | 11 | 10 | 41 | 10
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 142 | 11 | Occupied | 8 | 71 % | 3.840 m² | Rack 141/142*05, Floor Position = 141/142*05 | 42 | 41 | 41 | 42 | 41 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 142 | 11 | Occupied | 8 | 71 % | 3.840 m² | Rack 141/142*14, Floor Position = 141/142*14 | 25 | 46 | 24 | 20 | 46 | 19
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 142 | 11 | Occupied | 8 | 71 % | 3.840 m² | Rack 141/142*10, Floor Position = 141/142*10 | 39 | 41 | 39 | 39 | 41 | 39
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 142 | 11 | Occupied | 8 | 71 % | 3.840 m² | Rack 141/142*08, Floor Position = 141/142*08 | 17 | 46 | 16 | 5 | 46 | 5
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 142 | 11 | Occupied | 8 | 71 % | 3.840 m² | Rack 141/142*07, Floor Position = 141/142*07 | 12 | 41 | 11 | 10 | 41 | 10
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 142 | 11 | Occupied | 8 | 71 % | 3.840 m² | Rack 141/142*13, Floor Position = 141/142*13 | 35 | 41 | 35 | 35 | 41 | 35
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 142 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 143 | 12 | Free | 6 | 79 % | 5.415 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 143 | 12 | Occupied | 6 | 21 % | 1.470 m² | Rack 143*02, Floor Position = 143*02 | 47 | 47 | 47 | 47 | 47 | 47
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 143 | 12 | Occupied | 6 | 21 % | 1.470 m² | Rack 143/144*03, Floor Position = 143/144*03 | 36 | 36 | 36 | 36 | 36 | 36
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 143 | 12 | Occupied | 6 | 21 % | 1.470 m² | Rack 143/144*11, Floor Position = 143/144*11 | 36 | 36 | 36 | 36 | 36 | 36
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 143 | 12 | Occupied | 6 | 21 % | 1.470 m² | Rack 143*09, Floor Position = 143*09 | 36 | 36 | 36 | 36 | 36 | 36
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 143 | 12 | Occupied | 6 | 21 % | 1.470 m² | Rack 143*08, Floor Position = 143*08 | 36 | 36 | 36 | 36 | 36 | 36
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 143 | 12 | Occupied | 6 | 21 % | 1.470 m² | Rack 143*10, Floor Position = 143*10 | 36 | 36 | 36 | 36 | 36 | 36
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 143 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 144 | 12 | Free | 7 | 69 % | 2.715 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 144 | 12 | Occupied | 5 | 31 % | 1.200 m² | Rack 143/144*03, Floor Position = 143/144*03 | 36 | 36 | 36 | 36 | 36 | 36
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 144 | 12 | Occupied | 5 | 31 % | 1.200 m² | Rack 143/144*11, Floor Position = 143/144*11 | 36 | 36 | 36 | 36 | 36 | 36
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 144 | 12 | Occupied | 5 | 31 % | 1.200 m² | Rack 144*09, Floor Position = 144*09 | 36 | 36 | 36 | 36 | 36 | 36
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 144 | 12 | Occupied | 5 | 31 % | 1.200 m² | Rack 144*08, Floor Position = 144*08 | 36 | 36 | 36 | 36 | 36 | 36
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 144 | 12 | Occupied | 5 | 31 % | 1.200 m² | Rack 144*10, Floor Position = 144*10 | 36 | 36 | 36 | 36 | 36 | 36
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 144 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 145 | 12 | Free | 2 | 15 % | 0.510 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 145 | 12 | Occupied | 10 | 85 % | 2.880 m² | Rack 145*03, Floor Position = 145*03 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 145 | 12 | Occupied | 10 | 85 % | 2.880 m² | Rack 145*01, Floor Position = 145*01 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 145 | 12 | Occupied | 10 | 85 % | 2.880 m² | Rack 145*02, Floor Position = 145*02 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 145 | 12 | Occupied | 10 | 85 % | 2.880 m² | Rack 145*04, Floor Position = 145*04 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 145 | 12 | Occupied | 10 | 85 % | 2.880 m² | Rack 145*05, Floor Position = 145*05 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 145 | 12 | Occupied | 10 | 85 % | 2.880 m² | Rack 145*07, Floor Position = 145*07 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 145 | 12 | Occupied | 10 | 85 % | 2.880 m² | Rack 145*06, Floor Position = 145*06 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 145 | 12 | Occupied | 10 | 85 % | 2.880 m² | Rack 145*08, Floor Position = 145*08 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 145 | 12 | Occupied | 10 | 85 % | 2.880 m² | Rack 145*10, Floor Position = 145*10 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 145 | 12 | Occupied | 10 | 85 % | 2.880 m² | Rack 145*09, Floor Position = 145*09 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 145 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 146 | 12 | Free | 2 | 14 % | 0.481 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 146 | 12 | Occupied | 10 | 86 % | 2.880 m² | Rack 146*03, Floor Position = 146*03 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 146 | 12 | Occupied | 10 | 86 % | 2.880 m² | Rack 146*01, Floor Position = 146*01 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 146 | 12 | Occupied | 10 | 86 % | 2.880 m² | Rack 146*02, Floor Position = 146*02 | 3 | 43 | 3 | 2 | 22 | 2
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 146 | 12 | Occupied | 10 | 86 % | 2.880 m² | Rack 146*04, Floor Position = 146*04 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 146 | 12 | Occupied | 10 | 86 % | 2.880 m² | Rack 146*05, Floor Position = 146*05 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 146 | 12 | Occupied | 10 | 86 % | 2.880 m² | Rack 146*07, Floor Position = 146*07 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 146 | 12 | Occupied | 10 | 86 % | 2.880 m² | Rack 146*06, Floor Position = 146*06 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 146 | 12 | Occupied | 10 | 86 % | 2.880 m² | Rack 146*08, Floor Position = 146*08 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 146 | 12 | Occupied | 10 | 86 % | 2.880 m² | Rack 146*10, Floor Position = 146*10 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 146 | 12 | Occupied | 10 | 86 % | 2.880 m² | Rack 146*09, Floor Position = 146*09 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 146 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 147 | 8 | Free | 2 | 55 % | 2.194 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 147 | 8 | Occupied | 6 | 45 % | 1.789 m² | Rack 147*01, Floor Position = 147*01 | 47 | 47 | 47 | 47 | 47 | 47
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 147 | 8 | Occupied | 6 | 45 % | 1.789 m² | Rack 147/148*05, Floor Position = 147/148*05 | 23 | 46 | 22 | 22 | 46 | 21
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 147 | 8 | Occupied | 6 | 45 % | 1.789 m² | Rack 147/148*08, Floor Position = 147/148*08 | 36 | 41 | 36 | 36 | 41 | 36
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 147 | 8 | Occupied | 6 | 45 % | 1.789 m² | Rack 147/148*14, Floor Position = 147/148*14 | 42 | 41 | 41 | 42 | 41 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 147 | 8 | Occupied | 6 | 45 % | 1.789 m² | Rack 147*09, Floor Position = 147*09 | 47 | 47 | 47 | 47 | 47 | 47
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 147 | 8 | Occupied | 6 | 45 % | 1.789 m² | Rack 147/148*12, Floor Position = 147/148*12 | 8 | 35 | 7 | 4 | 28 | 3
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 147 | 8 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 148 | 8 | Free | 1 | 45 % | 1.784 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 148 | 8 | Occupied | 7 | 55 % | 2.198 m² | Rack 148*01, Floor Position = 148*01 | 47 | 47 | 47 | 47 | 47 | 47
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 148 | 8 | Occupied | 7 | 55 % | 2.198 m² | Rack 147/148*03, Floor Position = 147/148*03 | 0 | 46 | 0 | 0 | 46 | 0
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 148 | 8 | Occupied | 7 | 55 % | 2.198 m² | Rack 147/148*05, Floor Position = 147/148*05 | 23 | 46 | 22 | 22 | 46 | 21
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 148 | 8 | Occupied | 7 | 55 % | 2.198 m² | Rack 147/148*08, Floor Position = 147/148*08 | 36 | 41 | 36 | 36 | 41 | 36
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 148 | 8 | Occupied | 7 | 55 % | 2.198 m² | Rack 147/148*14, Floor Position = 147/148*14 | 42 | 41 | 41 | 42 | 41 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 148 | 8 | Occupied | 7 | 55 % | 2.198 m² | Rack 148*09, Floor Position = 148*09 | 47 | 47 | 47 | 47 | 47 | 47
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 148 | 8 | Occupied | 7 | 55 % | 2.198 m² | Rack 147/148*12, Floor Position = 147/148*12 | 8 | 35 | 7 | 4 | 28 | 3
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 148 | 8 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 149 | 11 | Free | 4 | 44 % | 2.372 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 149 | 11 | Occupied | 7 | 56 % | 3.028 m² | Rack 149/150*04, Floor Position = 149/150*04 | 21 | 41 | 20 | 15 | 41 | 15
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 149 | 11 | Occupied | 7 | 56 % | 3.028 m² | Rack 149/150*02, Floor Position = 149/150*02 | 17 | 46 | 16 | 10 | 46 | 10
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 149 | 11 | Occupied | 7 | 56 % | 3.028 m² | Rack 149/150*01, Floor Position = 149/150*01 | 29 | 29 | 24 | 14 | 16 | 14
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 149 | 11 | Occupied | 7 | 56 % | 3.028 m² | Rack 149/150*07, Floor Position = 149/150*07 | 44 | 46 | 44 | 44 | 46 | 44
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 149 | 11 | Occupied | 7 | 56 % | 3.028 m² | Rack 149/150*05, Floor Position = 149/150*05 | 31 | 46 | 30 | 30 | 46 | 30
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 149 | 11 | Occupied | 7 | 56 % | 3.028 m² | Rack 149/150*09, Floor Position = 149/150*09 | 43 | 46 | 43 | 43 | 46 | 43
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 149 | 11 | Occupied | 7 | 56 % | 3.028 m² | Rack 149/150*08, Floor Position = 149/150*08 | 44 | 46 | 44 | 44 | 46 | 44
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 149 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 150 | 11 | Free | 4 | 47 % | 2.544 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 150 | 11 | Occupied | 7 | 53 % | 2.856 m² | Rack 149/150*04, Floor Position = 149/150*04 | 21 | 41 | 20 | 15 | 41 | 15
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 150 | 11 | Occupied | 7 | 53 % | 2.856 m² | Rack 149/150*02, Floor Position = 149/150*02 | 17 | 46 | 16 | 10 | 46 | 10
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 150 | 11 | Occupied | 7 | 53 % | 2.856 m² | Rack 149/150*01, Floor Position = 149/150*01 | 29 | 29 | 24 | 14 | 16 | 14
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 150 | 11 | Occupied | 7 | 53 % | 2.856 m² | Rack 149/150*07, Floor Position = 149/150*07 | 44 | 46 | 44 | 44 | 46 | 44
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 150 | 11 | Occupied | 7 | 53 % | 2.856 m² | Rack 149/150*05, Floor Position = 149/150*05 | 31 | 46 | 30 | 30 | 46 | 30
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 150 | 11 | Occupied | 7 | 53 % | 2.856 m² | Rack 149/150*09, Floor Position = 149/150*09 | 43 | 46 | 43 | 43 | 46 | 43
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 150 | 11 | Occupied | 7 | 53 % | 2.856 m² | Rack 149/150*08, Floor Position = 149/150*08 | 44 | 46 | 44 | 44 | 46 | 44
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 150 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 152 | 15 | Free | 11 | 80 % | 4.320 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 152 | 15 | Occupied | 4 | 20 % | 1.080 m² | Rack 152*01, Floor Position = 152*01 | 14 | 37 | 14 | 14 | 37 | 14
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 152 | 15 | Occupied | 4 | 20 % | 1.080 m² | Rack 152*02, Floor Position = 152*02 | 47 | 47 | 47 | 47 | 47 | 47
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 152 | 15 | Occupied | 4 | 20 % | 1.080 m² | Rack 152*03, Floor Position = 152*03 | 30 | 37 | 30 | 30 | 37 | 30
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 152 | 15 | Occupied | 4 | 20 % | 1.080 m² | Rack 152*05, Floor Position = 152*05 | 30 | 37 | 30 | 30 | 37 | 30
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 152 | 15 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 153 | 11 | Free | 9 | 80 % | 2.880 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 153 | 11 | Occupied | 2 | 20 % | 0.720 m² | Rack 153/154*13, Floor Position = 153/154*13 | 23 | 42 | 23 | 23 | 42 | 23
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 153 | 11 | Occupied | 2 | 20 % | 0.720 m² | Rack 153/154*15, Floor Position = 153/154*15 | 37 | 41 | 37 | 37 | 41 | 37
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 153 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 154 | 11 | Free | 9 | 80 % | 2.880 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 154 | 11 | Occupied | 2 | 20 % | 0.720 m² | Rack 153/154*13, Floor Position = 153/154*13 | 23 | 42 | 23 | 23 | 42 | 23
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 154 | 11 | Occupied | 2 | 20 % | 0.720 m² | Rack 153/154*15, Floor Position = 153/154*15 | 37 | 41 | 37 | 37 | 41 | 37
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 154 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 157 | 10 | Free | 10 | 100 % | 5.400 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 157 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 157 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 158 | 10 | Free | 10 | 100 % | 5.400 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 158 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 158 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 159 | 12 | Free | 9 | 80 % | 2.880 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 159 | 12 | Occupied | 3 | 20 % | 0.720 m² | Rack 159/160*01, Floor Position = 159/160*01 | 42 | 42 | 42 | 42 | 42 | 42
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 159 | 12 | Occupied | 3 | 20 % | 0.720 m² | Rack 159/160*15, Floor Position = 159/160*15 | 39 | 41 | 39 | 39 | 41 | 39
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 159 | 12 | Occupied | 3 | 20 % | 0.720 m² | Rack 159/160*14, Floor Position = 159/160*14 | 42 | 42 | 42 | 42 | 42 | 42
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 159 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 160 | 12 | Free | 9 | 87 % | 3.120 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 160 | 12 | Occupied | 3 | 13 % | 0.480 m² | Rack 159/160*01, Floor Position = 159/160*01 | 42 | 42 | 42 | 42 | 42 | 42
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 160 | 12 | Occupied | 3 | 13 % | 0.480 m² | Rack 159/160*15, Floor Position = 159/160*15 | 39 | 41 | 39 | 39 | 41 | 39
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 160 | 12 | Occupied | 3 | 13 % | 0.480 m² | Rack 159/160*14, Floor Position = 159/160*14 | 42 | 42 | 42 | 42 | 42 | 42
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 160 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 161 | 13 | Free | 4 | 61 % | 2.040 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 161 | 13 | Occupied | 9 | 39 % | 1.320 m² | Rack 161/162*01, Floor Position = 161/162*01 | 42 | 41 | 41 | 42 | 41 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 161 | 13 | Occupied | 9 | 39 % | 1.320 m² | Rack 161/162*02, Floor Position = 161/162*02 | 42 | 42 | 42 | 42 | 42 | 42
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 161 | 13 | Occupied | 9 | 39 % | 1.320 m² | Rack 161/162*06, Floor Position = 161/162*06 | 42 | 42 | 42 | 42 | 42 | 42
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 161 | 13 | Occupied | 9 | 39 % | 1.320 m² | Rack 161/162*08, Floor Position = 161/162*08 | 39 | 41 | 39 | 39 | 41 | 39
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 161 | 13 | Occupied | 9 | 39 % | 1.320 m² | Rack 161/162*07, Floor Position = 161/162*07 | 39 | 41 | 39 | 39 | 41 | 39
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 161 | 13 | Occupied | 9 | 39 % | 1.320 m² | Rack 161/162*12, Floor Position = 161/162*12 | 40 | 41 | 39 | 40 | 41 | 39
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 161 | 13 | Occupied | 9 | 39 % | 1.320 m² | Rack 161/162*11, Floor Position = 161/162*11 | 42 | 42 | 42 | 42 | 42 | 42
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 161 | 13 | Occupied | 9 | 39 % | 1.320 m² | Rack 161/162*13, Floor Position = 161/162*13 | 40 | 41 | 39 | 40 | 41 | 39
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 161 | 13 | Occupied | 9 | 39 % | 1.320 m² | Rack 161/162*14, Floor Position = 161/162*14 | 42 | 42 | 42 | 42 | 42 | 42
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 161 | 13 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 162 | 13 | Free | 4 | 50 % | 1.680 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 162 | 13 | Occupied | 9 | 50 % | 1.680 m² | Rack 161/162*01, Floor Position = 161/162*01 | 42 | 41 | 41 | 42 | 41 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 162 | 13 | Occupied | 9 | 50 % | 1.680 m² | Rack 161/162*02, Floor Position = 161/162*02 | 42 | 42 | 42 | 42 | 42 | 42
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 162 | 13 | Occupied | 9 | 50 % | 1.680 m² | Rack 161/162*06, Floor Position = 161/162*06 | 42 | 42 | 42 | 42 | 42 | 42
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 162 | 13 | Occupied | 9 | 50 % | 1.680 m² | Rack 161/162*08, Floor Position = 161/162*08 | 39 | 41 | 39 | 39 | 41 | 39
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 162 | 13 | Occupied | 9 | 50 % | 1.680 m² | Rack 161/162*07, Floor Position = 161/162*07 | 39 | 41 | 39 | 39 | 41 | 39
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 162 | 13 | Occupied | 9 | 50 % | 1.680 m² | Rack 161/162*12, Floor Position = 161/162*12 | 40 | 41 | 39 | 40 | 41 | 39
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 162 | 13 | Occupied | 9 | 50 % | 1.680 m² | Rack 161/162*11, Floor Position = 161/162*11 | 42 | 42 | 42 | 42 | 42 | 42
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 162 | 13 | Occupied | 9 | 50 % | 1.680 m² | Rack 161/162*13, Floor Position = 161/162*13 | 40 | 41 | 39 | 40 | 41 | 39
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 162 | 13 | Occupied | 9 | 50 % | 1.680 m² | Rack 161/162*14, Floor Position = 161/162*14 | 42 | 42 | 42 | 42 | 42 | 42
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 162 | 13 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 163 | 11 | Free | 2 | 31 % | 1.673 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 163 | 11 | Occupied | 9 | 69 % | 3.646 m² | Rack 163*01, Floor Position = 163*01 | 47 | 47 | 47 | 47 | 47 | 47
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 163 | 11 | Occupied | 9 | 69 % | 3.646 m² | Rack 163/164*02, Floor Position = 163/164*02 | 46 | 56 | 46 | 46 | 56 | 46
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 163 | 11 | Occupied | 9 | 69 % | 3.646 m² | Rack 163*03, Floor Position = 163*03 | 44 | 47 | 44 | 44 | 47 | 44
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 163 | 11 | Occupied | 9 | 69 % | 3.646 m² | Rack 163/164*06, Floor Position = 163/164*06 | 9 | 39 | 6 | 3 | 21 | 3
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 163 | 11 | Occupied | 9 | 69 % | 3.646 m² | Rack 163/164*14, Floor Position = 163/164*14 | 10 | 33 | 5 | 4 | 19 | 2
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 163 | 11 | Occupied | 9 | 69 % | 3.646 m² | Rack 163/164*10, Floor Position = 163/164*10 | 17 | 46 | 16 | 10 | 46 | 10
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 163 | 11 | Occupied | 9 | 69 % | 3.646 m² | Rack 163/164*07, Floor Position = 163/164*07 | 9 | 38 | 6 | 3 | 20 | 3
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 163 | 11 | Occupied | 9 | 69 % | 3.646 m² | Rack 163/164*11, Floor Position = 163/164*11 | 17 | 46 | 16 | 10 | 46 | 10
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 163 | 11 | Occupied | 9 | 69 % | 3.646 m² | Rack 163/164*12, Floor Position = 163/164*12 | 17 | 46 | 16 | 16 | 46 | 16
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 163 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 164 | 11 | Free | 10 | 95 % | 4.562 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 164 | 11 | Occupied | 1 | 5 % | 0.240 m² | Rack 164*03, Floor Position = 164*03 | 44 | 47 | 44 | 44 | 47 | 44
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 164 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 165 | 11 | Free | 1 | 16 % | 0.528 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 165 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 165/166*01, Floor Position = 165/166*01 | 7 | 27 | 3 | 1 | 15 | 1
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 165 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 165*04, Floor Position = 165*04 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 165 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 165*05, Floor Position = 165*05 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 165 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 165*06, Floor Position = 165*06 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 165 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 165*11, Floor Position = 165*11 | 3 | 43 | 3 | 2 | 22 | 2
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 165 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 165*07, Floor Position = 165*07 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 165 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 165*08, Floor Position = 165*08 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 165 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 165*09, Floor Position = 165*09 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 165 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 165*10, Floor Position = 165*10 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 165 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 165*12, Floor Position = 165*12 | 27 | 45 | 27 | 26 | 45 | 26
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 165 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 166 | 11 | Free | 1 | 16 % | 0.528 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 166 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 165/166*01, Floor Position = 165/166*01 | 7 | 27 | 3 | 1 | 15 | 1
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 166 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 166*05, Floor Position = 166*05 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 166 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 166*04, Floor Position = 166*04 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 166 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 166*06, Floor Position = 166*06 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 166 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 166*09, Floor Position = 166*09 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 166 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 166*07, Floor Position = 166*07 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 166 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 166*08, Floor Position = 166*08 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 166 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 166*10, Floor Position = 166*10 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 166 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 166*11, Floor Position = 166*11 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 166 | 11 | Occupied | 10 | 84 % | 2.832 m² | Rack 166*12, Floor Position = 166*12 | 45 | 45 | 45 | 45 | 45 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 166 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 167 | 16 | Free | 2 | 12 % | 0.360 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 167 | 16 | Occupied | 14 | 88 % | 2.520 m² | Rack 167*02, Floor Position = 167*02 | 42 | 46 | 42 | 42 | 46 | 42
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 167 | 16 | Occupied | 14 | 88 % | 2.520 m² | Rack 167/168*03, Floor Position = 167/168*03 | 41 | 45 | 41 | 41 | 45 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 167 | 16 | Occupied | 14 | 88 % | 2.520 m² | Rack 167/168*05, Floor Position = 167/168*05 | 40 | 45 | 40 | 40 | 45 | 40
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 167 | 16 | Occupied | 14 | 88 % | 2.520 m² | Rack 167/168*04, Floor Position = 167/168*04 | 41 | 45 | 41 | 41 | 45 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 167 | 16 | Occupied | 14 | 88 % | 2.520 m² | Rack 167/168*06, Floor Position = 167/168*06 | 38 | 45 | 38 | 38 | 45 | 38
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 167 | 16 | Occupied | 14 | 88 % | 2.520 m² | Rack 167/168*10, Floor Position = 167/168*10 | 41 | 45 | 41 | 41 | 45 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 167 | 16 | Occupied | 14 | 88 % | 2.520 m² | Rack 167/168*08, Floor Position = 167/168*08 | 41 | 45 | 41 | 41 | 45 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 167 | 16 | Occupied | 14 | 88 % | 2.520 m² | Rack 167/168*07, Floor Position = 167/168*07 | 41 | 45 | 41 | 41 | 45 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 167 | 16 | Occupied | 14 | 88 % | 2.520 m² | Rack 167/168*09, Floor Position = 167/168*09 | 41 | 45 | 41 | 41 | 45 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 167 | 16 | Occupied | 14 | 88 % | 2.520 m² | Rack 167/168*12, Floor Position = 167/168*12 | 41 | 45 | 41 | 41 | 45 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 167 | 16 | Occupied | 14 | 88 % | 2.520 m² | Rack 167/168*13, Floor Position = 167/168*13 | 41 | 45 | 41 | 41 | 45 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 167 | 16 | Occupied | 14 | 88 % | 2.520 m² | Rack 167/168*15, Floor Position = 167/168*15 | 41 | 45 | 41 | 41 | 45 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 167 | 16 | Occupied | 14 | 88 % | 2.520 m² | Rack 167*14, Floor Position = 167*14 | 46 | 46 | 46 | 46 | 46 | 46
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 167 | 16 | Occupied | 14 | 88 % | 2.520 m² | Rack 167/168*16, Floor Position = 167/168*16 | 41 | 45 | 41 | 41 | 45 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 167 | 16 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 168 | 16 | Free | 2 | 12 % | 0.360 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 168 | 16 | Occupied | 14 | 88 % | 2.520 m² | Rack 168*02, Floor Position = 168*02 | 42 | 46 | 42 | 42 | 46 | 42
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 168 | 16 | Occupied | 14 | 88 % | 2.520 m² | Rack 167/168*03, Floor Position = 167/168*03 | 41 | 45 | 41 | 41 | 45 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 168 | 16 | Occupied | 14 | 88 % | 2.520 m² | Rack 167/168*05, Floor Position = 167/168*05 | 40 | 45 | 40 | 40 | 45 | 40
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 168 | 16 | Occupied | 14 | 88 % | 2.520 m² | Rack 167/168*04, Floor Position = 167/168*04 | 41 | 45 | 41 | 41 | 45 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 168 | 16 | Occupied | 14 | 88 % | 2.520 m² | Rack 167/168*06, Floor Position = 167/168*06 | 38 | 45 | 38 | 38 | 45 | 38
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 168 | 16 | Occupied | 14 | 88 % | 2.520 m² | Rack 167/168*10, Floor Position = 167/168*10 | 41 | 45 | 41 | 41 | 45 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 168 | 16 | Occupied | 14 | 88 % | 2.520 m² | Rack 167/168*08, Floor Position = 167/168*08 | 41 | 45 | 41 | 41 | 45 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 168 | 16 | Occupied | 14 | 88 % | 2.520 m² | Rack 167/168*07, Floor Position = 167/168*07 | 41 | 45 | 41 | 41 | 45 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 168 | 16 | Occupied | 14 | 88 % | 2.520 m² | Rack 167/168*09, Floor Position = 167/168*09 | 41 | 45 | 41 | 41 | 45 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 168 | 16 | Occupied | 14 | 88 % | 2.520 m² | Rack 167/168*12, Floor Position = 167/168*12 | 41 | 45 | 41 | 41 | 45 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 168 | 16 | Occupied | 14 | 88 % | 2.520 m² | Rack 167/168*13, Floor Position = 167/168*13 | 41 | 45 | 41 | 41 | 45 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 168 | 16 | Occupied | 14 | 88 % | 2.520 m² | Rack 167/168*15, Floor Position = 167/168*15 | 41 | 45 | 41 | 41 | 45 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 168 | 16 | Occupied | 14 | 88 % | 2.520 m² | Rack 168*14, Floor Position = 168*14 | 46 | 46 | 46 | 46 | 46 | 46
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 168 | 16 | Occupied | 14 | 88 % | 2.520 m² | Rack 167/168*16, Floor Position = 167/168*16 | 41 | 45 | 41 | 41 | 45 | 41
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 168 | 16 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 169 | 12 | Free | 11 | 89 % | 2.250 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 169 | 12 | Occupied | 1 | 11 % | 0.270 m² | ODF CODF 169*01 (W01), Floor Position = 169*01 | 27 | 47 | 27 | 17 | 47 | 17
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 169 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 170 | 12 | Free | 9 | 68 % | 1.710 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 170 | 12 | Occupied | 3 | 32 % | 0.810 m² | ODF 170*01, Floor Position = 170*01 | 47 | 47 | 47 | 47 | 47 | 47
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 170 | 12 | Occupied | 3 | 32 % | 0.810 m² | ODF 170*03, Floor Position = 170*03 | 47 | 47 | 47 | 47 | 47 | 47
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 170 | 12 | Occupied | 3 | 32 % | 0.810 m² | ODF 170*04, Floor Position = 170*04 | 47 | 47 | 47 | 47 | 47 | 47
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | 170 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | WALL01 | 4 | Free | 0 | 92 % | 6.642 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | WALL01 | 4 | Occupied | 4 | 8 % | 0.573 m² | Rack WALL01*34, Floor Position = WALL0134 | 47 | 47 | 47 | 47 | 47 | 47
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | WALL01 | 4 | Occupied | 4 | 8 % | 0.573 m² | Rack WALL01*29, Floor Position = WALL0129 | 45 | 47 | 45 | 45 | 47 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | WALL01 | 4 | Occupied | 4 | 8 % | 0.573 m² | Rack WALL01*24, Floor Position = WALL0124 | 0 | 29 | 0 | 0 | 29 | 0
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | WALL01 | 4 | Occupied | 4 | 8 % | 0.573 m² | Rack WALL01*23, Floor Position = WALL0123 | 37 | 37 | 36 | 37 | 37 | 36
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | WALL01 | 4 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | WALL02 | 2 | Free | 0 | 97 % | 4.265 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | WALL02 | 2 | Occupied | 2 | 3 % | 0.116 m² | Rack WALL02*10, Floor Position = WALL02*10 | 0 | 29 | 0 | 0 | 29 | 0
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | WALL02 | 2 | Occupied | 2 | 3 % | 0.116 m² | Rack Wall02*31, Floor Position = Wall02*31 | 0 | 4 | 0 | 0 | 4 | 0
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | WALL02 | 2 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | WALL03 | 6 | Free | 0 | 91 % | 7.471 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | WALL03 | 6 | Occupied | 6 | 9 % | 0.713 m² | Rack WALL03*02, Floor Position = WALL0302 | 0 | 29 | 0 | 0 | 29 | 0
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | WALL03 | 6 | Occupied | 6 | 9 % | 0.713 m² | Rack WALL03*37, Floor Position = WALL0337 | 45 | 45 | 43 | 45 | 45 | 43
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | WALL03 | 6 | Occupied | 6 | 9 % | 0.713 m² | Rack WALL03*36, Floor Position = WALL0336 | 45 | 45 | 43 | 45 | 45 | 43
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | WALL03 | 6 | Occupied | 6 | 9 % | 0.713 m² | Rack WALL03*46, Floor Position = WALL0346 | 0 | 4 | 0 | 0 | 4 | 0
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | WALL03 | 6 | Occupied | 6 | 9 % | 0.713 m² | Rack WALL03*45, Floor Position = WALL0345 | 0 | 4 | 0 | 0 | 4 | 0
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | WALL03 | 6 | Occupied | 6 | 9 % | 0.713 m² | Rack WALL03*40, Floor Position = WALL0340 | 45 | 47 | 45 | 45 | 47 | 45
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | WALL03 | 6 | Reserved | 0 | 0 % | 0.000 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | WALL04 | 1 | Free | 0 | 98 % | 4.667 m²
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | WALL04 | 1 | Occupied | 1 | 2 % | 0.088 m² | Rack WALL04*20, Floor Position = WALL0420 | 0 | 29 | 0 | 0 | 29 | 0
Room XER001 on Floor Ground Floor in Site ESHER MTX | 202404.00 W | 400000.00 W | 51 % | WALL04 | 1 | Reserved | 0 | 0 % | 0.000 m²