## Suite Line Capacity
Report generated for: | Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX
| Quantity | % of all area | Area
Total free sections: | 123/184 | 75 % | 150.120 m²
Total occupied sections: | 61/184 | 25 % | 49.200 m²
Total reserved sections: | 0/184 | 0 % | 0.000 m²
Total Lines Capability |  |  | 199.320 m²
Total Location Capability |  |  | 568.641 m²
Total Location Free Area |  |  | 519.441 m²
Total Location Occupied Area |  |  | 49.200 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | A | 20 | Free | 1 | 22 % | 4.800 m²
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | A | 20 | Occupied | 19 | 78 % | 17.280 m² | Rack A10, Floor Position = A10 | 22 | 31 | 7 | 10 | 31 | 2
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | A | 20 | Occupied | 19 | 78 % | 17.280 m² | Rack A3, Floor Position = A3 | 7 | 31 | 0 | 2 | 31 | 0
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | A | 20 | Occupied | 19 | 78 % | 17.280 m² | Rack A5, Floor Position = A5 | 7 | 31 | 0 | 2 | 31 | 0
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | A | 20 | Occupied | 19 | 78 % | 17.280 m² | Rack A7, Floor Position = A7 | 22 | 31 | 7 | 10 | 31 | 4
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | A | 20 | Occupied | 19 | 78 % | 17.280 m² | Rack A9, Floor Position = A9 | 22 | 31 | 7 | 10 | 31 | 4
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | A | 20 | Occupied | 19 | 78 % | 17.280 m² | Rack A11, Floor Position = A11 | 22 | 31 | 7 | 10 | 31 | 2
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | A | 20 | Occupied | 19 | 78 % | 17.280 m² | Rack A13, Floor Position = A13 | 19 | 31 | 6 | 14 | 31 | 4
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | A | 20 | Occupied | 19 | 78 % | 17.280 m² | Rack A1, Floor Position = A1 | 22 | 31 | 7 | 10 | 31 | 4
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | A | 20 | Occupied | 19 | 78 % | 17.280 m² | Rack A2, Floor Position = A2 | 22 | 31 | 7 | 10 | 31 | 4
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | A | 20 | Occupied | 19 | 78 % | 17.280 m² | Rack A30, Floor Position = A30 | 37 | 29 | 23 | 30 | 22 | 22
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | A | 20 | Occupied | 19 | 78 % | 17.280 m² | Rack A21, Floor Position = A21 | 22 | 31 | 7 | 10 | 31 | 4
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | A | 20 | Occupied | 19 | 78 % | 17.280 m² | Rack A22, Floor Position = A22 | 22 | 31 | 7 | 10 | 31 | 2
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | A | 20 | Occupied | 19 | 78 % | 17.280 m² | Rack A18, Floor Position = A18 | 34 | 30 | 21 | 28 | 23 | 20
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | A | 20 | Occupied | 19 | 78 % | 17.280 m² | Rack A19, Floor Position = A19 | 22 | 31 | 7 | 10 | 31 | 4
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | A | 20 | Occupied | 19 | 78 % | 17.280 m² | Rack A23, Floor Position = A23 | 22 | 31 | 7 | 10 | 31 | 2
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | A | 20 | Occupied | 19 | 78 % | 17.280 m² | Rack A25, Floor Position = A25 | 19 | 31 | 6 | 14 | 31 | 4
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | A | 20 | Occupied | 19 | 78 % | 17.280 m² | Rack A26, Floor Position = A26 | 48 | 48 | 48 | 48 | 48 | 48
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | A | 20 | Occupied | 19 | 78 % | 17.280 m² | Rack A29, Floor Position = A29 | 28 | 31 | 11 | 19 | 31 | 7
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | A | 20 | Reserved | 0 | 0 % | 0.000 m²
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | B | 20 | Free | 3 | 26 % | 5.760 m²
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | B | 20 | Occupied | 17 | 74 % | 16.320 m² | Rack B10, Floor Position = unset | 8 | 33 | 1 | 2 | 33 | 1
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | B | 20 | Occupied | 17 | 74 % | 16.320 m² | Rack B3, Floor Position = B3 | 7 | 31 | 0 | 2 | 31 | 0
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | B | 20 | Occupied | 17 | 74 % | 16.320 m² | Rack B5, Floor Position = B5 | 7 | 31 | 0 | 2 | 31 | 0
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | B | 20 | Occupied | 17 | 74 % | 16.320 m² | Rack B7, Floor Position = B7 | 22 | 32 | 8 | 10 | 32 | 4
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | B | 20 | Occupied | 17 | 74 % | 16.320 m² | Rack B9, Floor Position = B9 | 22 | 33 | 9 | 10 | 33 | 4
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | B | 20 | Occupied | 17 | 74 % | 16.320 m² | Rack B1, Floor Position = B1 | 22 | 31 | 7 | 10 | 31 | 4
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | B | 20 | Occupied | 17 | 74 % | 16.320 m² | Rack B2, Floor Position = B2 | 22 | 31 | 7 | 10 | 31 | 4
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | B | 20 | Occupied | 17 | 74 % | 16.320 m² | Rack B30, Floor Position = B30 | 19 | 31 | 6 | 14 | 31 | 4
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | B | 20 | Occupied | 17 | 74 % | 16.320 m² | Rack B29, Floor Position = B29 | 22 | 31 | 7 | 10 | 31 | 2
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | B | 20 | Occupied | 17 | 74 % | 16.320 m² | Rack B22, Floor Position = B22 | 22 | 31 | 7 | 10 | 31 | 2
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | B | 20 | Occupied | 17 | 74 % | 16.320 m² | Rack B21, Floor Position = B21 | 22 | 31 | 7 | 10 | 31 | 2
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | B | 20 | Occupied | 17 | 74 % | 16.320 m² | Rack B18, Floor Position = B18 | 22 | 31 | 7 | 10 | 31 | 4
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | B | 20 | Occupied | 17 | 74 % | 16.320 m² | Rack B19, Floor Position = B19 | 22 | 31 | 7 | 10 | 31 | 4
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | B | 20 | Occupied | 17 | 74 % | 16.320 m² | Rack B23, Floor Position = B23 | 19 | 31 | 6 | 14 | 31 | 4
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | B | 20 | Occupied | 17 | 74 % | 16.320 m² | Rack B25, Floor Position = B25 | 22 | 31 | 7 | 10 | 31 | 4
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | B | 20 | Occupied | 17 | 74 % | 16.320 m² | Rack B26, Floor Position = B26 | 22 | 31 | 7 | 10 | 31 | 4
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | B | 20 | Occupied | 17 | 74 % | 16.320 m² | Rack B27, Floor Position = B27 | 22 | 31 | 7 | 10 | 31 | 2
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | B | 20 | Reserved | 0 | 0 % | 0.000 m²
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | C | 20 | Free | 15 | 78 % | 17.280 m²
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | C | 20 | Occupied | 5 | 22 % | 4.800 m² | Rack C5, Floor Position = C5 | 8 | 33 | 1 | 2 | 33 | 1
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | C | 20 | Occupied | 5 | 22 % | 4.800 m² | Rack C3, Floor Position = C3 | 22 | 33 | 9 | 10 | 33 | 4
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | C | 20 | Occupied | 5 | 22 % | 4.800 m² | Rack C6, Floor Position = C6 | 8 | 33 | 1 | 2 | 33 | 1
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | C | 20 | Occupied | 5 | 22 % | 4.800 m² | Rack C2, Floor Position = C2 | 22 | 33 | 9 | 10 | 33 | 4
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | C | 20 | Occupied | 5 | 22 % | 4.800 m² | Rack C1, Floor Position = C1 | 8 | 33 | 1 | 2 | 33 | 1
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | C | 20 | Reserved | 0 | 0 % | 0.000 m²
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | D | 20 | Free | 20 | 100 % | 22.080 m²
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | D | 20 | Occupied | 0 | 0 % | 0.000 m²
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | D | 20 | Reserved | 0 | 0 % | 0.000 m²
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | E | 20 | Free | 20 | 100 % | 22.080 m²
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | E | 20 | Occupied | 0 | 0 % | 0.000 m²
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | E | 20 | Reserved | 0 | 0 % | 0.000 m²
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | F | 20 | Free | 20 | 100 % | 22.080 m²
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | F | 20 | Occupied | 0 | 0 % | 0.000 m²
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | F | 20 | Reserved | 0 | 0 % | 0.000 m²
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | G | 20 | Free | 20 | 100 % | 22.080 m²
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | G | 20 | Occupied | 0 | 0 % | 0.000 m²
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | G | 20 | Reserved | 0 | 0 % | 0.000 m²
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | H | 20 | Free | 20 | 100 % | 22.080 m²
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | H | 20 | Occupied | 0 | 0 % | 0.000 m²
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | H | 20 | Reserved | 0 | 0 % | 0.000 m²
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | K | 12 | Free | 0 | 46 % | 5.760 m²
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | K | 12 | Occupied | 12 | 54 % | 6.840 m² | Rack K8, Floor Position = K08 | 8 | 47 | 8 | 6 | 47 | 6
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | K | 12 | Occupied | 12 | 54 % | 6.840 m² | ODF K4, Floor Position = K04 | 47 | 47 | 47 | 47 | 47 | 47
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | K | 12 | Occupied | 12 | 54 % | 6.840 m² | ODF K3, Floor Position = K03 | 44 | 47 | 44 | 44 | 47 | 44
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | K | 12 | Occupied | 12 | 54 % | 6.840 m² | ODF K01, Floor Position = K01 | 41 | 47 | 41 | 34 | 47 | 34
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | K | 12 | Occupied | 12 | 54 % | 6.840 m² | ODF K6, Floor Position = K06 | 47 | 47 | 47 | 47 | 47 | 47
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | K | 12 | Occupied | 12 | 54 % | 6.840 m² | Rack K10, Floor Position = K10 | 8 | 47 | 8 | 6 | 47 | 6
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | K | 12 | Occupied | 12 | 54 % | 6.840 m² | Rack K14, Floor Position = K14 | 8 | 47 | 8 | 5 | 47 | 5
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | K | 12 | Occupied | 12 | 54 % | 6.840 m² | Rack K12, Floor Position = K12 | 8 | 47 | 8 | 5 | 47 | 5
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | K | 12 | Occupied | 12 | 54 % | 6.840 m² | Rack K30, Floor Position = K30 | 8 | 47 | 8 | 5 | 47 | 5
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | K | 12 | Occupied | 12 | 54 % | 6.840 m² | Rack K28, Floor Position = K28 | 8 | 47 | 8 | 5 | 47 | 5
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | K | 12 | Occupied | 12 | 54 % | 6.840 m² | Rack K32, Floor Position = K32 | 8 | 47 | 8 | 5 | 47 | 5
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | K | 12 | Occupied | 12 | 54 % | 6.840 m² | Rack K34, Floor Position = K34 | 8 | 47 | 8 | 5 | 47 | 5
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | K | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | M | 12 | Free | 4 | 61 % | 6.120 m²
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | M | 12 | Occupied | 8 | 39 % | 3.960 m² | Rack M26, Floor Position = M26 | 8 | 47 | 8 | 5 | 47 | 5
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | M | 12 | Occupied | 8 | 39 % | 3.960 m² | Rack M28, Floor Position = M28 | 8 | 47 | 8 | 5 | 47 | 5
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | M | 12 | Occupied | 8 | 39 % | 3.960 m² | Rack M30, Floor Position = M30 | 8 | 47 | 8 | 5 | 47 | 5
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | M | 12 | Occupied | 8 | 39 % | 3.960 m² | Rack M32, Floor Position = M32 | 8 | 47 | 8 | 6 | 47 | 6
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | M | 12 | Occupied | 8 | 39 % | 3.960 m² | ODF M15, Floor Position = M15 | 47 | 47 | 47 | 47 | 47 | 47
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | M | 12 | Occupied | 8 | 39 % | 3.960 m² | ODF M16, Floor Position = M16 | 47 | 47 | 47 | 47 | 47 | 47
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | M | 12 | Occupied | 8 | 39 % | 3.960 m² | ODF M18, Floor Position = M18 | 47 | 47 | 47 | 47 | 47 | 47
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | M | 12 | Occupied | 8 | 39 % | 3.960 m² | ODF M20, Floor Position = M20 | 41 | 47 | 41 | 34 | 47 | 34
Room XGL001 on Floor Ground Floor in Site GRAVELLY HILL MTX | 643656.00 W | 600000.00 W | 107 % | M | 12 | Reserved | 0 | 0 % | 0.000 m²