## Suite Line Capacity
Report generated for: | Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX
| Quantity | % of all area | Area
Total free sections: | 324/536 | 71 % | 146.076 m²
Total occupied sections: | 210/536 | 29 % | 58.369 m²
Total reserved sections: | 2/536 | 0 % | 0.000 m²
Total Lines Capability |  |  | 204.446 m²
Total Location Capability |  |  | 625.470 m²
Total Location Free Area |  |  | 567.101 m²
Total Location Occupied Area |  |  | 58.369 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 200 | 10 | Free | 3 | 46 % | 1.338 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 200 | 10 | Occupied | 7 | 54 % | 1.542 m² | Rack 200/201*05, Floor Position = 200/201*05 | 30 | 44 | 27 | 26 | 42 | 26
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 200 | 10 | Occupied | 7 | 54 % | 1.542 m² | Rack 200/201*06, Floor Position = 200/201*06 | 10 | 43 | 7 | 3 | 43 | 3
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 200 | 10 | Occupied | 7 | 54 % | 1.542 m² | Rack 200/201*07, Floor Position = 200/201*07 | 10 | 43 | 6 | 4 | 43 | 3
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 200 | 10 | Occupied | 7 | 54 % | 1.542 m² | Rack 200/201*03, Floor Position = 200/201*03 | 14 | 44 | 12 | 6 | 42 | 6
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 200 | 10 | Occupied | 7 | 54 % | 1.542 m² | Rack 200/201*04, Floor Position = 200/201*04 | 18 | 40 | 15 | 10 | 17 | 8
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 200 | 10 | Occupied | 7 | 54 % | 1.542 m² | Rack 200/201*01, Floor Position = 200/201*01 | 4 | 31 | 4 | 1 | 29 | 1
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 200 | 10 | Occupied | 7 | 54 % | 1.542 m² | Rack 200/201*02, Floor Position = 200/201*02 | 28 | 32 | 21 | 20 | 18 | 14
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 200 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 201 | 10 | Free | 3 | 43 % | 1.246 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 201 | 10 | Occupied | 7 | 57 % | 1.634 m² | Rack 200/201*06, Floor Position = 200/201*06 | 10 | 43 | 7 | 3 | 43 | 3
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 201 | 10 | Occupied | 7 | 57 % | 1.634 m² | Rack 200/201*05, Floor Position = 200/201*05 | 30 | 44 | 27 | 26 | 42 | 26
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 201 | 10 | Occupied | 7 | 57 % | 1.634 m² | Rack 200/201*07, Floor Position = 200/201*07 | 10 | 43 | 6 | 4 | 43 | 3
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 201 | 10 | Occupied | 7 | 57 % | 1.634 m² | Rack 200/201*03, Floor Position = 200/201*03 | 14 | 44 | 12 | 6 | 42 | 6
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 201 | 10 | Occupied | 7 | 57 % | 1.634 m² | Rack 200/201*04, Floor Position = 200/201*04 | 18 | 40 | 15 | 10 | 17 | 8
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 201 | 10 | Occupied | 7 | 57 % | 1.634 m² | Rack 200/201*01, Floor Position = 200/201*01 | 4 | 31 | 4 | 1 | 29 | 1
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 201 | 10 | Occupied | 7 | 57 % | 1.634 m² | Rack 200/201*02, Floor Position = 200/201*02 | 28 | 32 | 21 | 20 | 18 | 14
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 201 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 202 | 7 | Free | 4 | 81 % | 2.340 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 202 | 7 | Occupied | 3 | 19 % | 0.540 m² | Rack 202*05, Floor Position = 202*05 | 46 | 46 | 46 | 46 | 46 | 46
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 202 | 7 | Occupied | 3 | 19 % | 0.540 m² | Rack 202*03, Floor Position = 202*03 | 43 | 45 | 43 | 43 | 45 | 43
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 202 | 7 | Occupied | 3 | 19 % | 0.540 m² | Rack 202*04, Floor Position = 202*04 | 44 | 45 | 44 | 44 | 45 | 44
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 202 | 7 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 203 | 7 | Free | 3 | 75 % | 2.160 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 203 | 7 | Occupied | 4 | 25 % | 0.720 m² | Rack 203*05, Floor Position = 203*05 | 44 | 46 | 44 | 44 | 46 | 44
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 203 | 7 | Occupied | 4 | 25 % | 0.720 m² | Rack 203*06, Floor Position = 203*06 | 46 | 46 | 46 | 46 | 46 | 46
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 203 | 7 | Occupied | 4 | 25 % | 0.720 m² | Rack 203*03, Floor Position = 203*03 | 42 | 45 | 42 | 42 | 45 | 42
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 203 | 7 | Occupied | 4 | 25 % | 0.720 m² | Rack 203*04, Floor Position = 203*04 | 43 | 46 | 43 | 43 | 46 | 43
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 203 | 7 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 204 | 10 | Free | 3 | 35 % | 1.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 204 | 10 | Occupied | 7 | 65 % | 1.880 m² | Rack 204/205*07, Floor Position = 204/205*07 | 12 | 32 | 5 | 4 | 16 | 2
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 204 | 10 | Occupied | 7 | 65 % | 1.880 m² | Rack 204/205*06, Floor Position = 204/205*06 | 11 | 32 | 6 | 4 | 16 | 2
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 204 | 10 | Occupied | 7 | 65 % | 1.880 m² | Rack 204/205*05, Floor Position = 204/205*05 | 8 | 26 | 4 | 2 | 15 | 2
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 204 | 10 | Occupied | 7 | 65 % | 1.880 m² | Rack 204/205*09, Floor Position = 204/205*09 | 10 | 32 | 5 | 4 | 16 | 2
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 204 | 10 | Occupied | 7 | 65 % | 1.880 m² | Rack 204/205*10, Floor Position = 204/205*10 | 44 | 34 | 34 | 44 | 19 | 19
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 204 | 10 | Occupied | 7 | 65 % | 1.880 m² | Rack 204*03, Floor Position = 204*03 | 31 | 44 | 31 | 31 | 44 | 31
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 204 | 10 | Occupied | 7 | 65 % | 1.880 m² | Rack 204*04, Floor Position = 204*04 | 45 | 44 | 44 | 45 | 44 | 44
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 204 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 205 | 10 | Free | 3 | 35 % | 1.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 205 | 10 | Occupied | 7 | 65 % | 1.880 m² | Rack 204/205*07, Floor Position = 204/205*07 | 12 | 32 | 5 | 4 | 16 | 2
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 205 | 10 | Occupied | 7 | 65 % | 1.880 m² | Rack 204/205*09, Floor Position = 204/205*09 | 10 | 32 | 5 | 4 | 16 | 2
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 205 | 10 | Occupied | 7 | 65 % | 1.880 m² | Rack 204/205*10, Floor Position = 204/205*10 | 44 | 34 | 34 | 44 | 19 | 19
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 205 | 10 | Occupied | 7 | 65 % | 1.880 m² | Rack 204/205*06, Floor Position = 204/205*06 | 11 | 32 | 6 | 4 | 16 | 2
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 205 | 10 | Occupied | 7 | 65 % | 1.880 m² | Rack 204/205*05, Floor Position = 204/205*05 | 8 | 26 | 4 | 2 | 15 | 2
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 205 | 10 | Occupied | 7 | 65 % | 1.880 m² | Rack 205*03, Floor Position = 205*03 | 45 | 44 | 44 | 45 | 44 | 44
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 205 | 10 | Occupied | 7 | 65 % | 1.880 m² | Rack 205*04, Floor Position = 205*04 | 45 | 44 | 44 | 45 | 44 | 44
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 205 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 206 | 8 | Free | 3 | 48 % | 1.920 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 206 | 8 | Occupied | 5 | 52 % | 2.040 m² | Rack 206/207*09, Floor Position = 206/207*09 | 52 | 56 | 52 | 52 | 56 | 52
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 206 | 8 | Occupied | 5 | 52 % | 2.040 m² | Rack 206/207*07, Floor Position = 206/207*07 | 38 | 56 | 38 | 38 | 56 | 38
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 206 | 8 | Occupied | 5 | 52 % | 2.040 m² | Rack 206/207*08, Floor Position = 206/207*08 | 51 | 56 | 51 | 51 | 56 | 51
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 206 | 8 | Occupied | 5 | 52 % | 2.040 m² | Rack 206/207*10, Floor Position = 206/207*10 | 50 | 56 | 50 | 50 | 56 | 50
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 206 | 8 | Occupied | 5 | 52 % | 2.040 m² | Rack 206/207*01, Floor Position = 206/207*01 | 21 | 22 | 21 | 21 | 22 | 21
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 206 | 8 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 207 | 8 | Free | 7 | 94 % | 3.720 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 207 | 8 | Occupied | 1 | 6 % | 0.240 m² | Rack 206/207*01, Floor Position = 206/207*01 | 21 | 22 | 21 | 21 | 22 | 21
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 207 | 8 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 208 | 10 | Free | 8 | 83 % | 2.400 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 208 | 10 | Occupied | 2 | 17 % | 0.480 m² | ODF 208*11, Floor Position = 208*11 | 47 | 47 | 47 | 47 | 47 | 47
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 208 | 10 | Occupied | 2 | 17 % | 0.480 m² | ODF 208*01, Floor Position = 208*01 | 47 | 47 | 47 | 47 | 47 | 47
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 208 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 209 | 10 | Free | 10 | 100 % | 2.880 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 209 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 209 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 210 | 8 | Free | 8 | 100 % | 2.880 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 210 | 8 | Occupied | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 210 | 8 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 211 | 8 | Free | 8 | 100 % | 2.880 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 211 | 8 | Occupied | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 211 | 8 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 212 | 10 | Free | 4 | 50 % | 1.440 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 212 | 10 | Occupied | 6 | 50 % | 1.440 m² | Rack 212*01, Floor Position = 212*01 | 41 | 44 | 41 | 41 | 44 | 41
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 212 | 10 | Occupied | 6 | 50 % | 1.440 m² | Rack 212/213*02, Floor Position = 212/213*02 | 0 | 45 | 0 | 0 | 45 | 0
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 212 | 10 | Occupied | 6 | 50 % | 1.440 m² | Rack 212/213*03, Floor Position = 212/213*03 | 42 | 45 | 42 | 42 | 45 | 42
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 212 | 10 | Occupied | 6 | 50 % | 1.440 m² | Rack 212/213*05, Floor Position = 212/213*05 | 40 | 45 | 40 | 40 | 45 | 40
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 212 | 10 | Occupied | 6 | 50 % | 1.440 m² | Rack 212/213*04, Floor Position = 212/213*04 | 42 | 45 | 42 | 42 | 45 | 42
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 212 | 10 | Occupied | 6 | 50 % | 1.440 m² | Rack 212/213*06, Floor Position = 212/213*06 | 42 | 45 | 42 | 42 | 45 | 42
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 212 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 213 | 10 | Free | 4 | 50 % | 1.440 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 213 | 10 | Occupied | 6 | 50 % | 1.440 m² | Rack 212/213*05, Floor Position = 212/213*05 | 40 | 45 | 40 | 40 | 45 | 40
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 213 | 10 | Occupied | 6 | 50 % | 1.440 m² | Rack 212/213*06, Floor Position = 212/213*06 | 42 | 45 | 42 | 42 | 45 | 42
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 213 | 10 | Occupied | 6 | 50 % | 1.440 m² | Rack 212/213*04, Floor Position = 212/213*04 | 42 | 45 | 42 | 42 | 45 | 42
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 213 | 10 | Occupied | 6 | 50 % | 1.440 m² | Rack 212/213*02, Floor Position = 212/213*02 | 0 | 45 | 0 | 0 | 45 | 0
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 213 | 10 | Occupied | 6 | 50 % | 1.440 m² | Rack 212/213*03, Floor Position = 212/213*03 | 42 | 45 | 42 | 42 | 45 | 42
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 213 | 10 | Occupied | 6 | 50 % | 1.440 m² | Rack 213*01, Floor Position = 213*01 | 44 | 44 | 44 | 44 | 44 | 44
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 213 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 214 | 11 | Free | 8 | 77 % | 2.400 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 214 | 11 | Occupied | 3 | 23 % | 0.720 m² | Rack 214*01, Floor Position = 214*01 | 41 | 44 | 41 | 41 | 44 | 41
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 214 | 11 | Occupied | 3 | 23 % | 0.720 m² | Rack 214/215*02, Floor Position = 214/215*02 | 43 | 45 | 43 | 43 | 45 | 43
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 214 | 11 | Occupied | 3 | 23 % | 0.720 m² | Rack 214/215*04, Floor Position = 214/215*04 | 34 | 45 | 34 | 34 | 45 | 34
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 214 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 215 | 11 | Free | 8 | 77 % | 2.400 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 215 | 11 | Occupied | 3 | 23 % | 0.720 m² | Rack 215*01, Floor Position = 215*01 | 42 | 45 | 42 | 42 | 45 | 42
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 215 | 11 | Occupied | 3 | 23 % | 0.720 m² | Rack 214/215*02, Floor Position = 214/215*02 | 43 | 45 | 43 | 43 | 45 | 43
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 215 | 11 | Occupied | 3 | 23 % | 0.720 m² | Rack 214/215*04, Floor Position = 214/215*04 | 34 | 45 | 34 | 34 | 45 | 34
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 215 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 216 | 8 | Free | 3 | 65 % | 1.560 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 216 | 8 | Occupied | 5 | 35 % | 0.840 m² | Rack 216/217*06, Floor Position = 216/217*06 | 44 | 46 | 44 | 44 | 46 | 44
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 216 | 8 | Occupied | 5 | 35 % | 0.840 m² | Rack 216/217*07, Floor Position = 216/217*07 | 42 | 46 | 42 | 42 | 46 | 42
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 216 | 8 | Occupied | 5 | 35 % | 0.840 m² | Rack 216*04, Floor Position = 216*04 | 40 | 43 | 39 | 40 | 43 | 39
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 216 | 8 | Occupied | 5 | 35 % | 0.840 m² | Rack 216*02, Floor Position = 216*02 | 45 | 44 | 44 | 45 | 44 | 44
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 216 | 8 | Occupied | 5 | 35 % | 0.840 m² | Rack 216*05, Floor Position = 216*05 | 45 | 45 | 45 | 45 | 45 | 45
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 216 | 8 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 217 | 8 | Free | 5 | 76 % | 1.830 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 217 | 8 | Occupied | 3 | 24 % | 0.570 m² | Rack 216/217*07, Floor Position = 216/217*07 | 42 | 46 | 42 | 42 | 46 | 42
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 217 | 8 | Occupied | 3 | 24 % | 0.570 m² | Rack 216/217*06, Floor Position = 216/217*06 | 44 | 46 | 44 | 44 | 46 | 44
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 217 | 8 | Occupied | 3 | 24 % | 0.570 m² | Rack 217*05, Floor Position = 217*05 | 45 | 45 | 45 | 45 | 45 | 45
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 217 | 8 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 218 | 11 | Free | 7 | 65 % | 3.300 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 218 | 11 | Occupied | 4 | 35 % | 1.740 m² | Rack 218/219*14, Floor Position = 218/219*14 | 43 | 46 | 43 | 43 | 46 | 43
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 218 | 11 | Occupied | 4 | 35 % | 1.740 m² | Rack 218/219*11, Floor Position = 218/219*11 | 44 | 46 | 44 | 44 | 46 | 44
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 218 | 11 | Occupied | 4 | 35 % | 1.740 m² | Rack 218/219*12, Floor Position = 218/219*12 | 44 | 46 | 44 | 44 | 46 | 44
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 218 | 11 | Occupied | 4 | 35 % | 1.740 m² | Rack 218/219*01, Floor Position = 218/219*01 | 42 | 46 | 42 | 42 | 46 | 42
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 218 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 219 | 11 | Free | 7 | 78 % | 3.944 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 219 | 11 | Occupied | 4 | 22 % | 1.096 m² | Rack 218/219*11, Floor Position = 218/219*11 | 44 | 46 | 44 | 44 | 46 | 44
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 219 | 11 | Occupied | 4 | 22 % | 1.096 m² | Rack 218/219*12, Floor Position = 218/219*12 | 44 | 46 | 44 | 44 | 46 | 44
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 219 | 11 | Occupied | 4 | 22 % | 1.096 m² | Rack 218/219*04, Floor Position = 218/219*04 | 39 | 41 | 39 | 39 | 41 | 39
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 219 | 11 | Occupied | 4 | 22 % | 1.096 m² | Rack 218/219*01, Floor Position = 218/219*01 | 42 | 46 | 42 | 42 | 46 | 42
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 219 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 220 | 10 | Free | 10 | 100 % | 3.361 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 220 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 220 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 221 | 10 | Free | 10 | 100 % | 3.361 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 221 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 221 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 222 | 9 | Free | 9 | 100 % | 3.361 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 222 | 9 | Occupied | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 222 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 223 | 9 | Free | 9 | 100 % | 3.361 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 223 | 9 | Occupied | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 223 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 224 | 9 | Free | 7 | 86 % | 2.880 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 224 | 9 | Occupied | 2 | 14 % | 0.480 m² | Rack 224/225*10, Floor Position = 224/225*10 | 42 | 41 | 41 | 42 | 41 | 41
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 224 | 9 | Occupied | 2 | 14 % | 0.480 m² | Rack 224/225*11, Floor Position = 224/225*11 | 42 | 42 | 42 | 42 | 42 | 42
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 224 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 225 | 9 | Free | 7 | 86 % | 2.880 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 225 | 9 | Occupied | 2 | 14 % | 0.480 m² | Rack 224/225*11, Floor Position = 224/225*11 | 42 | 42 | 42 | 42 | 42 | 42
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 225 | 9 | Occupied | 2 | 14 % | 0.480 m² | Rack 224/225*10, Floor Position = 224/225*10 | 42 | 41 | 41 | 42 | 41 | 41
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 225 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 226 | 11 | Free | 3 | 29 % | 1.041 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 226 | 11 | Occupied | 8 | 71 % | 2.560 m² | Rack 226/227*01, Floor Position = 226/227*01 | 43 | 44 | 42 | 43 | 44 | 42
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 226 | 11 | Occupied | 8 | 71 % | 2.560 m² | Rack 226/227*04, Floor Position = 226/227*04 | 31 | 24 | 18 | 11 | 22 | 11
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 226 | 11 | Occupied | 8 | 71 % | 2.560 m² | Rack 226/227*05, Floor Position = 226/227*05 | 32 | 36 | 30 | 25 | 25 | 12
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 226 | 11 | Occupied | 8 | 71 % | 2.560 m² | Rack 226/227*06, Floor Position = 226/227*06 | 34 | 24 | 21 | 17 | 8 | 7
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 226 | 11 | Occupied | 8 | 71 % | 2.560 m² | Rack 226/227*02, Floor Position = 226/227*02 | 27 | 36 | 22 | 26 | 20 | 20
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 226 | 11 | Occupied | 8 | 71 % | 2.560 m² | Rack 226/227*03, Floor Position = 226/227*03 | 27 | 36 | 22 | 26 | 20 | 20
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 226 | 11 | Occupied | 8 | 71 % | 2.560 m² | Rack 226/227*09, Floor Position = 226/227*09 | 32 | 33 | 26 | 22 | 33 | 22
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 226 | 11 | Occupied | 8 | 71 % | 2.560 m² | Rack 226/227*10, Floor Position = 226/227*10 | 19 | 35 | 14 | 18 | 35 | 14
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 226 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 227 | 11 | Free | 3 | 29 % | 1.041 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 227 | 11 | Occupied | 8 | 71 % | 2.560 m² | Rack 226/227*01, Floor Position = 226/227*01 | 43 | 44 | 42 | 43 | 44 | 42
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 227 | 11 | Occupied | 8 | 71 % | 2.560 m² | Rack 226/227*04, Floor Position = 226/227*04 | 31 | 24 | 18 | 11 | 22 | 11
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 227 | 11 | Occupied | 8 | 71 % | 2.560 m² | Rack 226/227*05, Floor Position = 226/227*05 | 32 | 36 | 30 | 25 | 25 | 12
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 227 | 11 | Occupied | 8 | 71 % | 2.560 m² | Rack 226/227*06, Floor Position = 226/227*06 | 34 | 24 | 21 | 17 | 8 | 7
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 227 | 11 | Occupied | 8 | 71 % | 2.560 m² | Rack 226/227*02, Floor Position = 226/227*02 | 27 | 36 | 22 | 26 | 20 | 20
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 227 | 11 | Occupied | 8 | 71 % | 2.560 m² | Rack 226/227*03, Floor Position = 226/227*03 | 27 | 36 | 22 | 26 | 20 | 20
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 227 | 11 | Occupied | 8 | 71 % | 2.560 m² | Rack 226/227*09, Floor Position = 226/227*09 | 32 | 33 | 26 | 22 | 33 | 22
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 227 | 11 | Occupied | 8 | 71 % | 2.560 m² | Rack 226/227*10, Floor Position = 226/227*10 | 19 | 35 | 14 | 18 | 35 | 14
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 227 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 228 | 11 | Free | 4 | 40 % | 1.345 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 228 | 11 | Occupied | 7 | 60 % | 2.016 m² | Rack 228*03, Floor Position = 228*03 | 27 | 45 | 27 | 26 | 45 | 26
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 228 | 11 | Occupied | 7 | 60 % | 2.016 m² | Rack 228*01, Floor Position = 228*01 | 27 | 45 | 27 | 26 | 45 | 26
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 228 | 11 | Occupied | 7 | 60 % | 2.016 m² | Rack 228*02, Floor Position = 228*02 | 3 | 43 | 3 | 2 | 22 | 2
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 228 | 11 | Occupied | 7 | 60 % | 2.016 m² | Rack 228*04, Floor Position = 228*04 | 27 | 45 | 27 | 26 | 45 | 26
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 228 | 11 | Occupied | 7 | 60 % | 2.016 m² | Rack 228*05, Floor Position = 228*05 | 27 | 45 | 27 | 26 | 45 | 26
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 228 | 11 | Occupied | 7 | 60 % | 2.016 m² | Rack 228*06, Floor Position = 228*06 | 27 | 45 | 27 | 26 | 45 | 26
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 228 | 11 | Occupied | 7 | 60 % | 2.016 m² | Rack 228*07, Floor Position = 228*07 | 27 | 45 | 27 | 26 | 45 | 26
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 228 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 229 | 11 | Free | 4 | 40 % | 1.344 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 229 | 11 | Occupied | 7 | 60 % | 2.016 m² | Rack 229*03, Floor Position = 229*03 | 45 | 45 | 45 | 45 | 45 | 45
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 229 | 11 | Occupied | 7 | 60 % | 2.016 m² | Rack 229*02, Floor Position = 229*02 | 45 | 45 | 45 | 45 | 45 | 45
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 229 | 11 | Occupied | 7 | 60 % | 2.016 m² | Rack 229*01, Floor Position = 229*01 | 41 | 45 | 41 | 34 | 45 | 34
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 229 | 11 | Occupied | 7 | 60 % | 2.016 m² | Rack 229*05, Floor Position = 229*05 | 45 | 45 | 45 | 45 | 45 | 45
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 229 | 11 | Occupied | 7 | 60 % | 2.016 m² | Rack 229*04, Floor Position = 229*04 | 45 | 45 | 45 | 45 | 45 | 45
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 229 | 11 | Occupied | 7 | 60 % | 2.016 m² | Rack 229*06, Floor Position = 229*06 | 45 | 45 | 45 | 45 | 45 | 45
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 229 | 11 | Occupied | 7 | 60 % | 2.016 m² | Rack 229*07, Floor Position = 229*07 | 45 | 45 | 45 | 45 | 45 | 45
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 229 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 230 | 11 | Free | 11 | 100 % | 5.040 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 230 | 11 | Occupied | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 230 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 231 | 11 | Free | 9 | 86 % | 4.320 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 231 | 11 | Occupied | 2 | 14 % | 0.720 m² | Rack 230/231*01, Floor Position = 230/231*01 | 46 | 45 | 45 | 46 | 45 | 45
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 231 | 11 | Occupied | 2 | 14 % | 0.720 m² | Rack 230/231*02, Floor Position = 230/231*02 | 46 | 45 | 45 | 46 | 45 | 45
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 231 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 232 | 10 | Free | 10 | 100 % | 3.361 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 232 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 232 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 233 | 10 | Free | 10 | 100 % | 3.361 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 233 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 233 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 234 | 10 | Free | 9 | 100 % | 3.361 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 234 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 234 | 10 | Reserved | 1 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 235 | 10 | Free | 9 | 100 % | 3.360 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 235 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 235 | 10 | Reserved | 1 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 236 | 8 | Free | 6 | 84 % | 2.816 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 236 | 8 | Occupied | 2 | 16 % | 0.544 m² | Rack 236/237*03, Floor Position = 236/237*03 | 22 | 46 | 21 | 22 | 46 | 21
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 236 | 8 | Occupied | 2 | 16 % | 0.544 m² | Rack 236/237*06, Floor Position = 236/237*06 | 23 | 46 | 22 | 22 | 46 | 21
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 236 | 8 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 237 | 8 | Free | 4 | 68 % | 2.275 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 237 | 8 | Occupied | 4 | 32 % | 1.086 m² | Rack 237*01, Floor Position = 237*01 | 47 | 47 | 47 | 47 | 47 | 47
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 237 | 8 | Occupied | 4 | 32 % | 1.086 m² | Rack 236/237*03, Floor Position = 236/237*03 | 22 | 46 | 21 | 22 | 46 | 21
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 237 | 8 | Occupied | 4 | 32 % | 1.086 m² | Rack 237*08, Floor Position = 237*08 | 47 | 47 | 47 | 47 | 47 | 47
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 237 | 8 | Occupied | 4 | 32 % | 1.086 m² | Rack 236/237*06, Floor Position = 236/237*06 | 23 | 46 | 22 | 22 | 46 | 21
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 237 | 8 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 238 | 10 | Free | 4 | 43 % | 1.440 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 238 | 10 | Occupied | 6 | 57 % | 1.920 m² | Rack 238/239*01, Floor Position = 238/239*01 | 17 | 46 | 16 | 10 | 46 | 10
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 238 | 10 | Occupied | 6 | 57 % | 1.920 m² | Rack 238/239*04, Floor Position = 238/239*04 | 17 | 46 | 16 | 10 | 46 | 10
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 238 | 10 | Occupied | 6 | 57 % | 1.920 m² | Rack 238/239*02, Floor Position = 238/239*02 | 17 | 46 | 16 | 10 | 46 | 10
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 238 | 10 | Occupied | 6 | 57 % | 1.920 m² | Rack 238/239*06, Floor Position = 238/239*06 | 25 | 40 | 24 | 24 | 40 | 24
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 238 | 10 | Occupied | 6 | 57 % | 1.920 m² | Rack 238/239*08, Floor Position = 238/239*08 | 42 | 41 | 41 | 42 | 41 | 41
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 238 | 10 | Occupied | 6 | 57 % | 1.920 m² | Rack 238/239*05, Floor Position = 238/239*05 | 39 | 41 | 39 | 39 | 41 | 39
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 238 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 239 | 10 | Free | 4 | 43 % | 1.440 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 239 | 10 | Occupied | 6 | 57 % | 1.920 m² | Rack 238/239*01, Floor Position = 238/239*01 | 17 | 46 | 16 | 10 | 46 | 10
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 239 | 10 | Occupied | 6 | 57 % | 1.920 m² | Rack 238/239*04, Floor Position = 238/239*04 | 17 | 46 | 16 | 10 | 46 | 10
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 239 | 10 | Occupied | 6 | 57 % | 1.920 m² | Rack 238/239*02, Floor Position = 238/239*02 | 17 | 46 | 16 | 10 | 46 | 10
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 239 | 10 | Occupied | 6 | 57 % | 1.920 m² | Rack 238/239*06, Floor Position = 238/239*06 | 25 | 40 | 24 | 24 | 40 | 24
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 239 | 10 | Occupied | 6 | 57 % | 1.920 m² | Rack 238/239*08, Floor Position = 238/239*08 | 42 | 41 | 41 | 42 | 41 | 41
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 239 | 10 | Occupied | 6 | 57 % | 1.920 m² | Rack 238/239*05, Floor Position = 238/239*05 | 39 | 41 | 39 | 39 | 41 | 39
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 239 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 240 | 11 | Free | 0 | 6 % | 0.193 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 240 | 11 | Occupied | 11 | 94 % | 3.168 m² | Rack 240*01, Floor Position = 240*01 | 27 | 45 | 27 | 26 | 45 | 26
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 240 | 11 | Occupied | 11 | 94 % | 3.168 m² | Rack 240*02, Floor Position = 240*02 | 3 | 43 | 3 | 2 | 22 | 2
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 240 | 11 | Occupied | 11 | 94 % | 3.168 m² | Rack 240*03, Floor Position = 240*03 | 27 | 45 | 27 | 26 | 45 | 26
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 240 | 11 | Occupied | 11 | 94 % | 3.168 m² | Rack 240*04, Floor Position = 240*04 | 27 | 45 | 27 | 26 | 45 | 26
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 240 | 11 | Occupied | 11 | 94 % | 3.168 m² | Rack 240*09, Floor Position = 240*09 | 27 | 45 | 27 | 26 | 45 | 26
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 240 | 11 | Occupied | 11 | 94 % | 3.168 m² | Rack 240*11, Floor Position = 240*11 | 27 | 45 | 27 | 26 | 45 | 26
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 240 | 11 | Occupied | 11 | 94 % | 3.168 m² | Rack 240*10, Floor Position = 240*10 | 27 | 45 | 27 | 26 | 45 | 26
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 240 | 11 | Occupied | 11 | 94 % | 3.168 m² | Rack 240*06, Floor Position = 240*06 | 27 | 45 | 27 | 26 | 45 | 26
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 240 | 11 | Occupied | 11 | 94 % | 3.168 m² | Rack 240*05, Floor Position = 240*05 | 27 | 45 | 27 | 26 | 45 | 26
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 240 | 11 | Occupied | 11 | 94 % | 3.168 m² | Rack 240*07, Floor Position = 240*07 | 27 | 45 | 27 | 26 | 45 | 26
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 240 | 11 | Occupied | 11 | 94 % | 3.168 m² | Rack 240*08, Floor Position = 240*08 | 27 | 45 | 27 | 26 | 45 | 26
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 240 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 241 | 11 | Free | 0 | 6 % | 0.192 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 241 | 11 | Occupied | 11 | 94 % | 3.168 m² | Rack 241*01, Floor Position = 241*01 | 41 | 45 | 41 | 34 | 45 | 34
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 241 | 11 | Occupied | 11 | 94 % | 3.168 m² | Rack 241*03, Floor Position = 241*03 | 45 | 45 | 45 | 45 | 45 | 45
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 241 | 11 | Occupied | 11 | 94 % | 3.168 m² | Rack 241*02, Floor Position = 241*02 | 45 | 45 | 45 | 45 | 45 | 45
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 241 | 11 | Occupied | 11 | 94 % | 3.168 m² | Rack 241*04, Floor Position = 241*04 | 45 | 45 | 45 | 45 | 45 | 45
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 241 | 11 | Occupied | 11 | 94 % | 3.168 m² | Rack 241*09, Floor Position = 241*09 | 45 | 45 | 45 | 45 | 45 | 45
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 241 | 11 | Occupied | 11 | 94 % | 3.168 m² | Rack 241*10, Floor Position = 241*10 | 45 | 45 | 45 | 45 | 45 | 45
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 241 | 11 | Occupied | 11 | 94 % | 3.168 m² | Rack 241*11, Floor Position = 241*11 | 45 | 45 | 45 | 45 | 45 | 45
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 241 | 11 | Occupied | 11 | 94 % | 3.168 m² | Rack 241*06, Floor Position = 241*06 | 45 | 45 | 45 | 45 | 45 | 45
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 241 | 11 | Occupied | 11 | 94 % | 3.168 m² | Rack 241*05, Floor Position = 241*05 | 45 | 45 | 45 | 45 | 45 | 45
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 241 | 11 | Occupied | 11 | 94 % | 3.168 m² | Rack 241*07, Floor Position = 241*07 | 45 | 45 | 45 | 45 | 45 | 45
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 241 | 11 | Occupied | 11 | 94 % | 3.168 m² | Rack 241*08, Floor Position = 241*08 | 45 | 45 | 45 | 45 | 45 | 45
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 241 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 242 | 11 | Free | 4 | 33 % | 1.680 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 242 | 11 | Occupied | 7 | 67 % | 3.360 m² | Rack 242/243*09, Floor Position = 242/243*09 | 44 | 46 | 44 | 44 | 46 | 44
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 242 | 11 | Occupied | 7 | 67 % | 3.360 m² | Rack 242/243*14, Floor Position = 242/243*14 | 33 | 41 | 33 | 33 | 41 | 33
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 242 | 11 | Occupied | 7 | 67 % | 3.360 m² | Rack 242/243*02, Floor Position = 242/243*02 | 42 | 42 | 42 | 42 | 42 | 42
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 242 | 11 | Occupied | 7 | 67 % | 3.360 m² | Rack 242/243*04, Floor Position = 242/243*04 | 40 | 41 | 39 | 40 | 41 | 39
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 242 | 11 | Occupied | 7 | 67 % | 3.360 m² | Rack 242/243*05, Floor Position = 242/243*05 | 9 | 46 | 8 | 5 | 46 | 4
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 242 | 11 | Occupied | 7 | 67 % | 3.360 m² | Rack 242/243*08, Floor Position = 242/243*08 | 17 | 26 | 9 | 9 | 14 | 4
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 242 | 11 | Occupied | 7 | 67 % | 3.360 m² | Rack 242/243*01, Floor Position = 242/243*01 | 24 | 31 | 17 | 14 | 11 | 8
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 242 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 243 | 11 | Free | 4 | 46 % | 2.324 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 243 | 11 | Occupied | 7 | 54 % | 2.716 m² | Rack 242/243*09, Floor Position = 242/243*09 | 44 | 46 | 44 | 44 | 46 | 44
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 243 | 11 | Occupied | 7 | 54 % | 2.716 m² | Rack 242/243*14, Floor Position = 242/243*14 | 33 | 41 | 33 | 33 | 41 | 33
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 243 | 11 | Occupied | 7 | 54 % | 2.716 m² | Rack 242/243*02, Floor Position = 242/243*02 | 42 | 42 | 42 | 42 | 42 | 42
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 243 | 11 | Occupied | 7 | 54 % | 2.716 m² | Rack 242/243*05, Floor Position = 242/243*05 | 9 | 46 | 8 | 5 | 46 | 4
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 243 | 11 | Occupied | 7 | 54 % | 2.716 m² | Rack 242/243*04, Floor Position = 242/243*04 | 40 | 41 | 39 | 40 | 41 | 39
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 243 | 11 | Occupied | 7 | 54 % | 2.716 m² | Rack 242/243*08, Floor Position = 242/243*08 | 17 | 26 | 9 | 9 | 14 | 4
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 243 | 11 | Occupied | 7 | 54 % | 2.716 m² | Rack 242/243*01, Floor Position = 242/243*01 | 24 | 31 | 17 | 14 | 11 | 8
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 243 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 244 | 10 | Free | 8 | 81 % | 2.721 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 244 | 10 | Occupied | 2 | 19 % | 0.640 m² | Rack 244/245*02, Floor Position = 244/245*02 | 39 | 41 | 39 | 39 | 41 | 39
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 244 | 10 | Occupied | 2 | 19 % | 0.640 m² | Rack 244/245*01, Floor Position = 244/245*01 | 39 | 41 | 39 | 39 | 41 | 39
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 244 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 245 | 10 | Free | 8 | 81 % | 2.721 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 245 | 10 | Occupied | 2 | 19 % | 0.640 m² | Rack 244/245*02, Floor Position = 244/245*02 | 39 | 41 | 39 | 39 | 41 | 39
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 245 | 10 | Occupied | 2 | 19 % | 0.640 m² | Rack 244/245*01, Floor Position = 244/245*01 | 39 | 41 | 39 | 39 | 41 | 39
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 245 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 246 | 9 | Free | 9 | 100 % | 3.361 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 246 | 9 | Occupied | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 246 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 247 | 9 | Free | 8 | 93 % | 3.121 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 247 | 9 | Occupied | 1 | 7 % | 0.240 m² | Rack 247*01, Floor Position = 247*01 | 41 | 44 | 41 | 41 | 44 | 41
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 247 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 248 | 9 | Free | 7 | 82 % | 2.766 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 248 | 9 | Occupied | 2 | 18 % | 0.595 m² | ODF CODF 248*13 (W01), Floor Position = 248*13 | 28 | 47 | 28 | 18 | 47 | 18
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 248 | 9 | Occupied | 2 | 18 % | 0.595 m² | Rack 248/249*01, Floor Position = 248/249*01 | 10 | 40 | 7 | 3 | 39 | 2
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 248 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 249 | 9 | Free | 4 | 58 % | 1.955 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 249 | 9 | Occupied | 5 | 42 % | 1.405 m² | Rack 248/249*01, Floor Position = 248/249*01 | 10 | 40 | 7 | 3 | 39 | 2
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 249 | 9 | Occupied | 5 | 42 % | 1.405 m² | ODF 249*08, Floor Position = 249*08 | 47 | 47 | 47 | 47 | 47 | 47
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 249 | 9 | Occupied | 5 | 42 % | 1.405 m² | ODF 249*13, Floor Position = 249*13 | 45 | 47 | 45 | 32 | 47 | 32
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 249 | 9 | Occupied | 5 | 42 % | 1.405 m² | ODF 249*10, Floor Position = 249*10 | 47 | 47 | 47 | 47 | 47 | 47
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 249 | 9 | Occupied | 5 | 42 % | 1.405 m² | ODF 249*11, Floor Position = 249*11 | 47 | 47 | 47 | 47 | 47 | 47
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 249 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 250 | 10 | Free | 10 | 100 % | 3.121 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 250 | 10 | Occupied | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 250 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 251 | 10 | Free | 9 | 92 % | 2.881 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 251 | 10 | Occupied | 1 | 8 % | 0.240 m² | Rack 251*01, Floor Position = 251*01 | 41 | 44 | 41 | 41 | 44 | 41
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 251 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 252 | 11 | Free | 1 | 8 % | 0.241 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 252 | 11 | Occupied | 10 | 92 % | 2.880 m² | Rack 252*01, Floor Position = 252*01 | 27 | 45 | 27 | 26 | 45 | 26
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 252 | 11 | Occupied | 10 | 92 % | 2.880 m² | Rack 252*07, Floor Position = 252*07 | 27 | 45 | 27 | 26 | 45 | 26
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 252 | 11 | Occupied | 10 | 92 % | 2.880 m² | Rack 252*10, Floor Position = 252*10 | 27 | 45 | 27 | 26 | 45 | 26
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 252 | 11 | Occupied | 10 | 92 % | 2.880 m² | Rack 252*08, Floor Position = 252*08 | 27 | 45 | 27 | 26 | 45 | 26
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 252 | 11 | Occupied | 10 | 92 % | 2.880 m² | Rack 252*09, Floor Position = 252*09 | 27 | 45 | 27 | 26 | 45 | 26
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 252 | 11 | Occupied | 10 | 92 % | 2.880 m² | Rack 252*04, Floor Position = 252*04 | 27 | 45 | 27 | 26 | 45 | 26
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 252 | 11 | Occupied | 10 | 92 % | 2.880 m² | Rack 252*02, Floor Position = 252*02 | 3 | 43 | 3 | 2 | 22 | 2
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 252 | 11 | Occupied | 10 | 92 % | 2.880 m² | Rack 252*03, Floor Position = 252*03 | 27 | 45 | 27 | 26 | 45 | 26
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 252 | 11 | Occupied | 10 | 92 % | 2.880 m² | Rack 252*05, Floor Position = 252*05 | 27 | 45 | 27 | 26 | 45 | 26
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 252 | 11 | Occupied | 10 | 92 % | 2.880 m² | Rack 252*06, Floor Position = 252*06 | 27 | 45 | 27 | 26 | 45 | 26
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 252 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 253 | 11 | Free | 1 | 8 % | 0.241 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 253 | 11 | Occupied | 10 | 92 % | 2.880 m² | Rack 253*01, Floor Position = 253*01 | 41 | 45 | 41 | 34 | 45 | 34
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 253 | 11 | Occupied | 10 | 92 % | 2.880 m² | Rack 253*07, Floor Position = 253*07 | 45 | 45 | 45 | 45 | 45 | 45
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 253 | 11 | Occupied | 10 | 92 % | 2.880 m² | Rack 253*10, Floor Position = 253*10 | 45 | 45 | 45 | 45 | 45 | 45
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 253 | 11 | Occupied | 10 | 92 % | 2.880 m² | Rack 253*08, Floor Position = 253*08 | 45 | 45 | 45 | 45 | 45 | 45
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 253 | 11 | Occupied | 10 | 92 % | 2.880 m² | Rack 253*09, Floor Position = 253*09 | 45 | 45 | 45 | 45 | 45 | 45
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 253 | 11 | Occupied | 10 | 92 % | 2.880 m² | Rack 253*04, Floor Position = 253*04 | 45 | 45 | 45 | 45 | 45 | 45
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 253 | 11 | Occupied | 10 | 92 % | 2.880 m² | Rack 253*02, Floor Position = 253*02 | 45 | 45 | 45 | 45 | 45 | 45
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 253 | 11 | Occupied | 10 | 92 % | 2.880 m² | Rack 253*03, Floor Position = 253*03 | 45 | 45 | 45 | 45 | 45 | 45
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 253 | 11 | Occupied | 10 | 92 % | 2.880 m² | Rack 253*05, Floor Position = 253*05 | 45 | 45 | 45 | 45 | 45 | 45
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 253 | 11 | Occupied | 10 | 92 % | 2.880 m² | Rack 253*06, Floor Position = 253*06 | 45 | 45 | 45 | 45 | 45 | 45
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | 253 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | WALL01 | 1 | Free | 0 | 99 % | 7.391 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | WALL01 | 1 | Occupied | 1 | 1 % | 0.087 m² | Rack WALL01*26, Floor Position = unset | 0 | 29 | 0 | 0 | 29 | 0
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | WALL01 | 1 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | WALL04 | 2 | Free | 0 | 94 % | 2.095 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | WALL04 | 2 | Occupied | 2 | 6 % | 0.135 m² | Rack WALL04*21, Floor Position = unset | 0 | 4 | 0 | 0 | 4 | 0
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | WALL04 | 2 | Occupied | 2 | 6 % | 0.135 m² | CTP XKS/WB/5.5/E
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | WALL04 | 2 | Occupied | 2 | 6 % | 0.135 m² | Rack WALL04*331, Floor Position = unset | 0 | 30 | 0 | 0 | 30 | 0
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | WALL04 | 2 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | WALL05 | 3 | Free | 0 | 98 % | 9.193 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | WALL05 | 3 | Occupied | 3 | 2 % | 0.213 m² | Rack WALL05*23, Floor Position = unset | 0 | 29 | 0 | 0 | 29 | 0
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | WALL05 | 3 | Occupied | 3 | 2 % | 0.213 m² | Rack WALL05*24, Floor Position = unset | 0 | 4 | 0 | 0 | 4 | 0
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | WALL05 | 3 | Occupied | 3 | 2 % | 0.213 m² | Rack WALL05*25, Floor Position = unset | 0 | 4 | 0 | 0 | 4 | 0
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | WALL05 | 3 | Reserved | 0 | 0 % | 0.000 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | WALL06 | 4 | Free | 0 | 86 % | 1.052 m²
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | WALL06 | 4 | Occupied | 4 | 14 % | 0.176 m² | CTP XKS/WB/5.5/W
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | WALL06 | 4 | Occupied | 4 | 14 % | 0.176 m² | CTP XKS/WB/05/W
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | WALL06 | 4 | Occupied | 4 | 14 % | 0.176 m² | CTP XKS/WB/L2A/W
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | WALL06 | 4 | Occupied | 4 | 14 % | 0.176 m² | CTP XKS/WB/6F/W
Room XKS101 on Floor 1st Floor in Site KINGS CROSS MTX | 112982.00 W | 210000.00 W | 54 % | WALL06 | 4 | Reserved | 0 | 0 % | 0.000 m²