## Suite Line Capacity
Report generated for: | Room XLR001 on Floor Ground Floor in Site LEICESTER MTX
| Quantity | % of all area | Area
Total free sections: | 348/644 | 69 % | 143.132 m²
Total occupied sections: | 294/644 | 31 % | 65.340 m²
Total reserved sections: | 2/644 | 0 % | 0.312 m²
Total Lines Capability |  |  | 208.784 m²
Total Location Capability |  |  | 685.293 m²
Total Location Free Area |  |  | 619.953 m²
Total Location Occupied Area |  |  | 65.340 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 113 | 13 | Free | 8 | 68 % | 2.416 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 113 | 13 | Occupied | 5 | 32 % | 1.113 m² | Rack 113/114*07, Floor Position = 113/114*07 | 42 | 46 | 42 | 42 | 46 | 42
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 113 | 13 | Occupied | 5 | 32 % | 1.113 m² | Rack 113/114*08, Floor Position = 113/114*08 | 42 | 46 | 42 | 42 | 46 | 42
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 113 | 13 | Occupied | 5 | 32 % | 1.113 m² | Rack 113/114*03, Floor Position = 113/114*03 | 42 | 46 | 42 | 42 | 46 | 42
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 113 | 13 | Occupied | 5 | 32 % | 1.113 m² | Rack 113/114*04, Floor Position = 113/114*04 | 42 | 46 | 42 | 42 | 46 | 42
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 113 | 13 | Occupied | 5 | 32 % | 1.113 m² | Rack 113/114*01, Floor Position = 113/114*01 | 42 | 42 | 42 | 42 | 42 | 42
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 113 | 13 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 114 | 13 | Free | 8 | 64 % | 2.253 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 114 | 13 | Occupied | 5 | 36 % | 1.276 m² | Rack 113/114*08, Floor Position = 113/114*08 | 42 | 46 | 42 | 42 | 46 | 42
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 114 | 13 | Occupied | 5 | 36 % | 1.276 m² | Rack 113/114*07, Floor Position = 113/114*07 | 42 | 46 | 42 | 42 | 46 | 42
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 114 | 13 | Occupied | 5 | 36 % | 1.276 m² | Rack 113/114*04, Floor Position = 113/114*04 | 42 | 46 | 42 | 42 | 46 | 42
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 114 | 13 | Occupied | 5 | 36 % | 1.276 m² | Rack 113/114*03, Floor Position = 113/114*03 | 42 | 46 | 42 | 42 | 46 | 42
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 114 | 13 | Occupied | 5 | 36 % | 1.276 m² | Rack 113/114*01, Floor Position = 113/114*01 | 42 | 42 | 42 | 42 | 42 | 42
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 114 | 13 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 115 | 12 | Free | 7 | 64 % | 2.247 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 115 | 12 | Occupied | 5 | 36 % | 1.281 m² | Rack 115/116*13, Floor Position = 115/116*13 | 42 | 46 | 42 | 42 | 46 | 42
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 115 | 12 | Occupied | 5 | 36 % | 1.281 m² | Rack 115/116*14, Floor Position = 115/116*14 | 42 | 42 | 42 | 42 | 42 | 42
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 115 | 12 | Occupied | 5 | 36 % | 1.281 m² | Rack 115/116*12, Floor Position = 115/116*12 | 42 | 46 | 42 | 42 | 46 | 42
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 115 | 12 | Occupied | 5 | 36 % | 1.281 m² | Rack 115/116*07, Floor Position = 115/116*07 | 42 | 46 | 42 | 42 | 46 | 42
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 115 | 12 | Occupied | 5 | 36 % | 1.281 m² | Rack 115/116*06, Floor Position = 115/116*06 | 42 | 46 | 42 | 42 | 46 | 42
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 115 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 116 | 12 | Free | 6 | 60 % | 2.109 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 116 | 12 | Occupied | 6 | 40 % | 1.419 m² | Rack 115/116*13, Floor Position = 115/116*13 | 42 | 46 | 42 | 42 | 46 | 42
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 116 | 12 | Occupied | 6 | 40 % | 1.419 m² | Rack 115/116*12, Floor Position = 115/116*12 | 42 | 46 | 42 | 42 | 46 | 42
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 116 | 12 | Occupied | 6 | 40 % | 1.419 m² | Rack 115/116*07, Floor Position = 115/116*07 | 42 | 46 | 42 | 42 | 46 | 42
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 116 | 12 | Occupied | 6 | 40 % | 1.419 m² | Rack 115/116*06, Floor Position = 115/116*06 | 42 | 46 | 42 | 42 | 46 | 42
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 116 | 12 | Occupied | 6 | 40 % | 1.419 m² | Rack 116*03, Floor Position = 116*03 | 37 | 40 | 37 | 37 | 40 | 37
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 116 | 12 | Occupied | 6 | 40 % | 1.419 m² | Rack 116*01, Floor Position = 116*01 | 37 | 40 | 37 | 37 | 40 | 37
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 116 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 117 | 11 | Free | 7 | 70 % | 2.456 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 117 | 11 | Occupied | 4 | 30 % | 1.072 m² | Rack 117/118*13, Floor Position = 117/118*13 | 17 | 46 | 16 | 10 | 46 | 10
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 117 | 11 | Occupied | 4 | 30 % | 1.072 m² | Rack 117/118*11, Floor Position = 117/118*11 | 42 | 46 | 42 | 42 | 46 | 42
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 117 | 11 | Occupied | 4 | 30 % | 1.072 m² | Rack 117/118*10, Floor Position = 117/118*10 | 42 | 46 | 42 | 42 | 46 | 42
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 117 | 11 | Occupied | 4 | 30 % | 1.072 m² | Rack 117/118*01, Floor Position = 117/118*01 | 31 | 46 | 30 | 30 | 46 | 30
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 117 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 118 | 11 | Free | 7 | 68 % | 2.415 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 118 | 11 | Occupied | 4 | 32 % | 1.114 m² | Rack 117/118*13, Floor Position = 117/118*13 | 17 | 46 | 16 | 10 | 46 | 10
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 118 | 11 | Occupied | 4 | 32 % | 1.114 m² | Rack 117/118*11, Floor Position = 117/118*11 | 42 | 46 | 42 | 42 | 46 | 42
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 118 | 11 | Occupied | 4 | 32 % | 1.114 m² | Rack 117/118*10, Floor Position = 117/118*10 | 42 | 46 | 42 | 42 | 46 | 42
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 118 | 11 | Occupied | 4 | 32 % | 1.114 m² | Rack 117/118*01, Floor Position = 117/118*01 | 31 | 46 | 30 | 30 | 46 | 30
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 118 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 119 | 11 | Free | 1 | 16 % | 0.566 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 119 | 11 | Occupied | 10 | 84 % | 2.963 m² | Rack 119/120*13, Floor Position = 119/120*13 | 38 | 47 | 38 | 38 | 47 | 38
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 119 | 11 | Occupied | 10 | 84 % | 2.963 m² | Rack 119/120*14, Floor Position = 119/120*14 | 31 | 47 | 31 | 31 | 47 | 31
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 119 | 11 | Occupied | 10 | 84 % | 2.963 m² | Rack 119/120*08, Floor Position = 119/120*08 | 17 | 46 | 16 | 10 | 46 | 10
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 119 | 11 | Occupied | 10 | 84 % | 2.963 m² | Rack 119/120*05, Floor Position = 119/120*05 | 31 | 46 | 30 | 30 | 46 | 30
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 119 | 11 | Occupied | 10 | 84 % | 2.963 m² | Rack 119/120*06, Floor Position = 119/120*06 | 31 | 46 | 30 | 30 | 46 | 30
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 119 | 11 | Occupied | 10 | 84 % | 2.963 m² | Rack 119/120*07, Floor Position = 119/120*07 | 40 | 46 | 39 | 39 | 46 | 39
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 119 | 11 | Occupied | 10 | 84 % | 2.963 m² | Rack 119/120*04, Floor Position = 119/120*04 | 26 | 42 | 26 | 25 | 42 | 25
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 119 | 11 | Occupied | 10 | 84 % | 2.963 m² | Rack 119/120*03, Floor Position = 119/120*03 | 40 | 42 | 40 | 40 | 42 | 40
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 119 | 11 | Occupied | 10 | 84 % | 2.963 m² | Rack 119/120*01, Floor Position = 119/120*01 | 38 | 42 | 38 | 38 | 42 | 38
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 119 | 11 | Occupied | 10 | 84 % | 2.963 m² | Rack 119/120*02, Floor Position = 119/120*02 | 41 | 42 | 41 | 41 | 42 | 41
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 119 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 120 | 11 | Free | 1 | 18 % | 0.627 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 120 | 11 | Occupied | 10 | 82 % | 2.902 m² | Rack 119/120*13, Floor Position = 119/120*13 | 38 | 47 | 38 | 38 | 47 | 38
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 120 | 11 | Occupied | 10 | 82 % | 2.902 m² | Rack 119/120*14, Floor Position = 119/120*14 | 31 | 47 | 31 | 31 | 47 | 31
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 120 | 11 | Occupied | 10 | 82 % | 2.902 m² | Rack 119/120*08, Floor Position = 119/120*08 | 17 | 46 | 16 | 10 | 46 | 10
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 120 | 11 | Occupied | 10 | 82 % | 2.902 m² | Rack 119/120*05, Floor Position = 119/120*05 | 31 | 46 | 30 | 30 | 46 | 30
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 120 | 11 | Occupied | 10 | 82 % | 2.902 m² | Rack 119/120*06, Floor Position = 119/120*06 | 31 | 46 | 30 | 30 | 46 | 30
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 120 | 11 | Occupied | 10 | 82 % | 2.902 m² | Rack 119/120*07, Floor Position = 119/120*07 | 40 | 46 | 39 | 39 | 46 | 39
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 120 | 11 | Occupied | 10 | 82 % | 2.902 m² | Rack 119/120*04, Floor Position = 119/120*04 | 26 | 42 | 26 | 25 | 42 | 25
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 120 | 11 | Occupied | 10 | 82 % | 2.902 m² | Rack 119/120*03, Floor Position = 119/120*03 | 40 | 42 | 40 | 40 | 42 | 40
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 120 | 11 | Occupied | 10 | 82 % | 2.902 m² | Rack 119/120*02, Floor Position = 119/120*02 | 41 | 42 | 41 | 41 | 42 | 41
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 120 | 11 | Occupied | 10 | 82 % | 2.902 m² | Rack 119/120*01, Floor Position = 119/120*01 | 38 | 42 | 38 | 38 | 42 | 38
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 120 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 125 | 11 | Free | 2 | 28 % | 1.005 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 125 | 11 | Occupied | 9 | 72 % | 2.530 m² | Rack 125*10, Floor Position = 125*10 | 27 | 45 | 27 | 26 | 45 | 26
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 125 | 11 | Occupied | 9 | 72 % | 2.530 m² | Rack 125*12, Floor Position = 125*12 | 27 | 45 | 27 | 26 | 45 | 26
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 125 | 11 | Occupied | 9 | 72 % | 2.530 m² | Rack 125*11, Floor Position = 125*11 | 3 | 43 | 3 | 2 | 22 | 2
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 125 | 11 | Occupied | 9 | 72 % | 2.530 m² | Rack 125*09, Floor Position = 125*09 | 27 | 45 | 27 | 26 | 45 | 26
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 125 | 11 | Occupied | 9 | 72 % | 2.530 m² | Rack 125*08, Floor Position = 125*08 | 27 | 45 | 27 | 26 | 45 | 26
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 125 | 11 | Occupied | 9 | 72 % | 2.530 m² | Rack 125*06, Floor Position = 125*06 | 27 | 45 | 27 | 26 | 45 | 26
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 125 | 11 | Occupied | 9 | 72 % | 2.530 m² | Rack 125*07, Floor Position = 125*07 | 27 | 45 | 27 | 26 | 45 | 26
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 125 | 11 | Occupied | 9 | 72 % | 2.530 m² | Rack 125*05, Floor Position = 125*05 | 27 | 45 | 27 | 26 | 45 | 26
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 125 | 11 | Occupied | 9 | 72 % | 2.530 m² | Rack 125*04, Floor Position = 125*04 | 27 | 45 | 27 | 26 | 45 | 26
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 125 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 126 | 11 | Free | 2 | 30 % | 1.124 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 126 | 11 | Occupied | 9 | 70 % | 2.592 m² | Rack 126*10, Floor Position = 126*10 | 45 | 45 | 45 | 45 | 45 | 45
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 126 | 11 | Occupied | 9 | 70 % | 2.592 m² | Rack 126*12, Floor Position = 126*12 | 45 | 45 | 45 | 45 | 45 | 45
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 126 | 11 | Occupied | 9 | 70 % | 2.592 m² | Rack 126*11, Floor Position = 126*11 | 45 | 45 | 45 | 45 | 45 | 45
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 126 | 11 | Occupied | 9 | 70 % | 2.592 m² | Rack 126*09, Floor Position = 126*09 | 45 | 45 | 45 | 45 | 45 | 45
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 126 | 11 | Occupied | 9 | 70 % | 2.592 m² | Rack 126*08, Floor Position = 126*08 | 45 | 45 | 45 | 45 | 45 | 45
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 126 | 11 | Occupied | 9 | 70 % | 2.592 m² | Rack 126*06, Floor Position = 126*06 | 45 | 45 | 45 | 45 | 45 | 45
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 126 | 11 | Occupied | 9 | 70 % | 2.592 m² | Rack 126*07, Floor Position = 126*07 | 45 | 45 | 45 | 45 | 45 | 45
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 126 | 11 | Occupied | 9 | 70 % | 2.592 m² | Rack 126*05, Floor Position = 126*05 | 45 | 45 | 45 | 45 | 45 | 45
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 126 | 11 | Occupied | 9 | 70 % | 2.592 m² | Rack 126*04, Floor Position = 126*04 | 45 | 45 | 45 | 45 | 45 | 45
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 126 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 127 | 12 | Free | 7 | 67 % | 2.425 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 127 | 12 | Occupied | 5 | 33 % | 1.201 m² | Rack 127/128*14, Floor Position = 127/128*14 | 56 | 58 | 56 | 56 | 58 | 56
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 127 | 12 | Occupied | 5 | 33 % | 1.201 m² | Rack 127/128*06, Floor Position = 127/128*06 | 55 | 58 | 55 | 55 | 58 | 55
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 127 | 12 | Occupied | 5 | 33 % | 1.201 m² | Rack 127/128*07, Floor Position = 127/128*07 | 54 | 58 | 54 | 54 | 58 | 54
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 127 | 12 | Occupied | 5 | 33 % | 1.201 m² | Rack 127/128*04, Floor Position = 127/128*04 | 41 | 58 | 41 | 41 | 58 | 41
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 127 | 12 | Occupied | 5 | 33 % | 1.201 m² | Rack 127/128*03, Floor Position = 127/128*03 | 37 | 58 | 37 | 37 | 58 | 37
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 127 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 128 | 12 | Free | 7 | 68 % | 2.448 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 128 | 12 | Occupied | 5 | 32 % | 1.178 m² | Rack 127/128*14, Floor Position = 127/128*14 | 56 | 58 | 56 | 56 | 58 | 56
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 128 | 12 | Occupied | 5 | 32 % | 1.178 m² | Rack 127/128*06, Floor Position = 127/128*06 | 55 | 58 | 55 | 55 | 58 | 55
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 128 | 12 | Occupied | 5 | 32 % | 1.178 m² | Rack 127/128*07, Floor Position = 127/128*07 | 54 | 58 | 54 | 54 | 58 | 54
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 128 | 12 | Occupied | 5 | 32 % | 1.178 m² | Rack 127/128*04, Floor Position = 127/128*04 | 41 | 58 | 41 | 41 | 58 | 41
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 128 | 12 | Occupied | 5 | 32 % | 1.178 m² | Rack 127/128*03, Floor Position = 127/128*03 | 37 | 58 | 37 | 37 | 58 | 37
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 128 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 129 | 10 | Free | 5 | 67 % | 2.424 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 129 | 10 | Occupied | 5 | 33 % | 1.201 m² | Rack 129/130*09, Floor Position = 129/130*09 | 41 | 58 | 41 | 41 | 58 | 41
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 129 | 10 | Occupied | 5 | 33 % | 1.201 m² | Rack 129/130*10, Floor Position = 129/130*10 | 37 | 58 | 37 | 37 | 58 | 37
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 129 | 10 | Occupied | 5 | 33 % | 1.201 m² | Rack 129/130*08, Floor Position = 129/130*08 | 50 | 58 | 50 | 50 | 58 | 50
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 129 | 10 | Occupied | 5 | 33 % | 1.201 m² | Rack 129/130*05, Floor Position = 129/130*05 | 46 | 58 | 46 | 46 | 58 | 46
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 129 | 10 | Occupied | 5 | 33 % | 1.201 m² | Rack 129/130*01, Floor Position = 129/130*01 | 41 | 58 | 41 | 41 | 58 | 41
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 129 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 130 | 10 | Free | 5 | 69 % | 2.490 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 130 | 10 | Occupied | 5 | 31 % | 1.135 m² | Rack 129/130*08, Floor Position = 129/130*08 | 50 | 58 | 50 | 50 | 58 | 50
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 130 | 10 | Occupied | 5 | 31 % | 1.135 m² | Rack 129/130*09, Floor Position = 129/130*09 | 41 | 58 | 41 | 41 | 58 | 41
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 130 | 10 | Occupied | 5 | 31 % | 1.135 m² | Rack 129/130*10, Floor Position = 129/130*10 | 37 | 58 | 37 | 37 | 58 | 37
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 130 | 10 | Occupied | 5 | 31 % | 1.135 m² | Rack 129/130*05, Floor Position = 129/130*05 | 46 | 58 | 46 | 46 | 58 | 46
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 130 | 10 | Occupied | 5 | 31 % | 1.135 m² | Rack 129/130*01, Floor Position = 129/130*01 | 41 | 58 | 41 | 41 | 58 | 41
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 130 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 131 | 13 | Free | 9 | 74 % | 2.758 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 131 | 13 | Occupied | 4 | 26 % | 0.961 m² | Rack 131/132*04, Floor Position = 131/132*04 | 56 | 56 | 56 | 56 | 56 | 56
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 131 | 13 | Occupied | 4 | 26 % | 0.961 m² | Rack 131/132*06, Floor Position = 131/132*06 | 50 | 56 | 50 | 50 | 56 | 50
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 131 | 13 | Occupied | 4 | 26 % | 0.961 m² | Rack 131/132*05, Floor Position = 131/132*05 | 46 | 56 | 46 | 46 | 56 | 46
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 131 | 13 | Occupied | 4 | 26 % | 0.961 m² | Rack 131/132*03, Floor Position = 131/132*03 | 55 | 58 | 55 | 55 | 58 | 55
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 131 | 13 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 132 | 13 | Free | 2 | 39 % | 1.465 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 132 | 13 | Occupied | 11 | 61 % | 2.253 m² | Rack 132*10, Floor Position = 132*10 | 51 | 54 | 51 | 51 | 54 | 51
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 132 | 13 | Occupied | 11 | 61 % | 2.253 m² | Rack 132*12, Floor Position = 132*12 | 51 | 54 | 51 | 51 | 54 | 51
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 132 | 13 | Occupied | 11 | 61 % | 2.253 m² | Rack 132*13, Floor Position = 132*13 | 54 | 54 | 54 | 54 | 54 | 54
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 132 | 13 | Occupied | 11 | 61 % | 2.253 m² | Rack 132*11, Floor Position = 132*11 | 51 | 54 | 51 | 51 | 54 | 51
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 132 | 13 | Occupied | 11 | 61 % | 2.253 m² | Rack 131/132*04, Floor Position = 131/132*04 | 56 | 56 | 56 | 56 | 56 | 56
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 132 | 13 | Occupied | 11 | 61 % | 2.253 m² | Rack 131/132*06, Floor Position = 131/132*06 | 50 | 56 | 50 | 50 | 56 | 50
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 132 | 13 | Occupied | 11 | 61 % | 2.253 m² | Rack 132*07, Floor Position = 132*07 | 51 | 54 | 51 | 51 | 54 | 51
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 132 | 13 | Occupied | 11 | 61 % | 2.253 m² | Rack 131/132*05, Floor Position = 131/132*05 | 46 | 56 | 46 | 46 | 56 | 46
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 132 | 13 | Occupied | 11 | 61 % | 2.253 m² | Rack 131/132*03, Floor Position = 131/132*03 | 55 | 58 | 55 | 55 | 58 | 55
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 132 | 13 | Occupied | 11 | 61 % | 2.253 m² | Rack 132*02, Floor Position = 132*02 | 51 | 54 | 51 | 51 | 54 | 51
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 132 | 13 | Occupied | 11 | 61 % | 2.253 m² | Rack 132*01, Floor Position = 132*01 | 51 | 54 | 51 | 51 | 54 | 51
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 132 | 13 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 133 | 12 | Free | 4 | 70 % | 2.579 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 133 | 12 | Occupied | 8 | 30 % | 1.129 m² | Rack 133*13, Floor Position = 133*13 | 54 | 54 | 54 | 54 | 54 | 54
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 133 | 12 | Occupied | 8 | 30 % | 1.129 m² | Rack 133*12, Floor Position = 133*12 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 133 | 12 | Occupied | 8 | 30 % | 1.129 m² | Rack 133*08, Floor Position = 133*08 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 133 | 12 | Occupied | 8 | 30 % | 1.129 m² | Rack 133/134*05, Floor Position = 133/134*05 | 37 | 42 | 37 | 37 | 42 | 37
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 133 | 12 | Occupied | 8 | 30 % | 1.129 m² | Rack 133*03, Floor Position = 133*03 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 133 | 12 | Occupied | 8 | 30 % | 1.129 m² | Rack 133*04, Floor Position = 133*04 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 133 | 12 | Occupied | 8 | 30 % | 1.129 m² | Rack 133*02, Floor Position = 133*02 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 133 | 12 | Occupied | 8 | 30 % | 1.129 m² | Rack 133*01, Floor Position = 133*01 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 133 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 134 | 12 | Free | 11 | 96 % | 3.563 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 134 | 12 | Occupied | 1 | 4 % | 0.144 m² | Rack 133/134*05, Floor Position = 133/134*05 | 37 | 42 | 37 | 37 | 42 | 37
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 134 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 135 | 15 | Free | 0 | 7 % | 0.163 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 135 | 15 | Occupied | 14 | 87 % | 2.184 m² | Rack 135*12, Floor Position = 135*12 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 135 | 15 | Occupied | 14 | 87 % | 2.184 m² | Rack 135*14, Floor Position = 135*14 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 135 | 15 | Occupied | 14 | 87 % | 2.184 m² | Rack 135*15, Floor Position = 135*15 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 135 | 15 | Occupied | 14 | 87 % | 2.184 m² | Rack 135*13, Floor Position = 135*13 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 135 | 15 | Occupied | 14 | 87 % | 2.184 m² | Rack 135*10, Floor Position = 135*10 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 135 | 15 | Occupied | 14 | 87 % | 2.184 m² | Rack 135*11, Floor Position = 135*11 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 135 | 15 | Occupied | 14 | 87 % | 2.184 m² | Rack 135*09, Floor Position = 135*09 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 135 | 15 | Occupied | 14 | 87 % | 2.184 m² | Rack 135*05, Floor Position = 135*05 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 135 | 15 | Occupied | 14 | 87 % | 2.184 m² | Rack 135*07, Floor Position = 135*07 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 135 | 15 | Occupied | 14 | 87 % | 2.184 m² | Rack 135*08, Floor Position = 135*08 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 135 | 15 | Occupied | 14 | 87 % | 2.184 m² | Rack 135*04, Floor Position = 135*04 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 135 | 15 | Occupied | 14 | 87 % | 2.184 m² | Rack 135*02, Floor Position = 135*02 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 135 | 15 | Occupied | 14 | 87 % | 2.184 m² | Rack 135*03, Floor Position = 135*03 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 135 | 15 | Occupied | 14 | 87 % | 2.184 m² | Rack 135*01, Floor Position = 135*01 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 135 | 15 | Reserved | 1 | 6 % | 0.156 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 136 | 15 | Free | 1 | 12 % | 0.282 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 136 | 15 | Occupied | 14 | 88 % | 2.119 m² | Rack 136*12, Floor Position = 136*12 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 136 | 15 | Occupied | 14 | 88 % | 2.119 m² | Rack 136*14, Floor Position = 136*14 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 136 | 15 | Occupied | 14 | 88 % | 2.119 m² | Rack 136*13, Floor Position = 136*13 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 136 | 15 | Occupied | 14 | 88 % | 2.119 m² | Rack 136*10, Floor Position = 136*10 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 136 | 15 | Occupied | 14 | 88 % | 2.119 m² | Rack 136*11, Floor Position = 136*11 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 136 | 15 | Occupied | 14 | 88 % | 2.119 m² | Rack 136*09, Floor Position = 136*09 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 136 | 15 | Occupied | 14 | 88 % | 2.119 m² | Rack 136*05, Floor Position = 136*05 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 136 | 15 | Occupied | 14 | 88 % | 2.119 m² | Rack 136*07, Floor Position = 136*07 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 136 | 15 | Occupied | 14 | 88 % | 2.119 m² | Rack 136*08, Floor Position = 136*08 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 136 | 15 | Occupied | 14 | 88 % | 2.119 m² | Rack 136*06, Floor Position = 136*06 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 136 | 15 | Occupied | 14 | 88 % | 2.119 m² | Rack 136*04, Floor Position = 136*04 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 136 | 15 | Occupied | 14 | 88 % | 2.119 m² | Rack 136*02, Floor Position = 136*02 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 136 | 15 | Occupied | 14 | 88 % | 2.119 m² | Rack 136*03, Floor Position = 136*03 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 136 | 15 | Occupied | 14 | 88 % | 2.119 m² | Rack 136*01, Floor Position = 136*01 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 136 | 15 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 137 | 14 | Free | 0 | 14 % | 0.365 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 137 | 14 | Occupied | 13 | 80 % | 2.028 m² | Rack 137*12, Floor Position = 137*12 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 137 | 14 | Occupied | 13 | 80 % | 2.028 m² | Rack 137*14, Floor Position = 137*14 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 137 | 14 | Occupied | 13 | 80 % | 2.028 m² | Rack 137*13, Floor Position = 137*13 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 137 | 14 | Occupied | 13 | 80 % | 2.028 m² | Rack 137*10, Floor Position = 137*10 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 137 | 14 | Occupied | 13 | 80 % | 2.028 m² | Rack 137*11, Floor Position = 137*11 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 137 | 14 | Occupied | 13 | 80 % | 2.028 m² | Rack 137*09, Floor Position = 137*09 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 137 | 14 | Occupied | 13 | 80 % | 2.028 m² | Rack 137*05, Floor Position = 137*05 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 137 | 14 | Occupied | 13 | 80 % | 2.028 m² | Rack 137*07, Floor Position = 137*07 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 137 | 14 | Occupied | 13 | 80 % | 2.028 m² | Rack 137*08, Floor Position = 137*08 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 137 | 14 | Occupied | 13 | 80 % | 2.028 m² | Rack 137*04, Floor Position = 137*04 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 137 | 14 | Occupied | 13 | 80 % | 2.028 m² | Rack 137*02, Floor Position = 137*02 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 137 | 14 | Occupied | 13 | 80 % | 2.028 m² | Rack 137*03, Floor Position = 137*03 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 137 | 14 | Occupied | 13 | 80 % | 2.028 m² | Rack 137*01, Floor Position = 137*01 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 137 | 14 | Reserved | 1 | 6 % | 0.156 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 138 | 14 | Free | 0 | 9 % | 0.218 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 138 | 14 | Occupied | 14 | 91 % | 2.130 m² | Rack 138*12, Floor Position = 138*12 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 138 | 14 | Occupied | 14 | 91 % | 2.130 m² | Rack 138*14, Floor Position = 138*14 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 138 | 14 | Occupied | 14 | 91 % | 2.130 m² | Rack 138*13, Floor Position = 138*13 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 138 | 14 | Occupied | 14 | 91 % | 2.130 m² | Rack 138*10, Floor Position = 138*10 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 138 | 14 | Occupied | 14 | 91 % | 2.130 m² | Rack 138*11, Floor Position = 138*11 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 138 | 14 | Occupied | 14 | 91 % | 2.130 m² | Rack 138*09, Floor Position = 138*09 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 138 | 14 | Occupied | 14 | 91 % | 2.130 m² | Rack 138*05, Floor Position = 138*05 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 138 | 14 | Occupied | 14 | 91 % | 2.130 m² | Rack 138*07, Floor Position = 138*07 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 138 | 14 | Occupied | 14 | 91 % | 2.130 m² | Rack 138*08, Floor Position = 138*08 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 138 | 14 | Occupied | 14 | 91 % | 2.130 m² | Rack 138*06, Floor Position = 138*06 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 138 | 14 | Occupied | 14 | 91 % | 2.130 m² | Rack 138*04, Floor Position = 138*04 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 138 | 14 | Occupied | 14 | 91 % | 2.130 m² | Rack 138*02, Floor Position = 138*02 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 138 | 14 | Occupied | 14 | 91 % | 2.130 m² | Rack 138*03, Floor Position = 138*03 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 138 | 14 | Occupied | 14 | 91 % | 2.130 m² | Rack 138*01, Floor Position = 138*01 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 138 | 14 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 139 | 12 | Free | 10 | 87 % | 3.145 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 139 | 12 | Occupied | 2 | 13 % | 0.480 m² | Rack 139/140*03, Floor Position = 139/140*03 | 34 | 34 | 34 | 34 | 34 | 34
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 139 | 12 | Occupied | 2 | 13 % | 0.480 m² | Rack 139/140*01, Floor Position = 139/140*01 | 52 | 58 | 52 | 52 | 58 | 52
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 139 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 140 | 12 | Free | 2 | 46 % | 1.655 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 140 | 12 | Occupied | 10 | 54 % | 1.970 m² | Rack 140*12, Floor Position = 140*12 | 44 | 47 | 44 | 44 | 47 | 44
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 140 | 12 | Occupied | 10 | 54 % | 1.970 m² | Rack 140*14, Floor Position = 140*14 | 44 | 47 | 44 | 44 | 47 | 44
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 140 | 12 | Occupied | 10 | 54 % | 1.970 m² | Rack 140*13, Floor Position = 140*13 | 44 | 47 | 44 | 44 | 47 | 44
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 140 | 12 | Occupied | 10 | 54 % | 1.970 m² | Rack 140*10, Floor Position = 140*10 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 140 | 12 | Occupied | 10 | 54 % | 1.970 m² | Rack 140*11, Floor Position = 140*11 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 140 | 12 | Occupied | 10 | 54 % | 1.970 m² | Rack 140*09, Floor Position = 140*09 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 140 | 12 | Occupied | 10 | 54 % | 1.970 m² | Rack 140*07, Floor Position = 140*07 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 140 | 12 | Occupied | 10 | 54 % | 1.970 m² | Rack 140*08, Floor Position = 140*08 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 140 | 12 | Occupied | 10 | 54 % | 1.970 m² | Rack 139/140*03, Floor Position = 139/140*03 | 34 | 34 | 34 | 34 | 34 | 34
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 140 | 12 | Occupied | 10 | 54 % | 1.970 m² | Rack 139/140*01, Floor Position = 139/140*01 | 52 | 58 | 52 | 52 | 58 | 52
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 140 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 141 | 9 | Free | 2 | 52 % | 1.851 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 141 | 9 | Occupied | 7 | 48 % | 1.725 m² | ODF CODF 141*10 (E01), Floor Position = 141*10 | 34 | 47 | 34 | 17 | 47 | 17
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 141 | 9 | Occupied | 7 | 48 % | 1.725 m² | Rack 141*09, Floor Position = 141*09 | 47 | 47 | 47 | 47 | 47 | 47
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 141 | 9 | Occupied | 7 | 48 % | 1.725 m² | Rack 141/142*04, Floor Position = 141/142*04 | 45 | 47 | 45 | 45 | 47 | 45
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 141 | 9 | Occupied | 7 | 48 % | 1.725 m² | Rack 141/142*08, Floor Position = 141/142*08 | 36 | 42 | 36 | 36 | 42 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 141 | 9 | Occupied | 7 | 48 % | 1.725 m² | Rack 141/142*05, Floor Position = 141/142*05 | 45 | 47 | 45 | 45 | 47 | 45
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 141 | 9 | Occupied | 7 | 48 % | 1.725 m² | Rack 141/142*03, Floor Position = 141/142*03 | 0 | 47 | 0 | 0 | 47 | 0
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 141 | 9 | Occupied | 7 | 48 % | 1.725 m² | Rack 141*01, Floor Position = 141*01 | 47 | 47 | 47 | 47 | 47 | 47
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 141 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 142 | 10 | Free | 1 | 39 % | 1.506 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 142 | 10 | Occupied | 9 | 61 % | 2.311 m² | ODF 142*14, Floor Position = 142*14 | 47 | 47 | 47 | 47 | 47 | 47
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 142 | 10 | Occupied | 9 | 61 % | 2.311 m² | ODF 142*12, Floor Position = 142*12 | 47 | 47 | 47 | 47 | 47 | 47
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 142 | 10 | Occupied | 9 | 61 % | 2.311 m² | Rack 142*09, Floor Position = 142*09 | 47 | 47 | 47 | 47 | 47 | 47
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 142 | 10 | Occupied | 9 | 61 % | 2.311 m² | ODF 142*10, Floor Position = 142*10 | 40 | 47 | 40 | 31 | 47 | 31
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 142 | 10 | Occupied | 9 | 61 % | 2.311 m² | Rack 141/142*04, Floor Position = 141/142*04 | 45 | 47 | 45 | 45 | 47 | 45
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 142 | 10 | Occupied | 9 | 61 % | 2.311 m² | Rack 141/142*08, Floor Position = 141/142*08 | 36 | 42 | 36 | 36 | 42 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 142 | 10 | Occupied | 9 | 61 % | 2.311 m² | Rack 141/142*05, Floor Position = 141/142*05 | 45 | 47 | 45 | 45 | 47 | 45
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 142 | 10 | Occupied | 9 | 61 % | 2.311 m² | Rack 141/142*03, Floor Position = 141/142*03 | 0 | 47 | 0 | 0 | 47 | 0
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 142 | 10 | Occupied | 9 | 61 % | 2.311 m² | ODF 142*01, Floor Position = 142*01 | 10 | 47 | 10 | 6 | 47 | 6
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 142 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 143 | 11 | Free | 7 | 74 % | 2.083 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 143 | 11 | Occupied | 4 | 26 % | 0.716 m² | Rack 143/144*14, Floor Position = 143/144*14 | 42 | 46 | 42 | 42 | 46 | 42
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 143 | 11 | Occupied | 4 | 26 % | 0.716 m² | Rack 143/144*15, Floor Position = 143/144*15 | 42 | 46 | 42 | 42 | 46 | 42
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 143 | 11 | Occupied | 4 | 26 % | 0.716 m² | Rack 143*13, Floor Position = 143*13 | 43 | 46 | 43 | 43 | 46 | 43
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 143 | 11 | Occupied | 4 | 26 % | 0.716 m² | Rack 143*11, Floor Position = 143*11 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 143 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 144 | 11 | Free | 9 | 87 % | 2.441 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 144 | 11 | Occupied | 2 | 13 % | 0.358 m² | Rack 143/144*14, Floor Position = 143/144*14 | 42 | 46 | 42 | 42 | 46 | 42
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 144 | 11 | Occupied | 2 | 13 % | 0.358 m² | Rack 143/144*15, Floor Position = 143/144*15 | 42 | 46 | 42 | 42 | 46 | 42
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 144 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 151 | 11 | Free | 2 | 31 % | 1.169 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 151 | 11 | Occupied | 9 | 69 % | 2.592 m² | Rack 151*01, Floor Position = 151*01 | 45 | 45 | 45 | 45 | 45 | 45
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 151 | 11 | Occupied | 9 | 69 % | 2.592 m² | Rack 151*06, Floor Position = 151*06 | 45 | 45 | 45 | 45 | 45 | 45
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 151 | 11 | Occupied | 9 | 69 % | 2.592 m² | Rack 151*03, Floor Position = 151*03 | 45 | 45 | 45 | 45 | 45 | 45
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 151 | 11 | Occupied | 9 | 69 % | 2.592 m² | Rack 151*02, Floor Position = 151*02 | 45 | 45 | 45 | 45 | 45 | 45
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 151 | 11 | Occupied | 9 | 69 % | 2.592 m² | Rack 151*04, Floor Position = 151*04 | 45 | 45 | 45 | 45 | 45 | 45
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 151 | 11 | Occupied | 9 | 69 % | 2.592 m² | Rack 151*05, Floor Position = 151*05 | 45 | 45 | 45 | 45 | 45 | 45
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 151 | 11 | Occupied | 9 | 69 % | 2.592 m² | Rack 151*09, Floor Position = 151*09 | 45 | 45 | 45 | 45 | 45 | 45
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 151 | 11 | Occupied | 9 | 69 % | 2.592 m² | Rack 151*07, Floor Position = 151*07 | 45 | 45 | 45 | 45 | 45 | 45
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 151 | 11 | Occupied | 9 | 69 % | 2.592 m² | Rack 151*08, Floor Position = 151*08 | 45 | 45 | 45 | 45 | 45 | 45
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 151 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 152 | 11 | Free | 2 | 30 % | 1.083 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 152 | 11 | Occupied | 9 | 70 % | 2.550 m² | Rack 152*01, Floor Position = 152*01 | 27 | 45 | 27 | 26 | 45 | 26
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 152 | 11 | Occupied | 9 | 70 % | 2.550 m² | Rack 152*06, Floor Position = 152*06 | 27 | 45 | 27 | 26 | 45 | 26
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 152 | 11 | Occupied | 9 | 70 % | 2.550 m² | Rack 152*03, Floor Position = 152*03 | 27 | 45 | 27 | 26 | 45 | 26
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 152 | 11 | Occupied | 9 | 70 % | 2.550 m² | Rack 152*02, Floor Position = 152*02 | 3 | 43 | 3 | 2 | 22 | 2
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 152 | 11 | Occupied | 9 | 70 % | 2.550 m² | Rack 152*04, Floor Position = 152*04 | 27 | 45 | 27 | 26 | 45 | 26
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 152 | 11 | Occupied | 9 | 70 % | 2.550 m² | Rack 152*05, Floor Position = 152*05 | 27 | 45 | 27 | 26 | 45 | 26
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 152 | 11 | Occupied | 9 | 70 % | 2.550 m² | Rack 152*09, Floor Position = 152*09 | 27 | 45 | 27 | 26 | 45 | 26
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 152 | 11 | Occupied | 9 | 70 % | 2.550 m² | Rack 152*07, Floor Position = 152*07 | 27 | 45 | 27 | 26 | 45 | 26
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 152 | 11 | Occupied | 9 | 70 % | 2.550 m² | Rack 152*08, Floor Position = 152*08 | 27 | 45 | 27 | 26 | 45 | 26
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 152 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 153 | 11 | Free | 8 | 71 % | 1.950 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 153 | 11 | Occupied | 3 | 29 % | 0.806 m² | ODF 153*01, Floor Position = 153*01 | 10 | 47 | 10 | 6 | 47 | 6
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 153 | 11 | Occupied | 3 | 29 % | 0.806 m² | ODF 153*02, Floor Position = 153*02 | 47 | 47 | 47 | 47 | 47 | 47
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 153 | 11 | Occupied | 3 | 29 % | 0.806 m² | ODF 153*04, Floor Position = 153*04 | 47 | 47 | 47 | 47 | 47 | 47
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 153 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 154 | 10 | Free | 9 | 91 % | 2.590 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 154 | 10 | Occupied | 1 | 9 % | 0.270 m² | ODF CODF 154*01 (W01), Floor Position = 154*01 | 36 | 47 | 36 | 18 | 47 | 18
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 154 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 155 | 11 | Free | 11 | 100 % | 3.697 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 155 | 11 | Occupied | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 155 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 156 | 11 | Free | 11 | 100 % | 3.697 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 156 | 11 | Occupied | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 156 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 157 | 11 | Free | 11 | 100 % | 3.697 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 157 | 11 | Occupied | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 157 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 158 | 11 | Free | 11 | 100 % | 3.697 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 158 | 11 | Occupied | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 158 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 159 | 11 | Free | 4 | 46 % | 1.788 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 159 | 11 | Occupied | 7 | 54 % | 2.080 m² | Rack 159/160*02, Floor Position = 159/160*02 | 47 | 47 | 47 | 47 | 47 | 47
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 159 | 11 | Occupied | 7 | 54 % | 2.080 m² | ODF 159*03, Floor Position = 159*03 | 47 | 47 | 47 | 47 | 47 | 47
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 159 | 11 | Occupied | 7 | 54 % | 2.080 m² | Rack 159/160*05, Floor Position = 159/160*05 | 47 | 47 | 47 | 47 | 47 | 47
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 159 | 11 | Occupied | 7 | 54 % | 2.080 m² | Rack 159/160*04, Floor Position = 159/160*04 | 47 | 47 | 47 | 47 | 47 | 47
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 159 | 11 | Occupied | 7 | 54 % | 2.080 m² | Rack 159/160*06, Floor Position = 159/160*06 | 47 | 47 | 47 | 47 | 47 | 47
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 159 | 11 | Occupied | 7 | 54 % | 2.080 m² | ODF 159*08, Floor Position = 159*08 | 47 | 47 | 47 | 47 | 47 | 47
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 159 | 11 | Occupied | 7 | 54 % | 2.080 m² | Rack 159/160*07, Floor Position = 159/160*07 | 47 | 47 | 47 | 47 | 47 | 47
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 159 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 160 | 11 | Free | 4 | 44 % | 1.540 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 160 | 11 | Occupied | 7 | 56 % | 1.986 m² | Rack 159/160*02, Floor Position = 159/160*02 | 47 | 47 | 47 | 47 | 47 | 47
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 160 | 11 | Occupied | 7 | 56 % | 1.986 m² | ODF 160*03, Floor Position = 160*03 | 47 | 47 | 47 | 47 | 47 | 47
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 160 | 11 | Occupied | 7 | 56 % | 1.986 m² | Rack 159/160*05, Floor Position = 159/160*05 | 47 | 47 | 47 | 47 | 47 | 47
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 160 | 11 | Occupied | 7 | 56 % | 1.986 m² | Rack 159/160*04, Floor Position = 159/160*04 | 47 | 47 | 47 | 47 | 47 | 47
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 160 | 11 | Occupied | 7 | 56 % | 1.986 m² | Rack 159/160*06, Floor Position = 159/160*06 | 47 | 47 | 47 | 47 | 47 | 47
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 160 | 11 | Occupied | 7 | 56 % | 1.986 m² | ODF 160*08, Floor Position = 160*08 | 47 | 47 | 47 | 47 | 47 | 47
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 160 | 11 | Occupied | 7 | 56 % | 1.986 m² | Rack 159/160*07, Floor Position = 159/160*07 | 47 | 47 | 47 | 47 | 47 | 47
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 160 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 161 | 11 | Free | 5 | 49 % | 1.808 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 161 | 11 | Occupied | 6 | 51 % | 1.889 m² | Rack 161/162*01, Floor Position = 161/162*01 | 21 | 44 | 20 | 17 | 43 | 17
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 161 | 11 | Occupied | 6 | 51 % | 1.889 m² | Rack 161/162*02, Floor Position = 161/162*02 | 21 | 44 | 20 | 17 | 43 | 17
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 161 | 11 | Occupied | 6 | 51 % | 1.889 m² | Rack 161/162*04, Floor Position = 161/162*04 | 8 | 40 | 7 | 3 | 34 | 3
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 161 | 11 | Occupied | 6 | 51 % | 1.889 m² | Rack 161/162*03, Floor Position = 161/162*03 | 8 | 40 | 7 | 4 | 35 | 4
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 161 | 11 | Occupied | 6 | 51 % | 1.889 m² | Rack 161/162*05, Floor Position = 161/162*05 | 31 | 36 | 31 | 31 | 31 | 31
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 161 | 11 | Occupied | 6 | 51 % | 1.889 m² | Rack 161/162*06, Floor Position = 161/162*06 | 47 | 47 | 47 | 47 | 47 | 47
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 161 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 162 | 11 | Free | 5 | 48 % | 1.775 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 162 | 11 | Occupied | 6 | 52 % | 1.922 m² | Rack 161/162*01, Floor Position = 161/162*01 | 21 | 44 | 20 | 17 | 43 | 17
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 162 | 11 | Occupied | 6 | 52 % | 1.922 m² | Rack 161/162*02, Floor Position = 161/162*02 | 21 | 44 | 20 | 17 | 43 | 17
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 162 | 11 | Occupied | 6 | 52 % | 1.922 m² | Rack 161/162*04, Floor Position = 161/162*04 | 8 | 40 | 7 | 3 | 34 | 3
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 162 | 11 | Occupied | 6 | 52 % | 1.922 m² | Rack 161/162*03, Floor Position = 161/162*03 | 8 | 40 | 7 | 4 | 35 | 4
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 162 | 11 | Occupied | 6 | 52 % | 1.922 m² | Rack 161/162*05, Floor Position = 161/162*05 | 31 | 36 | 31 | 31 | 31 | 31
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 162 | 11 | Occupied | 6 | 52 % | 1.922 m² | Rack 161/162*06, Floor Position = 161/162*06 | 47 | 47 | 47 | 47 | 47 | 47
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 162 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 163 | 11 | Free | 10 | 93 % | 3.360 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 163 | 11 | Occupied | 1 | 7 % | 0.240 m² | Rack 163*01, Floor Position = 163*01 | 31 | 37 | 31 | 31 | 37 | 31
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 163 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 164 | 11 | Free | 10 | 93 % | 3.264 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 164 | 11 | Occupied | 1 | 7 % | 0.240 m² | Rack 164*01, Floor Position = 164*01 | 31 | 37 | 31 | 31 | 37 | 31
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 164 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 165 | 9 | Free | 8 | 90 % | 2.843 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 165 | 9 | Occupied | 1 | 10 % | 0.320 m² | Rack 165/166*14, Floor Position = 165/166*14 | 26 | 40 | 20 | 20 | 39 | 19
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 165 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 166 | 9 | Free | 8 | 90 % | 2.843 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 166 | 9 | Occupied | 1 | 10 % | 0.320 m² | Rack 165/166*14, Floor Position = 165/166*14 | 26 | 40 | 20 | 20 | 39 | 19
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 166 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 169 | 9 | Free | 8 | 90 % | 2.843 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 169 | 9 | Occupied | 1 | 10 % | 0.320 m² | Rack 169/170*01, Floor Position = 169/170*01 | 28 | 40 | 22 | 22 | 39 | 21
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 169 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 170 | 9 | Free | 8 | 90 % | 2.843 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 170 | 9 | Occupied | 1 | 10 % | 0.320 m² | Rack 169/170*01, Floor Position = 169/170*01 | 28 | 40 | 22 | 22 | 39 | 21
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 170 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 171 | 9 | Free | 8 | 92 % | 2.923 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 171 | 9 | Occupied | 1 | 8 % | 0.240 m² | Rack 171/172*10, Floor Position = 171/172*10 | 47 | 47 | 47 | 47 | 47 | 47
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 171 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 172 | 9 | Free | 8 | 92 % | 2.925 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 172 | 9 | Occupied | 1 | 8 % | 0.239 m² | Rack 171/172*10, Floor Position = 171/172*10 | 47 | 47 | 47 | 47 | 47 | 47
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 172 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 173 | 9 | Free | 9 | 100 % | 3.164 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 173 | 9 | Occupied | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 173 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 174 | 9 | Free | 9 | 100 % | 3.164 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 174 | 9 | Occupied | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 174 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 175 | 9 | Free | 9 | 100 % | 3.164 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 175 | 9 | Occupied | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 175 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 176 | 9 | Free | 9 | 100 % | 3.164 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 176 | 9 | Occupied | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 176 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 179 | 11 | Free | 8 | 80 % | 2.870 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 179 | 11 | Occupied | 3 | 20 % | 0.710 m² | Rack 179*08, Floor Position = 179*08 | 41 | 44 | 41 | 41 | 44 | 41
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 179 | 11 | Occupied | 3 | 20 % | 0.710 m² | Rack 179/180*14, Floor Position = 179/180*14 | 37 | 58 | 37 | 37 | 58 | 37
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 179 | 11 | Occupied | 3 | 20 % | 0.710 m² | Rack 179/180*13, Floor Position = 179/180*13 | 41 | 58 | 41 | 41 | 58 | 41
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 179 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 180 | 11 | Free | 8 | 80 % | 2.965 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 180 | 11 | Occupied | 3 | 20 % | 0.720 m² | Rack 180*08, Floor Position = 180*08 | 44 | 44 | 44 | 44 | 44 | 44
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 180 | 11 | Occupied | 3 | 20 % | 0.720 m² | Rack 179/180*14, Floor Position = 179/180*14 | 37 | 58 | 37 | 37 | 58 | 37
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 180 | 11 | Occupied | 3 | 20 % | 0.720 m² | Rack 179/180*13, Floor Position = 179/180*13 | 41 | 58 | 41 | 41 | 58 | 41
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 180 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 181 | 15 | Free | 7 | 48 % | 0.832 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 181 | 15 | Occupied | 8 | 52 % | 0.900 m² | Rack 181*01, Floor Position = 181*01 | 44 | 47 | 44 | 44 | 47 | 44
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 181 | 15 | Occupied | 8 | 52 % | 0.900 m² | Rack 181*02, Floor Position = 181*02 | 44 | 47 | 44 | 44 | 47 | 44
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 181 | 15 | Occupied | 8 | 52 % | 0.900 m² | Rack 181*03, Floor Position = 181*03 | 44 | 47 | 44 | 44 | 47 | 44
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 181 | 15 | Occupied | 8 | 52 % | 0.900 m² | Rack 181*04, Floor Position = 181*04 | 44 | 47 | 44 | 44 | 47 | 44
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 181 | 15 | Occupied | 8 | 52 % | 0.900 m² | Rack 181*05, Floor Position = 181*05 | 44 | 47 | 44 | 44 | 47 | 44
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 181 | 15 | Occupied | 8 | 52 % | 0.900 m² | Rack 181*13, Floor Position = 181*13 | 44 | 47 | 44 | 44 | 47 | 44
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 181 | 15 | Occupied | 8 | 52 % | 0.900 m² | Rack 181*14, Floor Position = 181*14 | 44 | 47 | 44 | 44 | 47 | 44
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 181 | 15 | Occupied | 8 | 52 % | 0.900 m² | Rack 181*15, Floor Position = 181*15 | 44 | 47 | 44 | 44 | 47 | 44
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 181 | 15 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 182 | 15 | Free | 7 | 48 % | 0.832 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 182 | 15 | Occupied | 8 | 52 % | 0.900 m² | Rack 181*01, Floor Position = 181*01 | 44 | 47 | 44 | 44 | 47 | 44
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 182 | 15 | Occupied | 8 | 52 % | 0.900 m² | Rack 181*02, Floor Position = 181*02 | 44 | 47 | 44 | 44 | 47 | 44
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 182 | 15 | Occupied | 8 | 52 % | 0.900 m² | Rack 181*03, Floor Position = 181*03 | 44 | 47 | 44 | 44 | 47 | 44
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 182 | 15 | Occupied | 8 | 52 % | 0.900 m² | Rack 181*04, Floor Position = 181*04 | 44 | 47 | 44 | 44 | 47 | 44
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 182 | 15 | Occupied | 8 | 52 % | 0.900 m² | Rack 181*05, Floor Position = 181*05 | 44 | 47 | 44 | 44 | 47 | 44
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 182 | 15 | Occupied | 8 | 52 % | 0.900 m² | Rack 181*13, Floor Position = 181*13 | 44 | 47 | 44 | 44 | 47 | 44
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 182 | 15 | Occupied | 8 | 52 % | 0.900 m² | Rack 181*14, Floor Position = 181*14 | 44 | 47 | 44 | 44 | 47 | 44
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 182 | 15 | Occupied | 8 | 52 % | 0.900 m² | Rack 181*15, Floor Position = 181*15 | 44 | 47 | 44 | 44 | 47 | 44
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 182 | 15 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 183 | 0 | Free | 0 | 100 % | 0.780 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 183 | 0 | Occupied | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 183 | 0 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 300 | 11 | Free | 0 | 28 % | 0.735 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 300 | 11 | Occupied | 11 | 72 % | 1.935 m² | Rack 300*11, Floor Position = 300*11 | 36 | 36 | 36 | 36 | 36 | 36
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 300 | 11 | Occupied | 11 | 72 % | 1.935 m² | Rack 300*10, Floor Position = 300*10 | 44 | 44 | 44 | 44 | 44 | 44
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 300 | 11 | Occupied | 11 | 72 % | 1.935 m² | Rack 300*08, Floor Position = 300*08 | 44 | 44 | 44 | 44 | 44 | 44
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 300 | 11 | Occupied | 11 | 72 % | 1.935 m² | Rack 300*09, Floor Position = 300*09 | 40 | 44 | 40 | 40 | 44 | 40
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 300 | 11 | Occupied | 11 | 72 % | 1.935 m² | Rack 300*07, Floor Position = 300*07 | 39 | 44 | 39 | 39 | 44 | 39
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 300 | 11 | Occupied | 11 | 72 % | 1.935 m² | Rack 300*02, Floor Position = 300*02 | 41 | 44 | 41 | 41 | 44 | 41
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 300 | 11 | Occupied | 11 | 72 % | 1.935 m² | Rack 300*04, Floor Position = 300*04 | 44 | 44 | 44 | 44 | 44 | 44
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 300 | 11 | Occupied | 11 | 72 % | 1.935 m² | Rack 300*06, Floor Position = 300*06 | 44 | 44 | 44 | 44 | 44 | 44
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 300 | 11 | Occupied | 11 | 72 % | 1.935 m² | Rack 300*05, Floor Position = 300*05 | 40 | 44 | 40 | 40 | 44 | 40
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 300 | 11 | Occupied | 11 | 72 % | 1.935 m² | Rack 300*03, Floor Position = 300*03 | 40 | 44 | 40 | 40 | 44 | 40
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 300 | 11 | Occupied | 11 | 72 % | 1.935 m² | Rack 300*01, Floor Position = 300*01 | 41 | 44 | 41 | 41 | 44 | 41
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | 300 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | WALL01 | 1 | Free | 0 | 98 % | 5.717 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | WALL01 | 1 | Occupied | 1 | 2 % | 0.088 m² | Rack WALL01*08, Floor Position = WALL01*08 | 0 | 29 | 0 | 0 | 29 | 0
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | WALL01 | 1 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | WALL03 | 2 | Free | 0 | 98 % | 7.821 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | WALL03 | 2 | Occupied | 2 | 2 % | 0.176 m² | Rack WALL03*23, Floor Position = WALL0323 | 0 | 29 | 0 | 0 | 29 | 0
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | WALL03 | 2 | Occupied | 2 | 2 % | 0.176 m² | Rack WALL03*74, Floor Position = WALL0374 | 0 | 29 | 0 | 0 | 29 | 0
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | WALL03 | 2 | Reserved | 0 | 0 % | 0.000 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | WALL04 | 2 | Free | 0 | 98 % | 4.512 m²
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | WALL04 | 2 | Occupied | 2 | 2 % | 0.091 m² | Rack WALL04*29, Floor Position = WALL0429 | 0 | 4 | 0 | 0 | 4 | 0
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | WALL04 | 2 | Occupied | 2 | 2 % | 0.091 m² | Rack WALL04*04, Floor Position = WALL0404 | 0 | 4 | 0 | 0 | 4 | 0
Room XLR001 on Floor Ground Floor in Site LEICESTER MTX | 105830.00 W | 104500.00 W | 101 % | WALL04 | 2 | Reserved | 0 | 0 % | 0.000 m²