## Suite Line Capacity
Report generated for: | Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX
| Quantity | % of all area | Area
Total free sections: | 435/622 | 80 % | 154.876 m²
Total occupied sections: | 187/622 | 20 % | 39.923 m²
Total reserved sections: | 0/622 | 0 % | 0.000 m²
Total Lines Capability |  |  | 194.798 m²
Total Location Capability |  |  | 588.094 m²
Total Location Free Area |  |  | 548.172 m²
Total Location Occupied Area |  |  | 39.923 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 111 | 8 | Free | 8 | 100 % | 2.619 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 111 | 8 | Occupied | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 111 | 8 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 112 | 8 | Free | 8 | 100 % | 2.619 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 112 | 8 | Occupied | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 112 | 8 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 113 | 12 | Free | 12 | 100 % | 3.900 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 113 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 113 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 114 | 12 | Free | 12 | 100 % | 3.900 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 114 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 114 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 115 | 12 | Free | 12 | 100 % | 3.900 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 115 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 115 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 116 | 12 | Free | 12 | 100 % | 3.900 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 116 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 116 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 117 | 12 | Free | 12 | 100 % | 3.900 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 117 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 117 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 118 | 12 | Free | 12 | 100 % | 3.900 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 118 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 118 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 119 | 12 | Free | 5 | 53 % | 2.288 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 119 | 12 | Occupied | 7 | 47 % | 2.016 m² | Rack 119*01, Floor Position = 119*01 | 27 | 45 | 27 | 26 | 45 | 26
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 119 | 12 | Occupied | 7 | 47 % | 2.016 m² | Rack 119*03, Floor Position = 119*03 | 27 | 45 | 27 | 26 | 45 | 26
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 119 | 12 | Occupied | 7 | 47 % | 2.016 m² | Rack 119*02, Floor Position = 119*02 | 3 | 43 | 3 | 2 | 22 | 2
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 119 | 12 | Occupied | 7 | 47 % | 2.016 m² | Rack 119*05, Floor Position = 119*05 | 27 | 45 | 27 | 26 | 45 | 26
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 119 | 12 | Occupied | 7 | 47 % | 2.016 m² | Rack 119*06, Floor Position = 119*06 | 27 | 45 | 27 | 26 | 45 | 26
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 119 | 12 | Occupied | 7 | 47 % | 2.016 m² | Rack 119*07, Floor Position = 119*07 | 27 | 45 | 27 | 26 | 45 | 26
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 119 | 12 | Occupied | 7 | 47 % | 2.016 m² | Rack 119*04, Floor Position = 119*04 | 27 | 45 | 27 | 26 | 45 | 26
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 119 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 120 | 12 | Free | 5 | 48 % | 1.690 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 120 | 12 | Occupied | 7 | 52 % | 1.805 m² | Rack 120*02, Floor Position = 120*02 | 45 | 45 | 45 | 45 | 45 | 45
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 120 | 12 | Occupied | 7 | 52 % | 1.805 m² | Rack 120*01, Floor Position = 120*01 | 45 | 45 | 45 | 45 | 45 | 45
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 120 | 12 | Occupied | 7 | 52 % | 1.805 m² | Rack 120*03, Floor Position = 120*03 | 45 | 45 | 45 | 45 | 45 | 45
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 120 | 12 | Occupied | 7 | 52 % | 1.805 m² | Rack 120*05, Floor Position = 120*05 | 45 | 45 | 45 | 45 | 45 | 45
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 120 | 12 | Occupied | 7 | 52 % | 1.805 m² | Rack 120*04, Floor Position = 120*04 | 45 | 45 | 45 | 45 | 45 | 45
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 120 | 12 | Occupied | 7 | 52 % | 1.805 m² | Rack 120*06, Floor Position = 120*06 | 45 | 45 | 45 | 45 | 45 | 45
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 120 | 12 | Occupied | 7 | 52 % | 1.805 m² | Rack 120*07, Floor Position = 120*07 | 45 | 45 | 45 | 45 | 45 | 45
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 120 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 121 | 12 | Free | 12 | 100 % | 3.900 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 121 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 121 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 122 | 12 | Free | 12 | 100 % | 3.900 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 122 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 122 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 123 | 12 | Free | 12 | 100 % | 3.900 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 123 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 123 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 124 | 12 | Free | 12 | 100 % | 3.900 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 124 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 124 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 125 | 13 | Free | 5 | 49 % | 1.902 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 125 | 13 | Occupied | 8 | 51 % | 1.998 m² | Rack 125/126*04, Floor Position = 125/126*04 | 60 | 60 | 60 | 60 | 60 | 60
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 125 | 13 | Occupied | 8 | 51 % | 1.998 m² | Rack 125/126*05, Floor Position = 125/126*05 | 42 | 42 | 42 | 42 | 42 | 42
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 125 | 13 | Occupied | 8 | 51 % | 1.998 m² | Rack 125/126*08, Floor Position = 125/126*08 | 46 | 60 | 46 | 46 | 60 | 46
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 125 | 13 | Occupied | 8 | 51 % | 1.998 m² | Rack 125/126*09, Floor Position = 125/126*09 | 50 | 60 | 50 | 50 | 60 | 50
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 125 | 13 | Occupied | 8 | 51 % | 1.998 m² | Rack 125/126*10, Floor Position = 125/126*10 | 52 | 60 | 52 | 52 | 60 | 52
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 125 | 13 | Occupied | 8 | 51 % | 1.998 m² | Rack 125/126*13, Floor Position = 125/126*13 | 58 | 60 | 58 | 58 | 60 | 58
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 125 | 13 | Occupied | 8 | 51 % | 1.998 m² | Rack 125/126*14, Floor Position = 125/126*14 | 43 | 57 | 43 | 43 | 57 | 43
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 125 | 13 | Occupied | 8 | 51 % | 1.998 m² | Rack 125/126*15, Floor Position = 125/126*15 | 44 | 57 | 44 | 44 | 57 | 44
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 125 | 13 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 126 | 13 | Free | 5 | 55 % | 2.131 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 126 | 13 | Occupied | 8 | 45 % | 1.769 m² | Rack 125/126*04, Floor Position = 125/126*04 | 60 | 60 | 60 | 60 | 60 | 60
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 126 | 13 | Occupied | 8 | 45 % | 1.769 m² | Rack 125/126*05, Floor Position = 125/126*05 | 42 | 42 | 42 | 42 | 42 | 42
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 126 | 13 | Occupied | 8 | 45 % | 1.769 m² | Rack 125/126*08, Floor Position = 125/126*08 | 46 | 60 | 46 | 46 | 60 | 46
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 126 | 13 | Occupied | 8 | 45 % | 1.769 m² | Rack 125/126*09, Floor Position = 125/126*09 | 50 | 60 | 50 | 50 | 60 | 50
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 126 | 13 | Occupied | 8 | 45 % | 1.769 m² | Rack 125/126*10, Floor Position = 125/126*10 | 52 | 60 | 52 | 52 | 60 | 52
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 126 | 13 | Occupied | 8 | 45 % | 1.769 m² | Rack 125/126*13, Floor Position = 125/126*13 | 58 | 60 | 58 | 58 | 60 | 58
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 126 | 13 | Occupied | 8 | 45 % | 1.769 m² | Rack 125/126*14, Floor Position = 125/126*14 | 43 | 57 | 43 | 43 | 57 | 43
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 126 | 13 | Occupied | 8 | 45 % | 1.769 m² | Rack 125/126*15, Floor Position = 125/126*15 | 44 | 57 | 44 | 44 | 57 | 44
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 126 | 13 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 127 | 14 | Free | 7 | 74 % | 2.978 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 127 | 14 | Occupied | 7 | 26 % | 1.065 m² | Rack 127*05, Floor Position = 127*05 | 44 | 47 | 44 | 44 | 47 | 44
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 127 | 14 | Occupied | 7 | 26 % | 1.065 m² | Rack 127*01, Floor Position = 127*01 | 44 | 47 | 44 | 44 | 47 | 44
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 127 | 14 | Occupied | 7 | 26 % | 1.065 m² | Rack 127*07, Floor Position = 127*07 | 44 | 47 | 44 | 44 | 47 | 44
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 127 | 14 | Occupied | 7 | 26 % | 1.065 m² | Rack 127*08, Floor Position = 127*08 | 44 | 47 | 44 | 44 | 47 | 44
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 127 | 14 | Occupied | 7 | 26 % | 1.065 m² | Rack 127/128*11, Floor Position = 127/128*11 | 30 | 60 | 30 | 30 | 60 | 30
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 127 | 14 | Occupied | 7 | 26 % | 1.065 m² | Rack 127/128*12, Floor Position = 127/128*12 | 33 | 47 | 33 | 33 | 47 | 33
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 127 | 14 | Occupied | 7 | 26 % | 1.065 m² | Rack 127*16, Floor Position = 127*16 | 44 | 47 | 44 | 44 | 47 | 44
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 127 | 14 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 128 | 14 | Free | 8 | 80 % | 3.224 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 128 | 14 | Occupied | 6 | 20 % | 0.819 m² | Rack 127*05, Floor Position = 127*05 | 44 | 47 | 44 | 44 | 47 | 44
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 128 | 14 | Occupied | 6 | 20 % | 0.819 m² | Rack 127*01, Floor Position = 127*01 | 44 | 47 | 44 | 44 | 47 | 44
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 128 | 14 | Occupied | 6 | 20 % | 0.819 m² | Rack 127*07, Floor Position = 127*07 | 44 | 47 | 44 | 44 | 47 | 44
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 128 | 14 | Occupied | 6 | 20 % | 0.819 m² | Rack 127*08, Floor Position = 127*08 | 44 | 47 | 44 | 44 | 47 | 44
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 128 | 14 | Occupied | 6 | 20 % | 0.819 m² | Rack 127/128*11, Floor Position = 127/128*11 | 30 | 60 | 30 | 30 | 60 | 30
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 128 | 14 | Occupied | 6 | 20 % | 0.819 m² | Rack 127/128*12, Floor Position = 127/128*12 | 33 | 47 | 33 | 33 | 47 | 33
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 128 | 14 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 129 | 14 | Free | 5 | 45 % | 1.742 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 129 | 14 | Occupied | 9 | 55 % | 2.157 m² | Rack 129/130*01, Floor Position = 129/130*01 | 56 | 60 | 56 | 56 | 60 | 56
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 129 | 14 | Occupied | 9 | 55 % | 2.157 m² | Rack 129/130*02, Floor Position = 129/130*02 | 56 | 60 | 56 | 56 | 60 | 56
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 129 | 14 | Occupied | 9 | 55 % | 2.157 m² | Rack 129/130*08, Floor Position = 129/130*08 | 22 | 60 | 22 | 22 | 60 | 22
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 129 | 14 | Occupied | 9 | 55 % | 2.157 m² | Rack 129/130*07, Floor Position = 129/130*07 | 48 | 60 | 48 | 48 | 60 | 48
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 129 | 14 | Occupied | 9 | 55 % | 2.157 m² | Rack 129*09a, Floor Position = 129*09a | 60 | 60 | 60 | 60 | 60 | 60
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 129 | 14 | Occupied | 9 | 55 % | 2.157 m² | Rack 129/130*09, Floor Position = 129/130*09 | 28 | 60 | 28 | 28 | 60 | 28
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 129 | 14 | Occupied | 9 | 55 % | 2.157 m² | Rack 129/130*10, Floor Position = 129/130*10 | 30 | 60 | 30 | 30 | 60 | 30
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 129 | 14 | Occupied | 9 | 55 % | 2.157 m² | Rack 129/130*11, Floor Position = 129/130*11 | 36 | 60 | 36 | 36 | 60 | 36
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 129 | 14 | Occupied | 9 | 55 % | 2.157 m² | Rack 129/130*14, Floor Position = 129/130*14 | 33 | 39 | 33 | 33 | 39 | 33
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 129 | 14 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 130 | 14 | Free | 6 | 59 % | 2.292 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 130 | 14 | Occupied | 8 | 41 % | 1.608 m² | Rack 129/130*01, Floor Position = 129/130*01 | 56 | 60 | 56 | 56 | 60 | 56
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 130 | 14 | Occupied | 8 | 41 % | 1.608 m² | Rack 129/130*02, Floor Position = 129/130*02 | 56 | 60 | 56 | 56 | 60 | 56
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 130 | 14 | Occupied | 8 | 41 % | 1.608 m² | Rack 129*09a, Floor Position = 129*09a | 60 | 60 | 60 | 60 | 60 | 60
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 130 | 14 | Occupied | 8 | 41 % | 1.608 m² | Rack 129/130*10, Floor Position = 129/130*10 | 30 | 60 | 30 | 30 | 60 | 30
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 130 | 14 | Occupied | 8 | 41 % | 1.608 m² | Rack 129/130*07, Floor Position = 129/130*07 | 48 | 60 | 48 | 48 | 60 | 48
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 130 | 14 | Occupied | 8 | 41 % | 1.608 m² | Rack 129/130*08, Floor Position = 129/130*08 | 22 | 60 | 22 | 22 | 60 | 22
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 130 | 14 | Occupied | 8 | 41 % | 1.608 m² | Rack 129/130*09, Floor Position = 129/130*09 | 28 | 60 | 28 | 28 | 60 | 28
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 130 | 14 | Occupied | 8 | 41 % | 1.608 m² | Rack 129/130*11, Floor Position = 129/130*11 | 36 | 60 | 36 | 36 | 60 | 36
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 130 | 14 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 131 | 16 | Free | 4 | 28 % | 0.666 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 131 | 16 | Occupied | 12 | 72 % | 1.691 m² | Rack 131*01, Floor Position = 131*01 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 131 | 16 | Occupied | 12 | 72 % | 1.691 m² | Rack 131*03, Floor Position = 131*03 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 131 | 16 | Occupied | 12 | 72 % | 1.691 m² | Rack 131*02, Floor Position = 131*02 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 131 | 16 | Occupied | 12 | 72 % | 1.691 m² | Rack 131*04, Floor Position = 131*04 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 131 | 16 | Occupied | 12 | 72 % | 1.691 m² | Rack 131*06, Floor Position = 131*06 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 131 | 16 | Occupied | 12 | 72 % | 1.691 m² | Rack 131*05, Floor Position = 131*05 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 131 | 16 | Occupied | 12 | 72 % | 1.691 m² | Rack 131*11, Floor Position = 131*11 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 131 | 16 | Occupied | 12 | 72 % | 1.691 m² | Rack 131*12, Floor Position = 131*12 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 131 | 16 | Occupied | 12 | 72 % | 1.691 m² | Rack 131*14, Floor Position = 131*14 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 131 | 16 | Occupied | 12 | 72 % | 1.691 m² | Rack 131*13, Floor Position = 131*13 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 131 | 16 | Occupied | 12 | 72 % | 1.691 m² | Rack 131*15, Floor Position = 131*15 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 131 | 16 | Occupied | 12 | 72 % | 1.691 m² | Rack 131*16, Floor Position = 131*16 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 131 | 16 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 132 | 16 | Free | 0 | 37 % | 1.630 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 132 | 16 | Occupied | 16 | 63 % | 2.820 m² | Rack 132*01, Floor Position = 132*01 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 132 | 16 | Occupied | 16 | 63 % | 2.820 m² | Rack 132*03, Floor Position = 132*03 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 132 | 16 | Occupied | 16 | 63 % | 2.820 m² | Rack 132*02, Floor Position = 132*02 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 132 | 16 | Occupied | 16 | 63 % | 2.820 m² | Rack 132*04, Floor Position = 132*04 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 132 | 16 | Occupied | 16 | 63 % | 2.820 m² | Rack 132*06, Floor Position = 132*06 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 132 | 16 | Occupied | 16 | 63 % | 2.820 m² | Rack 132*05, Floor Position = 132*05 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 132 | 16 | Occupied | 16 | 63 % | 2.820 m² | Rack 132*07, Floor Position = 132*07 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 132 | 16 | Occupied | 16 | 63 % | 2.820 m² | Rack 132*08, Floor Position = 132*08 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 132 | 16 | Occupied | 16 | 63 % | 2.820 m² | Rack 132*09, Floor Position = 132*09 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 132 | 16 | Occupied | 16 | 63 % | 2.820 m² | Rack 132*10, Floor Position = 132*10 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 132 | 16 | Occupied | 16 | 63 % | 2.820 m² | Rack 132*11, Floor Position = 132*11 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 132 | 16 | Occupied | 16 | 63 % | 2.820 m² | Rack 132*12, Floor Position = 132*12 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 132 | 16 | Occupied | 16 | 63 % | 2.820 m² | Rack 132*14, Floor Position = 132*14 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 132 | 16 | Occupied | 16 | 63 % | 2.820 m² | Rack 132*13, Floor Position = 132*13 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 132 | 16 | Occupied | 16 | 63 % | 2.820 m² | Rack 132*15, Floor Position = 132*15 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 132 | 16 | Occupied | 16 | 63 % | 2.820 m² | Rack 132*16, Floor Position = 132*16 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 132 | 16 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 133 | 16 | Free | 5 | 52 % | 2.088 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 133 | 16 | Occupied | 11 | 48 % | 1.967 m² | Rack 133*01, Floor Position = 133*01 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 133 | 16 | Occupied | 11 | 48 % | 1.967 m² | Rack 133*03, Floor Position = 133*03 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 133 | 16 | Occupied | 11 | 48 % | 1.967 m² | Rack 133*02, Floor Position = 133*02 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 133 | 16 | Occupied | 11 | 48 % | 1.967 m² | Rack 133*04, Floor Position = 133*04 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 133 | 16 | Occupied | 11 | 48 % | 1.967 m² | Rack 133*08, Floor Position = 133*08 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 133 | 16 | Occupied | 11 | 48 % | 1.967 m² | Rack 133*06, Floor Position = 133*06 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 133 | 16 | Occupied | 11 | 48 % | 1.967 m² | Rack 133*05, Floor Position = 133*05 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 133 | 16 | Occupied | 11 | 48 % | 1.967 m² | Rack 133*07, Floor Position = 133*07 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 133 | 16 | Occupied | 11 | 48 % | 1.967 m² | Rack 133*10, Floor Position = 133*10 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 133 | 16 | Occupied | 11 | 48 % | 1.967 m² | Rack 133*09, Floor Position = 133*09 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 133 | 16 | Occupied | 11 | 48 % | 1.967 m² | Rack 133*11, Floor Position = 133*11 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 133 | 16 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 134 | 16 | Free | 14 | 90 % | 3.384 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 134 | 16 | Occupied | 2 | 10 % | 0.360 m² | Rack 134*10, Floor Position = 134*10 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 134 | 16 | Occupied | 2 | 10 % | 0.360 m² | Rack 134*11, Floor Position = 134*11 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 134 | 16 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 135 | 11 | Free | 3 | 28 % | 0.850 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 135 | 11 | Occupied | 8 | 72 % | 2.204 m² | Rack 135/136*02, Floor Position = 135/136*02 | 47 | 47 | 47 | 47 | 47 | 47
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 135 | 11 | Occupied | 8 | 72 % | 2.204 m² | ODF 135*01, Floor Position = 135*01 | 47 | 47 | 47 | 47 | 47 | 47
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 135 | 11 | Occupied | 8 | 72 % | 2.204 m² | Rack 135/136*03, Floor Position = 135/136*03 | 47 | 47 | 47 | 47 | 47 | 47
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 135 | 11 | Occupied | 8 | 72 % | 2.204 m² | Rack 135/136*05, Floor Position = 135/136*05 | 47 | 47 | 47 | 47 | 47 | 47
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 135 | 11 | Occupied | 8 | 72 % | 2.204 m² | Rack 135/136*04, Floor Position = 135/136*04 | 47 | 47 | 47 | 47 | 47 | 47
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 135 | 11 | Occupied | 8 | 72 % | 2.204 m² | ODF 135*06, Floor Position = 135*06 | 47 | 47 | 47 | 47 | 47 | 47
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 135 | 11 | Occupied | 8 | 72 % | 2.204 m² | Rack 135/136*07, Floor Position = 135/136*07 | 47 | 47 | 47 | 47 | 47 | 47
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 135 | 11 | Occupied | 8 | 72 % | 2.204 m² | Rack 135*10, Floor Position = 135*10 | 44 | 47 | 44 | 44 | 47 | 44
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 135 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 136 | 11 | Free | 2 | 24 % | 0.794 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 136 | 11 | Occupied | 9 | 76 % | 2.573 m² | ODF 136*01, Floor Position = 136*01 | 47 | 47 | 47 | 47 | 47 | 47
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 136 | 11 | Occupied | 9 | 76 % | 2.573 m² | Rack 135/136*02, Floor Position = 135/136*02 | 47 | 47 | 47 | 47 | 47 | 47
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 136 | 11 | Occupied | 9 | 76 % | 2.573 m² | Rack 135/136*03, Floor Position = 135/136*03 | 47 | 47 | 47 | 47 | 47 | 47
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 136 | 11 | Occupied | 9 | 76 % | 2.573 m² | Rack 135/136*04, Floor Position = 135/136*04 | 47 | 47 | 47 | 47 | 47 | 47
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 136 | 11 | Occupied | 9 | 76 % | 2.573 m² | Rack 135/136*05, Floor Position = 135/136*05 | 47 | 47 | 47 | 47 | 47 | 47
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 136 | 11 | Occupied | 9 | 76 % | 2.573 m² | ODF 136*06, Floor Position = 136*06 | 47 | 47 | 47 | 47 | 47 | 47
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 136 | 11 | Occupied | 9 | 76 % | 2.573 m² | Rack 135/136*07, Floor Position = 135/136*07 | 47 | 47 | 47 | 47 | 47 | 47
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 136 | 11 | Occupied | 9 | 76 % | 2.573 m² | Rack 136*09, Floor Position = 136*09 | 44 | 47 | 44 | 44 | 47 | 44
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 136 | 11 | Occupied | 9 | 76 % | 2.573 m² | Rack 136*10, Floor Position = 136*10 | 44 | 47 | 44 | 44 | 47 | 44
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 136 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 151 | 12 | Free | 12 | 100 % | 3.900 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 151 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 151 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 152 | 12 | Free | 12 | 100 % | 3.900 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 152 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 152 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 153 | 12 | Free | 12 | 100 % | 3.900 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 153 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 153 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 154 | 12 | Free | 12 | 100 % | 3.900 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 154 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 154 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 155 | 12 | Free | 12 | 100 % | 3.900 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 155 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 155 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 156 | 12 | Free | 12 | 100 % | 3.900 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 156 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 156 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 157 | 12 | Free | 8 | 70 % | 2.744 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 157 | 12 | Occupied | 4 | 30 % | 1.149 m² | Rack 157*01, Floor Position = 157*01 | 45 | 45 | 45 | 45 | 45 | 45
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 157 | 12 | Occupied | 4 | 30 % | 1.149 m² | Rack 157*03, Floor Position = 157*03 | 45 | 45 | 45 | 45 | 45 | 45
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 157 | 12 | Occupied | 4 | 30 % | 1.149 m² | Rack 157*02, Floor Position = 157*02 | 45 | 45 | 45 | 45 | 45 | 45
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 157 | 12 | Occupied | 4 | 30 % | 1.149 m² | Rack 157*04, Floor Position = 157*04 | 45 | 45 | 45 | 45 | 45 | 45
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 157 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 158 | 12 | Free | 6 | 56 % | 2.178 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 158 | 12 | Occupied | 6 | 44 % | 1.728 m² | Rack 158*01, Floor Position = 158*01 | 36 | 45 | 36 | 35 | 45 | 35
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 158 | 12 | Occupied | 6 | 44 % | 1.728 m² | Rack 158*03, Floor Position = 158*03 | 33 | 45 | 33 | 32 | 45 | 32
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 158 | 12 | Occupied | 6 | 44 % | 1.728 m² | Rack 158*02, Floor Position = 158*02 | 33 | 45 | 33 | 32 | 45 | 32
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 158 | 12 | Occupied | 6 | 44 % | 1.728 m² | Rack 158*04, Floor Position = 158*04 | 33 | 45 | 33 | 32 | 45 | 32
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 158 | 12 | Occupied | 6 | 44 % | 1.728 m² | Rack 158*06, Floor Position = 158*06 | 30 | 45 | 30 | 29 | 45 | 29
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 158 | 12 | Occupied | 6 | 44 % | 1.728 m² | Rack 158*05, Floor Position = 158*05 | 33 | 45 | 33 | 32 | 45 | 32
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 158 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 159 | 12 | Free | 12 | 100 % | 3.900 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 159 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 159 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 160 | 12 | Free | 12 | 100 % | 3.900 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 160 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 160 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 161 | 12 | Free | 12 | 100 % | 3.900 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 161 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 161 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 162 | 12 | Free | 12 | 100 % | 3.900 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 162 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 162 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 163 | 12 | Free | 12 | 100 % | 3.900 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 163 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 163 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 164 | 12 | Free | 12 | 100 % | 3.900 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 164 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 164 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 165 | 12 | Free | 12 | 100 % | 3.900 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 165 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 165 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 166 | 12 | Free | 12 | 100 % | 3.900 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 166 | 12 | Occupied | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 166 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 167 | 11 | Free | 4 | 60 % | 2.683 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 167 | 11 | Occupied | 7 | 40 % | 1.826 m² | Rack 167/168*01, Floor Position = 167/168*01 | 24 | 44 | 22 | 15 | 44 | 13
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 167 | 11 | Occupied | 7 | 40 % | 1.826 m² | Rack 167/168*02, Floor Position = 167/168*02 | 24 | 44 | 22 | 15 | 44 | 13
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 167 | 11 | Occupied | 7 | 40 % | 1.826 m² | Rack 167/168*03, Floor Position = 167/168*03 | 9 | 40 | 8 | 3 | 34 | 3
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 167 | 11 | Occupied | 7 | 40 % | 1.826 m² | Rack 167/168*04, Floor Position = 167/168*04 | 8 | 47 | 8 | 3 | 47 | 3
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 167 | 11 | Occupied | 7 | 40 % | 1.826 m² | Rack 167/168*05, Floor Position = 167/168*05 | 33 | 41 | 33 | 31 | 38 | 31
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 167 | 11 | Occupied | 7 | 40 % | 1.826 m² | Rack 167/168*06, Floor Position = 167/168*06 | 47 | 47 | 47 | 47 | 47 | 47
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 167 | 11 | Occupied | 7 | 40 % | 1.826 m² | Rack 167*10, Floor Position = 167*10 | 44 | 47 | 44 | 44 | 47 | 44
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 167 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 168 | 11 | Free | 5 | 50 % | 2.257 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 168 | 11 | Occupied | 6 | 50 % | 2.252 m² | Rack 167/168*01, Floor Position = 167/168*01 | 24 | 44 | 22 | 15 | 44 | 13
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 168 | 11 | Occupied | 6 | 50 % | 2.252 m² | Rack 167/168*04, Floor Position = 167/168*04 | 8 | 47 | 8 | 3 | 47 | 3
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 168 | 11 | Occupied | 6 | 50 % | 2.252 m² | Rack 167/168*03, Floor Position = 167/168*03 | 9 | 40 | 8 | 3 | 34 | 3
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 168 | 11 | Occupied | 6 | 50 % | 2.252 m² | Rack 167/168*02, Floor Position = 167/168*02 | 24 | 44 | 22 | 15 | 44 | 13
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 168 | 11 | Occupied | 6 | 50 % | 2.252 m² | Rack 167/168*06, Floor Position = 167/168*06 | 47 | 47 | 47 | 47 | 47 | 47
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 168 | 11 | Occupied | 6 | 50 % | 2.252 m² | Rack 167/168*05, Floor Position = 167/168*05 | 33 | 41 | 33 | 31 | 38 | 31
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 168 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 169 | 13 | Free | 6 | 60 % | 1.841 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 169 | 13 | Occupied | 7 | 40 % | 1.212 m² | Rack 169*01, Floor Position = 169*01 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 169 | 13 | Occupied | 7 | 40 % | 1.212 m² | Rack 169*02, Floor Position = 169*02 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 169 | 13 | Occupied | 7 | 40 % | 1.212 m² | Rack 169*04, Floor Position = 169*04 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 169 | 13 | Occupied | 7 | 40 % | 1.212 m² | Rack 169*03, Floor Position = 169*03 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 169 | 13 | Occupied | 7 | 40 % | 1.212 m² | Rack 169*05, Floor Position = 169*05 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 169 | 13 | Occupied | 7 | 40 % | 1.212 m² | Rack 169*06, Floor Position = 169*06 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 169 | 13 | Occupied | 7 | 40 % | 1.212 m² | Rack 169/170*09, Floor Position = 169/170*09 | 36 | 42 | 36 | 36 | 42 | 36
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 169 | 13 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 170 | 13 | Free | 6 | 64 % | 2.324 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 170 | 13 | Occupied | 7 | 36 % | 1.308 m² | Rack 170*01, Floor Position = 170*01 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 170 | 13 | Occupied | 7 | 36 % | 1.308 m² | Rack 170*02, Floor Position = 170*02 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 170 | 13 | Occupied | 7 | 36 % | 1.308 m² | Rack 170*04, Floor Position = 170*04 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 170 | 13 | Occupied | 7 | 36 % | 1.308 m² | Rack 170*03, Floor Position = 170*03 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 170 | 13 | Occupied | 7 | 36 % | 1.308 m² | Rack 170*05, Floor Position = 170*05 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 170 | 13 | Occupied | 7 | 36 % | 1.308 m² | Rack 170*06, Floor Position = 170*06 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 170 | 13 | Occupied | 7 | 36 % | 1.308 m² | Rack 169/170*09, Floor Position = 169/170*09 | 36 | 42 | 36 | 36 | 42 | 36
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 170 | 13 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 171 | 15 | Free | 5 | 34 % | 0.953 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 171 | 15 | Occupied | 10 | 66 % | 1.812 m² | Rack 171/172*01, Floor Position = 171/172*01 | 45 | 45 | 45 | 45 | 45 | 45
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 171 | 15 | Occupied | 10 | 66 % | 1.812 m² | Rack 171/172*02, Floor Position = 171/172*02 | 45 | 45 | 45 | 45 | 45 | 45
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 171 | 15 | Occupied | 10 | 66 % | 1.812 m² | Rack 171/172*04, Floor Position = 171/172*04 | 45 | 45 | 45 | 45 | 45 | 45
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 171 | 15 | Occupied | 10 | 66 % | 1.812 m² | Rack 171/172*03, Floor Position = 171/172*03 | 45 | 45 | 45 | 45 | 45 | 45
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 171 | 15 | Occupied | 10 | 66 % | 1.812 m² | Rack 171/172*07, Floor Position = 171/172*07 | 45 | 45 | 45 | 45 | 45 | 45
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 171 | 15 | Occupied | 10 | 66 % | 1.812 m² | Rack 171*13, Floor Position = 171*13 | 45 | 45 | 45 | 45 | 45 | 45
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 171 | 15 | Occupied | 10 | 66 % | 1.812 m² | Rack 171/172*11, Floor Position = 171/172*11 | 44 | 47 | 44 | 44 | 47 | 44
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 171 | 15 | Occupied | 10 | 66 % | 1.812 m² | Rack 171*12, Floor Position = 171*12 | 41 | 45 | 41 | 41 | 45 | 41
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 171 | 15 | Occupied | 10 | 66 % | 1.812 m² | Rack 171*14, Floor Position = 171*14 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 171 | 15 | Occupied | 10 | 66 % | 1.812 m² | Rack 171*15, Floor Position = 171*15 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 171 | 15 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 172 | 15 | Free | 3 | 22 % | 0.608 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 172 | 15 | Occupied | 12 | 78 % | 2.157 m² | Rack 171/172*01, Floor Position = 171/172*01 | 45 | 45 | 45 | 45 | 45 | 45
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 172 | 15 | Occupied | 12 | 78 % | 2.157 m² | Rack 171/172*02, Floor Position = 171/172*02 | 45 | 45 | 45 | 45 | 45 | 45
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 172 | 15 | Occupied | 12 | 78 % | 2.157 m² | Rack 171/172*04, Floor Position = 171/172*04 | 45 | 45 | 45 | 45 | 45 | 45
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 172 | 15 | Occupied | 12 | 78 % | 2.157 m² | Rack 171/172*03, Floor Position = 171/172*03 | 45 | 45 | 45 | 45 | 45 | 45
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 172 | 15 | Occupied | 12 | 78 % | 2.157 m² | Rack 171/172*05, Floor Position = 172*05 | 31 | 45 | 31 | 31 | 45 | 31
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 172 | 15 | Occupied | 12 | 78 % | 2.157 m² | Rack 171/172*06, Floor Position = 172*06 | 45 | 45 | 45 | 45 | 45 | 45
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 172 | 15 | Occupied | 12 | 78 % | 2.157 m² | Rack 171/172*07, Floor Position = 171/172*07 | 45 | 45 | 45 | 45 | 45 | 45
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 172 | 15 | Occupied | 12 | 78 % | 2.157 m² | Rack 171/172*11, Floor Position = 171/172*11 | 44 | 47 | 44 | 44 | 47 | 44
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 172 | 15 | Occupied | 12 | 78 % | 2.157 m² | Rack 172*12, Floor Position = 172*12 | 45 | 45 | 45 | 45 | 45 | 45
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 172 | 15 | Occupied | 12 | 78 % | 2.157 m² | Rack 172*14, Floor Position = 172*14 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 172 | 15 | Occupied | 12 | 78 % | 2.157 m² | Rack 172*13, Floor Position = 172*13 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 172 | 15 | Occupied | 12 | 78 % | 2.157 m² | Rack 172*15, Floor Position = 172*15 | 38 | 38 | 38 | 38 | 38 | 38
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 172 | 15 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 173 | 6 | Free | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 173 | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack 173*03, Floor Position = 173*03 | 45 | 47 | 45 | 45 | 47 | 45
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 173 | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack 173*01, Floor Position = 173*01 | 43 | 47 | 43 | 43 | 47 | 43
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 173 | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack 173*02, Floor Position = 173*02 | 47 | 47 | 47 | 47 | 47 | 47
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 173 | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack 173*05, Floor Position = 173*05 | 47 | 47 | 47 | 47 | 47 | 47
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 173 | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack 173*04, Floor Position = 173*04 | 47 | 47 | 47 | 47 | 47 | 47
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 173 | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack 173*06, Floor Position = 173*06 | 43 | 47 | 43 | 43 | 47 | 43
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 173 | 6 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 174 | 8 | Free | 7 | 94 % | 3.660 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 174 | 8 | Occupied | 1 | 6 % | 0.240 m² | Rack 174/175*01, Floor Position = 174/175*01 | 43 | 47 | 43 | 43 | 47 | 43
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 174 | 8 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 175 | 8 | Free | 7 | 94 % | 3.680 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 175 | 8 | Occupied | 1 | 6 % | 0.219 m² | Rack 174/175*01, Floor Position = 174/175*01 | 43 | 47 | 43 | 43 | 47 | 43
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | 175 | 8 | Reserved | 0 | 0 % | 0.000 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | WALL04 | 2 | Free | 0 | 98 % | 5.460 m²
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | WALL04 | 2 | Occupied | 2 | 2 % | 0.090 m² | Rack XNE TechDB 2, Floor Position = WALL04*38 | 0 | 4 | 0 | 0 | 4 | 0
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | WALL04 | 2 | Occupied | 2 | 2 % | 0.090 m² | Rack XNE TechDB 1, Floor Position = WALL04*37 | 0 | 4 | 0 | 0 | 4 | 0
Room XNE001 on Floor Ground Floor in Site NEWCASTLE MTX | 42767.00 W | 86000.00 W | 50 % | WALL04 | 2 | Reserved | 0 | 0 % | 0.000 m²