## Suite Line Capacity
Report generated for: | Room XOD001 on Floor Ground Floor in Site OXFORD MTX
| Quantity | % of all area | Area
Total free sections: | 100/262 | 59 % | 55.136 m²
Total occupied sections: | 162/262 | 41 % | 38.435 m²
Total reserved sections: | 0/262 | 0 % | 0.000 m²
Total Lines Capability |  |  | 93.571 m²
Total Location Capability |  |  | 251.254 m²
Total Location Free Area |  |  | 212.819 m²
Total Location Occupied Area |  |  | 38.435 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 101 | 12 | Free | 2 | 40 % | 1.260 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 101 | 12 | Occupied | 10 | 60 % | 1.860 m² | Rack 101/102*13, Floor Position = 101/102*13 | 14 | 39 | 13 | 9 | 20 | 8
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 101 | 12 | Occupied | 10 | 60 % | 1.860 m² | Rack 101/102*07, Floor Position = 101/102*07 | 41 | 44 | 41 | 41 | 44 | 41
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 101 | 12 | Occupied | 10 | 60 % | 1.860 m² | Rack 101/102*09, Floor Position = 101/102*09 | 40 | 44 | 40 | 40 | 44 | 40
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 101 | 12 | Occupied | 10 | 60 % | 1.860 m² | Rack 101/102*08, Floor Position = 101/102*08 | 41 | 44 | 41 | 41 | 44 | 41
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 101 | 12 | Occupied | 10 | 60 % | 1.860 m² | Rack 101*05, Floor Position = 101*05 | 44 | 47 | 44 | 44 | 47 | 44
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 101 | 12 | Occupied | 10 | 60 % | 1.860 m² | Rack 101/102*06, Floor Position = 101/102*06 | 40 | 44 | 40 | 40 | 44 | 40
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 101 | 12 | Occupied | 10 | 60 % | 1.860 m² | Rack 101/102*04, Floor Position = 101/102*04 | 40 | 44 | 40 | 40 | 44 | 40
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 101 | 12 | Occupied | 10 | 60 % | 1.860 m² | Rack 101/102*02, Floor Position = 101/102*02 | 40 | 44 | 40 | 40 | 44 | 40
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 101 | 12 | Occupied | 10 | 60 % | 1.860 m² | Rack 101/102*03, Floor Position = 101/102*03 | 40 | 44 | 40 | 40 | 44 | 40
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 101 | 12 | Occupied | 10 | 60 % | 1.860 m² | Rack 101/102*01, Floor Position = 101/102*01 | 40 | 44 | 40 | 40 | 44 | 40
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 101 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 102 | 12 | Free | 3 | 48 % | 1.500 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 102 | 12 | Occupied | 9 | 52 % | 1.620 m² | Rack 101/102*13, Floor Position = 101/102*13 | 14 | 39 | 13 | 9 | 20 | 8
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 102 | 12 | Occupied | 9 | 52 % | 1.620 m² | Rack 101/102*07, Floor Position = 101/102*07 | 41 | 44 | 41 | 41 | 44 | 41
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 102 | 12 | Occupied | 9 | 52 % | 1.620 m² | Rack 101/102*09, Floor Position = 101/102*09 | 40 | 44 | 40 | 40 | 44 | 40
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 102 | 12 | Occupied | 9 | 52 % | 1.620 m² | Rack 101/102*08, Floor Position = 101/102*08 | 41 | 44 | 41 | 41 | 44 | 41
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 102 | 12 | Occupied | 9 | 52 % | 1.620 m² | Rack 101/102*06, Floor Position = 101/102*06 | 40 | 44 | 40 | 40 | 44 | 40
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 102 | 12 | Occupied | 9 | 52 % | 1.620 m² | Rack 101/102*04, Floor Position = 101/102*04 | 40 | 44 | 40 | 40 | 44 | 40
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 102 | 12 | Occupied | 9 | 52 % | 1.620 m² | Rack 101/102*02, Floor Position = 101/102*02 | 40 | 44 | 40 | 40 | 44 | 40
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 102 | 12 | Occupied | 9 | 52 % | 1.620 m² | Rack 101/102*03, Floor Position = 101/102*03 | 40 | 44 | 40 | 40 | 44 | 40
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 102 | 12 | Occupied | 9 | 52 % | 1.620 m² | Rack 101/102*01, Floor Position = 101/102*01 | 40 | 44 | 40 | 40 | 44 | 40
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 102 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 103 | 13 | Free | 0 | 3 % | 0.099 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 103 | 13 | Occupied | 13 | 97 % | 3.146 m² | Rack 103/104*11, Floor Position = 103/104*11 | 39 | 41 | 39 | 39 | 41 | 39
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 103 | 13 | Occupied | 13 | 97 % | 3.146 m² | Rack 103/104*12, Floor Position = 103/104*12 | 31 | 41 | 31 | 27 | 41 | 27
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 103 | 13 | Occupied | 13 | 97 % | 3.146 m² | ODF Amitie ODF - OXFMTX, Floor Position = 103*13 | 28 | 47 | 28 | 20 | 47 | 20
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 103 | 13 | Occupied | 13 | 97 % | 3.146 m² | Rack 103/104*07, Floor Position = 103/104*07 | 39 | 41 | 39 | 39 | 41 | 39
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 103 | 13 | Occupied | 13 | 97 % | 3.146 m² | Rack 103/104*10, Floor Position = 103/104*10 | 39 | 41 | 39 | 39 | 41 | 39
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 103 | 13 | Occupied | 13 | 97 % | 3.146 m² | Rack 103/104*08, Floor Position = 103/104*08 | 39 | 41 | 39 | 39 | 41 | 39
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 103 | 13 | Occupied | 13 | 97 % | 3.146 m² | Rack 103/104*09, Floor Position = 103/104*09 | 39 | 41 | 39 | 39 | 41 | 39
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 103 | 13 | Occupied | 13 | 97 % | 3.146 m² | Rack 103/104*04, Floor Position = 103/104*04 | 39 | 41 | 39 | 39 | 41 | 39
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 103 | 13 | Occupied | 13 | 97 % | 3.146 m² | Rack 103/104*05, Floor Position = 103/104*05 | 39 | 41 | 39 | 39 | 41 | 39
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 103 | 13 | Occupied | 13 | 97 % | 3.146 m² | Rack 103/104*06, Floor Position = 103/104*06 | 39 | 41 | 39 | 39 | 41 | 39
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 103 | 13 | Occupied | 13 | 97 % | 3.146 m² | Rack 103/104*02, Floor Position = 103/104*02 | 31 | 41 | 31 | 30 | 41 | 30
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 103 | 13 | Occupied | 13 | 97 % | 3.146 m² | Rack 103/104*03, Floor Position = 103/104*03 | 39 | 41 | 39 | 39 | 41 | 39
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 103 | 13 | Occupied | 13 | 97 % | 3.146 m² | Rack 103/104*01, Floor Position = 103/104*01 | 31 | 41 | 31 | 27 | 41 | 27
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 103 | 13 | Reserved | 0 | 0 % | 0.000 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 104 | 13 | Free | 1 | 55 % | 1.800 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 104 | 13 | Occupied | 12 | 45 % | 1.444 m² | Rack 103/104*12, Floor Position = 103/104*12 | 31 | 41 | 31 | 27 | 41 | 27
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 104 | 13 | Occupied | 12 | 45 % | 1.444 m² | Rack 103/104*11, Floor Position = 103/104*11 | 39 | 41 | 39 | 39 | 41 | 39
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 104 | 13 | Occupied | 12 | 45 % | 1.444 m² | Rack 103/104*07, Floor Position = 103/104*07 | 39 | 41 | 39 | 39 | 41 | 39
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 104 | 13 | Occupied | 12 | 45 % | 1.444 m² | Rack 103/104*09, Floor Position = 103/104*09 | 39 | 41 | 39 | 39 | 41 | 39
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 104 | 13 | Occupied | 12 | 45 % | 1.444 m² | Rack 103/104*10, Floor Position = 103/104*10 | 39 | 41 | 39 | 39 | 41 | 39
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 104 | 13 | Occupied | 12 | 45 % | 1.444 m² | Rack 103/104*08, Floor Position = 103/104*08 | 39 | 41 | 39 | 39 | 41 | 39
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 104 | 13 | Occupied | 12 | 45 % | 1.444 m² | Rack 103/104*05, Floor Position = 103/104*05 | 39 | 41 | 39 | 39 | 41 | 39
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 104 | 13 | Occupied | 12 | 45 % | 1.444 m² | Rack 103/104*06, Floor Position = 103/104*06 | 39 | 41 | 39 | 39 | 41 | 39
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 104 | 13 | Occupied | 12 | 45 % | 1.444 m² | Rack 103/104*04, Floor Position = 103/104*04 | 39 | 41 | 39 | 39 | 41 | 39
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 104 | 13 | Occupied | 12 | 45 % | 1.444 m² | Rack 103/104*02, Floor Position = 103/104*02 | 31 | 41 | 31 | 30 | 41 | 30
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 104 | 13 | Occupied | 12 | 45 % | 1.444 m² | Rack 103/104*03, Floor Position = 103/104*03 | 39 | 41 | 39 | 39 | 41 | 39
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 104 | 13 | Occupied | 12 | 45 % | 1.444 m² | Rack 103/104*01, Floor Position = 103/104*01 | 31 | 41 | 31 | 27 | 41 | 27
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 104 | 13 | Reserved | 0 | 0 % | 0.000 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 105 | 10 | Free | 8 | 92 % | 2.880 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 105 | 10 | Occupied | 2 | 8 % | 0.240 m² | Rack 105/106*02, Floor Position = 105/106*02 | 42 | 44 | 42 | 42 | 44 | 42
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 105 | 10 | Occupied | 2 | 8 % | 0.240 m² | Rack 105/106*01, Floor Position = 105/106*01 | 19 | 42 | 19 | 16 | 42 | 16
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 105 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 106 | 10 | Free | 8 | 85 % | 2.640 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 106 | 10 | Occupied | 2 | 15 % | 0.480 m² | Rack 105/106*02, Floor Position = 105/106*02 | 42 | 44 | 42 | 42 | 44 | 42
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 106 | 10 | Occupied | 2 | 15 % | 0.480 m² | Rack 105/106*01, Floor Position = 105/106*01 | 19 | 42 | 19 | 16 | 42 | 16
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 106 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 107 | 10 | Free | 3 | 46 % | 1.440 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 107 | 10 | Occupied | 7 | 54 % | 1.680 m² | Rack 107*12, Floor Position = 107*12 | 44 | 47 | 44 | 44 | 47 | 44
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 107 | 10 | Occupied | 7 | 54 % | 1.680 m² | Rack 107/108*13, Floor Position = 107/108*13 | 60 | 60 | 60 | 60 | 60 | 60
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 107 | 10 | Occupied | 7 | 54 % | 1.680 m² | Rack 107*11, Floor Position = 107*11 | 40 | 44 | 40 | 40 | 44 | 40
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 107 | 10 | Occupied | 7 | 54 % | 1.680 m² | ODF 107*10, Floor Position = 107*10 | 43 | 47 | 43 | 33 | 47 | 33
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 107 | 10 | Occupied | 7 | 54 % | 1.680 m² | ODF 107*08, Floor Position = 107*08 | 47 | 47 | 47 | 47 | 47 | 47
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 107 | 10 | Occupied | 7 | 54 % | 1.680 m² | Rack 107/108*02, Floor Position = 107/108*02 | 52 | 60 | 52 | 52 | 60 | 52
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 107 | 10 | Occupied | 7 | 54 % | 1.680 m² | Rack 107/108*01, Floor Position = 107/108*01 | 52 | 60 | 52 | 52 | 60 | 52
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 107 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 108 | 10 | Free | 5 | 62 % | 1.950 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 108 | 10 | Occupied | 5 | 37 % | 1.170 m² | Rack 107/108*13, Floor Position = 107/108*13 | 60 | 60 | 60 | 60 | 60 | 60
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 108 | 10 | Occupied | 5 | 37 % | 1.170 m² | Rack 108*11, Floor Position = 108*11 | 40 | 44 | 40 | 40 | 44 | 40
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 108 | 10 | Occupied | 5 | 37 % | 1.170 m² | ODF CODF 108*10 (E01), Floor Position = 108*10 | 25 | 47 | 25 | 18 | 47 | 18
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 108 | 10 | Occupied | 5 | 37 % | 1.170 m² | Rack 107/108*02, Floor Position = 107/108*02 | 52 | 60 | 52 | 52 | 60 | 52
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 108 | 10 | Occupied | 5 | 37 % | 1.170 m² | Rack 107/108*01, Floor Position = 107/108*01 | 52 | 60 | 52 | 52 | 60 | 52
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 108 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 109 | 11 | Free | 0 | 2 % | 0.048 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 109 | 11 | Occupied | 11 | 98 % | 3.072 m² | Rack 109*09, Floor Position = 109*09 | 45 | 45 | 45 | 45 | 45 | 45
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 109 | 11 | Occupied | 11 | 98 % | 3.072 m² | Rack 109*11, Floor Position = 109*11 | 45 | 45 | 45 | 45 | 45 | 45
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 109 | 11 | Occupied | 11 | 98 % | 3.072 m² | Rack 109*10, Floor Position = 109*10 | 45 | 45 | 45 | 45 | 45 | 45
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 109 | 11 | Occupied | 11 | 98 % | 3.072 m² | Rack 109*06, Floor Position = 109*06 | 45 | 45 | 45 | 45 | 45 | 45
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 109 | 11 | Occupied | 11 | 98 % | 3.072 m² | Rack 109*08, Floor Position = 109*08 | 45 | 45 | 45 | 45 | 45 | 45
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 109 | 11 | Occupied | 11 | 98 % | 3.072 m² | Rack 109*07, Floor Position = 109*07 | 45 | 45 | 45 | 45 | 45 | 45
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 109 | 11 | Occupied | 11 | 98 % | 3.072 m² | Rack 109*05, Floor Position = 109*05 | 45 | 45 | 45 | 45 | 45 | 45
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 109 | 11 | Occupied | 11 | 98 % | 3.072 m² | Rack 109*04, Floor Position = 109*04 | 45 | 45 | 45 | 45 | 45 | 45
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 109 | 11 | Occupied | 11 | 98 % | 3.072 m² | Rack 109/110*02, Floor Position = 109/110*02 | 41 | 42 | 41 | 41 | 42 | 41
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 109 | 11 | Occupied | 11 | 98 % | 3.072 m² | Rack 109*03, Floor Position = 109*03 | 45 | 45 | 45 | 45 | 45 | 45
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 109 | 11 | Occupied | 11 | 98 % | 3.072 m² | Rack 109/110*01, Floor Position = 109/110*01 | 38 | 41 | 38 | 38 | 41 | 38
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 109 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 110 | 11 | Free | 0 | 2 % | 0.048 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 110 | 11 | Occupied | 11 | 98 % | 3.072 m² | Rack 110*09, Floor Position = 110*09 | 27 | 45 | 27 | 26 | 45 | 26
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 110 | 11 | Occupied | 11 | 98 % | 3.072 m² | Rack 110*11, Floor Position = 110*11 | 27 | 45 | 27 | 26 | 45 | 26
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 110 | 11 | Occupied | 11 | 98 % | 3.072 m² | Rack 110*10, Floor Position = 110*10 | 3 | 44 | 3 | 2 | 23 | 2
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 110 | 11 | Occupied | 11 | 98 % | 3.072 m² | Rack 110*04, Floor Position = 110*04 | 27 | 45 | 27 | 26 | 45 | 26
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 110 | 11 | Occupied | 11 | 98 % | 3.072 m² | Rack 110*05, Floor Position = 110*05 | 27 | 45 | 27 | 26 | 45 | 26
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 110 | 11 | Occupied | 11 | 98 % | 3.072 m² | Rack 110*06, Floor Position = 110*06 | 27 | 45 | 27 | 26 | 45 | 26
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 110 | 11 | Occupied | 11 | 98 % | 3.072 m² | Rack 110*07, Floor Position = 110*07 | 27 | 45 | 27 | 26 | 45 | 26
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 110 | 11 | Occupied | 11 | 98 % | 3.072 m² | Rack 110*08, Floor Position = 110*08 | 27 | 45 | 27 | 26 | 45 | 26
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 110 | 11 | Occupied | 11 | 98 % | 3.072 m² | Rack 109/110*01, Floor Position = 109/110*01 | 38 | 41 | 38 | 38 | 41 | 38
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 110 | 11 | Occupied | 11 | 98 % | 3.072 m² | Rack 109/110*02, Floor Position = 109/110*02 | 41 | 42 | 41 | 41 | 42 | 41
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 110 | 11 | Occupied | 11 | 98 % | 3.072 m² | Rack 110*03, Floor Position = 110*03 | 27 | 45 | 27 | 26 | 45 | 26
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 110 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 111 | 10 | Free | 3 | 28 % | 0.880 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 111 | 10 | Occupied | 7 | 72 % | 2.240 m² | Rack 111/112*09, Floor Position = 111/112*09 | 38 | 34 | 32 | 22 | 33 | 21
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 111 | 10 | Occupied | 7 | 72 % | 2.240 m² | Rack 111/112*10, Floor Position = 111/112*10 | 23 | 40 | 20 | 12 | 29 | 11
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 111 | 10 | Occupied | 7 | 72 % | 2.240 m² | Rack 111/112*07, Floor Position = 111/112*07 | 44 | 44 | 43 | 44 | 44 | 43
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 111 | 10 | Occupied | 7 | 72 % | 2.240 m² | Rack 111/112*08, Floor Position = 111/112*08 | 45 | 44 | 44 | 45 | 44 | 44
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 111 | 10 | Occupied | 7 | 72 % | 2.240 m² | Rack 111/112*05, Floor Position = 111/112*05 | 22 | 35 | 21 | 19 | 29 | 18
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 111 | 10 | Occupied | 7 | 72 % | 2.240 m² | Rack 111/112*02, Floor Position = 111/112*02 | 36 | 46 | 36 | 36 | 46 | 36
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 111 | 10 | Occupied | 7 | 72 % | 2.240 m² | Rack 111/112*01, Floor Position = 111/112*01 | 35 | 46 | 35 | 35 | 46 | 35
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 111 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 112 | 10 | Free | 3 | 28 % | 0.880 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 112 | 10 | Occupied | 7 | 72 % | 2.240 m² | Rack 111/112*10, Floor Position = 111/112*10 | 23 | 40 | 20 | 12 | 29 | 11
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 112 | 10 | Occupied | 7 | 72 % | 2.240 m² | Rack 111/112*09, Floor Position = 111/112*09 | 38 | 34 | 32 | 22 | 33 | 21
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 112 | 10 | Occupied | 7 | 72 % | 2.240 m² | Rack 111/112*07, Floor Position = 111/112*07 | 44 | 44 | 43 | 44 | 44 | 43
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 112 | 10 | Occupied | 7 | 72 % | 2.240 m² | Rack 111/112*08, Floor Position = 111/112*08 | 45 | 44 | 44 | 45 | 44 | 44
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 112 | 10 | Occupied | 7 | 72 % | 2.240 m² | Rack 111/112*05, Floor Position = 111/112*05 | 22 | 35 | 21 | 19 | 29 | 18
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 112 | 10 | Occupied | 7 | 72 % | 2.240 m² | Rack 111/112*02, Floor Position = 111/112*02 | 36 | 46 | 36 | 36 | 46 | 36
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 112 | 10 | Occupied | 7 | 72 % | 2.240 m² | Rack 111/112*01, Floor Position = 111/112*01 | 35 | 46 | 35 | 35 | 46 | 35
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 112 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 113 | 9 | Free | 5 | 61 % | 1.890 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 113 | 9 | Occupied | 4 | 39 % | 1.230 m² | Rack 113/114*07, Floor Position = 113/114*07 | 13 | 39 | 11 | 8 | 37 | 7
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 113 | 9 | Occupied | 4 | 39 % | 1.230 m² | Rack 113/114*06, Floor Position = 113/114*06 | 15 | 44 | 14 | 9 | 44 | 9
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 113 | 9 | Occupied | 4 | 39 % | 1.230 m² | Rack 113/114*05, Floor Position = 113/114*05 | 42 | 41 | 41 | 34 | 34 | 34
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 113 | 9 | Occupied | 4 | 39 % | 1.230 m² | ODF CODF 113*01 (W01), Floor Position = 113*01 | 28 | 47 | 28 | 16 | 47 | 16
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 113 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 114 | 9 | Free | 4 | 52 % | 1.620 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 114 | 9 | Occupied | 5 | 48 % | 1.500 m² | Rack 113/114*06, Floor Position = 113/114*06 | 15 | 44 | 14 | 9 | 44 | 9
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 114 | 9 | Occupied | 5 | 48 % | 1.500 m² | Rack 113/114*07, Floor Position = 113/114*07 | 13 | 39 | 11 | 8 | 37 | 7
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 114 | 9 | Occupied | 5 | 48 % | 1.500 m² | Rack 113/114*05, Floor Position = 113/114*05 | 42 | 41 | 41 | 34 | 34 | 34
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 114 | 9 | Occupied | 5 | 48 % | 1.500 m² | ODF 114*01, Floor Position = 114*01 | 46 | 47 | 46 | 46 | 47 | 46
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 114 | 9 | Occupied | 5 | 48 % | 1.500 m² | ODF 114*03, Floor Position = 114*03 | 47 | 47 | 47 | 47 | 47 | 47
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 114 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 115 | 11 | Free | 8 | 77 % | 2.400 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 115 | 11 | Occupied | 3 | 23 % | 0.720 m² | Rack 115*05, Floor Position = 115*05 | 35 | 38 | 35 | 35 | 38 | 35
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 115 | 11 | Occupied | 3 | 23 % | 0.720 m² | Rack 115*01, Floor Position = 115*01 | 31 | 38 | 31 | 31 | 38 | 31
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 115 | 11 | Occupied | 3 | 23 % | 0.720 m² | Rack 115*03, Floor Position = 115*03 | 31 | 38 | 31 | 31 | 38 | 31
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 115 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 116 | 11 | Free | 11 | 100 % | 3.120 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 116 | 11 | Occupied | 0 | 0 % | 0.000 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 116 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 117 | 10 | Free | 6 | 59 % | 1.840 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 117 | 10 | Occupied | 4 | 41 % | 1.280 m² | Rack 117/118*13, Floor Position = 117/118*13 | 31 | 46 | 30 | 30 | 46 | 30
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 117 | 10 | Occupied | 4 | 41 % | 1.280 m² | Rack 117/118*11, Floor Position = 117/118*11 | 31 | 46 | 30 | 30 | 46 | 30
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 117 | 10 | Occupied | 4 | 41 % | 1.280 m² | Rack 117/118*09, Floor Position = 117/118*09 | 38 | 43 | 36 | 28 | 43 | 28
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 117 | 10 | Occupied | 4 | 41 % | 1.280 m² | Rack 117/118*10, Floor Position = 117/118*10 | 17 | 46 | 16 | 10 | 46 | 10
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 117 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 118 | 10 | Free | 6 | 59 % | 1.840 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 118 | 10 | Occupied | 4 | 41 % | 1.280 m² | Rack 117/118*13, Floor Position = 117/118*13 | 31 | 46 | 30 | 30 | 46 | 30
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 118 | 10 | Occupied | 4 | 41 % | 1.280 m² | Rack 117/118*11, Floor Position = 117/118*11 | 31 | 46 | 30 | 30 | 46 | 30
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 118 | 10 | Occupied | 4 | 41 % | 1.280 m² | Rack 117/118*09, Floor Position = 117/118*09 | 38 | 43 | 36 | 28 | 43 | 28
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 118 | 10 | Occupied | 4 | 41 % | 1.280 m² | Rack 117/118*10, Floor Position = 117/118*10 | 17 | 46 | 16 | 10 | 46 | 10
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 118 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 119 | 11 | Free | 4 | 41 % | 1.280 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 119 | 11 | Occupied | 7 | 59 % | 1.840 m² | Rack 119/120*12, Floor Position = 119/120*12 | 39 | 41 | 39 | 39 | 41 | 39
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 119 | 11 | Occupied | 7 | 59 % | 1.840 m² | Rack 119/120*13, Floor Position = 119/120*13 | 42 | 42 | 42 | 42 | 42 | 42
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 119 | 11 | Occupied | 7 | 59 % | 1.840 m² | Rack 119/120*11, Floor Position = 119/120*11 | 42 | 42 | 42 | 42 | 42 | 42
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 119 | 11 | Occupied | 7 | 59 % | 1.840 m² | Rack 119/120*07, Floor Position = 119/120*07 | 39 | 41 | 39 | 39 | 41 | 39
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 119 | 11 | Occupied | 7 | 59 % | 1.840 m² | Rack 119/120*06, Floor Position = 119/120*06 | 42 | 42 | 42 | 42 | 42 | 42
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 119 | 11 | Occupied | 7 | 59 % | 1.840 m² | Rack 119/120*02, Floor Position = 119/120*02 | 24 | 39 | 21 | 19 | 37 | 18
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 119 | 11 | Occupied | 7 | 59 % | 1.840 m² | Rack 119/120*01, Floor Position = 119/120*01 | 18 | 35 | 18 | 15 | 29 | 15
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 119 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 120 | 11 | Free | 4 | 56 % | 1.760 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 120 | 11 | Occupied | 7 | 44 % | 1.360 m² | Rack 119/120*12, Floor Position = 119/120*12 | 39 | 41 | 39 | 39 | 41 | 39
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 120 | 11 | Occupied | 7 | 44 % | 1.360 m² | Rack 119/120*13, Floor Position = 119/120*13 | 42 | 42 | 42 | 42 | 42 | 42
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 120 | 11 | Occupied | 7 | 44 % | 1.360 m² | Rack 119/120*11, Floor Position = 119/120*11 | 42 | 42 | 42 | 42 | 42 | 42
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 120 | 11 | Occupied | 7 | 44 % | 1.360 m² | Rack 119/120*07, Floor Position = 119/120*07 | 39 | 41 | 39 | 39 | 41 | 39
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 120 | 11 | Occupied | 7 | 44 % | 1.360 m² | Rack 119/120*06, Floor Position = 119/120*06 | 42 | 42 | 42 | 42 | 42 | 42
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 120 | 11 | Occupied | 7 | 44 % | 1.360 m² | Rack 119/120*02, Floor Position = 119/120*02 | 24 | 39 | 21 | 19 | 37 | 18
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 120 | 11 | Occupied | 7 | 44 % | 1.360 m² | Rack 119/120*01, Floor Position = 119/120*01 | 18 | 35 | 18 | 15 | 29 | 15
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 120 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 121 | 12 | Free | 5 | 73 % | 2.280 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 121 | 12 | Occupied | 7 | 27 % | 0.840 m² | Rack 121/122*07, Floor Position = 121/122*07 | 41 | 43 | 41 | 41 | 43 | 41
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 121 | 12 | Occupied | 7 | 27 % | 0.840 m² | Rack 121/122*08, Floor Position = 121/122*08 | 44 | 44 | 44 | 44 | 44 | 44
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 121 | 12 | Occupied | 7 | 27 % | 0.840 m² | Rack 121/122*06, Floor Position = 121/122*06 | 41 | 43 | 41 | 41 | 43 | 41
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 121 | 12 | Occupied | 7 | 27 % | 0.840 m² | Rack 121/122*04, Floor Position = 121/122*04 | 44 | 44 | 44 | 44 | 44 | 44
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 121 | 12 | Occupied | 7 | 27 % | 0.840 m² | Rack 121/122*02, Floor Position = 121/122*02 | 41 | 43 | 41 | 41 | 43 | 41
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 121 | 12 | Occupied | 7 | 27 % | 0.840 m² | Rack 121/122*03, Floor Position = 121/122*03 | 41 | 43 | 41 | 41 | 43 | 41
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 121 | 12 | Occupied | 7 | 27 % | 0.840 m² | Rack 121/122*01, Floor Position = 121/122*01 | 42 | 42 | 42 | 42 | 42 | 42
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 121 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 122 | 12 | Free | 5 | 54 % | 1.680 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 122 | 12 | Occupied | 7 | 46 % | 1.440 m² | Rack 121/122*07, Floor Position = 121/122*07 | 41 | 43 | 41 | 41 | 43 | 41
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 122 | 12 | Occupied | 7 | 46 % | 1.440 m² | Rack 121/122*08, Floor Position = 121/122*08 | 44 | 44 | 44 | 44 | 44 | 44
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 122 | 12 | Occupied | 7 | 46 % | 1.440 m² | Rack 121/122*06, Floor Position = 121/122*06 | 41 | 43 | 41 | 41 | 43 | 41
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 122 | 12 | Occupied | 7 | 46 % | 1.440 m² | Rack 121/122*04, Floor Position = 121/122*04 | 44 | 44 | 44 | 44 | 44 | 44
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 122 | 12 | Occupied | 7 | 46 % | 1.440 m² | Rack 121/122*02, Floor Position = 121/122*02 | 41 | 43 | 41 | 41 | 43 | 41
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 122 | 12 | Occupied | 7 | 46 % | 1.440 m² | Rack 121/122*03, Floor Position = 121/122*03 | 41 | 43 | 41 | 41 | 43 | 41
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 122 | 12 | Occupied | 7 | 46 % | 1.440 m² | Rack 121/122*01, Floor Position = 121/122*01 | 42 | 42 | 42 | 42 | 42 | 42
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 122 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 123 | 10 | Free | 3 | 35 % | 1.104 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 123 | 10 | Occupied | 7 | 65 % | 2.016 m² | Rack 123*06, Floor Position = 123*06 | 27 | 45 | 27 | 26 | 45 | 26
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 123 | 10 | Occupied | 7 | 65 % | 2.016 m² | Rack 123*07, Floor Position = 123*07 | 27 | 45 | 27 | 26 | 45 | 26
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 123 | 10 | Occupied | 7 | 65 % | 2.016 m² | Rack 123*04, Floor Position = 123*04 | 27 | 45 | 27 | 26 | 45 | 26
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 123 | 10 | Occupied | 7 | 65 % | 2.016 m² | Rack 123*05, Floor Position = 123*05 | 27 | 45 | 27 | 26 | 45 | 26
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 123 | 10 | Occupied | 7 | 65 % | 2.016 m² | Rack 123*02, Floor Position = 123*02 | 3 | 44 | 3 | 2 | 23 | 2
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 123 | 10 | Occupied | 7 | 65 % | 2.016 m² | Rack 123*03, Floor Position = 123*03 | 27 | 45 | 27 | 26 | 45 | 26
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 123 | 10 | Occupied | 7 | 65 % | 2.016 m² | Rack 123*01, Floor Position = 123*01 | 27 | 45 | 27 | 26 | 45 | 26
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 123 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 124 | 10 | Free | 3 | 35 % | 1.104 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 124 | 10 | Occupied | 7 | 65 % | 2.016 m² | Rack 124*06, Floor Position = 124*06 | 45 | 45 | 45 | 45 | 45 | 45
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 124 | 10 | Occupied | 7 | 65 % | 2.016 m² | Rack 124*07, Floor Position = 124*07 | 45 | 45 | 45 | 45 | 45 | 45
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 124 | 10 | Occupied | 7 | 65 % | 2.016 m² | Rack 124*04, Floor Position = 124*04 | 45 | 45 | 45 | 45 | 45 | 45
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 124 | 10 | Occupied | 7 | 65 % | 2.016 m² | Rack 124*05, Floor Position = 124*05 | 45 | 45 | 45 | 45 | 45 | 45
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 124 | 10 | Occupied | 7 | 65 % | 2.016 m² | Rack 124*03, Floor Position = 124*03 | 45 | 45 | 45 | 45 | 45 | 45
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 124 | 10 | Occupied | 7 | 65 % | 2.016 m² | Rack 124*02, Floor Position = 124*02 | 45 | 45 | 45 | 45 | 45 | 45
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 124 | 10 | Occupied | 7 | 65 % | 2.016 m² | Rack 124*01, Floor Position = 124*01 | 45 | 45 | 45 | 45 | 45 | 45
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | 124 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | WALL01 | 2 | Free | 0 | 94 % | 7.602 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | WALL01 | 2 | Occupied | 2 | 6 % | 0.480 m² | Rack WALL01*21, Floor Position = WALL01*21 | 40 | 42 | 40 | 40 | 42 | 40
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | WALL01 | 2 | Occupied | 2 | 6 % | 0.480 m² | Rack WALL01*14, Floor Position = WALL01*14 | 42 | 42 | 42 | 42 | 42 | 42
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | WALL01 | 2 | Reserved | 0 | 0 % | 0.000 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | WALL02 | 0 | Free | 0 | 100 % | 2.294 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | WALL02 | 0 | Occupied | 0 | 0 % | 0.000 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | WALL02 | 0 | Reserved | 0 | 0 % | 0.000 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | WALL03 | 1 | Free | 0 | 99 % | 5.792 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | WALL03 | 1 | Occupied | 1 | 1 % | 0.084 m² | Rack WALL03*18, Floor Position = WALL03*18 | 0 | 29 | 0 | 0 | 29 | 0
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | WALL03 | 1 | Reserved | 0 | 0 % | 0.000 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | WALL04 | 1 | Free | 0 | 96 % | 2.105 m²
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | WALL04 | 1 | Occupied | 1 | 4 % | 0.086 m² | Rack WALL04*18, Floor Position = WALL0418 | 0 | 29 | 0 | 0 | 29 | 0
Room XOD001 on Floor Ground Floor in Site OXFORD MTX | 57452.00 W | 40000.00 W | 144 % | WALL04 | 1 | Reserved | 0 | 0 % | 0.000 m²