## Suite Line Capacity
Report generated for: | Room YRK on Floor Ground Floor in Site YORK TAN
| Quantity | % of all area | Area
Total free sections: | 68/147 | 53 % | 15.529 m²
Total occupied sections: | 79/147 | 47 % | 13.669 m²
Total reserved sections: | 0/147 | 0 % | 0.000 m²
Total Lines Capability |  |  | 29.198 m²
Total Location Capability |  |  | 117.421 m²
Total Location Free Area |  |  | 103.572 m²
Total Location Occupied Area |  |  | 13.849 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | A | 11 | Free | 2 | 44 % | 1.185 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | A | 11 | Occupied | 9 | 56 % | 1.515 m² | Rack A02, Floor Position = A2 | 39 | 45 | 39 | 21 | 45 | 21
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | A | 11 | Occupied | 9 | 56 % | 1.515 m² | Rack A0, Floor Position = A0 | 5 | 47 | 5 | 5 | 47 | 5
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | A | 11 | Occupied | 9 | 56 % | 1.515 m² | ODF A01, Floor Position = A1 | 13 | 53 | 13 | 8 | 53 | 8
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | A | 11 | Occupied | 9 | 56 % | 1.515 m² | Rack A03, Floor Position = A3 | 28 | 44 | 25 | 10 | 31 | 10
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | A | 11 | Occupied | 9 | 56 % | 1.515 m² | Rack A9, Floor Position = A9 | 50 | 53 | 50 | 50 | 53 | 50
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | A | 11 | Occupied | 9 | 56 % | 1.515 m² | Rack A7, Floor Position = A7 | 50 | 53 | 50 | 50 | 53 | 50
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | A | 11 | Occupied | 9 | 56 % | 1.515 m² | Rack A6, Floor Position = A6 | 50 | 53 | 50 | 50 | 53 | 50
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | A | 11 | Occupied | 9 | 56 % | 1.515 m² | Rack A8, Floor Position = A8 | 50 | 53 | 50 | 50 | 53 | 50
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | A | 11 | Occupied | 9 | 56 % | 1.515 m² | Rack A10, Floor Position = A10 | 50 | 53 | 50 | 50 | 53 | 50
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | A | 11 | Reserved | 0 | 0 % | 0.000 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | B | 11 | Free | 5 | 64 % | 1.731 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | B | 11 | Occupied | 6 | 36 % | 0.969 m² | Rack B2, Floor Position = B2 | 34 | 38 | 34 | 34 | 38 | 34
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | B | 11 | Occupied | 6 | 36 % | 0.969 m² | Rack B0, Floor Position = B0 | 5 | 47 | 5 | 5 | 47 | 5
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | B | 11 | Occupied | 6 | 36 % | 0.969 m² | Rack A03, Floor Position = A3 | 28 | 44 | 25 | 10 | 31 | 10
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | B | 11 | Occupied | 6 | 36 % | 0.969 m² | Rack B9, Floor Position = B9 | 50 | 53 | 50 | 50 | 53 | 50
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | B | 11 | Occupied | 6 | 36 % | 0.969 m² | Rack B6, Floor Position = B6 | 39 | 42 | 39 | 39 | 42 | 39
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | B | 11 | Occupied | 6 | 36 % | 0.969 m² | Rack B7, Floor Position = B7 | 50 | 53 | 50 | 50 | 53 | 50
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | B | 11 | Reserved | 0 | 0 % | 0.000 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | C | 11 | Free | 7 | 67 % | 1.350 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | C | 11 | Occupied | 4 | 33 % | 0.675 m² | ODF CODF C03, Floor Position = C3 | 45 | 47 | 45 | 30 | 47 | 30
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | C | 11 | Occupied | 4 | 33 % | 0.675 m² | Rack C0, Floor Position = C0 | 5 | 47 | 5 | 5 | 47 | 5
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | C | 11 | Occupied | 4 | 33 % | 0.675 m² | Rack C1, Floor Position = C1 | 24 | 44 | 24 | 20 | 44 | 20
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | C | 11 | Occupied | 4 | 33 % | 0.675 m² | Rack C02, Floor Position = C2 | 23 | 44 | 23 | 20 | 44 | 20
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | C | 11 | Reserved | 0 | 0 % | 0.000 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | D | 12 | Free | 5 | 44 % | 0.780 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | D | 12 | Occupied | 7 | 56 % | 0.975 m² | Rack D0, Floor Position = D0 | 5 | 47 | 5 | 5 | 47 | 5
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | D | 12 | Occupied | 7 | 56 % | 0.975 m² | Rack D2, Floor Position = D2 | 50 | 53 | 50 | 50 | 53 | 50
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | D | 12 | Occupied | 7 | 56 % | 0.975 m² | Rack D1, Floor Position = D1 | 50 | 53 | 50 | 50 | 53 | 50
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | D | 12 | Occupied | 7 | 56 % | 0.975 m² | Rack D4, Floor Position = D4 | 50 | 53 | 50 | 50 | 53 | 50
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | D | 12 | Occupied | 7 | 56 % | 0.975 m² | Rack D3, Floor Position = D3 | 50 | 53 | 50 | 50 | 53 | 50
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | D | 12 | Occupied | 7 | 56 % | 0.975 m² | Rack D7, Floor Position = D7 | 50 | 53 | 50 | 50 | 53 | 50
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | D | 12 | Occupied | 7 | 56 % | 0.975 m² | Rack D6, Floor Position = D6 | 50 | 53 | 50 | 50 | 53 | 50
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | D | 12 | Reserved | 0 | 0 % | 0.000 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | E | 11 | Free | 5 | 43 % | 0.780 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | E | 11 | Occupied | 6 | 57 % | 1.014 m² | Rack E9, Floor Position = E9 | 54 | 54 | 54 | 54 | 54 | 54
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | E | 11 | Occupied | 6 | 57 % | 1.014 m² | Rack E7, Floor Position = E7 | 54 | 54 | 54 | 54 | 54 | 54
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | E | 11 | Occupied | 6 | 57 % | 1.014 m² | Rack E6, Floor Position = E6 | 54 | 54 | 54 | 54 | 54 | 54
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | E | 11 | Occupied | 6 | 57 % | 1.014 m² | Rack E8, Floor Position = E8 | 54 | 54 | 54 | 54 | 54 | 54
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | E | 11 | Occupied | 6 | 57 % | 1.014 m² | Rack E11, Floor Position = E11 | 54 | 54 | 54 | 54 | 54 | 54
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | E | 11 | Occupied | 6 | 57 % | 1.014 m² | Rack E10, Floor Position = E10 | 54 | 54 | 54 | 54 | 54 | 54
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | E | 11 | Reserved | 0 | 0 % | 0.000 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | F | 10 | Free | 9 | 87 % | 2.220 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | F | 10 | Occupied | 1 | 13 % | 0.333 m² | Rack F11, Floor Position = F11 | 45 | 45 | 45 | 45 | 45 | 45
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | F | 10 | Reserved | 0 | 0 % | 0.000 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | G | 11 | Free | 0 | 3 % | 0.074 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | G | 11 | Occupied | 11 | 97 % | 2.103 m² | Rack G2, Floor Position = G2 | 50 | 53 | 50 | 50 | 53 | 50
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | G | 11 | Occupied | 11 | 97 % | 2.103 m² | Rack G0, Floor Position = G0 | 5 | 47 | 5 | 5 | 47 | 5
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | G | 11 | Occupied | 11 | 97 % | 2.103 m² | Rack G1, Floor Position = G1 | 50 | 53 | 50 | 50 | 53 | 50
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | G | 11 | Occupied | 11 | 97 % | 2.103 m² | Rack G3, Floor Position = G3 | 50 | 53 | 50 | 50 | 53 | 50
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | G | 11 | Occupied | 11 | 97 % | 2.103 m² | Rack G4, Floor Position = G4 | 48 | 53 | 48 | 48 | 53 | 48
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | G | 11 | Occupied | 11 | 97 % | 2.103 m² | Rack G6, Floor Position = G6 | 37 | 53 | 37 | 33 | 53 | 33
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | G | 11 | Occupied | 11 | 97 % | 2.103 m² | Rack G5, Floor Position = G5 | 50 | 53 | 50 | 50 | 53 | 50
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | G | 11 | Occupied | 11 | 97 % | 2.103 m² | Rack G7, Floor Position = G7 | 43 | 46 | 43 | 43 | 46 | 43
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | G | 11 | Occupied | 11 | 97 % | 2.103 m² | Rack G8, Floor Position = G8 | 41 | 47 | 41 | 37 | 47 | 37
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | G | 11 | Occupied | 11 | 97 % | 2.103 m² | Rack H09, Floor Position = G9 | 26 | 44 | 26 | 17 | 44 | 17
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | G | 11 | Occupied | 11 | 97 % | 2.103 m² | Rack G10, Floor Position = G10 | 38 | 42 | 37 | 37 | 42 | 37
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | G | 11 | Reserved | 0 | 0 % | 0.000 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | H | 11 | Free | 0 | 6 % | 0.132 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | H | 11 | Occupied | 11 | 94 % | 2.043 m² | Rack H2, Floor Position = H2 | 43 | 46 | 43 | 43 | 46 | 43
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | H | 11 | Occupied | 11 | 94 % | 2.043 m² | Rack H0, Floor Position = H0 | 5 | 47 | 5 | 5 | 47 | 5
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | H | 11 | Occupied | 11 | 94 % | 2.043 m² | Rack H1, Floor Position = H1 | 50 | 53 | 50 | 50 | 53 | 50
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | H | 11 | Occupied | 11 | 94 % | 2.043 m² | Rack H3, Floor Position = H3 | 50 | 53 | 50 | 50 | 53 | 50
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | H | 11 | Occupied | 11 | 94 % | 2.043 m² | Rack H4, Floor Position = H4 | 43 | 46 | 43 | 43 | 46 | 43
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | H | 11 | Occupied | 11 | 94 % | 2.043 m² | Rack H6, Floor Position = H6 | 50 | 53 | 50 | 50 | 53 | 50
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | H | 11 | Occupied | 11 | 94 % | 2.043 m² | Rack H5, Floor Position = H5 | 50 | 53 | 50 | 50 | 53 | 50
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | H | 11 | Occupied | 11 | 94 % | 2.043 m² | Rack H07, Floor Position = H7 | 19 | 53 | 19 | 7 | 53 | 7
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | H | 11 | Occupied | 11 | 94 % | 2.043 m² | Rack G8, Floor Position = G8 | 41 | 47 | 41 | 37 | 47 | 37
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | H | 11 | Occupied | 11 | 94 % | 2.043 m² | Rack H09, Floor Position = G9 | 26 | 44 | 26 | 17 | 44 | 17
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | H | 11 | Occupied | 11 | 94 % | 2.043 m² | Rack G10, Floor Position = G10 | 38 | 42 | 37 | 37 | 42 | 37
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | H | 11 | Reserved | 0 | 0 % | 0.000 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | J | 8 | Free | 4 | 57 % | 0.936 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | J | 8 | Occupied | 4 | 43 % | 0.702 m² | Rack J9, Floor Position = J9 | 54 | 54 | 54 | 54 | 54 | 54
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | J | 8 | Occupied | 4 | 43 % | 0.702 m² | Rack J7, Floor Position = J7 | 54 | 54 | 54 | 54 | 54 | 54
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | J | 8 | Occupied | 4 | 43 % | 0.702 m² | Rack J6, Floor Position = J6 | 54 | 54 | 54 | 54 | 54 | 54
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | J | 8 | Occupied | 4 | 43 % | 0.702 m² | Rack J8, Floor Position = J8 | 54 | 54 | 54 | 54 | 54 | 54
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | J | 8 | Reserved | 0 | 0 % | 0.000 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | K | 8 | Free | 8 | 100 % | 1.638 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | K | 8 | Occupied | 0 | 0 % | 0.000 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | K | 8 | Reserved | 0 | 0 % | 0.000 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | L | 12 | Free | 5 | 46 % | 1.020 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | L | 12 | Occupied | 7 | 54 % | 1.185 m² | Rack L0, Floor Position = L0 | 5 | 47 | 5 | 5 | 47 | 5
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | L | 12 | Occupied | 7 | 54 % | 1.185 m² | Rack LM01, Floor Position = M1 | 35 | 42 | 35 | 31 | 42 | 31
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | L | 12 | Occupied | 7 | 54 % | 1.185 m² | Rack L9, Floor Position = L9 | 40 | 42 | 40 | 40 | 42 | 40
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | L | 12 | Occupied | 7 | 54 % | 1.185 m² | Rack L8, Floor Position = L8 | 38 | 42 | 38 | 38 | 42 | 38
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | L | 12 | Occupied | 7 | 54 % | 1.185 m² | Rack L11, Floor Position = L11 | 40 | 42 | 40 | 40 | 42 | 40
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | L | 12 | Occupied | 7 | 54 % | 1.185 m² | Rack L10, Floor Position = L10 | 40 | 42 | 40 | 40 | 42 | 40
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | L | 12 | Occupied | 7 | 54 % | 1.185 m² | Rack L12, Floor Position = L12 | 39 | 42 | 39 | 39 | 42 | 39
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | L | 12 | Reserved | 0 | 0 % | 0.000 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | M | 12 | Free | 4 | 38 % | 0.840 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | M | 12 | Occupied | 8 | 62 % | 1.365 m² | Rack M0, Floor Position = M0 | 5 | 47 | 5 | 5 | 47 | 5
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | M | 12 | Occupied | 8 | 62 % | 1.365 m² | Rack LM01, Floor Position = M1 | 35 | 42 | 35 | 31 | 42 | 31
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | M | 12 | Occupied | 8 | 62 % | 1.365 m² | ODF M6, Floor Position = M6 | 52 | 54 | 52 | 52 | 54 | 52
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | M | 12 | Occupied | 8 | 62 % | 1.365 m² | Rack L9, Floor Position = L9 | 40 | 42 | 40 | 40 | 42 | 40
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | M | 12 | Occupied | 8 | 62 % | 1.365 m² | Rack L8, Floor Position = L8 | 38 | 42 | 38 | 38 | 42 | 38
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | M | 12 | Occupied | 8 | 62 % | 1.365 m² | Rack L11, Floor Position = L11 | 40 | 42 | 40 | 40 | 42 | 40
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | M | 12 | Occupied | 8 | 62 % | 1.365 m² | Rack L10, Floor Position = L10 | 40 | 42 | 40 | 40 | 42 | 40
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | M | 12 | Occupied | 8 | 62 % | 1.365 m² | Rack L12, Floor Position = L12 | 39 | 42 | 39 | 39 | 42 | 39
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | M | 12 | Reserved | 0 | 0 % | 0.000 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | N | 9 | Free | 7 | 87 % | 1.367 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | N | 9 | Occupied | 2 | 13 % | 0.210 m² | Rack N9, Floor Position = N9 | 42 | 42 | 42 | 42 | 42 | 42
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | N | 9 | Occupied | 2 | 13 % | 0.210 m² | Rack N8, Floor Position = N8 | 42 | 42 | 42 | 42 | 42 | 42
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | N | 9 | Reserved | 0 | 0 % | 0.000 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | P | 9 | Free | 7 | 86 % | 1.356 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | P | 9 | Occupied | 2 | 14 % | 0.220 m² | Rack N9, Floor Position = N9 | 42 | 42 | 42 | 42 | 42 | 42
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | P | 9 | Occupied | 2 | 14 % | 0.220 m² | Rack N8, Floor Position = N8 | 42 | 42 | 42 | 42 | 42 | 42
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | P | 9 | Reserved | 0 | 0 % | 0.000 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | Q | 1 | Free | 0 | 25 % | 0.120 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | Q | 1 | Occupied | 1 | 75 % | 0.360 m² | Rack Q1, Floor Position = Q01 | 5 | 47 | 5 | 5 | 47 | 5
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | Q | 1 | Reserved | 0 | 0 % | 0.000 m²
Room YRK on Floor Ground Floor in Site YORK TAN | 9440.00 W | 33000.00 W | 29 % | [6 empty] | Rack YRK;DC SYS01, Floor Position = DUMMY LOAD | 43 | 47 | 43 | 42 | 47 | 42