## Suite Line Capacity
Report generated for: | Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY
| Quantity | % of all area | Area
Total free sections: | 56/144 | 51 % | 21.775 m²
Total occupied sections: | 88/144 | 49 % | 21.035 m²
Total reserved sections: | 0/144 | 0 % | 0.000 m²
Total Lines Capability |  |  | 42.810 m²
Total Location Capability |  |  | 328.787 m²
Total Location Free Area |  |  | 307.392 m²
Total Location Occupied Area |  |  | 21.395 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | A | 9 | Free | 9 | 100 % | 5.760 m²
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | A | 9 | Occupied | 0 | 0 % | 0.000 m²
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | A | 9 | Reserved | 0 | 0 % | 0.000 m²
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | B | 8 | Free | 0 | 0 % | 0.000 m²
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | B | 8 | Occupied | 8 | 100 % | 2.160 m² | Rack B7, Floor Position = B7 | 47 | 47 | 47 | 47 | 47 | 47
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | B | 8 | Occupied | 8 | 100 % | 2.160 m² | Rack B8, Floor Position = B8 | 47 | 47 | 47 | 47 | 47 | 47
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | B | 8 | Occupied | 8 | 100 % | 2.160 m² | Rack B2, Floor Position = B2 | 47 | 47 | 47 | 47 | 47 | 47
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | B | 8 | Occupied | 8 | 100 % | 2.160 m² | Rack B4, Floor Position = B4 | 47 | 47 | 47 | 47 | 47 | 47
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | B | 8 | Occupied | 8 | 100 % | 2.160 m² | Rack B5, Floor Position = B5 | 47 | 47 | 47 | 47 | 47 | 47
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | B | 8 | Occupied | 8 | 100 % | 2.160 m² | Rack B6, Floor Position = B6 | 47 | 47 | 47 | 47 | 47 | 47
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | B | 8 | Occupied | 8 | 100 % | 2.160 m² | Rack B3, Floor Position = B3 | 47 | 47 | 47 | 47 | 47 | 47
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | B | 8 | Occupied | 8 | 100 % | 2.160 m² | Rack B1, Floor Position = B1 | 47 | 47 | 47 | 47 | 47 | 47
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | B | 8 | Reserved | 0 | 0 % | 0.000 m²
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | C | 8 | Free | 0 | 0 % | 0.000 m²
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | C | 8 | Occupied | 8 | 100 % | 2.160 m² | Rack C7, Floor Position = C7 | 47 | 47 | 47 | 47 | 47 | 47
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | C | 8 | Occupied | 8 | 100 % | 2.160 m² | Rack C8, Floor Position = C8 | 47 | 47 | 47 | 47 | 47 | 47
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | C | 8 | Occupied | 8 | 100 % | 2.160 m² | Rack C2, Floor Position = C2 | 47 | 47 | 47 | 47 | 47 | 47
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | C | 8 | Occupied | 8 | 100 % | 2.160 m² | Rack C4, Floor Position = C4 | 47 | 47 | 47 | 47 | 47 | 47
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | C | 8 | Occupied | 8 | 100 % | 2.160 m² | Rack C6, Floor Position = C6 | 47 | 47 | 47 | 47 | 47 | 47
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | C | 8 | Occupied | 8 | 100 % | 2.160 m² | Rack C5, Floor Position = C5 | 47 | 47 | 47 | 47 | 47 | 47
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | C | 8 | Occupied | 8 | 100 % | 2.160 m² | Rack C3, Floor Position = C3 | 47 | 47 | 47 | 47 | 47 | 47
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | C | 8 | Occupied | 8 | 100 % | 2.160 m² | Rack C1, Floor Position = C1 | 47 | 47 | 47 | 47 | 47 | 47
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | C | 8 | Reserved | 0 | 0 % | 0.000 m²
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | D | 11 | Free | 1 | 12 % | 0.270 m²
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | D | 11 | Occupied | 10 | 88 % | 1.995 m² | Rack D10, Floor Position = D10 | 5 | 47 | 5 | 5 | 47 | 5
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | D | 11 | Occupied | 10 | 88 % | 1.995 m² | Rack D9, Floor Position = D9 | 41 | 45 | 41 | 41 | 45 | 41
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | D | 11 | Occupied | 10 | 88 % | 1.995 m² | Rack D8, Floor Position = D8 | 42 | 47 | 42 | 42 | 47 | 42
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | D | 11 | Occupied | 10 | 88 % | 1.995 m² | ODF D02, Floor Position = D2 | 0 | 47 | 0 | 0 | 47 | 0
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | D | 11 | Occupied | 10 | 88 % | 1.995 m² | Rack D6, Floor Position = D6 | 9 | 44 | 9 | 3 | 44 | 3
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | D | 11 | Occupied | 10 | 88 % | 1.995 m² | Rack D07, Floor Position = D7 | 6 | 44 | 6 | 2 | 44 | 2
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | D | 11 | Occupied | 10 | 88 % | 1.995 m² | Rack D05, Floor Position = D5 | 37 | 46 | 37 | 33 | 46 | 33
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | D | 11 | Occupied | 10 | 88 % | 1.995 m² | Rack D3, Floor Position = D3 | 40 | 45 | 40 | 40 | 45 | 40
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | D | 11 | Occupied | 10 | 88 % | 1.995 m² | Rack D4, Floor Position = D4 | 41 | 45 | 41 | 41 | 45 | 41
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | D | 11 | Occupied | 10 | 88 % | 1.995 m² | Rack D1, Floor Position = D1 | 5 | 47 | 5 | 5 | 47 | 5
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | D | 11 | Reserved | 0 | 0 % | 0.000 m²
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | E | 11 | Free | 2 | 20 % | 0.450 m²
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | E | 11 | Occupied | 9 | 80 % | 1.815 m² | Rack E10, Floor Position = E10 | 5 | 47 | 5 | 5 | 47 | 5
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | E | 11 | Occupied | 9 | 80 % | 1.815 m² | Rack D8, Floor Position = D8 | 42 | 47 | 42 | 42 | 47 | 42
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | E | 11 | Occupied | 9 | 80 % | 1.815 m² | Rack D9, Floor Position = D9 | 41 | 45 | 41 | 41 | 45 | 41
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | E | 11 | Occupied | 9 | 80 % | 1.815 m² | ODF E2, Floor Position = E2 | 47 | 47 | 47 | 47 | 47 | 47
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | E | 11 | Occupied | 9 | 80 % | 1.815 m² | Rack D05, Floor Position = D5 | 37 | 46 | 37 | 33 | 46 | 33
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | E | 11 | Occupied | 9 | 80 % | 1.815 m² | Rack E6, Floor Position = E6 | 24 | 44 | 24 | 20 | 44 | 20
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | E | 11 | Occupied | 9 | 80 % | 1.815 m² | Rack D3, Floor Position = D3 | 40 | 45 | 40 | 40 | 45 | 40
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | E | 11 | Occupied | 9 | 80 % | 1.815 m² | Rack D4, Floor Position = D4 | 41 | 45 | 41 | 41 | 45 | 41
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | E | 11 | Occupied | 9 | 80 % | 1.815 m² | Rack D1, Floor Position = D1 | 5 | 47 | 5 | 5 | 47 | 5
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | E | 11 | Reserved | 0 | 0 % | 0.000 m²
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | F | 13 | Free | 4 | 48 % | 1.515 m²
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | F | 13 | Occupied | 9 | 52 % | 1.665 m² | Rack F14, Floor Position = F14 | 5 | 47 | 5 | 5 | 47 | 5
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | F | 13 | Occupied | 9 | 52 % | 1.665 m² | Rack G13, Floor Position = G13 | 41 | 45 | 41 | 41 | 45 | 41
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | F | 13 | Occupied | 9 | 52 % | 1.665 m² | Rack G6, Floor Position = G6 | 41 | 45 | 41 | 41 | 45 | 41
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | F | 13 | Occupied | 9 | 52 % | 1.665 m² | Rack F07, Floor Position = F7 | 22 | 47 | 22 | 17 | 47 | 17
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | F | 13 | Occupied | 9 | 52 % | 1.665 m² | Rack G4, Floor Position = G4 | 41 | 45 | 41 | 41 | 45 | 41
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | F | 13 | Occupied | 9 | 52 % | 1.665 m² | Rack G5, Floor Position = G5 | 41 | 45 | 41 | 41 | 45 | 41
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | F | 13 | Occupied | 9 | 52 % | 1.665 m² | Rack G3, Floor Position = G3 | 40 | 45 | 40 | 40 | 45 | 40
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | F | 13 | Occupied | 9 | 52 % | 1.665 m² | Rack G1, Floor Position = G1 | 40 | 45 | 40 | 40 | 45 | 40
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | F | 13 | Occupied | 9 | 52 % | 1.665 m² | Rack G2, Floor Position = G2 | 40 | 45 | 40 | 40 | 45 | 40
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | F | 13 | Reserved | 0 | 0 % | 0.000 m²
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | G | 13 | Free | 5 | 45 % | 1.080 m²
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | G | 13 | Occupied | 8 | 55 % | 1.305 m² | Rack G14, Floor Position = G14 | 5 | 47 | 5 | 5 | 47 | 5
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | G | 13 | Occupied | 8 | 55 % | 1.305 m² | Rack G13, Floor Position = G13 | 41 | 45 | 41 | 41 | 45 | 41
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | G | 13 | Occupied | 8 | 55 % | 1.305 m² | Rack G6, Floor Position = G6 | 41 | 45 | 41 | 41 | 45 | 41
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | G | 13 | Occupied | 8 | 55 % | 1.305 m² | Rack G4, Floor Position = G4 | 41 | 45 | 41 | 41 | 45 | 41
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | G | 13 | Occupied | 8 | 55 % | 1.305 m² | Rack G5, Floor Position = G5 | 41 | 45 | 41 | 41 | 45 | 41
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | G | 13 | Occupied | 8 | 55 % | 1.305 m² | Rack G3, Floor Position = G3 | 40 | 45 | 40 | 40 | 45 | 40
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | G | 13 | Occupied | 8 | 55 % | 1.305 m² | Rack G1, Floor Position = G1 | 40 | 45 | 40 | 40 | 45 | 40
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | G | 13 | Occupied | 8 | 55 % | 1.305 m² | Rack G2, Floor Position = G2 | 40 | 45 | 40 | 40 | 45 | 40
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | G | 13 | Reserved | 0 | 0 % | 0.000 m²
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | H | 12 | Free | 2 | 19 % | 0.450 m²
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | H | 12 | Occupied | 10 | 81 % | 1.935 m² | Rack H13, Floor Position = H13 | 5 | 47 | 5 | 5 | 47 | 5
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | H | 12 | Occupied | 10 | 81 % | 1.935 m² | Rack H12, Floor Position = H12 | 41 | 45 | 41 | 41 | 45 | 41
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | H | 12 | Occupied | 10 | 81 % | 1.935 m² | ODF CODF H09, Floor Position = H9 | 40 | 47 | 40 | 16 | 47 | 16
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | H | 12 | Occupied | 10 | 81 % | 1.935 m² | ODF H2, Floor Position = H2 | 47 | 47 | 47 | 47 | 47 | 47
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | H | 12 | Occupied | 10 | 81 % | 1.935 m² | Rack H5, Floor Position = H5 | 41 | 45 | 41 | 41 | 45 | 41
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | H | 12 | Occupied | 10 | 81 % | 1.935 m² | Rack H07, Floor Position = H7 | 28 | 45 | 28 | 16 | 45 | 16
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | H | 12 | Occupied | 10 | 81 % | 1.935 m² | ODF H08, Floor Position = H8 | 44 | 46 | 44 | 30 | 46 | 30
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | H | 12 | Occupied | 10 | 81 % | 1.935 m² | Rack H6, Floor Position = H6 | 41 | 45 | 41 | 41 | 45 | 41
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | H | 12 | Occupied | 10 | 81 % | 1.935 m² | Rack H3, Floor Position = H3 | 40 | 45 | 40 | 40 | 45 | 40
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | H | 12 | Occupied | 10 | 81 % | 1.935 m² | Rack H4, Floor Position = H4 | 41 | 45 | 41 | 41 | 45 | 41
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | H | 12 | Reserved | 0 | 0 % | 0.000 m²
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | J | 12 | Free | 3 | 30 % | 0.720 m²
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | J | 12 | Occupied | 9 | 70 % | 1.665 m² | Rack H12, Floor Position = H12 | 41 | 45 | 41 | 41 | 45 | 41
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | J | 12 | Occupied | 9 | 70 % | 1.665 m² | Rack J13, Floor Position = J13 | 5 | 47 | 5 | 5 | 47 | 5
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | J | 12 | Occupied | 9 | 70 % | 1.665 m² | ODF J02, Floor Position = J2 | 0 | 47 | 0 | 0 | 47 | 0
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | J | 12 | Occupied | 9 | 70 % | 1.665 m² | Rack H5, Floor Position = H5 | 41 | 45 | 41 | 41 | 45 | 41
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | J | 12 | Occupied | 9 | 70 % | 1.665 m² | Rack H07, Floor Position = H7 | 28 | 45 | 28 | 16 | 45 | 16
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | J | 12 | Occupied | 9 | 70 % | 1.665 m² | ODF J08, Floor Position = J8 | 44 | 46 | 44 | 30 | 46 | 30
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | J | 12 | Occupied | 9 | 70 % | 1.665 m² | Rack H6, Floor Position = H6 | 41 | 45 | 41 | 41 | 45 | 41
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | J | 12 | Occupied | 9 | 70 % | 1.665 m² | Rack H3, Floor Position = H3 | 40 | 45 | 40 | 40 | 45 | 40
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | J | 12 | Occupied | 9 | 70 % | 1.665 m² | Rack H4, Floor Position = H4 | 41 | 45 | 41 | 41 | 45 | 41
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | J | 12 | Reserved | 0 | 0 % | 0.000 m²
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | K | 14 | Free | 10 | 75 % | 1.800 m²
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | K | 14 | Occupied | 4 | 25 % | 0.585 m² | Rack K14, Floor Position = K14 | 3 | 47 | 3 | 3 | 47 | 3
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | K | 14 | Occupied | 4 | 25 % | 0.585 m² | Rack K13, Floor Position = K13 | 45 | 45 | 45 | 45 | 45 | 45
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | K | 14 | Occupied | 4 | 25 % | 0.585 m² | Rack K1, Floor Position = K1 | 45 | 45 | 45 | 45 | 45 | 45
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | K | 14 | Occupied | 4 | 25 % | 0.585 m² | Rack K2, Floor Position = K2 | 42 | 45 | 42 | 42 | 45 | 42
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | K | 14 | Reserved | 0 | 0 % | 0.000 m²
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | L | 14 | Free | 10 | 75 % | 1.800 m²
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | L | 14 | Occupied | 4 | 25 % | 0.585 m² | Rack K13, Floor Position = K13 | 45 | 45 | 45 | 45 | 45 | 45
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | L | 14 | Occupied | 4 | 25 % | 0.585 m² | Rack L14, Floor Position = L14 | 5 | 47 | 5 | 5 | 47 | 5
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | L | 14 | Occupied | 4 | 25 % | 0.585 m² | Rack K1, Floor Position = K1 | 45 | 45 | 45 | 45 | 45 | 45
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | L | 14 | Occupied | 4 | 25 % | 0.585 m² | Rack L2, Floor Position = L2 | 42 | 45 | 42 | 42 | 45 | 42
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | L | 14 | Reserved | 0 | 0 % | 0.000 m²
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | M | 10 | Free | 5 | 61 % | 4.010 m²
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | M | 10 | Occupied | 5 | 39 % | 2.605 m² | Rack M10, Floor Position = M10 | 5 | 47 | 5 | 5 | 47 | 5
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | M | 10 | Occupied | 5 | 39 % | 2.605 m² | Rack M9, Floor Position = M9 | 30 | 35 | 27 | 30 | 25 | 25
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | M | 10 | Occupied | 5 | 39 % | 2.605 m² | Rack M2, Floor Position = M2 | 44 | 47 | 44 | 44 | 47 | 44
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | M | 10 | Occupied | 5 | 39 % | 2.605 m² | Rack M3, Floor Position = M3 | 45 | 47 | 45 | 45 | 47 | 45
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | M | 10 | Occupied | 5 | 39 % | 2.605 m² | Rack M1, Floor Position = M1 | 45 | 47 | 45 | 45 | 47 | 45
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | M | 10 | Reserved | 0 | 0 % | 0.000 m²
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | N | 9 | Free | 5 | 60 % | 3.920 m²
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | N | 9 | Occupied | 4 | 40 % | 2.560 m² | Rack N9, Floor Position = N9 | 47 | 47 | 47 | 47 | 47 | 47
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | N | 9 | Occupied | 4 | 40 % | 2.560 m² | Rack N02, Floor Position = N2 | 25 | 44 | 24 | 9 | 37 | 9
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | N | 9 | Occupied | 4 | 40 % | 2.560 m² | Rack N3, Floor Position = N3 | 47 | 47 | 47 | 47 | 47 | 47
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | N | 9 | Occupied | 4 | 40 % | 2.560 m² | Rack N1, Floor Position = N1 | 30 | 46 | 29 | 7 | 37 | 7
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | N | 9 | Reserved | 0 | 0 % | 0.000 m²
Room YRKTH1 on Floor Ground Floor in Site YORK, HUDSON WAY | 21225.50 W | 22500.00 W | 94 % | [6 empty] | Rack YRKTH1; DC SYS01, Floor Position = Temp Mig | 19 | 46 | 19 | 18 | 25 | 18